Water Quality Working Group

Lake Tahoe Interagency Monitoring Program (LTIMP)

# Subcommittee

# Special Stormwater Runoff Monitoring Meeting Summary

## Monday June 26, 2000

In Attendance (21 – 13 affiliations):

Sonya Aguilera, UNR/NDOT Intern                                Troy Alexander, EDOT                                                   Kim Carr, CTC                                                                Clayton Chappell, EDOT                                          Keith Dennett, UNR/Civil Eng                                         Dick Dier, CALTRANS                                       Robert Erlich, Lahontan RWQCB                                   Alan Heyvaert, UCD-TRG               Michael Hogan, IERS/UCD                                            Nora Hogan, CALTRANS                               Teresa Jones, NDOT                                                     Steve Kooyman, City SLT                   Sean Penders, CALTRANS                                           Lou Regenmorter, CMD (CALTRANS HQ)

John Reuter, UCD-TRG                                                 Tim Rowe, USGS

Armand Ruby, Larry Walker Assoc./CALTRANS           Jenny Scanland, NDSL-NTRT              Lars Spurkland, UNR/NDOT Intern                                Rita Whitney, TRPA                            Brian Wilkinson, CTC

1) Introduction – Rita Whitney  -

This special LTIMP stormwater runoff monitoring meeting was called to order and introductions were made. The sign up sheet was sent around with instructions for those not on the LTIMP mailing list to include email addresses if they wish to be added.

The purpose of this special meeting was to gather those individuals and agencies that either have current or proposed stormwater runoff monitoring in the basin, in particular for water quality.  A round robin of current activities was solicited and is bulleted below.

2) TRPA Grant Proposals – Rita Whitney, TRPA

TRPA has two grants funded to investigate the effectiveness of natural and constructed wetlands to treat urban runoff.  One grant is from US EPA, for $250,000 on the CA-side - “Evaluation of wetland Removal Efficiency in Treating Urban Storm-water” on Trout/Angora Creeks.  The second from Nevada State Lands License Plate funds, for $100,000 on the NV-side – “Maximizing Wetland Restoration Project Benefits” on Third/Rosewood Creeks in Incline Village. They want to tie in monitoring sites with other projects in the areas and this is open for discussion, as nothing is solidly set as of now. Site selection for these grants will occur starting in September.  Provide any comments on these two grants directly to Rita.

3) Evaluation of highway storm-water runoff project - Sampling Constituents and Protocols  - There was discussion of the list of sampling constituents put together in a proposal by UCD-TRG, DRI and USGS.  This was attempt to standardized basin wide stormwater runoff monitoring and was provided to Amir Soltani at NDOT at the LTIMP meeting last month.  The three groups were still waiting for a reply/feedback from NDOT.

Additional standardization for monitoring/sampling protocols and procedures is also needed.  It was suggested there be a general basic monitoring protocol and then do special additions for each specific project.  Would need funding to put this general protocol together.

There was particular concern for general guidelines for those installing/using automatic samplers. Samplers need proper set up, support and follow up or you will get poor data.  Concern with many auto samplers currently being purchased is that not enough money is being budgeted for the needed level of support. Samplers need to be calibrated – to make sure sample taken represents the entire stream.  USGS requires QA stream cross-section composite samples to correlate to the samples from the samplers through various flow regimes.  This will verify if samplers are collecting representative samples. Samplers need to be managed/maintained and make sure everyone is on the same page with sample collection, handling, and analysis. Troy noted that stage was not always the best trigger for auto-sampling, because of spring runoff diurnal peaking or when the flow is in a general declining curve.  Turbidity is probably a better trigger.  He also noted that lots of field observations are needed to back up the sampler and to make sense of what might have happened.

Guideline and Protocols was suggested as the LTIMP subcommittee meeting agenda for the August 2, 2000 meeting.  Caltrans has a sampling manual, “Guidance Manual: Stormwater Monitoring Protocols (revised)” – CTSW-RT-00-005.  This was prepared by Larry Walker Associates and is dated May 2000.  This could be adapted to the Lake Tahoe Basin.  Those who requested copies will receive them by mail from Caltrans. Armand Ruby, Larry Walker Associates, also will provide copies of a BMP performance report “Final Report – Investigation of structural control measures for new development” prepared for Sacramento Stormwater Management Program, dated November 1999.  UCD also has a 7 page monitoring guideline.

4) Monitoring Data Base Map/GIS Layer – Rita Whitney - Information is also being requested by the monitoring database subgroup to update the TRPA GIS layers. This data layer was produced by the USGS in conjunction with the creation of the Tahoe Environmental Geographic Information System (TEGIS) for TRPA and included sites up to 1990. The original monitoring layer will be retained as a historical reference, with an updated layer populated with information on current monitoring.  The actual data will be referenced to the agency contact where the data can be obtained. It was the intent of the database subcommittee to begin the update with the Upper Truckee River watershed, although any information collected will be input eventually.

Note the specific data fields listed below. Questions or comments on these should be directed to Rita Whitney at TRPA or Mary Small at CTC.

| DATABASE FIELDS | FIELDS DEFINITION | EXAMPLES |
| --- | --- | --- |
| LTIMP # | Unique assigned by? | WQ075001 |
| SOURCE OR REFERENCE # | Unique site id given by the collection agency | USGS site is stream order #, USFS station #, project id, etc. |
| PROJECT NAME | If associated w/ project | Angora |
| SPONSOR | Responsible for installation | El Dorado County |
| CONTACT NAME | Persons for data distribution | Troy Alexander |
| CATEGORY | Type of monitoring | Physical (Q, DO, stream x-sections, etc.) Chemical (nutrients, organics, etc.) Biological (bacteria, macro. reveg.) |
| PARAMETERS | Data collected | Turbidity, suspended sediment |
| LOCATION | Location of site, in lat/long (decimal degrees); UTM 11; GPS in meters; street map? | Whatever you have |
| START DATE |  | July 1998 |
| END DATE |  | October 2000 |
| WATERSHED | Name, not # | Upper Truckee |

5) Lake Tahoe Weather data report – John Reuter, UCD-TRG  - TRG is involved with the collection of a Basin weather data information, putting in a database and publishing a report soon.  This was complied from a variety of sources as part of the research connected to the clarity model.  Several other projects have also recently installed weather stations, namely at Sierra House School for Trout Creek, Al Tahoe, and Lake Valley Fire Dept. and soon to be installed at the Whittell Estate by UNR.  There is also the extensive network installed by NDOT.  USGS also has a network of plastic rain gages at just about all of their 32 tributary monitoring sites. These gages are read every visit and noted on field inspection sheets and entered in the USGS ADAPS database. When this report is published, LTIMP members will be mailed copies.

6) Watershed Scale Erosion Control Planning - John Reuter, UCD-TRG                            John handed out and explained his 205j Grant on Watershed Scale Erosion Control Planning proposal.  This will be going back to look over what was done on projects.  He asked for LTIMP subcommittee review and comments of the tasks.  The public participation task requires formation of a TAC and John would like members of LTIMP join this TAC.  Please let John know if you are interested in this.

7) Stormwater Monitoring Projects - Round Robin Discussion:

a) TRPA:  Currently, TRPA is collecting turbidity measurements off shore in Lake Tahoe and have been since 1991.  TRPA is also cooperator of the Lake Tahoe Monitoring project with USGS, which is explained under USGS. TRPA has two grant proposals in the works, as mentioned above.

b) UCD-TRG:  UCD-TRG currently has artificial wetlands-stormwater runoff sampling proposals in with the CTC and Placer County for various projects around the basin.  This includes Tahoe City and Ski Run in South Lake Tahoe.  This extensive monitoring/sampling will focus on 5-6 runoff treatment facilities (sand traps, DI’s etc.) and how effective these structures are in terms of particle size, loading etc.  Equipment will be installed soon.

c) CALTRANS:  Caltrans is starting an extensive stormwater runoff monitoring effort statewide, with most of the effort in the LA basin.  In the Lake Tahoe Basin they will install automatic samplers at three sites for highway runoff.  There will be 1) a high elevation site on Hwy 50 - Echo Summit, 2) a rural lake level site - Hwy 50 – Meyers/Airport area, and 3) a Hwy 50 urban site, probably Wildwood or an Upper Truckee site.  They will be sampling at road sites (i.e. drop-inlets) for solids, metals, and nutrients with auto-samplers using flow weighted composites samples.  These sites will be long term and they will be looking low to high elevation differences on a seasonal basis – summer thunderstorms, fall rain events, and snow melt.  Site selections will be focused to avoid possible Migden Bill fines. The urban site may be a problem, partly due to groundwater standing in DI’s. They are looking for local assistance for selection of this lower-urban site.  Another problem here is dealing with runoff from only Caltrans facilities and not a mixture of various unknown sources. The will also be annual sampling for road sand and deicing materials.

Caltrans also noted the need of a map of all as-built devices and culverts in urban areas.  There is a lack of adequate and complete drain flow maps for urban areas.  This was identified as a hindrance to project work, especially from the highway departments.  The basic problem is that road upgrades and retrofits are being done and not being added to maps.  For example Caltrans has a culvert map of the area, but not the tie-ins.

d) City of South Lake Tahoe: City is putting together the final monitoring plan for the Trout Creek Restoration project. The project is in full swing with obtaining baseline data this year and next summer letting water in the new channel and obtaining samples there.  Troy Alexander has installed, for the City, an automatic sampler at the Trout Creek at Martin Ave site.  It is located on the right upstream wing wall of the bridge, opposite the USGS gage. This is tied in with stage, turbidity, water temperature and specific conductance meters.  He presented a recent data set.  The City will also start a long awaited 2-year project with UCD-TRG to sample the Ski Run-Wildwood Projects for wetland efficiency.  Also sampling at an Al Tahoe/Bijou Creek dry basin; a collection box at the Beecher/Lodi project; Stateline groundwater sampling and future project include the Upper Truckee River bridge-to-bridge project.

e) CTC:  No current monitoring activities, but this year they added money to fund water quality monitoring and water level monitoring.

f) Lahontan RWQCB:  Lahontan did not receive requested funding for additional monitoring in the 2000/2001-budget year and will follow up with a request for 2001/2002.  This will be for non-project monitoring. The sampling done at present is primarily based on compliance and complaints from citizens.

f) NDOT: NDOT is currently working with UNR on the monitoring for new and soon to be constructed sites along SR 28 from Spooner to Incline Village. Amir and NDOT are interested in short-term project related monitoring and wants quick answers. They will then apply these short-term answers to future work on US 50.

g) Nevada Division of State Lands – No current monitoring, but NDSL-Nevada Tahoe Resource Team oversees the Nevada Tahoe Bond Act and also the NV License Plate fund.  NTRT has a bill in to change the NV Bond Act to allow funding for monitoring and be able to fund projects with private citizens, as both are currently not allowed.  NV license plate is currently handing out $200,000 in grants, like the TRPA Third and Rosewood Creek efforts in Incline Village.  The NV Bond Act will soon decide how to hand out the last $2 million of the original $20 million.

h) El Dorado County DOT: EDOT has been monitoring storm runoff to a meadow with the Angora Restoration project since 1997.  Funding was $130,000 of which $35,000 was for Sigma samplers.  They were installed on 2 inlets and upper/mid/lower sites in meadow for collecting summer storm events.  Usually they only obtained 4-5 smaller storm events, which never made it all the way to the lowest meadow sampler.  Plans are to continue for several more seasons with expansion into spring runoff and obtain groundwater samples.    Weather station will be installed at fire station.  The Pioneer Trail III/Cattleman’s basin project will have this year to monitor, as construction was postponed and will begin next summer.  Pre-project groundwater and existing 30” storm drain monitoring will start this fall as a possible cooperative study with USGS.  EDOT is also doing analysis of the cinders used for road sanding.

i) USGS: USGS currently provides the majority of the Lake Tahoe tributary sampling data through a network of 34 sampling sites.  The network includes 20 continuous streamflow gages, 3 of which are Data Collection Platforms (DCP’s) that provide real-time flow data.  The stream network has been operated under LTIMP guidelines since 1987.  The goal is to provide long-term database of nutrient, sediment, and flow data in the Basin.  Emphasis of this cooperative study with TRPA is to collect samples at all hours of the day and on weekends - during spring snow-melt runoff, summer thunderstorm events, rain-on-snow events, fall rain events, and during low-flow baseline conditions.  USGS also operates a 34-site groundwater network, which collects nutrient data from 1990-92 and 1995-present.  Included in the program is an Upper Truckee River watershed focus study, which includes; an expanded groundwater network, 12 continuous water temperature monitors, 71-site seepage run (low-flow) network, and a 2-site intense surface water/ground water interaction study network on Trout Creek.

j). USFS: Not present – but they are know to have been monitoring Heavenly Valley Ski Resort for a number of years; the Meyers landfill and Saxon Creek area; various sampling for grazing activities, public heath at USFS beaches and campgrounds; and periodic monitoring of erosion control or special projects.

k) Other known storm water runoff projects:  Foster – Roundhill and JWA – Stateline and Kahle Drive.

Prepared by Rita Whitney, TRPA and Tim Rowe, USGS  - 7/17/00