[Insert System Name (Acronym)]

Security Categorization: [Insert Category]

Information Technology Contingency Plan (ITCP)

for System

Version [Insert #]

[Insert Date]

Prepared by

[Insert Group/Organization/Company Name]

[Insert Street Address]

[Insert City, State, and Zip Code]

DOCUMENT CHANGE CONTROL

| Version | Release Date | Summary of Changes | Addendum Number | Name |
| --- | --- | --- | --- | --- |
| [Version 0.1] | [Insert Date] | [First Draft – Initial draft.] | [Insert Addendum #] | [Insert Name] |
| [Version 0.2] | [Insert Date] | [Second Draft – Incorporates information collected from working session with stakeholders.] | [Insert Addendum #] | [Insert Name] |
| [Version 0.3] | [Insert Date] | [Third Draft – Incorporates changes from C&A Team QC.] | [Insert Addendum #] | [Insert Name] |
| [Version 0.4] | [Insert Date] | [Fourth Draft – Incorporates changes from validation session with stakeholders.] | [Insert Addendum #] | [Insert Name] |
| [Version 0.5] | [Insert Date] | [Fifth Draft – Incorporates changes from collaboration meeting on the ST&E plan with stakeholders.] | [Insert Addendum #] | [Insert Name] |
| [Version 0.6] | [Insert Date] | [Sixth Draft – Incorporates changes based on ST&E findings.] | [Insert Addendum #] | [Insert Name] |
| [Version 0.9] | [Insert Date] | [Ninth Draft – Final Draft.] | [Insert Addendum #] | [Insert Name] |
| [Version 1.0] | [Insert Date] | [First Release.] | [Insert Addendum #] | [Insert Name] |

Approving Signatures

As the system owner for [Insert System Name] ([Insert System Acronym]), I hereby certify that the information technology contingency plan (ITCP) is complete and that the information contained in this ITCP provides an accurate representation of the system, its hardware, software, and telecommunication components.  I further certify that this document identifies the criticality of the system as it relates to the mission of the [Insert Group/Organization/Company Name], and that the recovery strategies identified will provide the ability to recover the system or system functionality in the most expedient and cost beneficial method in keeping with its level of criticality.

I further attest that this ITCP for [Insert System Acronym] will be tested at least annually.  This plan was last tested on [Insert Exercise Date]; the test, training, and exercise (TT&E) material associated with this test can be found in Appendix P of this ITCP.

This document will be modified as changes occur and will remain under version control; a copy will be provided to the [Insert Group/Organization/Company Name Security Official] as well as to those persons and sites responsible for the plan’s implementation and operation, as identified in the distribution list found in Appendix A.

Approval Signature Note:  In accordance with OMB Circular A-130, Appendix III, final responsibility for determining that the plan provides for reducing risk to an acceptable level should lie with the manager whose program operations and assets are at risk.  The date of the accreditation memo is the approval date of this document.

/s/

_____See Approval Signature Note_______			_________________________

[Insert System Owner’s Name]				Date

[Insert System Owner’s Job Title]

[Insert System Acronym]

System Owner

The ITCP for [Insert System Acronym] is approved as meeting the organization’s disaster recovery requirements and the contingency plan requirements as part of the certification and accreditation process.

/s/

_____See Approval Signature Note_______	      		_______________________

[Insert DAA’s Name] 						Date

[Insert DAA’s Job Title]

Designated Approving Authority (DAA)

TABLE OF CONTENTS

1.	Introduction	1

1.1	Purpose of this Plan	1

1.1.1	Applicability	2

1.2	Scope	2

1.2.1	Planning Principles	2

1.2.2	Assumptions	3

1.3	Threats	4

1.4	References/Requirements	6

2.	SUPPORTING INFORMATION	7

2.1	System Description	7

2.1.1	System Environment	7

2.1.2	Dependencies and Interconnecting Systems	7

2.1.3	System Users	8

2.2	ITCP Roles and Responsibilities	8

2.2.1	ITCP Director	9

2.2.2	ITCP Coordinator	9

2.2.3	ITCP Recovery Team(s)	10

3.	NOTIFICATION AND ACTIVATION PHASE	12

3.1	Notification Procedures	12

3.2	Outage Assessment Procedures	14

3.3	ITCP Activation	15

4.	RECOVERY PHASE	17

4.1	Sequence of Recovery Activities	17

4.2	Recovery Procedures	17

4.2.1	Building and Facility Services	18

4.2.2	IT Infrastructure	18

4.2.3	System Software	19

5.	RECONSTITUTION PHASE	21

5.1	Concurrent Processing	21

5.2	Resumption Activities	21

5.3	Plan Deactivation	22

ITCP APPENDICES	0

APPENDIX A. DISTRIBUTION LIST AND KEY PERSONNEL ACCEPTANCE SHEET	A-1

A.1	Distribution List	A-1

A.2	Key Personnel Acceptance Sheet	A-2

APPENDIX B. ITCP Org Chart	B-1

APPENDIX C. EMERGENCY CONTACT INFORMATION	C-1

C.1	Key Personnel	C-1

C.2	Vendor Contact Information	C-2

APPENDIX D. APPLICATION OUTAGE ASSESSMENT REPORT	D-1

APPENDIX E.	ACTION ITEM CHECKLIST	E-1

APPENDIX F.	SYSTEM DIAGRAM	F-1

APPENDIX G.	APPLICATION INVENTORY	G-1

G.1	System Inventory	G-1

G.2	Software Inventory	G-1

APPENDIX H.	APPLICATION RECOVERY PROCEDURES	H-1

APPENDIX I.	SECONDARY PROCESSING PROCEDURES	I-1

APPENDIX J.	DATA BACKUP INFORMATION	J-1

APPENDIX K.	APPLICATION TEST PROCEDURES	K-1

APPENDIX L.	AFTER ACTION REPORT	L-1

APPENDIX M.    SERVICE LEVEL AGREEMENTS (SLA)	M-1

APPENDIX N.	BUSINESS IMPACT ANALYSIS	N-1

N.1	Administration	N-1

N.1.1	Background	N-1

N.1.2	Authorities/Requirements	N-1

N.1.3	Assumptions	N-1

N.2	Business Impact Analysis	N-2

N.2.1	System Purpose	N-2

N.2.2	System Stakeholders	N-2

N.2.3	Critical Business Processes and Business Unit Sub-Processes	N-2

N.2.4	System Resources and Business Unit Sub-Processes	N-3

N.2.5	Outage Impact on Business Unit Sub-Processes	N-3

N.2.6	Sub-Process Recovery Time Objectives and Recovery Point Objectives	N-4

N.2.7	Recovery Priorities for System Resources	N-5

N.3	Critical Business Processes	N-5

APPENDIX O.	RELATED CONTINGENCY PLANS	O-1

APPENDIX P.  TEST, TRAINING, AND EXERCISE (TT&E)	P-1

P.1	TT&E Program Overview	P-1

P.2	TT&E Program Components	P-1

P.2.1	Exercise Development and Preparation	P-1

P.2.2	Exercise Training and Execution	P-2

P.2.3	Documenting Exercise Results	P-5

P.2.4	Plan Maintenance	P-5

P.2.5	After Action and Summary Reports	P-6

P.3	TT&E Materials	P-6

P.3.1	Agenda	P-6

P.3.2	Scenario	P-6

P.3.3	Presentation Materials	P-9

P.3.4	After Action and Summary Reports	P-10

P.4	Exercise Results	P-10

P.4.1	Summary Report	P-10

P.4.2	Exercise After Action Report	P-11

APPENDIX Q.	GLOSSARY	Q-1

APPENDIX R.	ACRONYM LIST	R-1

[This sample format provides a template for preparing an information technology (IT) contingency plan (ITCP). The template is intended to be used as a guide, and the Contingency Planning Coordinator should modify the format as necessary to meet the system’s contingency requirements and comply with internal policies. Where practical, the guide provides instructions for completing specific sections. Text is added in certain sections; however, this information is intended only to suggest the type of information that may be found in that section. The text is not comprehensive and should be modified to meet specific considerations related to the system.  References to the appropriate GSS ITCP document or the relevant site Disaster Recovery Plan may also be made within the body of this plan, if applicable.]

# Introduction

Information technology (IT) and automated information systems are vital to an organization’s business processes, and for that reason must be able to operate without interruption.  IT contingency planning refers to the dynamic development of a coordinated recovery strategy for IT systems [System or General Support System (GSS)], operations, and data after a disruption.  The planning process requires seven steps: develop contingency planning policy statement; conduct the business impact analysis (BIA); identify preventive controls; develop recovery strategies; develop the ITCP; test and exercise the plan and train personnel; and maintain the plan.

## Purpose of this Plan

The [Insert System Name] ([Insert System Acronym]) ITCP establishes procedures to recover and resume normal operations of [Insert System Acronym] following a disruption. The following objectives have been established for this plan:

- Provide a complete description of the system along with its boundaries and interdependencies as well as a description of the roles and responsibilities of key personnel (SECTION 2).

- Maximize the effectiveness of contingency operations through an established plan that consists of the following phases:

  - Notification/Activation Phase (SECTION 3):  to detect and assess the system outage, to notify the proper personnel, and to activate the plan

  - Recovery Phase (SECTION 4):  to identify and prioritize recovery activities, to restore temporary IT operations, and to recover the original system

  - Reconstitution Phase (SECTION 5):  to resume IT system processing capabilities to normal operations and to deactivate this plan.

- Identify the activities, resources, and procedures needed to fulfill system processing requirements during prolonged interruptions of normal operations

- Assign responsibilities to designated [Insert Organization] personnel and provide guidance for recovering [Insert System Acronym] during prolonged periods of interruption of normal operations

- Ensure coordination with the [Insert Organization] staff or other [Insert Organization] personnel that participate in contingency planning strategies

- Ensure coordination with external points of contact (POC) such as contractors or vendors who participate in the contingency planning strategies.

Supplemental information referred to in this plan will be found in the appendices.  Such information includes, but is not limited to:  plan distribution list; contact lists; system outage assessment report form; action item checklist; system equipment inventory; recovery procedures; the [Insert Organization] POC for off-site data storage and other related data backup information; after action report form; service level agreements (SLAs); BIA; a list of related contingency plans; and TT&E materials.

### Applicability

The ITCP applies to the functions, operations, and resources necessary to recover and resume [Insert Organization]’s [Insert System Acronym] operations as it is installed at [Insert Primary Location].  The [Insert System Acronym] ITCP applies to [Insert Organization] and all other persons associated with [Insert System Acronym] as identified under Section 2.2, Roles and Responsibilities.

A system ITCP organizational chart that depicts all key personnel and site support is shown in Appendix B of this document.  Appendix F provides a diagram that defines the boundaries of the system for the purpose of this plan.  A more detailed system description that outlines the scope of [Insert System Acronym] operations is located in Section 2 of this document.

The [Insert System Acronym] ITCP is supported by [List other recovery plan names for supporting GSSs, DRP, etc.  This information should correspond with those plans listed in Appendix O.].  Procedures outlined in this plan are coordinated with and support those recovery and contingency plans.

## Scope

### Planning Principles

This plan does not identify contingencies for every possible outage that could occur.  Rather, it helps address and plan for  two outage types: 1) minor system failures and 2) major system failures.  Full contingency plan implementation may not be required for all disruptions.  In some cases, partial implementation may be appropriate.  The [Insert System Acronym] ITCP is based on the following scenarios:  the ITCP will not be activated for a ‘minor system failure’; however, consideration for full implementation should be given for most ‘major system failures’.  The outage types are categorized as follows:

Minor System Failure

A minor system failure is defined as any disruption in the availability or operational status of the system where the disruption time is expected to be less than the recovery time objective (RTO). The RTO for [Insert System Acronym] is [Insert # of hours] hours.

Major System Failure

A major system failure is defined as any disruption in the availability or operational status of the system where the disruption time is expected to be equal to or greater than the RTO.

This plan addresses the notification of key personnel, system recovery, and system reconstitution as it relates to [Insert System Acronym].  If anything else outside the scope of this system (i.e., server, network, and/or facility disruption) needs to be recovered, other plans, such as those identified in Section 1.2 will likely need to be referred to and/or activated in parallel with this plan, as appropriate.

### Assumptions

Based on these principles, the following assumptions were used when developing the ITCP:

[Sample Text Below]

- The [Insert System Acronym] is inoperable at the [Insert Primary Location] and cannot be recovered within [Insert # of hours] hours

- The ## GSS ITCP that supports the hardware for [Insert System Acronym] will be activated in concurrence with this system ITCP should the damage be beyond the scope of this ITCP, as appropriate

- The disaster recovery plan (DRP) for the affected location(s) will be activated in concurrence with this ITCP if the damage is beyond the scope of this ITCP and relocation is required, as appropriate

- Key [Insert System Acronym] personnel have been identified and trained in their emergency response and recovery roles; they are available to activate the [Insert System Acronym] ITCP

- Preventive controls (e.g., generators, environmental controls, waterproof tarps, sprinkler systems, fire extinguishers, and fire department assistance) are fully operational at the time of the disruption

- Equipment, including components supporting [Insert System Acronym], is connected to an uninterruptible power supply (UPS) that provides [Number of hours] hour of electricity during a power failure

- Current backups of the system software and data are intact and available at the offsite storage facility

- The equipment, connections, and capabilities required to operate [Insert System Acronym] are available at the alternate site in [Insert City, State]

- SLAs have been prepared and signed by all parties, and are maintained with [Insert System Acronym] hardware, software, and communications providers to support the emergency system recovery

- This plan is up-to-date and accessible to key personnel responsible for executing the plan.

The [Insert System Acronym] ITCP does not apply to the following situations:

- Emergency evacuation of personnel.  The occupant evacuation plan (OEP) will cover personnel evacuation

- Overall recovery of business operations.  These will be covered by the business resumption plan (BRP)

- Relocation of personnel and equipment as this should be covered by the site’s DRP, as applicable

- [Insert any additional constraints].

## Threats

The [Insert System Acronym] ITCP describes contingencies for circumstances, events, or acts that could cause harm to [Insert System Acronym] by destroying, disclosing, modifying, or denying access to [Insert Organization] information resources.  The plan provides a flexible and scalable response and recovery strategy to accommodate a variety of disruptions.  Potential threats to the system’s availability are displayed in Table 1 below.

Table 1: Threats to [Insert System Acronym]

UPDATE TABLE WITH THREATS SPECIFIC TO ORGANIZATION LOCATION/FUNCTIONS

| Natural Threats |  |
| --- | --- |
| Flooding | Flooding of the computer room and support areas from sources external to the building (e.g., mudslides). |
| Earthquake | An earthquake causing structural damage to the facility and surrounding area. |
| Lighting Strikes | A lightning strike can cause a power surge and damage electrical delivery equipment. |
| Severe Storm | Facility and/or surrounding area damage due to snowstorms, sand storms, hail, monsoons, dust storms, hurricanes, tornadoes, or lightning not directly associated with other natural threats. |
| ENVIRONMENTAL/PHYSICAL THREATS |  |
| Fire | Can include large fires (e.g., those that trigger the fire suppression system, if the site is so equipped, or require the involvement of trained fire fighters) and small fires (e.g., those extinguishable with a hand-held extinguisher). |
| Heating, Ventilation, and Air-Conditioning (HVAC) Failure | Failure of environmental controls, causing increased temperature and humidity, which can damage sensitive computer equipment and storage media. |
| Power Loss | Long-term power failure associated with power outages. |
| Liquid Leakage | Liquid leakage resulting in flooding of the computer room and support areas from an internal source (e.g., broken water or sewage pipes or activated fire suppression system). |
| Loss of Communication Medium | Loss of physical communication capabilities (e.g., cable break). |
| Human Threats |  |
| Accidental System Damage | The unintentional destruction or degradation of any system and/or component. |
| Theft | Acquisition of data, hardware and/or software by unauthorized individuals. |
| Eavesdropping | Connecting to, or tapping, the voice or data transmissions by an unauthorized individual to gain access to the message content for the purpose of the reviewing it. |
| Sabotage/ Vandalism | The deliberate destruction or degradation of any system and/or component. |
| Improper Handling of Sensitive Information | The failure of authorized individuals to handle sensitive information (e.g., Privacy Act protected, Sensitive But Unclassified, For Official Use Only, or proprietary, etc.) in accordance with applicable policies and procedures, possibly compromising the information. |
| Resource Misuse and Abuse | The unauthorized use of any asset for a purpose other than originally intended. |
| Social Engineering | A method of obtaining information to be used for compromising a system (e.g., a password) from an individual rather than by breaking into the system. Social engineering can be used over an extended period of time to maintain a continuing stream of information and help from unsuspecting users. |
| Unauthorized External Access | The ability and opportunity of an external source to obtain information, or physical access to facilities, without proper authorization or clearance. |
| Unauthorized Internal Access | The ability and opportunity of an internal source to obtain information, or physical access to facilities, without proper authorization or clearance. |
| Terrorism | Destruction of any system by means of information warfare, system attack, system penetration, or system tampering. |
| Impersonation | Misrepresentation of human or cyber identity. |
| Falsified Input | Deliberately inputting inaccurate data or information into a system to cause corruption of data. |
| Interception | Capturing unauthorized data for malicious intent. |
| Bribery | Offering money or something of value, in order to gain system access. |
| Hacking | Gaining unauthorized system access by exploiting vulnerabilities. |
| Unauthorized Disclosure of Information | Providing system related information to unauthorized user(s). |
| Fraud | An act, statement, or omission deliberately practiced to gain unauthorized system access. |
| Intimidation of Personnel | To coerce or inhibit employees, usually by threats, to gain unauthorized access to internal networks. |
| Negligence or Human Error | Failure to act carefully and responsibly, resulting in unintended destruction or degradation to the system. |
| Spoofing | A technique used to reduce network overhead by having devices, such as bridges and routers, answer for remote devices or by manipulating internet protocol (IP) addresses, so that the attacker appears to be someone or something else. |
| Unauthorized Modification of Information | Unauthorized altering of information resulting in degradation of system and/or services. |
| System Tampering | Interfering with the system in a harmful manner resulting in degradation or unavailability of system and/or resources. |
| Blackmail | Extorting money, system information, or something else of value from an employee, by the threat of exposing discreditable information. |
| Malicious/Mobile Code | Distribution of worms, viruses, logic bombs, Trojan horses, etc., with the intent to corrupt system data. |
| Password Guessing | Attempting to obtain system passwords by unlawful methods (e.g., dictionary attack, password cracker tools, intercepting network packets). |

## References/Requirements

This ITCP complies with all applicable departmental and [Insert Organization] contingency planning policy statements including, but not limited to, the organization’s policies.  The plan also complies with the following Federal and departmental policies and guidelines:

- Public Law 107-347, E-Government Act of 2002, Title III, Federal Information Security Management Act, December 2002

- Office of Management and Budget Circular A-130, Appendix III, Security of Federal Automated Information Resources, November 2000

- Homeland Security Presidential Directive/HSPD-20, National Continuity Policy, May  2007

- Department of Homeland Security (DHS), National Response Plan, May 2006

- Homeland Security Presidential Directive 7, Critical Infrastructure Identification, Prioritization, and Protection, December 2003

- National Institute of Standards and Technology (NIST) Special Publication (SP) 800-34, Contingency Planning Guide for Information Technology Systems, June 2002

- National Institute of Standards and Technology (NIST) Special Publication (SP) 800-53, Recommended Security Controls for Federal Information Systems, February 2005

- National Institute of Standards and Technology (NIST) Special Publication (SP) 800-84, Guide to Test, Training, and Exercise Programs for IT Plans and Capabilities, July 2006

# SUPPORTING INFORMATION

## System Description

[The content for this section usually comes straight from Section 2.13 of the System SSP.]

[Provide a general description of system architecture and functionality. Indicate the operating environment, physical location, general location of users, and partnerships with external organizations/systems. Include information regarding any other technical considerations that are important for recovery purposes, such as system dependencies, related GSSs, backup procedures, etc. Provide a diagram of the architecture, including dependencies, security controls and telecommunications connections.]

### System Environment

[The content for this section comes straight from Section 2.14 of the System SSP.]

The highest level of data and information contained on the [Insert System Acronym] system is sensitive. [Insert System Acronym] contains personally identifiable information (PII) such as the name, phone number, email address, date of birth, and other sensitive information.  This type of information is considered privileged and unauthorized disclosure could cause embarrassment to [Insert Organization] and potential liability concerns for the [Insert Organization].

Refer to Appendix F of this document for a diagram of the system's system architecture.

### Dependencies and Interconnecting Systems

[The content for this section usually comes straight from Section 2.15 of the System SSP.]

[Insert System Acronym] [does/does not] connect to any other systems at this time.

[If the system does interconnect with other systems or systems, list the system or system name and the nature of the interconnection.]

[sample table]

| System Name | Organization | Type (TCP/IP, Dial-up, SNA, etc.) | Authorizations (MOU/ISA) | Date of Agreement | FIPS 199 Category | C&A Status of the System | Name and Title of Authorizing Official |
| --- | --- | --- | --- | --- | --- | --- | --- |

### System Users

[The content for this section may come from portions of Section 2.13 of the System SSP or may have to be derived independently of the SSP.]

[Describe here how user access is determined/controlled and what types of information the user will have access to.  Provide a brief description of the user interface with the system.]

[Insert this sentence at the end of the description.] “For additional user information, refer to the [Insert System Acronym] System Security Plan (SSP).”

## ITCP Roles and Responsibilities

This section discusses key [Insert Organization] personnel and teams responsible for recovering [Insert System Acronym] and its main components.  The ITCP designates specific individuals and teams for directing and managing the ITCP during both emergency and non-emergency periods.  Direction and management of the contingency plan is pushed top-down through the [Insert Organization] organizational structure.  The roles and responsibilities outlined below are responsible for ensuring that the plan is executed and normal operations are restored.  Appendix B provides a graphical depiction of the plan’s organizational chart and hierarchy of roles.

The key ITCP roles for this system are outlined in Table 2.  Contact information for the personnel assigned to those roles is provided in Appendix C.

[The following roles and responsibilities are samples only.  The Roles and Responsibilities section should be filled in and validated in coordination with the [Insert Organization] counterparts.  Describe each team separately, highlighting overall recovery goals and specific responsibilities. Do not detail the procedures that will be used to execute these responsibilities.  These procedures will be itemized in the appropriate phase sections.

NOTE: PLEASE ENSURE THAT ALL ROLES BELOW COINCIDE WITH THE ORG CHART]

### ITCP Director

The ITCP Director for [Insert System Acronym] is the [Insert Business Unit and Job Title].  The ITCP Director has ultimate responsibility for ensuring the development, execution, and maintenance of the [Insert System Acronym] ITCP.  The ITCP Director ensures that the ITCP strategies in this document are developed with the cooperation of functional and resource managers associated with the system or the business processes supported by the system.  Additionally, the ITCP Director ensures that the plan remains a viable tool by authorizing any future changes to the document.  The ITCP Director may delegate all or parts of the development, maintenance, and distribution of the plan to the ITCP Coordinator or other personnel, as appropriate.

In the event of a ‘major system failure’, the ITCP Director will be notified by the ITCP Coordinator after a formal system outage assessment has been conducted.  The ITCP Director will meet with the ITCP Coordinator to confirm the expected duration of the disruption and officially declare the ITCP activated, provided that all activation criteria have been met (see Section 4.2).  If the ITCP Director is not available for assessing an emergency situation and directing the activation of the plan, the Alternate ITCP Director will assume all responsibilities.  The Alternate ITCP Director for [Insert System Acronym] is the [Insert Business Unit and Job Title].

After reviewing the outage assessment, the ITCP Director will determine if interim secondary processing activities should be initiated to maintain business operations during the outage.  The ITCP Director is also responsible for contacting the ITCP Coordinator and other [Insert Organization] personnel in the event recovery operations are not being executed as planned or defined in any SLAs.  In this situation, the ITCP Director should ensure the event is escalated to appropriate [Insert Organization] officials to ensure that recovery operations are resumed or completed as efficiently as possible.

### ITCP Coordinator

The ITCP Coordinator for this plan is the [Insert Business Unit and Job title].  The ITCP Coordinator is responsible for contacting key Recovery Team personnel to monitoring the status of contingency activities until the system is fully recovered.  When the ITCP Coordinator is the first point of contact during an system disruption, he/she will notify the Recovery Team who will perform a system outage assessment to determine the expected duration of the system’s outage, as appropriate (i.e., major system failure or minor system failure).  Once completed, the ITCP Coordinator is responsible for discussing the system outage assessment report with the ITCP Director before formal activation of the plan.  If interim secondary processing activities are initiated during the disruption, the ITCP Coordinator is often the one who will coordinate and instruct the users on what to do, as appropriate.

Once the system has been recovered and normal operations have been resumed, the ITCP Coordinator is responsible for completing an after-action report (AAR) and filing it with the ITCP Director.  The ITCP Coordinator may be assigned certain responsibilities for the periodic maintenance, testing, and distribution of the plan by the ITCP Director, as needed.  If the ITCP Coordinator is unavailable, the Alternate ITCP Coordinator is responsible for executing the outlined responsibilities.

### ITCP Recovery Team(s)

[This section should be modified to reflect the actual structure of the recovery team and its components.]

The Recovery Team consists of key personnel involved in system outage assessment, recovery, and resumption activities and is comprised of member teams that have two specific focuses—system support and network support.  The team members are personnel who are also responsible for the daily operations and maintenance of the system.  Members of the team consist of database and system administrators.

Activities and extent of participation is dependant on the nature of the outage.  Member teams work in concert to determine the nature and expected duration of the outage and to recover [Insert System Acronym] operations.  The ITCP Coordinator monitors the status of overall system outage assessment, recovery, and resumption activities as performed by the Recovery Team and reports status information to the ITCP Director, as appropriate.

[Update sample table below with actual roles and responsibilities based on descriptions above.]

Table 2: [Insert System Acronym] ITCP Roles and Responsibilities

| ITCP Role/Title | Job Title | Responsibilities |
| --- | --- | --- |
| ITCP Director | [Insert System Acronym] [Insert JobTitle] | - Overall responsibility for the development, execution, and maintenance of the ITCP - Ensures that the ITCP is developed with the cooperation of a broad set of managers associated with the functionality and business processes supported by the system - Confirms expected duration of the system disruption with the ITCP Coordinator after an system outage assessment has been developed - Declares formal activation of the ITCP - Determines if interim activities [If Applicable: “such as secondary processing procedures”] should be initiated to maintain current business operations or if operations should be temporarily suspended until the system has been recovered - Contacts [Insert Organization] officials in the event recovery operations are not progressing and the situation needs to be escalated - Responsible for the testing, maintenance, and distribution of the ITCP, which may be delegated to other personnel - Authorizes all future changes to the ITCP |
| ITCP Coordinator | [Insert System Acronym] [Insert JobTitle] | - Monitors the status of system outage assessment, recovery, and resumption activities until the system is fully recovered - Monitors and coordinates all activities ensuring that contingency operations are being performed as planned or stated in any SLAs - Provides periodic updates for recovery operations to the ITCP Director, as appropriate - Contacts the ITCP Director and files an AAR upon resumption of normal operations - Assists the ITCP Director in testing, maintenance, and distribution of the plan, as needed |
| Recovery Teams | [Insert JobTitle(s)] | - Assists in determining the nature and expected duration of the outage - Assists in all recovery and resumption activities for minor system failures, as necessary - Assists in all recovery and resumption activities for major system failures, as necessary |

# NOTIFICATION AND ACTIVATION PHASE

Prompt notification and activation are essential for effective plan implementation.  System disruptions may occur with or without notice.  Disruptions that typically occur with warning include hurricanes, floods, and scheduled system outages.  Disruptions that often occur without warning include fires, hardware and software failures, power outages, and malicious system tampering.

Early awareness allows for preparation, mitigation, and early contingency plan implementation in conjunction with a graceful shutdown of system operations.  In the absence of advanced warning, the initial detection of a system disruption would initiate an immediate and simultaneous notification and outage assessment process.

NOTE:  In an emergency, [Insert Organization]  top priority is to preserve the health and safety of its staff and all other supporting personnel (i.e., contractors, vendors, etc).  [Insert Organization] staff should ensure that the emergency conditions do not threaten the health and safety of its staff or other personnel before proceeding to the notification and activation procedures.  Emergency phone numbers are located in Appendix C of this document.

## Notification Procedures

This phase addresses the initial actions taken to detect and assess the [Insert System Acronym] outage.  Based on the outage assessment, the plan may be activated by the ITCP Director.  Contact information for key personnel is located in Appendix C.

In an emergency, [Insert Business Unit]’ top priority is to preserve the health and safety of its staff before proceeding to the notification and activation procedures.

[The information contained here is sample text and should be tailored to meet the specific requirements of the System]

Once a system disruption has been detected, the following notification procedures should be followed:

[Insert notification procedures]

- If the outage assessment identifies the situation as a ‘major system failure’, follow the notification procedures below:

[Insert notification procedures]

Appendix E contains an action item checklist that will guide recovery personnel through the necessary steps in each of the recovery phases (notification/activation, recovery, and reconstitution).

## Outage Assessment Procedures

[Detailed procedures should be outlined to include activities to determine the cause of the disruption; potential for additional disruption or damage; affected physical area and status of physical infrastructure; status of IT equipment functionality and inventory, including items that will need to be replaced; and estimated time to repair services to normal operations.]

Upon notification that an system failure has occurred, it is imperative that an assessment be made as quickly as possible to assess the nature and extent of the failure.  The purpose of this assessment is to gain relevant information and to determine the best strategies for recovering the system.  Based on the nature of the disruption, the following is a list of high-level system outage assessment procedures that may be applicable:

- Designate a work area for the Recovery Team members to collaborate and convene.

- Ensure that the appropriate contact information is readily available for the ITCP Coordinator and Alternate ITCP Coordinator (refer to Appendix C for contact information).

- Copy and distribute the system outage assessment report form to the appropriate Recovery Team members (refer to Appendix C).

- If applicable, coordinate with the Building and Facility Services contact to request that the computer room’s power not be restored until an system outage assessment has been completed and determines that it is safe.

- Building access permitting, conduct a visual inspection of the server area.  Visually inspect all [Insert System Acronym] equipment for external and internal damage.  DO NOT POWER UP ANY EQUIPMENT PRIOR TO PASSING THIS INSPECTION.

- Determine whether or not the vendor should be contacted to service any affected equipment.

- Note the position of the equipment power switch during inspection.  If visual inspection determines that the switch is in the “on” position, switch it to the “off” position.

- Ensure that any hardware that is determined to be unsafe to operate is appropriately labeled.  If determined to be safe, unplug equipment from the power source.

- When equipment is ready for power up testing, advise the Building and Facility Services contact.  Stand-by until advised that power has been restored.

- Working in concert with the appropriate Recovery Team members, power up one-piece-at-a-time each of the [Insert System Acronym] components.

- Annotate the condition of each component on the system outage assessment report form.

- Determine the status of the data stored within [Insert System Acronym] and whether data backups need to be retrieved from offsite storage.

- Work with the appropriate Recovery Team members to determine the estimated time to repair/replace or reconstruct major elements of the system.

- Based on outage assessment findings, be prepared to recommend either partial or full activation of the ITCP.

- Provide a completed system outage assessment report to the ITCP Coordinator and brief the ITCP Coordinator on the overall system outage assessment findings.

The following information should be captured in the system outage assessment report:

- Cause of the system disruption, including type, scope, location, and time of disruption

- Whether the system outage is localized (this system only) or widespread

- The location of failing components and those users without service

- The impact of the disruption or components damaged

- The functional status of all system components (e.g., fully functional, partially functional, nonfunctional)

- The potential for additional disruption or system damage

- Identification of a single point of failure (if possible)

- Items to be replaced (e.g., hardware, software, firmware, supporting materials)

- Anticipated downtime of the system (e.g., longer than two days)

- Classify disruption as ‘minor system failure’ or ‘major system failure’.

A standard system outage assessment form is provided in the back of this document to assist in collecting this information (see Appendix D).  Additionally, to perform an effective assessment, it is important to have a list of available equipment, software, and data on hand (see Appendix G).  Upon completion of the system outage assessment, the ITCP Coordinator is responsible for reporting the findings of the Recovery Teams to the ITCP Director, so that a formal declaration can be made as to whether the ITCP should be activated.  For more information on activating the contingency plan, refer to Section 3.3 below.

## ITCP Activation

[Sample text is provided below; System owners should determine their own criteria for plan activation based on the specific requirements of the system and the criticality as identified in the BIA.]

After obtaining the system outage assessment report from the Recovery Team, the ITCP Coordinator will contact the ITCP Director to activate the contingency plan.  Although the Recovery Teams will make the initial determination of ‘minor’ vs. ‘major’ system failure, the ITCP Director is responsible for formal activation of the plan; therefore, to ensure recovery operations can begin as quickly as possible, it is important for the ITCP Coordinator, ITCP Director, and Recovery Team(s) personnel to be familiar with the ITCP activation criteria.  The disruption should be considered a ‘major system failure’ and ITCP activated if one or more of the following criteria are met:

- The system outage assessment reveals critical [Insert System Acronym] components supporting the system will be unavailable for more than [Insert # of hours] hours, depending on the nature of the disruption.

- The system outage assessment reveals that [Insert System Acronym] software is corrupt and will require development activities lasting longer than [Insert # of hours] hours to repair.

- The outage assessment determines the facility housing failing components for [Insert System Acronym] is damaged and will be unavailable for more than  [Insert # of hours] hours, depending on the nature of the disruption.

- Other criteria as necessary.

Activation Procedures:

- If the plan is to be activated, the ITCP Coordinator will notify the Recovery Team that ITCP activation has occurred and will begin monitoring the status of overall recovery and resumption activities as performed by the Recovery Team, as appropriate.

- Upon notification from the ITCP Coordinator, Recovery Team Leads will notify their respective team members.  Team members will be informed of all applicable information and prepared to respond.

- The Recovery Team will notify the off-site storage facility that a contingency event has been declared and to ship the necessary materials (as determined by system outage assessment) to the alternate site, if appropriate.

- The Recovery Team will notify the alternate site that the ITCP has been activated, if applicable.

- The ITCP Coordinator will notify remaining personnel and users (via notification procedures) on the general status of the disruption, as appropriate.

# RECOVERY PHASE

This section provides procedures for recovering and restoring [Insert System Acronym] services.  Recovery phase activities focus on contingency measures to recovery IT processing capabilities and restore all supporting infrastructure.  The recovery procedures provided in this section will assist [Insert System Acronym] and supporting Recovery Team personnel in recovering from a ‘major system failure’.  As noted earlier, the ITCP is not activated in the recovery of a ‘minor system failure’.

## Sequence of Recovery Activities

When recovering an system, the recovery procedures should follow a logical order based on priorities.  The RTO is the overall length of time an system’s components can be in the recovery phase of the contingency operations before negatively impacting the [Insert System Acronym] mission or business processes.  Recovery priorities are based on the RTO and the other interdependencies between system components using a 1-high priority, 2-medium priority, and 3-low priority scoring scale to sequence activities and allocate resources.  Table 3 below identifies critical IT resources/components, outage impact, RTOs, and recovery priorities.

Table 3: [Insert System Name] Component RTOs

| Component | Software (Name/Version) | RTO/Recovery Priority Sequence | System Outage Impact |
| --- | --- | --- | --- |
| Primary Database Server | Win2k/SQL 2K | 4 hours/1 | Database not accessible for the system purposes. |
| Primary Web Server | Win2k/Apache Tomcat 5.X | 4 hours/1 | Website not accessible to users. |
| Development Database Server | Win2K/SP4 | 4 hours/2 | Development server; can be brought online after primary servers are online. |
| Development Web/BizFlow Server: | Win2K/SP4 | 4 hours/2 | Development server; can be brought online after primary servers are online. |

[The information provided in the above table is an example and should be updated with information specific to the system.]

## Recovery Procedures

The following high-level procedures detail the process for recovering the [Insert System Acronym] following a significant event or disruption.  Procedures are outlined per team. [The number of teams will be dictated by the size and complexity of the System as well as by the number of personnel assigned to the System.  Also note that the same person may appear on more than one team.]  Each procedure should be executed in the sequence it is presented to maintain efficient operations.   Specific procedures for recovering key system components are documented in Appendix H.  In the event the system needs to be brought up at another site, additional resources will likely be needed to bring up the system at the new location while concurrently recovering the system at the original location.  Refer to Appendix C for contact information of appropriate recovery personnel.

[Sample text is provided below for high-level recovery procedures to map out the logical steps one should follow.  The procedures for each section 4.2.1-4.2.3 should be tailored to fit the System.  Actual detailed IT recovery procedures can be round in Appendix H .]

### Building and Facility Services

[Note: If the facility that houses the [Insert System Acronym] components has not been damaged or evacuated, proceed to Section 4.2.2 below.]

If the building that houses the failing [Insert System Acronym] component(s) is damaged or has been evacuated, the Recovery Team will contact either [Insert Recovery Team Contact POC] (who will recover the GSS, if necessary) or Building and Facility Services directly  for assistance on obtaining an estimated time that recovery personnel may safely reenter the building to begin supporting [Insert System Acronym] contingency plan operations.  During this phase of recovery operations, the following activities should occur:

- The Recovery Team should coordinate with [Insert Recovery Team Contact POC] and/or Building and Facility Services to obtain information on the physical environment of the computer room that houses the system and an estimated time that the building will be cleared for reentry by [Insert Organization] personnel.

- The Recovery Team should notify the ITCP Coordinator of the status of the physical environment and provide the estimated time for building reentry.

  - The ITCP Coordinator should adjust all recovery plan activities accordingly to reflect any delays in the restoration of power or telecommunication services that may have been temporarily damaged or disrupted, as appropriate.

- Based on information provided by the Recovery Team, the ITCP Coordinator should provide the ITCP Director with periodic updates regarding the reopening of the [Insert Organization] building and the restoration of facilities services.  [Note: In the event the computer room(s) housing the [Insert System Acronym] is not going to be available for an extended period of time (e.g., one month) the ITCP Coordinator and ITCP Director should refer to the Agency’s DRP for guidance on recovery of the [Insert System Acronym] at an alternate facility, as appropriate.]

### IT Infrastructure

Personnel will most likely be involved with this section.  If the Network Operations Recovery Team and/or the System Support Recovery Team does not apply to this system, update the text below to reflect the team that would be appropriately fit for the system.

[Note: If the GSS IT infrastructure that supports the system has not been damaged or is functioning properly, proceed to Section 4.2.3 below.]

- The ITCP Coordinator will contact Recovery Team personnel to monitor recovery status, as appropriate.

- The Network Operations Recovery Team is responsible for recovering the IT infrastructure (i.e., LAN/WAN, server hardware, operating systems, database infrastructure, etc.).

  - Recovery Team personnel should refer to their standard operating procedures for recovery of all IT components; this includes reinstalling hardware and software (i.e., operating system, etc.) that serves as the system’s platform.

  - Recovery Team personnel should contact all vendors to provide additional support, as needed.

- The Network Operations Recovery Team is also primarily responsible for obtaining and restoring data from [Insert Organization] backup facilities to assist in the restoration of all components (see Appendix J for data backup procedures); the Network Operations Recovery Team may also work in conjunction with the System Support Recovery Team to ensure seamless recovery.

- The ITCP Coordinator contacts the ITCP Director to provide periodic updates on recovery operations as they are received from the Network Operations Recovery Team.

- The Recovery Team contacts the ITCP Coordinator upon recovery of the GSS.  If the system software has also failed, proceed to Section 4.2.3 below to continue recovery operations.

### System Software

Personnel will likely be involved with this section. If the Network Operations Recovery Team and/or the System Support Recovery Team does not apply to this system, update the text below to reflect the team that would be appropriately fit for the system.

The following activities should take place during the recovery of the system:

- The ITCP Coordinator should coordinate with the System Support Recovery Team to monitor the status of overall system recovery activities.

- The System Support Recovery Team conducts all necessary activities to restore the system software and data, as appropriate (see Appendix H for system recovery procedures); the System Support Recovery Team may also work in conjunction with the Network Operations Recovery Team to ensure seamless recovery.

- In certain circumstances, the System Support Recovery Team may need the assistance of the System Developers.  The ITCP Coordination should help facilitate this coordination, as needed.

- The ITCP Coordinator contacts the ITCP Director to provide periodic updates on recovery operations as they are received from the System Support Recovery Team.

- The ITCP Coordinator contacts the ITCP Director upon the recovery of the system software, and recovery operations move into the resumption phase when the system is operating under normal conditions.

# RECONSTITUTION PHASE

This section discusses activities necessary to restore [Insert System Acronym] operations to its original state.  The goal is to provide a seamless transition from contingency to normal operations.  Resumption and recovery activities may take place concurrently, as it may be necessary for independent Recovery Teams to work concurrently during recovery operations.

## Concurrent Processing

Currently, [Insert System Acronym] [does/does not] have a designated alternate site.  [Insert the alternate site location if applicable and additional information regarding how failover will occur and concurrent processing.]

Concurrent processing is the process of operating an system at both the original and alternate sites simultaneously for a period of time before returning all operations to the original site and deactivating the alternate site operations.  In situations like this, new data will have been generated at the alternate site that will need to be backed up and restored at the original site before the original site returns to normal operations.  Otherwise, the data from the alternate site would be lost.

Should [Insert System Acronym] require switching system operations to a backup system at an alternate site, the ITCP Coordinator would coordinate with the appropriate management.  In the event that switch-over has occurred, all operations will be moved back to the original system at a pre-determined date and time once it has been agreed that the original system is fully functional and tested.  Resumption activities would then begin (see Section 5.2 for resumption activities).

## Resumption Activities

[Sample text for Reconstitution Phase Activities is provided below.  These activities should be tailored for the System being addressed.]

The following list of resumption activities should be performed:

- Once the affected [Insert System Acronym] components have been recovered, Recovery Team personnel should test all recovered components and the system using a logical sequence to ensure complete functionality has been restored (see Appendix K for a system test plan).

- Once all testing activities have been completed, the ITCP Coordinator notifies the ITCP Director that the system has been tested and is functioning properly. The ITCP Director may now make the decision to deactivate the plan (see Section 5.3 for deactivation procedures).

- Recovery Teams should return all materials, plans, and equipment used during recovery and testing back to storage or their proper location.

- All sensitive materials must be destroyed or properly returned to safe storage, as appropriate.

- Recovery Team personnel temporarily assisting other office locations during the disruption should be instructed by their respective team leaders to conclude their assistance and report back to their primary sites, if applicable.

- The ITCP Coordinator notifies all user groups regarding the resumption of normal business operations [If Applicable: “and to end secondary processing procedures”].

- ITCP deactivation then begins (see Section 5.3 for deactivation procedures).

## Plan Deactivation

Once [Insert System Acronym] has been tested and is brought back to normal operations, the ITCP Coordinator will inform the users that the system is accessible.  The ITCP Coordinator should then complete an AAR, with the assistance of the Recovery Team, as appropriate, to identify areas for improvement identified during plan activation and recovery activities (see Appendix L for a sample AAR).  This report is used to document details of the disruption, actions performed during disruption handling, and recommended steps to avoid recurrence.  A copy of this report will be provided to the ITCP Director.  The ITCP Director will then formally deactivate the plan.

# ITCP APPENDICES

[The following appendices are representative samples and should be included based on system and plan requirements.]

# APPENDIX A. DISTRIBUTION LIST AND KEY PERSONNEL ACCEPTANCE SHEET

## A.1	Distribution List

Below is the list of key personnel that should receive a copy of this plan as well as updates to the plan as they are made available.

| Name, Title | Work Phone # | Email Address |
| --- | --- | --- |
| INSERT NAME HERE, INSERT TITLE | (202) 000-0000 | John.Doe@agency.gov |

## A.2	Key Personnel Acceptance Sheet

Please return a signed copy of this form to the Designated Approving Authority (DAA) upon completion of a full examination of this report.

I, 						, have read and fully understand my roles and responsibilities as noted in the [Insert System Name] ITCP.  I understand that I may be called on to actively perform the recovery and resumption duties listed in this report in the event of an system disruption, to the best of my ability.

Signature

Date

# APPENDIX B. ITCP Org Chart

[Update diagram according to ITCP organization for this system.]

# APPENDIX C. EMERGENCY CONTACT INFORMATION

[The rule of thumb is to have at least 3 pieces of contact info for each individual – if possible.]

## C.1	Key Personnel

| [Insert System Acronym] ITCP POCs |  |  |
| --- | --- | --- |
| Key Personnel | Contact Information |  |
| ITCP Director | Work |  |
| INSERT NAME HERE, INSERT TITLE | Home |  |
| INSERT STREET/BUILDING ADDRESS | Pager |  |
| INSERT ROOM NUMBER | Cellular |  |
| INSERT CITY, STATE, AND ZIP CODE | E-mail |  |
| ITCP Director – Alternate | Work |  |
|  | Home |  |
|  | Pager |  |
|  | Cellular |  |
|  | E-mail |  |
| ITCP Coordinator | Work |  |
|  | Home |  |
|  | Pager |  |
|  | Cellular |  |
|  | E-mail |  |
| ITCP Coordinator – Alternate | Work |  |
|  | Home |  |
|  | Pager |  |
|  | Cellular |  |
|  | E-mail |  |
| Recovery Team – System Support | Work |  |
|  | Home |  |
|  | Pager |  |
|  | Cellular |  |
|  | E-mail |  |
| Recovery Team – GSS Support POC | Work |  |
|  | Home |  |
|  | Pager |  |
|  | Cellular |  |
|  | E-mail |  |
| Recovery Team – Tape Storage POC | Work |  |
|  | Home |  |
|  | Pager |  |
|  | Cellular |  |
|  | E-mail |  |

## C.2	Vendor Contact Information

[A separate table should be inserted for each vendor.]

| VENDOR INFORMATION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Vendor Number |  |  |  | Vendor Type |  |  |
| Vendor Name |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |
| City-State-Zip |  |  |  |  |  |  |
| Vendor Phone No. |  | Emergency Phone No. |  |  |  |  |
| Primary Contact Name |  | Secondary Contact Name |  |  |  |  |
| Special Instructions |  |  |  |  |  |  |
| Product |  |  |  |  |  |  |
| Model/Serial No. |  |  |  |  |  |  |
| Contract No. |  |  |  |  |  |  |
| Vendor Type Codes | H Hardware S Software O Office Supplies F Forms M Maintenance T Telecommunications A Administrative Supplies R Recovery Services |  |  |  |  |  |
| Last Updated |  |  |  |  |  |  |

# APPENDIX D. APPLICATION OUTAGE ASSESSMENT REPORT

The following report is to be used by the Recovery Team(s) to assist during the outage assessment of the system failure.

| APPLICATION OUTAGE ASSESSMENT REPORT |  |  |
| --- | --- | --- |
| Recovery Team: |  |  |
| Event Information |  |  |
| Date: | Time of Disruption: |  |
| Location: | Type of Event: |  |
| Impact to System: | Facility Damage: |  |
| Personnel Injuries: | Disruption Classification (‘Minor’ or ‘Major’) |  |
| System Information |  |  |
| POC: | Estimated Length of Disruption: |  |
| Impact on Components: |  |  |
| Component Resources Affected: |  |  |
| Type of Damage to Resource: |  |  |
| Estimated Equipment Needs: |  |  |
| Recovery Information: |  |  |
| Suggested Recovery Strategy: |  |  |
| Activation of Contingency Plan Recommended (Y) (N) |  |  |
| ITCP Coordinator Signature |  | Date/Time |
| ITCP Director Signature |  | Date/Time |

# APPENDIX E.	ACTION ITEM CHECKLIST

| Task | Completed | Completed By |
| --- | --- | --- |
| APPLICATION DISRUPTION—INITIAL NOTIFICATION | () |  |
| The ITCP Coordinator contacts the Recovery to monitor the status of overall outage assessment activities |  |  |
| - Designate a work area for the Recovery Team members to collaborate and convene. |  |  |
| - Ensure that the appropriate contact information is readily available for the ITCP Coordinator and Alternate ITCP Coordinator (refer to Appendix C). |  |  |
| - Copy and distribute the system outage assessment report form to the appropriate Recovery Team members (refer to Appendix C). |  |  |
| - If applicable, coordinate with the Building and Facility Services contact to request that the computer room’s power not be restored until an system outage assessment has been completed and determines that it is safe. |  |  |
| - Building access permitting, conduct a visual inspection of the server area. Visually inspect all [Insert System Acronym] equipment for external and internal damage. DO NOT POWER UP ANY EQUIPMENT PRIOR TO PASSING THIS INSPECTION |  |  |
| - Determine whether or not the vendor should be contacted to service any affected equipment. |  |  |
| - Note the position of the equipment power switch during inspection. If visual inspection determines that the switch is in the “on” position, switch it to the “off” position. |  |  |
| - Ensure that any hardware that is determined to be unsafe to operate is appropriately labeled. If determined to be safe, unplug equipment from the power source. |  |  |
| - When equipment is ready for power up testing, advise the Building and Facility Services contact. Stand-by until advised that power has been restored. |  |  |
| - Working in concert with the appropriate Recovery Support Team members, power up one-piece-at-a-time each of the [Insert System Acronym] components. |  |  |
| - Annotate the condition of each component on the system outage assessment report form (see system outage assessment procedures below). |  |  |
| - Determine the status of the data stored within [Insert System Acronym] and whether data backups need to be retrieved from offsite storage. |  |  |
| - Work with the appropriate Recovery and Recovery Support Team members to determine the estimated time to repair/replace or reconstruct major elements of the system. |  |  |
| - Based on outage assessment findings, be prepared to recommend either partial or full activation of the ITCP. |  |  |
| - Provide a completed system outage assessment report to the ITCP Coordinator and brief the ITCP Coordinator on the overall outage assessment findings. |  |  |
| APPLICATION OUTAGE ASSESSMENT PROCEDURES | () |  |
| Complete an system outage assessment report (see Appendix D). |  |  |
| - Check the cause of the system disruption, including type, scope, location, and time of disruption. |  |  |
| - Check whether the outage is localized (this system only) or widespread. |  |  |
| - Check the location of failing components and those users without service. |  |  |
| - Check the impact of the disruption or components damaged. |  |  |
| - Check the functional status of all system components (e.g., fully functional, partially functional, nonfunctional). |  |  |
| - Check the potential for additional disruption or system damage. |  |  |
| - Check the Identification of a single point of failure (if possible). |  |  |
| - Check Items to be replaced (e.g., hardware, software, firmware, supporting materials). |  |  |
| - Check anticipated downtime of the system (e.g., longer than two days). |  |  |
| - Classify disruption as ‘minor system failure’ or ‘major system failure’. |  |  |
| MINOR APPLICATION FAILURE | Completed |  |
| Recovery and Resumption Procedures | () |  |
| The Recovery and Recovery Support Teams contact the ITCP Coordinator to provide an estimated recovery time and begin repair of the components (i.e., the databases, servers, infrastructure or the system software). |  |  |
| The ITCP Coordinator notifies all system users that the ‘minor system failure’ is being recovered and will be functioning under normal conditions within the estimated recovery period. An alert will be sent on the status of the system and expected recovery time. |  |  |
| The minor system failure is recovered and situation is closed. |  |  |
| MAJOR APPLICATION FAILURE | Completed |  |
| Notification/Activation Procedures | () |  |
| The ITCP Coordinator reviews the system outage assessment report and contacts the ITCP Director to formally activate the contingency plan. |  |  |
| Are secondary processing procedures required? If yes, refer to Appendix I. |  |  |
| The ITCP Coordinator notifies all system users that the ‘major system failure’ is being recovered and will be functioning under normal conditions within the estimated recovery period. An alert will be sent on the status of the system and expected recovery time. |  |  |
| The ITCP Coordinator contacts the Recovery Team to begin monitoring the status of overall recovery and resumption activities. |  |  |
| Recovery Procedures – Building and Facility Services | () |  |
| The Recovery Team coordinates with the [Insert Recovery Team Contact POC] and/or Building and Facility Services to obtain an estimated time that the building will been cleared for reentry. |  |  |
| The Recovery Team provides updates to the ITCP Coordinator on the status of the building’s reopening. |  |  |
| The ITCP Coordinator provides the ITCP Director with periodic updates regarding the reopening of the building and the restoration of facilities services. |  |  |
| Recovery Procedures – IT Infrastructure | () |  |
| The Network Operations Recovery Team contacts all necessary vendors to provide additional support as needed. |  |  |
| The Network Operations Recovery Team also obtains and restores data from backup facilities to assist in the restoration of all components. |  |  |
| The ITCP Coordinator contacts the ITCP Director to provide periodic updates on recovery operations as they are received from the Network Operations Recovery Team. |  |  |
| The ITCP Coordinator contacts the ITCP Director upon the recovery of the IT infrastructure, and recovery operations move into the resumption phase if the system is operating under normal conditions. |  |  |
| Recovery Procedures – System Software | () |  |
| The ITCP Coordinator contacts the Systems Support Recovery Team to begin monitoring the status of overall recovery and resumption activities. |  |  |
| The System Support Recovery Team conducts all necessary activities to restore the system software and data. |  |  |
| The ITCP Coordinator contacts the ITCP Director to provide periodic updates on recovery operations as they are received from the System Support Recovery Team. |  |  |
| The ITCP Coordinator contacts the ITCP Director upon the recovery of the system software, and contingency operations move into the resumption phase if the system is operating under normal conditions. |  |  |
| RESUMPTION PROCEDURES | () |  |
| Recovery Team personnel test all recovered components and system software. |  |  |
| The ITCP Coordinator notifies the ITCP Director that the system has been tested and is functioning properly. |  |  |
| Recovery Team returns all materials, plans, and equipment used during recovery and testing back to storage. |  |  |
| All sensitive material is destroyed or properly returned to safe storage. |  |  |
| Recovery Team personnel assisting other offices, conclude their activities and report back to their primary sites. |  |  |
| The ITCP Coordinator notifies the user groups regarding the resumption of normal business operations. |  |  |
| The ITCP Coordinator develops an AAR and files it with the ITCP Director. |  |  |
| The ITCP Director officially deactivates the plan. |  |  |

# APPENDIX F.	SYSTEM DIAGRAM

[INSERT SYSTEM ARCHITECTURE DIAGRAM]

# APPENDIX G.	APPLICATION INVENTORY

## G.1	System Inventory

| Hardware Fields |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Property No. | Make and Model | Host Name | Physical Location | IP Address* | Description | GSS Infrastructure |

*This information was omitted due to security concerns.

| Misc Questions |  |  |  | Operating System |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Property No. | Who has Management Responsibility? | Who owns the Hardware? | Who Administers Hardware? | Product Name | Version Number | Vendor Name | Domain |

## G.2	Software Inventory

| Software Fields |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Vendor Name | Product Name | Version | Product Support (y/n) | Contract Number | Vendor Phone Number | Vendor Address | Vendor City, State Zip |
|  |  |  |  | See Appendix C.2 |  |  |  |
|  |  |  |  | See Appendix C.2 |  |  |  |
|  |  |  |  | See Appendix C.2 |  |  |  |

# APPENDIX H.	APPLICATION RECOVERY PROCEDURES

| System Resource | Location of Recovery Procedures |
| --- | --- |
| Authentication Server |  |
| Database Server |  |
| System files |  |

[*These resources should match those found in  N.2.4]

The information here will provide detailed instructions for recovering from an system failure.  Also included would be full re-install instructions.

# APPENDIX I.	SECONDARY PROCESSING PROCEDURES

Secondary processing procedures are any procedures that can be implemented (either manually or electronically) in lieu of the system to maintain business operations during the outage.  Not all systems have secondary procedures available.

If secondary procedures do exist, describe them here in a step-by-step bulleted format.  At a minimum, describe: 1) what the procedures entail, 2) who does what, 3) contact information or references to where any hard-copy documents may be obtained and where they should go (who they are filed with and how, if applicable).

If procedures are not available, include the statement that “Secondary processing is not available for this system” and delete references to secondary processing procedures throughout the ITCP (do a global search).

# APPENDIX J.	DATA BACKUP INFORMATION

*See Appendix C for the [Insert Organization] Tape Storage POC(s) and their contact information.

The following information supports the system’s data backup procedures, schedule, and details:

| Data Backup Details |  |
| --- | --- |
| Responsible group/entity/individual | [Insert Group/Entity/Individual Name, as appropriate] |
| Backup type and frequency | Daily Incremental/Weekly Full |
| Time of backup | After hours/During business hours/0700 |
| Stored off-site? | Yes/No |
| Rotation period for off-site storage | 2 Weeks/4 Weeks |
| Stored onsite? | [Insert Location] |
| Use of used backup tapes | Reused/Destroyed/Archived |
| Additional details |  |

[Insert any additional procedures or details regarding data backups.]

# APPENDIX K.	APPLICATION TEST PROCEDURES

System test procedures address activities that take place once the system has been recovered and is tested prior to being restored to normal operations.

Note to the author:  If a test plan is not available, you are responsible for developing one.  Consider the following guidelines when developing testing procedures:

- Create a step-by-step list of testing and coordination activities in accordance with each system component

- Think about what should occur first, second, third, etc. in a logical sequence for any given server

- Think about what should occur first, second, third, etc. in a logical sequence for any given database and its data (as appropriate)

- Organize the sequence of component testing (and supporting activities) in accordance with the sequence of recovery outlined in Section 4.1

- What coordination should occur and when? (i.e., Recovery Team coordinates with the users, Developers, ITCP Coordinator; ITCP Coordinator coordinates with the ITCP Director, etc.)

- Ensure that the procedures you include are specific to system TESTING and NOT recovery (that should be covered in Appendix H)

- Ensure that the procedures you include are specific to system TESTING and NOT tabletop exercises (that should be covered in Appendix P)

# APPENDIX L.	AFTER ACTION REPORT

| Type of Event | Tabletop Exercise/Functional Exercise/Live Recovery |
| --- | --- |
| Name of System | [Insert System Name and Acronym] |
| Date of Test/Live Recovery | [Date of Exercise/Recovery] |
| Testing/Live Recovery Point of Contact | [Insert the Name and Title of ITCP Director] |
| Purpose, Type of Test, and Scope or Disruption Description (describe the events that led to contingency plan implementation): |  |
| Activities and Results (action, expected results, actual results): |  |
| Actual Duration of System Outage: |  |
| Lessons Learned/Action Item Assessment: |  |

Prepared By:

# APPENDIX M.	SERVICE LEVEL AGREEMENTS (SLA)

If applicable, attach related SLAs here. If no SLAs are in place, include a statement in this appendix that states this and delete references to SLAs throughout the ITCP.

# APPENDIX N.	BUSINESS IMPACT ANALYSIS

## N.1	Administration

### N.1.1	Background

The business impact analysis (BIA) is used to identify and prioritize the components of an system by correlating them to the business processes the system supports, and by using this information to characterize the impact on the processes if the system were unavailable.

The BIA is comprised of the following activities:

- Identify system components

- Identify system outage impacts

- Identify recovery priorities.

When developing the BIA for an ITCP, there are two goals to consider: 1) recovery time objective (RTO) and 2) recovery point objective (RPO).  The RTO defines the maximum amount of time that the system can remain unavailable before there is an unacceptable impact on associated business processes.  The RPO defines the point in time to which business process data must be recovered after an system outage.

This document is used to build the [Insert System Acronym] ITCP, and is included as a key component of the ITCP.  It also may be used to support the development of other contingency plans associated with the system, including, but not limited to, the BRP.

### N.1.2	Authorities/Requirements

This BIA adheres to the policies and structures defined in Federal Government and [Insert Organization] policy and guidance documents, including organizational policy and NIST SP 800-34, Contingency Planning Guide for Information Technology Systems.

### N.1.3	Assumptions

The BIA is based on the following assumptions:

- The BIA will be reviewed, approved, and endorsed by management

- Off-site storage facilities and materials will survive an IT system disruption

- The inventory of hardware and software comprising the system is current

- The system supports one or more Business Unit sub-processes and may support one or more [Insert Organization] critical business processes (CBP) and/or administrative/infrastructure (A/I) processes.

## N.2	Business Impact Analysis

This BIA is developed as part of the contingency and disaster recovery planning process for the [Insert System Acronym].  It was prepared on [Insert BIA Date].

### N.2.1	System Purpose

[Insert information from Section 2 to address system purpose.]

[Insert System Acronym] operates at two sites located in AAA and BBB.

### N.2.2	System Stakeholders

The following table identifies the individuals, positions, and/or offices, both internal and external to the [Insert Organization], that use or support [Insert System Acronym].

| Stakeholder |  | Role |
| --- | --- | --- |
| Internal Stakeholders |  |  |
| 1 | Name , Title, and Business Unit | System Owner |
| 2 | Name , Title, and Business Unit | Core Team Lead |
| 3 | Name , Title, and Business Unit | Specialized users |
| 4 | Name , Title, and Business Unit | General users |
| External Stakeholders |  |  |
| 1 | System Integrators, Inc. | Technical Integration |
| 2 | AAA Internet | Internet connectivity |
| 3 | Training Experts, Inc. | Training material development |

Update this table as appropriate.  If there are no external stakeholders, insert the statement “There are no external stakeholders” to the appropriate section of the table.

### N.2.3	Critical Business Processes and Business Unit Sub-Processes

The following table identifies the [Insert Organization] CBP and A/I that [Insert System Acronym] supports, as applicable, as well as the associated Business Unit sub-processes.  A list of [Insert Organization] CBPs and A/I processes is provided in Section N.3, [Insert Organization] Critical Processes.

Critical Business Processes and Sub-Processes

| Business Unit | CBP or A/I ID | Sub-Process |
| --- | --- | --- |
| BU A | CBP1 | Sub-Process 1 |
| BU B | CBP2 | Sub-Process 2 |

### N.2.4	System Resources and Business Unit Sub-Processes

The following table identifies the system resources that comprise [Insert System Name], including hardware, software, and other resources.

System Resources and Sub-Processes

| System Resource | Responsible Individual/Entity |
| --- | --- |
| Authentication Server | Bob Jones, System Administrator |
| Database Server | John Doe, Windows Administrator |
| System files | Jane Doe, Developer |

### N.2.5	Outage Impact on Business Unit Sub-Processes

The table below depicts the impact on each Business Unit sub-process if [Insert System Acronym] were unavailable, based on the following criteria:

- Operational Impact: Number of users that would be impacted

  - 3 =  >1,000 users

  - 2 = 100-999 users

  - 1 = 1-99 users

  - 0 = None

- Customer Service Impact: Number of customer sites that would be impacted

  - 3 =  >1,000 customers

  - 2 = 100-999 customers

  - 1 = 1-99 customers

  - 0 = None

- Reputation Impact: Degree of scrutiny the Business Unit would come under

  - 3 = External (Congress, media, other)

  - 2 = Internal

  - 1 = Internal to Business Unit

  - 0 = None

- Loss of Irreplaceable Data: Nature of data that would be lost or unavailable

  - 3 = Data needed for purposes external to [Insert Organization]

  - 2 = Data needed for purposes internal to [Insert Organization]

  - 1 = Data needed for purposes internal to Business Unit

  - 0 = None or not applicable

Outage Impact on Business Unit Sub-Processes

| Business Unit | CBP or A/I ID | Sub-Process | Impact |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Operations | Customer Service | Reputation | Data |

[Insert clarifying information here regarding the impacts identified in the above table, as appropriate.]

[Insert description here of previous system disruptions, including impacts.  If the system has not suffered a previous disruption, state so.]

### N.2.6	Sub-Process Recovery Time Objectives and Recovery Point Objectives

The table below identifies the RTO and RPO (as applicable) for the Business Unit sub-processes that rely on [Insert System Acronym].  RTOs and RPOs are expected to be specific timeframes (i.e. 8hrs, 36hrs, 5 days, etc.), but are organized as follows:

- “At time of disaster” (ATOD)

- Less than 12 hours

- 12 hours to 36 hours

- 36 hours to 5 days

- Greater than 5 days.

Business Unit Sub-Process RTO and RPO

| Business Unit | CBP or A/I ID | Sub-Process | RTO | RPO |
| --- | --- | --- | --- | --- |

[Insert description here of the drivers for the RTOs and RPOs listed in the table above (e.g., mandate, workload, performance measure, etc.).

Insert description here of the alternate means for recovering the Business Unit sub-process(es) that rely on the system.  If none exist, so state.

Insert description here of any scheduled changes to the system, including the projected impact on the Business Unit sub-process(es).  If no changes are scheduled, so state.]

### N.2.7	Recovery Priorities for System Resources

The table below lists the system resources in the order they would be recovered in the event that [Insert System Acronym] was unavailable.  The table also identifies the expected time for recovering the system following a “worst case” disruption.

| Priority | System Resource | Expected Recovery Time |
| --- | --- | --- |
| 1 | Authentication Server | 24 hours |
| 2 | Database Server | 24 hours |
| 3 | System files | 24 hours |

## N.3	[Insert Organization] Critical Business Processes

The organization-wide business continuity planning effort identifies the organization’s most critical business processes and administrative/infrastructure processes, based on data provided by each Business and Functional Operating Division (BOD/FOD).  The tables below list the CBPs and A/I processes.

Critical Business Processes

# APPENDIX O.	RELATED CONTINGENCY PLANS

The [Insert System Acronym] system resides on the [Insert Appropriate GSS] GSS infrastructure and relies on the [Insert Appropriate GSS] GSS ITCP, dated [Insert Date of Document] for infrastructure recovery activities.  The system physically resides at the [Insert Facility or Campus Name] and therefore relies on the [Site Name] DRP, dated [Insert Document Date] for disaster recovery activities.  The following plans also support [Insert System Acronym] recovery activities:

- [List any additional document titles that support this system – titles should be italicized.], dated [Insert Date of Document]

[Complete a list of any other related plans and/or related information for other systems that will be needed to carry out this plan (i.e., plans that this system is dependent upon)].  This should correspond with plans listed in Section 1.2 and will likely include, at a minimum, the GSS ITCP that the system resides on and the site DRP.  When referencing the documents, be sure to use complete references with titles, version number, and date, when available.]

# APPENDIX P.  TEST, TRAINING, AND EXERCISE (TT&E)

To ensure an effective and viable contingency plan, annual training, testing, and exercising of the [Insert System Acronym] ITCP should be conducted.  This process will range from familiarizing staff with the plan to exercising parts of the plan (e.g., notification/activation phase) to full-scale tests of the entire [Insert System Acronym] notification/activation, recovery, and reconstitution process.  This section defines procedures and standards for developing a test, training, and exercise (TT&E) program.  The section also discusses methods for maintaining, updating, and distributing the ITCP to all responsible personnel to ensure an active state of readiness.

## P.1	TT&E Program Overview

A successful contingency plan depends on the ability of [Insert Organization] personnel to perform their responsibilities efficiently and correctly.  Training provides a means to enhance personnel familiarity with the ITCP and to increase their ability to implement the plan properly.  Testing and exercising the plan helps ensure that the procedures in the plan are viable and likely to work during an actual contingency event.

Specific objectives of an effective TT&E program will include:

- Ensure that [Insert Organization] personnel are familiar with the ITCP and the alert/notification, recovery and reconstitution procedures

- Validate ITCP policies and procedures

- Exercise procedures through the use of tabletop and functional exercises, as appropriate

- Ensure that software, backup data, and records required to support recovery are available.

The ITCP Director has overall responsibility for coordinating the development of a comprehensive ITCP TT&E program for the [Insert System Acronym]. The ITCP Director may, however, delegate all or parts of this responsibility to others, such as the ITCP Coordinator.  Sample training materials are provided in Section P.3.  Summary results from training exercises are included in Section P.4.

## P.2	TT&E Program Components

An effective TT&E program should include at a minimum the following four components:  1) developing and preparing for the exercise, 2) training and executing the exercise, 3) documenting exercise results and lessons learned, and 4) plan maintenance.

### P.2.1	Exercise Development and Preparation

Planning is key to the success of the exercise. Participants involved in the exercise include internal and external sources such as Agency leadership, IT specialists, ITCP specialists, system owners, and key individuals who support the system.  Planning activities include, but is not limited to, the following:

- Review guidance

- Delineate scope based on system impact, logistics, and scenario

- Identify participants, roles, and teams

- Develop schedules

- Develop an appropriate scenario that touches on each part of the ITCP.

All members of the ITCP team, including alternate (i.e., backup or successor) personnel should participate in the ITCP exercise. It is essential for all participants to have a comprehensive knowledge of the ITCP prior to the exercise.  The leadership team should ensure that all managers and staff have a thorough understanding of their ITCP roles and responsibilities.  Basic ITCP training and annual refresher training should be conducted for all ITCP personnel to ensure their readiness for an emergency and to prepare for the ITCP exercise.  This training should also include on-site staff orientations at each designated alternate location, as well as ongoing training for new employees who would have involvement in contingency plan activation.

### P.2.2	Exercise Training and Execution

Training familiarizes personnel with the contingency planning process by walking them through the actual ITCP and then simulating the ITCP phases (notification/activation, recovery, and resumption).  This method allows areas to be identified that may require additional development—either with personnel training or with revising and updating the ITCP.  ITCP training should be coordinated by the ITCP Director and the Office of Disaster Recovery to ensure that all major elements and components of the [Insert System Acronym] are tested.

[Insert Organization] personnel should receive training on the ITCP and participate in an exercise at least once annually.  Training should include, but not be limited to, the following areas of the [Insert System Acronym]  ITCP:

- Purpose of the plan

- Cross team coordination and communication

- Reporting procedures

- Team specific processes (notification/activation, recovery, reconstitution phases)

- Individual responsibilities (notification/activation, recovery, reconstitution phases).

Executing the ITCP and system recovery activities enables key ITCP personnel to practice what was learned through participating in the ITCP training.  This furthers each key ITCP personnel’s general understanding of the processes and their involvement during each phase of the ITCP.  Conducting exercises assists in validating the ITCP and allows management the opportunity to improve the process and overall efficiency when recovering the system during actual contingency events.

The table below describes ITCP training and exercise options for low, moderate, and high availability systems.

ITCP Training and Exercise Options Based on System Availability Type

| Exercise Type | Description | System Availability Type |
| --- | --- | --- |
| Orientation | A seminar and/or briefing used to familiarize participants with the overall ITCP purpose, phases, activities, and key ITCP roles and responsibilities | Low |
| Tabletop Exercise | Simulates emergency situation in an informal, stress-free environment; designed to elicit constructive scenario-based discussions for an examination of the existing ITCP and individual state of preparedness | Low /Moderate |
| Functional Exercise | Used to validate the capability of an organization to respond to a simulated emergency, in order to test one or more functions of the plan | Moderate/High |
| Full Scale Exercise | Simulates an actual emergency; intended to evaluate operational ITCP procedures and capabilities under simulated stressful conditions | High |

#### P.2.2.1	Tabletop Exercises

A tabletop exercise (also called a classroom exercise) is acceptable for most moderate impact systems.  The most important elements are that the actual individuals involved in the recovery process participate in the exercise and that the exercise formally addresses all of the elements of the ITCP.

In a tabletop exercise, the triggering disruption, detection, notification/activation, recovery and reconstitution are simulated.  The prepared scenario is used to talk through the ITCP in order to demonstrate how system recovery would be achieved.  Tabletop exercises should include, but not be limited to, the following objectives:

- Walk through the procedures described in the ITCP

- Simulate each step within the ITCP as rigorously as possible

- Include only references to personnel and other resources that are located away from the site where the disruption occurs, if applicable

- Talk through each individual’s respective role and responsibilities

- Illustrate a timeline with reasonable times for events for the system to be brought to operational status

- Discuss Recovery Teams and team members along with their respective roles and responsibilities

- Discuss re-establishing authorized system access

- Train individuals and teams involved during a contingency event

- Validate ITCP processes and procedures

- Identify key ITCP personnel and their respective roles and responsibilities

- Identify any ITCP shortfalls and update and improve the ITCP, as needed.

Tabletop exercises are more basic and least costly of the two types of exercises and should be conducted before performing a functional exercise.

#### P.2.2.2	Functional Exercises

Functional exercises are more in-depth than tabletop exercises and include simulations or war gaming.  Often, scripts are provided for role players who pose as external contacts required during the recovery scenario.  A functional exercise may also include an actual relocation to an alternate site or switchover of system operations, as appropriate.  Functional exercises may also be more limited in their scope than the tabletop exercises.  For example, a functional exercise may only exercise the notification procedures (i.e., call-tree and/or email notification) of a contingency plan.

Exercise activities are usually under a time constraint and an evaluation or critique is usually held at the end of the exercise.  A functional exercise is recommended for moderate to high availability systems when a full-scale exercise cannot be conducted.  Functional exercises should include, but not limited to, the following objectives:

- Demonstrate that the system can be brought to an operational status by following the procedures and instructions described in the plan

- Verify that the organizational units responsible for the contingency plan fully understand their responsibilities and are able to implement them in a timely manner

- Verify that the system is brought to an operational condition within the recovery time objective

- Verify that system information is restored to the expected state, so that operations can resume in a synchronized manner

- Verify that access to the system’s information by authorized users has been re-established.

#### P.2.2.3	Sample Scheduling

An exercise schedule should include the time frames and purpose for the activities: developing the exercise scenario, executing the exercise, and documenting the exercise results.  Exercises should be performed at least annually to ensure that the ITCP is up-to-date in the event of a system failure.  The table below describes a sample schedule for conducting test, training, and exercises.

Sample Schedule for Conducting Test, Training, and Exercises

| Activity | Frequency |
| --- | --- |
| Test |  |
| Test ITCP notification/activation procedures | Quarterly |
| Test recovery of vital classified and unclassified records, critical information systems, services, and data | Semi-Annually |
| Test ITCP communications | Quarterly |
| Test primary and backup infrastructure systems and services at alternate operating facilities (e.g., power, water, fuel) | Annually |
| Training |  |
| Train ITCP awareness for entire workforce | Annually |
| Train ITCP essential personnel | Annually |
| Train teams for agency personnel (host or contractor personnel) to activate, support, and sustain ITCP operations at alternate operating facilities | Annually |
| Complete tabletop exercise that incorporates ITCP essential personnel | Annually |
| Conduct a comprehensive debriefing after each exercise for the participants to identify systemic weaknesses in plans and procedures and recommend ITCP revisions | Annually |
| Provide orientation for new employees including officials and senior level personnel | On-going |
| Exercise |  |
| Demonstrate familiarity with ITCP, by essential ITCP personnel, and show capability to continue essential functions before, during, and after a crisis situation | Annually |
| Carry-out the deliberate and pre-planned movement of ITCP personnel to an alternate operating facility | Annually |
| Demonstrate communications capabilities and inter/intra agency and business unit dependencies | Annually |

### P.2.3	Documenting Exercise Results

During the exercise, lessons learned will be captured and recorded in the Summary Results section (refer to Section P.4).  Exercise results are derived from the actions taken by participants during the exercise.  Any lessons learned during the exercise should be used to make changes to the ITCP and thus improving the effectiveness of the plan.

### P.2.4	Plan Maintenance

The ITCP is a living document that must be maintained and updated annually, or as major changes are made to the system – whichever is more frequent.  The ITCP Director is responsible for maintaining, testing, and updating the plan in keeping with the activities shown in the table below.  However, the ITCP Director may delegate all or parts of this responsibility as appropriate.  The ITCP Director should coordinate with key individuals in planning exercise schedules and objectives, analyzing exercise documentation and results, and monitoring major changes to [Insert System Acronym].  To ensure that the plan maintains a current state of readiness, it is important to keep the following maintenance schedule:

- Review and update the plan annually or more frequently based on significant changes to  [Insert System Acronym]

- Review and update the contact sheets and vendor information semi-annually or more often, as necessary

- Update the plan when test results indicate procedural changes.

Plan maintenance should focus on the following elements:

- Operation requirements

- Security requirements

- Technical requirements

- Hardware, software, and other types of equipment (types, specifications, amount)

- Names and contact information of team members

- Names and contact information of vendors including alternate and off-site POCs

- Alternate and offsite facility information

- Vital records (electronic and hardcopy).

Plan Maintenance

| Activity | Frequency |
| --- | --- |
| Review plans for accuracy of operational procedures, technical components, controls, and organizational structure | Annually (at least), On-going |
| Update call lists and organizational charts for essential personnel | Semi-annually, On-going |
| Incorporate lessons learned and change in policy and philosophy | Upon significant changes to components, configurations, organizational structure, or controls |
| Manage distribution of plan updates | Following tests and exercises |

### P.2.5	After Action and Summary Reports

Following the conduct of an exercise, two reports should be generated.  The first report is an after action report.  The after action report is intended to capture detailed lessons learned and observations from the exercise and should highlight areas to improve the ITCP (refer to Section P.4.1.1 for an after action report).  The lessons learned and observations identified during the exercise should be used to guide ITCP revisions and to pinpoint ITCP concepts and processes that require further development and training, as appropriate.

The second report, the summary report, provides a high level summary of the more detailed after action report and is meant for executives to get a quick overview of the outcome of the exercise (refer to Section P.4.1.2 for a summary report).

### P.3	TT&E Materials

### P.3.1	Agenda

The exercise agenda should be developed to support the tabletop or functional exercise concepts,  training format, and established objectives.  The specific day and time of the exercise should be coordinated with key ITCP participants to ensure maximum participation.

### P.3.2	Scenario

The general scenario is a brief narrative that sets the stage for the exercise.  The development of a general scenario should approximate the event that would trigger activation of the ITCP.  This general scenario should be developed in a manner that will lead to discussion of the ITCP phases of notification/activation, recovery, and reconstitution.  In addition, the scenario should clearly indicate whether the decision to activate the ITCP will be conducted ‘with warning’ or ‘without warning,’ and whether it occurs during normal business hours or non-business hours.  Prior to the exercise, all participants should be provided with the scenario and exercise script that will be used.

A sample scenario and tabletop exercise script is provided below:

Scenario:

A routine outage is planned for the server that supports the [Insert System Acronym] for the purposes of routine maintenance.  When the server is rebooted, the server returns to normal operations, but the [Insert System Acronym] does not.

Based on the expected outage, it is determined to be a major failure.  The [Insert System Acronym] ITCP will need to be activated and the system recovered and returned to full operational status.

Sample Scenario and Exercise Script

| Pre-Outage Preparations |  |  |  |  |
| --- | --- | --- | --- | --- |
| A routine outage is planned for the server that supports the [Insert System Acronym] for the purposes of routine maintenance. Are there any preparations that would be made in preparation for the disruption to system’s availability? If so, what are they and who would make them? |  |  |  |  |
| Activity | Action Taken |  |  | Observations |
|  | Y | N | N/A |  |
| What key activities must be completed? Who will complete the activities? (specific names and/or job titles) |  |  |  |  |
| What information is needed to make effective decisions? |  |  |  |  |
| What tools and resources (e.g., hardware, software, tape backups) do you need? |  |  |  |  |
| What internal coordination needs to take place? What key individuals would need to be alerted? What is their relationship to the system? |  |  |  |  |
| What external coordination needs to take place? Who are the individuals and what is their relationship to the system? |  |  |  |  |
| Notification/Activation |  |  |  |  |
| When the server is rebooted, it returns to normal operations, but the [Insert System Acronym] does not. What activities should occur? The outage is categorized as a major system failure. Who will be notified? What steps will be taken to activate the plan? |  |  |  |  |
| Activity | Action Taken |  |  | Observations |
|  | Y | N | N/A |  |
| What key activities must be completed during the notification/activation phase? Who will complete the notification/activation activities? (specific names and/or job titles) |  |  |  |  |
| What information is needed to make effective decisions? |  |  |  |  |
| What tools and resources (e.g., hardware, software, tape backups) are needed? |  |  |  |  |
| What internal support and coordination is needed? What key individuals would need to be involved? What is their relationship to the system? |  |  |  |  |
| What external support and coordination is needed? Who are the individuals and what is their relationship to the system? |  |  |  |  |
| Recovery |  |  |  |  |
| The [Insert System Acronym] is not operating. What steps need to be taken to recover the system? |  |  |  |  |
| Activity | Action Taken |  |  | Observations |
|  | Y | N | N/A |  |
| What key activities must be completed during the recovery phase? Who will complete the recovery activities? (specific names and/or job titles) |  |  |  |  |
| In what sequence should the system components be recovered? Approximately how long will it take to recover each component? |  |  |  |  |
| What information is needed to make effective decisions? |  |  |  |  |
| What tools and resources (e.g. hardware, software, tape backups) are needed? |  |  |  |  |
| What internal support and coordination is needed? What key individuals would need to be involved? What is their relationship to the system? |  |  |  |  |
| What external support and coordination is needed? Who are the individuals and what is their relationship to the system? |  |  |  |  |
| Reconstitution |  |  |  |  |
| The [Insert System Acronym] has been recovered. As recovery activities are terminated, what steps need to be taken to return to normal operations? |  |  |  |  |
| Activity | Action Taken |  |  | Observations |
|  | Y | N | N/A |  |
| What key activities must be completed during the reconstitution phase? Who will complete the reconstitution activities? (specific names and/or job titles) |  |  |  |  |
| What information is needed to make effective decisions? |  |  |  |  |
| What tools and resources (e.g., hardware, software, tape backups) are needed? |  |  |  |  |
| What internal support and coordination is needed? What key individuals would need to be involved? What is their relationship to the system? |  |  |  |  |
| What external support and coordination is needed? Who are the individuals and what is their relationship to the system? |  |  |  |  |
| Plan Deactivation |  |  |  |  |
| Normal operations have been restored. What activities will be taken to deactivate the plan? |  |  |  |  |
| Activity | Action Taken |  |  | Observations |
|  | Y | N | N/A |  |
| What key activities must be completed to deactivate the plan? |  |  |  |  |
| Who’s role is it to officially deactivate the plan? |  |  |  |  |
| Who has responsibility for completing the after action report? What is done with the after action report once it is completed? |  |  |  |  |
| Lessons Learned and Comments |  |  |  |  |
| Lessons Learned: During the [Insert System Acronym] TT&E, participants discussed their individual and collaborative roles and responsibilities in the case that the system experienced a minor or major failure. The participants discussed how they would respond to the three phases of the ITCP: notification/activation, recovery, and reconstitution. The following information was determined: |  |  |  |  |

### P.3.3	Presentation Materials

### [Insert material presented during TT&E]

### P.3.4	After Action and Summary Reports

Following the conduct of an exercise, two reports should be generated.  The first report is an after action report.  The after action report is intended to capture detailed lessons learned and observations from the exercise and should highlight areas to improve the ITCP (refer to Section P.4.1.1 for an after action report).  The lessons learned and observations identified during the exercise should be used to guide ITCP revisions and to pinpoint ITCP concepts and processes that require further development and training, as appropriate.  The second report, the summary report, provides a high level summary of the more detailed after action report and is meant for executives to get a quick overview of the outcome of the exercise (refer to Section P.4.1.2 for a summary report).

## P.4	Exercise Results

### P.4.1	Summary Report

In accordance with the [Insert Organization]contingency plan testing guidance, the exercise summary results from the exercise conducted on [Insert Exercise Date] are as follows:

| Type of Event | Tabletop Exercise/Functional Exercise/Live Recovery |
| --- | --- |
| Name of System | [Insert System Name and Acronym] |
| Date of Test | [Insert Date of Exercise] |
| Testing Point of Contact | [Insert the Name and Title of ITCP Director] |
| Purpose, Type of Test, and Scope: |  |
| The purpose of this tabletop exercise is to train the appropriate key individuals, test and exercise the ITCP procedures, and to ensure the viability of the ITCP. The scope of this tabletop exercise applies to the [Insert System Acronym] system as it is installed at the [Insert street address where production system resides] facility in [City, State]. This exercise only applies to the [Insert System Acronym] system and not the GSS that it relies on for infrastructure support. |  |
| Objectives: |  |
| The objectives of this tabletop exercise are to: - Train individuals and teams involved during a contingency event - Identify key ITCP personnel and their respective roles and responsibilities - Talk through the procedures described in the [Insert System Acronym] ITCP - Validate ITCP processes and procedures - Validate that the specified times that the system can be recovered in are realistic - Identify any ITCP shortfalls and update and improve the ITCP, if applicable. |  |
| Methodology: |  |
| Key individuals will first be trained on the [Insert System Acronym] ITCP and then talked through a mock scenario to simulate a [Insert System Acronym] system failure. This simulation will touch on all areas of the [Insert System Acronym] ITCP. |  |
| Activities and Results (action, expected results, actual results): |  |
| Activities: During the training portion, participants were walked through the [Insert System Acronym] ITCP. The procedures and processes outlined in the ITCP were explained and each key ITCP personnel’s role and responsibilities were discussed, defined, and described. Key appendices were also discussed and crucial recovery information was highlighted. During the test/exercise, participants were presented with a mock scenario that required ITCP activation and recovery of the [Insert System Acronym] [List specific system components that were included in the exercise]. The scenario touched on each phase of the ITCP. Participants were prompted with questions aimed at promoting discussion and collaboration. The [Insert System Acronym] components were successfully recovered during the mock scenario. |  |
| Expected Results: For the training portion, participants were expected to become familiar with their roles and responsibilities as well as the processes and procedures outlined in the ITCP. For the test/exercise, participants were encouraged to actively contribute and to talk through the scenario. It was also expected that the current ITCP would be further validated by the open discussion that the exercise format can generate. Actual Results: For the training portion, participants were trained on the [Insert System Acronym] ITCP. They were walked through key areas of the ITCP. Every ITCP role and responsibility was discussed and appropriate individual identified for each. Adequate training was achieved. For the test/exercise, [Insert Relevant Info]. |  |
| Action Item Assessment: |  |
| [Insert information describing any action items that resulted from conducting the exercise; also include how those items were addressed.] |  |

[A separate section should be created for each actual exercise - classroom or functional -  that has been performed.  Each exercise should start on a separate page to facilitate ease in extraction for delivery to the ITCP Director with the most recent exercises listed first.]

### P.4.2	Exercise After Action Report

Agenda

Date:  		[Insert Exercise Date]

Location:	[Insert Location]

[Insert Exercise Time] EST

Participants

The following list of individuals participated in the for [Insert System Acronym] [Insert Exercise Date] exercise.

Exercise Participants

| Name | Business Unit | ITCP Role |
| --- | --- | --- |

C&A Team Participants

| Name | Role |
| --- | --- |
| [Insert Name] | ITCP Author and Tabletop Exercise Facilitator |
| [Insert Name] | [Include roles of other C&A team participants)] |
| [Insert Name] | [Include roles of other C&A team participants] |

Scenario:

A routine outage is planned for the server that supports the [Insert System Acronym] for the purposes of routine maintenance.  When the server is rebooted, the server returns to normal operations, but the [Insert System Acronym] does not.

Based on the expected outage, it is determined to be a major failure.  The [Insert System Acronym] ITCP will need to be activated and the system recovered and returned to full operational status.

Exercise Script

| Pre-Outage Preparations |  |  |  |  |
| --- | --- | --- | --- | --- |
| A routine outage is planned for the server that supports the [Insert System Acronym] for the purposes of routine maintenance. Are there any preparations that would be made in preparation for the disruption to system’s availability? If so, what are they and who would make them? |  |  |  |  |
| Activity | Action Taken |  |  | Observations |
|  | Y | N | N/A |  |
| What key activities must be completed? Who will complete the activities? (specific names and/or job titles) |  |  |  |  |
| What information is needed to make effective decisions? |  |  |  |  |
| What tools and resources (e.g., hardware, software, tape backups) do you need? |  |  |  |  |
| What internal coordination needs to take place? What key individuals would need to be alerted? What is their relationship to the system? |  |  |  |  |
| What external coordination needs to take place? Who are the individuals and what is their relationship to the system? |  |  |  |  |
| Notification/Activation |  |  |  |  |
| When the server is rebooted, it returns to normal operations, but the [Insert System Acronym] does not. What activities should occur? The outage is categorized as a major system failure. Who will be notified? What steps will be taken to activate the plan? |  |  |  |  |
| Activity | Action Taken |  |  | Observations |
|  | Y | N | N/A |  |
| What key activities must be completed during the notification/activation phase? Who will complete the notification/activation activities? (specific names and/or job titles) |  |  |  |  |
| What information is needed to make effective decisions? |  |  |  |  |
| What tools and resources (e.g., hardware, software, tape backups) are needed? |  |  |  |  |
| What internal support and coordination is needed? What key individuals would need to be involved? What is their relationship to the system? |  |  |  |  |
| What external support and coordination is needed? Who are the individuals and what is their relationship to the system? |  |  |  |  |
| Recovery |  |  |  |  |
| The [Insert System Acronym] is not operating. What steps need to be taken to recover the system? |  |  |  |  |
| Activity | Action Taken |  |  | Observations |
|  | Y | N | N/A |  |
| What key activities must be completed during the recovery phase? Who will complete the recovery activities? (specific names and/or job titles) |  |  |  |  |
| In what sequence should the system components be recovered? Approximately how long will it take to recover each component? |  |  |  |  |
| What information is needed to make effective decisions? |  |  |  |  |
| What tools and resources (e.g. hardware, software, tape backups) are needed? |  |  |  |  |
| What internal support and coordination is needed? What key individuals would need to be involved? What is their relationship to the system? |  |  |  |  |
| What external support and coordination is needed? Who are the individuals and what is their relationship to the system? |  |  |  |  |
| Reconstitution |  |  |  |  |
| The [Insert System Acronym] has been recovered. As recovery activities are terminated, what steps need to be taken to return to normal operations? |  |  |  |  |
| Activity | Action Taken |  |  | Observations |
|  | Y | N | N/A |  |
| What key activities must be completed during the reconstitution phase? Who will complete the reconstitution activities? (specific names and/or job titles) |  |  |  |  |
| What information is needed to make effective decisions? |  |  |  |  |
| What tools and resources (e.g., hardware, software, tape backups) are needed? |  |  |  |  |
| What internal support and coordination is needed? What key individuals would need to be involved? What is their relationship to the system? |  |  |  |  |
| What external support and coordination is needed? Who are the individuals and what is their relationship to the system? |  |  |  |  |
| Plan Deactivation |  |  |  |  |
| Normal operations have been restored. What activities will be taken to deactivate the plan? |  |  |  |  |
| Activity | Action Taken |  |  | Observations |
|  | Y | N | N/A |  |
| What key activities must be completed to deactivate the plan? |  |  |  |  |
| Who’s role is it to officially deactivate the plan? |  |  |  |  |
| Who has responsibility for completing the after action report? What is done with the after action report once it is completed? |  |  |  |  |
| Lessons Learned and Comments |  |  |  |  |
| Lessons Learned: During the [Insert System Acronym] exercise, participants discussed their individual and collaborative roles and responsibilities in the case that the system experienced a minor or major failure. The participants discussed how they would respond to the three phases of the ITCP: notification/activation, recovery, and reconstitution. The following information was determined: |  |  |  |  |

# APPENDIX Q.	GLOSSARY

Accreditation – The approval granted by management for an information system, system, network or network component to process sensitive information in its operational environment.  Accreditation is based on the certification implementation of the security plan, reliable and independent technical information sources, and other management considerations.

Alternate Site – A location, other than the primary location, used to continue operational capabilities during a significant system disruption.

Business Continuity Plan (BCP) – A comprehensive plan written for maintaining essential business operations while recovering from a significant disruption.

Certification – An independent technical evaluation for the purpose of accreditation which uses security requirements as the criteria for the evaluation.

Critical Business Process(es) (CBP): The [Insert Organization] has identified and prioritized its top Critical Business Processes and Administrative/ Infrastructure Processes. These processes are distributed over all divisions, and are used as the qualifying criteria to determine the priority for recovering, restoring, resuming CBPs and sub-processes at each organization site.

Data – A representation of facts, concepts, or instructions in a formalized manner suitable for communication, interpretation, or processing by humans or by automatic means.

Disaster Recovery Plan – a plan designed to restore operability of the target system, system, or computer facility at an alternate site following a significant disruption. The DRP scope may overlap that of an IT contingency plan; however, the DRP is narrower in scope and does not address minor disruptions that do not require relocation.

Hardware – The mechanical, magnetic, electrical, and electronic devices or components of an information system.

Information System – An assembly of computer hardware, software, or firmware configured to collect, create, communicate, compute, disseminate, process, store, and control data or information.  An information system will consist of automated data processing system hardware, operating system and system software, peripheral devices, and associated data communications equipment.

Information Technology Contingency Plan – Support plans designed to ensure continuity of general support systems and major systems following a disruption.

Secondary Processing Procedures – Procedures that can be initiated in lieu of the system to maintain business operations during an outage.

Occupant Evacuation Plan (OEP) – Response procedures for occupants of a facility to evacuate or find safety in the event of a situation posing a potential threat to the health and safety of personnel, the environment, or property.

Operating System (OS) – An organized collection of techniques, procedures, programs or routines for operating an information system, usually supplied by the system hardware vendor.

Recovery Point Objective (RPO): The point in time to which systems and data must be recovered after an outage. (e.g. end of previous day's processing). RPOs are often used as the basis for the development of backup strategies, and as a determinant of the amount of data that may need to be recreated after the systems or functions have been recovered.

Recovery Time Objective (RTO): The period of time within which systems, systems, or functions must be recovered after an outage (e.g. one business day). RTOs are often used as the basis for the development of recovery strategies, and as a determinant as to whether or not to implement the recovery strategies during a disaster situation.

Relocation – The transferring of resources from the primary facility to an alternate location following a disaster that has prevented continued use of the original location.

User – An Individual(s) who accesses information systems to use programs or systems in order to perform an organizational task.

# APPENDIX R.	ACRONYM LIST

Make sure that all acronyms used in the document are accounted for here.  Additionally, ensure that all acronyms identified in this list are accounted for in the document text.

| Term/Abbreviation | Description |
| --- | --- |
| A/I | Administrative/Infrastructure |
| AAR | After Action Report |
| ATOD | At Time of Disaster |
| BCP | Business Continuity Plan |
| BIA | Business Impact Analysis |
| BOD | Business Operation Division |
| BRP | Business Resumption Plan |
| CBP | Critical Business Process(es) |
| DAA | Designated Approving Authority |
| DRP | Disaster Recovery Plan |
| GSS | General Support System |
| HR | Human Resource |
| HVAC | Heating, Ventilation, and Air-Conditioning |
| IP | Internet Protocol |
| IT | Information Technology |
| ITCP | Information Technology Contingency Plan |
| LAN | Local Area Network |
| NIST | National Institute of Standards and Technology |
| OEP | Occupant Evacuation Plan |
| PII | Personally Identifiable Information |
| POC | Point of Contact |
| RPO | Recovery Point Objective |
| RTO | Recovery Time Objective |
| SP | Special Publication |
| SLA | Service Level Agreement |
| SSP | System Security Plan |
| TT&E | Test, Training, and Exercise |
| UPS | Uninterruptible Power Supply |
| WAN | Wide Area Network |

More information on the RTO may be found in Appendix N of this document.

Off-site tape storage is not required for applications categorized as “Low” per NIST 800-53.  Therefore this application may only have backup tapes stored locally and not also at an off-site facility.

System resources are inventoried in Appendix G of this ITCP.

The RTO measures the maximum acceptable length of time that may elapse before unavailability of the application causes an unacceptable impact on the Business Unit sub-process(es).  The RPO identifies the point in time to which sub-process data must be recovered.