CFTC SITE SURVEY OF DATA CENTER

AREAS OF INTEREST

# Physical Security

## External

Anonymity

Protection (Barriers, Patrols)

Observation (Lights, Cameras and Monitoring Station)

Entry Points

Locks, Guards, Logs, Mantraps

## Internal

Access Control (Passkeys, Compartmentalization, Creation and Review of Logs, Identification and Escort Requirements, Use of Cages/Rooms)

Observation (Cameras, Video Recording, Tape Maintenance and Review)

## Environmental Controls

Detection of smoke, heat, sound, water, humidity

Fire suppression systems

HVAC systems

Power plant (multiple power supplies, internal distribution and switching systems, UPS systems, testing)

## Telecommunications

Multiple carriers

Internal distribution and switching systems

### Capacity Planning

### Testing

# Network Management

Control Center (location, staffing, scope of responsibility, monitoring systems, escalation procedures)

# System Configuration

Redundancy

Logical security (firewalls, IDS, DMZ, log management, backups)

Change management (plan review, authorization, testing)

Performance characteristics