Add solid samples to the internal corrosion part of the form. A completed Standard Inspection Report is to be submitted to the Director within 60 days from completion of the inspection.  A Post Inspection Memorandum (PIM) is to be completed and submitted to the Director within 30 days from the completion of the inspection, or series of inspections, and is to be filed as part of the Standard Inspection Report.

| Inspection Report | Post Inspection Memorandum |
| --- | --- |
| Inspector/Submit Date: |  | Inspector/Submit Date: Peer Review/Date: Director Approval/Date: |  |
| POST INSPECTION MEMORANDUM (PIM) |
| Name of Operator: |  | OPID #: |  |
| Name of Unit(s): |  | Unit #(s): |  |
| Records Location: |  |
| Unit Type & Commodity: |  |
| Inspection Type: |  | Inspection Date(s): |  |
| PHMSA Representative(s): |  | AFO Days: |  |

Summary:

Findings:

| Name of Operator: |  |
| --- | --- |
| OP ID No. () | Unit ID No. (1) |
| HQ Address: | System/Unit Name & Address: (1) |
| Co. Official: Phone No.: Fax No.: Emergency Phone No.: |  | Activity Record ID No.: Phone No.: Fax No.: Emergency Phone No.: |  |
| Persons Interviewed | Title | Phone No. |
| PHMSA Representative(s) (1) | Inspection Date(s) (1) |
| Company System Maps (Copies for Region Files): |  |

Counties of Operation: (list each field separately)

Storage Field(s) Description: (list each field separately)

Inspection Summary:

The attached evaluation form should be used in conjunction with 49CFR Parts 191 and 192.

| PIPE TYPE |
| --- |
|  | Bare steel | Coated steel | Ineffectively Coated | Pre70-ERW | Plastic | Other: must specify type |
| Footage/Mileage |  |  |  |  |  |  |

| PIPE SPECIFICATIONS (2” AND LARGER) |
| --- |
| Diameter(s) |  |  |  |  |  |  |
| Pipe Grade(s) |  |  |  |  |  |  |
| Wall Thickness(s) |  |  |  |  |  |  |
| Footage/Mileage |  |  |  |  |  |  |

WELL STIMULATION

| ACIDIZING |
| --- |
| Acidizing treatments used to stimulate the wells? Yes No |
| Type(s) of acids used in treating the wells: |  |
| Type(s) of inhibitors used with the acid(s): |  |
| Frequency of the treatments: |  | Volume of acid per treatment: |  |
| Well cleanup procedure following treatment: |  |
| If treatment is flowed back into the well/injection line, criteria used to determine that the treatment will not cause internal corrosion or erosion of the pipe: |  |
| FRACTURING |
| Fracturing treatments used to stimulate the wells? Yes No |
| Type(s) of fracturing fluids used in treating the wells: |  |
| Type(s) of inhibitors used with the fracturing fluid(s): |  |
| Frequency of the treatments: |  | Amount of sand per treatment: |  |
| Well cleanup procedure following treatment: |  |
| If treatment is flowed back into the well/injection line, criteria used to determine that the treatment will not cause internal corrosion or erosion of the pipe: |  |

GAS and LIQUID HANDLING FACILITIES

| GAS COMPRESSION |
| --- |
| Location of compressors: |  |
| Number, Size (HP), and Date of Installation of Units: |  |
| GAS DEHYDRATION |
| Location of dehydration units: |  |
| Type(s) of dehydration process used: |  |
| Number of dehydration units: |  | Dehydration capacity: |  |
| GAS SWEETENING (Acid Gas Treating) |
| Location of sweetening units: |  |
| Type(s) of sweetening process used: |  |
| Number of sweetening units: |  | Sweetening capacity: |  |
| GAS / LIQUID SEPARATION |
| SCRUBBERS / SEPARATORS: |  |
| Location of scrubbers/separators: |  |
| Type(s) of scrubbers/separators used: |  |
| Number of scrubbers/separators: |  | Separation capacity: |  |
| DRIPS: |  |
| Location of drips: |  |
| Type(s) of drips used: |  |
| Number of drips: |  |
| Frequency of draining or blowing drips: |  |

FIELD OPERATING PARAMETERS

| PRESSURES, RATES and TEMPERATURES |
| --- |
|  | Pressure, psi | Flow Rate, MMcf/day | Temperature, °F |
|  | Injection | Withdrawal | Injection | Withdrawal | Injection | Withdrawal |
| Maximum |  |  |  |  |  |  |
| Maximum |  |  |  |  |  |  |
| Maximum Allowable Operating Pressure (Field): |
| WATER, CO2, and O2 CONTENT |
|  | Water, lbs./MMcf | CO2, | H2S, ppm | O2, % |
| Injection Cycle |  |  |  |  |
| Withdrawal Cycle |  |  |  |  |

| FIELD OPERATING AND MAINTENANCE HISTORY |
| --- |
| LEAKS (NON-RUPTURES) |
| Are leak surveys of the field being conducted? (49 CFR 192.706) Yes No |
| Have any leaks been found over the past 5 years? Yes No | Number of leaks: |
| Types of leaks that have occurred? |
| Cause(s) of the leaks: |
| Location(s) of the leaks: |
| Has a trend analysis been performed? Yes No |
| If a trend analysis has been done, what do the results indicate? |
| FAILURE/RUPTURES |
| Have any failures occurred over the past 5 years? Yes No | Number of failures: |
| Type(s) of failures that have occurred: |
| Cause(s) of the failures: |
| Location(s) of the failures: |
| Has a trend analysis been performed? Yes No |
| If a trend analysis has been done, what do the results indicate? |
| LINE REPLACEMENTS |
| Have any lines been replaced over the past 5 years? Yes No | Number of replacements: |
| Type(s) of replacements: |
| Location(s) of the replacements: |
| Reason(s) for replacements: |
| LINE REPAIRS |
| Have any lines been repaired over the past 5 years? Yes No | Number of repairs: |
| Type(s) of repairs: |
| Location(s) of the repairs: |
| Reason(s) for the repairs: |
| VALVE REPLACEMENTS |
| Have any valves been replaced over the past 5 years? Yes No | Number of replacements: |
| Type(s) of valve replacements: |
| Location(s) of the replacements: |
| Reason(s) for the replacements: |
| GAS and LIQUID HANDLING FACILITY UPSETS |
|  | Gas Dehydration Units | Gas Sweetening Units | Separators |
| Number of upsets – past 3 years |  |  |  |
| Cause(s) of the upsets: |
| Has a trend analysis been performed? Yes No |
| If a trend analysis has been done, what do the results indicate? |

CORROSION CONTROL AND MONITORING

| EXTERNAL CORROSION |
| --- |
| Are the field piping and related storage field facilities cathodically protected? (49 CFR 192 Subpart I) Yes No |
| Type(s) of cathodic protection used: Impressed Current Galvanic Anodes Combination |
| Criteria used to determine adequate cathodic protection: |
| Does the field piping system contain any bare or ineffectively coated pipe? Yes No |
| Location(s) of the bare or ineffectively coated pipe: |
| Amount of bare of ineffectively coated pipe: |
| Are corrosion monitoring procedures established for the field piping and related storage field facilities? Yes No |
| MONITORING |
| Pipe-to-soil readings Yes No Close interval surveys Yes No Line current surveys Yes No | Exposed pipe reports Yes No Leak surveys Yes No Instrumented inspection surveys Yes No |
| Remedial measures taken to mitigate corrosion: |

| INTERNAL CORROSION |
| --- |
| Are corrosion monitoring procedures established for the field piping and related storage field facilities? Yes No |
| MONITORING |
| Corrosion coupons Yes No Gas samples Yes No Water samples Yes No Solids samples Yes No | Pipe replacement reports surveys Yes No Leak surveys Yes No Instrumental inspection surveys Yes No |
| CORROSION COUPONS |
| Frequency coupons are analyzed: |
| Location(s) where coupons are installed: |
| GAS SAMPLES |
| Frequency of sampling: |
| Location(s) where the samples taken: |
| Are the gas samples analyzed for: Carbon dioxide (CO2) Yes No Hydrogen sulfide (H2S) Yes No Oxygen (O2) Yes No Water vapor Yes No | Amount of the following present in the gas: |
|  | Carbon dioxide (CO2) |  |  |
|  | Hydrogen sulfide (H2S) |  |  |
|  | Oxygen (O2) |  |  |
|  | Water vapor |  |  |
| What carbon dioxide (CO2) partial pressure criteria are used to establish carbon dioxide (CO2) corrosivity ranges? |
| What is the carbon dioxide (CO2) corrosivity ranges? |
| What is the carbon dioxide (CO2) partial pressure? |
| WATER/LIQUIDS SAMPLES |
| Frequency of sampling: |
| Locations where the samples are taken: |
| What constituents are the water samples analyzed for? (Refer to the Water Analysis Checklist) |
| Concentration of the following present in water: | Amount of the following gases dissolved in the water: |
| Iron (Fe++) |  |  | Carbon dioxide (CO2) |  |  |
| Manganese (Mn++) |  |  | Hydrogen sulfide (HsS) |  |  |
| Chlorides (Cl-) |  |  | Oxygen (O2) |  |  |
| Sulfates (SO4=) |  |  |  |  |  |
| Is the pH of the water below 6.8? Yes No |
| Is hydrostatic test water sampled for the presence of bacteria? Yes No |
| Are liquids tested for evidence of excessive glycol in the pipeline, which if deteriorated, could lower the pH? Yes No |
| SOLIDS SAMPLES (collected at pig receivers) |
| Frequency of sampling: |
| Locations where the samples taken: |
| Are solids observed and/or tested for the following components? |
| Iron Oxide | Yes No | Scales | Yes No |
| Iron Sulfide | Yes No | Sand | Yes No |
| Is the volume of solids increasing or decreasing between pig runs? |
| Comments: |

INSTRUMENTED INSPECTION SURVEYS

Frequency surveys are conducted:

Lines that have been surveyed and when the survey was conducted:

INHIBITOR PROGRAM

Has a corrosion inhibitor program been established for the field piping and related storage field facilities? Yes No

When did the program start?

Type(s) of treatment method used: Batch Continuous

Type(s) of inhibitors used:

Are liquid samples periodically taken to test for residual corrosion inhibitor, to help determine effectiveness? Yes No

MAINTENANCE PIGGING (See also solids and water sampling, inhibitor sections)

Does operator have a maintenance pigging program designed to sweep the lines of sediments and/or scale? Yes No

Does operator adhere to the pigging program? Yes No

Comments:

CONTROLLING GAS VELOCITY – INTERNAL CORROSION AND EROSION

Have target flow rates been determined for the field piping system? Yes No

Are injection/withdrawal flow rates kept within the targeted flow rates, to minimize sediment and water build-up, and to manage erosion? Yes No

Has erosion been observed during replacement of components (lines, valves, fittings, etc.)? Yes No

Locations where erosion has been found:

Remedial measures taken to mitigate erosion:

ATMOSPHERIC CORROSION

Are corrosion monitoring procedures established for the field piping and related storage field facilities? Yes No

Location(s) where corrosion has been found:

Remedial measures taken to mitigate corrosion:

SAFETY DEVICES and SYSTEMS

| SURFACE FACILITIES |
| --- |
| Has a system safety analysis of the field piping and related storage facilities been performed: Yes No |
| Has a safety analysis function evaluation chart for the field piping and related storage field facilities been prepared? Yes No |
| PRESSURE SAFETY DEVICES: |
| COMPRESSORS |
| Is each compressor, per 49 CFR 192.169, equipped with pressure safety devices for overpressure protection? Yes No |
| Pressure protection provided by: | Location of pressure safety devices: |
| Primary |  | Primary |  |
| Secondary |  | Secondary |  |
| PRESSURE VESSELS |
| Is the working pressure of each pressure vessel (dehydrator, scrubber, etc.) greater than the MAOP? Yes No |
| Is each pressure vessel equipped with pressure safety devices for overpressure protection? Yes No |
| Pressure protection provided by: | Location of pressure safety devices: |
| Primary |  | Primary |  |
| Secondary |  | Secondary |  |
| HEADERS, LATERALS and WELL LINES |
| Are the headers, laterals and well lines equipped with pressure safety devices for overpressure protection? Yes No |
| Pressure protection provided by: | Location of pressure safety devices: |
| Primary |  | Primary |  |
| Secondary |  | Secondary |  |
| GAS DETECTION SAFETY DEVICES: |
| Is each compressor, per 49 CFR 192.736, building equipped with gas detection safety devices? Yes No |
| Are other buildings that contain gas handling equipment equipped with gas detection safety devices? Yes No |
| Type(s) of gas detection safety devices: Combustible gas (L.E.L.) Hydrogen Sulfide (H2S) Other: |
| Type(s) of alarms used to notify personnel to the presence of gas: Visual Audible Combination |
| FIRE DETECTION SAFETY DEVICES: |
| Is each compressor building equipped with fire detection safety devices? Yes No |
| Are other buildings that contain gas handling equipment equipped with fire detection safety devices: Yes No |
| Type(s) of fire detection safety devices: Flame Heat Smoke Fusible Material Other: |
| Type(s) of alarms used to notify personnel to the presence of fire: Visual Audible Combination |
| EMERGENCY SHUTDOWN SYSTEM: |
| Is each compressor station, per 49 CFR 192.167, equipped with a remote controlled emergency shutdown system? Yes No |
| Does the gas detection system activate the compressor station emergency shutdown system? Yes No |
| Does the fire detection system activate the compressor station emergency shutdown system? Yes No |

WELLS

Is each well equipped with a well storage safety valve? Yes No

If not, are there plans to equip each well with a well storage safety valve? Yes No

Reasons why wells should not be equipped with well storage safety valve(s)?

ADDITIONAL COMMENTS

WATER ANALYSIS CHECKLISTS

| Constituent |  | Does Operator test for . . . | Operator’s “threshold” | Constituent |  | Does Operator test for . . . | Operator’s “threshold” |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Yes | No |  |  |  | Yes | No |  |
| Sodium |  | Na+ |  |  |  |  |  | Chloride |  | Cl- |  |  |  |  |  |
| Potassium |  | K+ |  |  |  |  |  | Sulfate |  | SO4= |  |  |  |  |  |
| Calcium |  | Ca++ |  |  |  |  |  | Carbonate |  | CO3= |  |  |  |  |  |
| Magnesium |  | Mg++ |  |  |  |  |  | Bicarbonate |  | HCO3- |  |  |  |  |  |
| Iron |  | Fe++ |  |  |  |  |  | Hydroxide |  | OH- |  |  |  |  |  |
| Barium |  | Ba++ |  |  |  |  |  | Dissolved Oxygen |  | O2 |  |  |  |  |  |
| Strontium |  | Sr++ |  |  |  |  |  | Dissolved Carbon Dioxide |  | CO2 |  |  |  |  |  |
| Manganese |  | Mn++ |  |  |  |  |  | Dissolved Hydrogen Sulfide |  | H2S |  |  |  |  |  |
| Other | Does Operator test for . . . | Operator’s “threshold” | Other | Does Operator test for . . . | Operator’s “threshold” |
|  | Yes | No |  |  | Yes | No |  |
| Acidity |  |  |  | Alkalinity |  |  |  |
| pH |  |  |  | Salinity |  |  |  |
| Total Dissolved Solids (TDS) |  |  |  | Acid-producing Bacteria |  |  |  |
| Sulfate-reducing Bacteria |  |  |  |  |  |  |  |

Excessive values of the above-listed constituents and properties, dependent upon operating conditions and other factors that may be unique to the storage field, could indicate a corrosive condition in the pipeline.

| PIPELINE INSPECTION (Field) | S | U | N/A | N/C |
| --- | --- | --- | --- | --- |
| .143/(b)/.476 | Design and construction of new and replaced transmission line and components (excludes offshore or facilities installed or replaced before 05/23/07). |  |  |  |  |
| .179 | Valve Protection from Tampering or Damage |  |  |  |  |
| .463 | Cathodic Protection |  |  |  |  |
| .465 | Rectifiers |  |  |  |  |
| .479 | Pipeline Components Exposed to the Atmosphere |  |  |  |  |
| .605 | Knowledge of Operating Personnel |  |  |  |  |
| .707 | ROW Markers, Road and Railroad Crossings |  |  |  |  |
| .719 | Pre-pressure Tested Pipe (Markings and Inventory) |  |  |  |  |
| .739/.743 | Pressure Limiting and Regulating Devices (spot-check field installed equipment vs. inspection records) |  |  |  |  |
| .745 | Valve Maintenance |  |  |  |  |
| .751 | Warning Signs |  |  |  |  |
| .801 - .809 | Operator Qualification - Use PHMSA Form 15 Operator Qualification Field Inspection Protocol Form |  |  |  |  |

Comments:

| COMPRESSOR STATIONS INSPECTION (Field) (Note: Facilities may be “Grandfathered”) | S | U | N/A | N/C |
| --- | --- | --- | --- | --- |
| .143/(b)/.476 | Design and construction of new and replaced transmission line and components (excludes offshore or facilities installed or replaced before 05/23/07). |  |  |  |  |
| .163 (c) | Main operating floor must have (at least) two (2) separate and unobstructed exits |  |  |  |  |
|  | Door latch must open from inside without a key |  |  |  |  |
|  | Doors must swing outward |  |  |  |  |
| (d) | Each fence around a compressor station must have (at least) 2 gates or other facilities for emergency exit |  |  |  |  |
|  | Each gate located within 200 ft of any compressor plant building must open outward |  |  |  |  |
|  | When occupied, the door must be opened from the inside without a key |  |  |  |  |
| (e) | Does the equipment and wiring within compressor stations conform to the National Electric Code, ANSI/NFPA 70? |  |  |  |  |
| .165(a) | If applicable, are there liquid separator(s) on the intake to the compressors? |  |  |  |  |
| .165(b) | Do the liquid separators have a manual means of removing liquids? |  |  |  |  |
|  | If slugs of liquid could be carried into the compressors, are there automatic dumps on the separators, Automatic compressor shutdown devices, or high liquid level alarms? |  |  |  |  |
| .167(a) | ESD system must: |  |
|  | - Discharge blowdown gas to a safe location |  |  |  |  |
|  | - Block and blowdown the gas in the station |  |  |  |  |
|  | - Shut down gas compressing equipment, gas fires, electrical facilities in compressor building and near gas headers |  |  |  |  |
|  | - Maintain necessary electrical circuits for emergency lighting and circuits needed to protect equipment from damage |  |  |  |  |
|  | ESD system must be operable from at least two locations, each of which is: |  |
|  | - Outside the gas area of the station |  |  |  |  |
|  | - Not more than 500 feet from the limits of the station |  |  |  |  |
|  | - ESD switches near emergency exits? |  |  |  |  |
| .167 (b) | For stations supplying gas directly to distribution systems, is the ESD system configured so that the LDC will not be shut down if the ESD is activated? |  |  |  |  |
| .167(c) | Are ESDs on platforms designed to actuate automatically by… |  |
|  | - For unattended compressor stations, when: |  |
|  | The gas pressure equals MAOP plus 15%? |  |  |  |  |
|  | An uncontrolled fire occurs on the platform? |  |  |  |  |
|  | - For compressor station in a building, when |  |
|  | An uncontrolled fire occurs in the building? |  |  |  |  |
|  | Gas in air reaches 50% or more of LEL in a building with a source of ignition (facility conforming to NEC Class 1, Group D is not a source of ignition)? |  |  |  |  |
| .171(a) | Does the compressor station have adequate fire protection facilities? If fire pumps are used, they must not be affected by the ESD system. |  |  |  |  |
| (b) | Do the compressor station prime movers (other than electrical movers) have over-speed shutdown? |  |  |  |  |
| (c) | Do the compressor units alarm or shutdown in the event of inadequate cooling or lubrication of the unit(s)? |  |  |  |  |
| (d) | Are the gas compressor units equipped to automatically stop fuel flow and vent the engine if the engine is stopped for any reason? |  |  |  |  |
| (e) | Are the mufflers equipped with vents to vent any trapped gas? |  |  |  |  |
| .173 | Is each compressor station building adequately ventilated? |  |  |  |  |
| .457 | Is all buried piping cathodically protected? |  |  |  |  |
| .481 | Atmospheric corrosion of aboveground facilities |  |  |  |  |
| .603 | Does the operator have procedures for the start-up and shut-down of the station and/or compressor units? |  |  |  |  |
|  | Are facility maps current/up-to-date? |  |  |  |  |
| .615 | Emergency Plan for the station on site? |  |  |  |  |
| .619 | Review pressure recording charts and/or SCADA |  |  |  |  |
| .707 | Markers |  |  |  |  |
| .731 | Overpressure protection – reliefs or shutdowns |  |  |  |  |
| .735 | Are combustible materials in quantities exceeding normal daily usage, stored a safe distance from the compressor building? |  |  |  |  |
|  | Are aboveground oil or gasoline storage tanks protected in accordance with NFPA standard No. 30? |  |  |  |  |
| .736 | Gas detection – location |  |  |  |  |

Comments:

| REPORTING PERFORMANCE AND RECORDS | S | U | N/A | N/C |
| --- | --- | --- | --- | --- |
| 191.5 | Telephonic reports to NRC (800-424-8802) |  |  |  |  |
| 191.15 | Written incident reports; supplemental incident reports (DOT Form RSPA F 7100.2) |  |  |  |  |
| 191.17 (a) | Annual Report (DOT Form RSPA F 7100.2-1) |  |  |  |  |
| 191.23 | Safety related condition reports |  |  |  |  |
| 192.727 (g) | Abandoned facilities offshore, onshore crossing commercially navigable waterways reports |  |  |  |  |

| CONSTRUCTION PERFORMANCE AND RECORDS | S | U | N/A | N/C |
| --- | --- | --- | --- | --- |
| .225 | Test Results to Qualify Welding Procedures |  |  |  |  |
| .227 | Welder Qualification |  |  |  |  |
| .241 (a) | Visual Weld Inspector Training/Experience |  |  |  |  |
| .243 (b)(2) | Nondestructive Technician Qualification |  |  |  |  |
| (c) | NDT procedures |  |  |  |  |
| (f) | Total Number of Girth Welds |  |  |  |  |
| (f) | Number of Welds Inspected by NDT |  |  |  |  |
| (f) | Number of Welds Rejected |  |  |  |  |
| (f) | Disposition of each Weld Rejected |  |  |  |  |
| .303 | Construction Specifications |  |  |  |  |
| .325 | Underground Clearance |  |  |  |  |
| .327 | Amount, Location, Cover of each Size of Pipe Installed |  |  |  |  |
| .455 | Cathodic Protection |  |  |  |  |

| OPERATIONS and MAINTENANCE PERFORMANCE AND RECORDS | S | U | N/A | N/C |
| --- | --- | --- | --- | --- |
| .603(b) | .605(a) Procedural Manual Review – Operations and Maintenance (1 per yr/15 months) |  |  |  |  |
| .603(b) | .605(c) Abnormal Operations |  |  |  |  |
| .603(b) | .605(b)(3) Availability of construction records, maps, operating history to operating personnel |  |  |  |  |
| .603(b) | .605(b)(8) Periodic review of personnel work – effectiveness of normal O&M procedures |  |  |  |  |
| .603(b) | .605(c)(4) Periodic review of personnel work – effectiveness of abnormal operation procedures |  |  |  |  |
| .709 | .614 Damage Prevention (Miscellaneous) |  |  |  |  |
| .709 | .609 Class Location Study (If Applicable) |  |  |  |  |
| .603(b) | .615(b)(1) Location Specific Emergency Plan |  |  |  |  |
| .603(b) | .615(b)(2) Emergency Procedure training, verify effectiveness of training |  |  |  |  |
| .603(b) | .615(b)(3) Employee Emergency activity review, determine if procedures were followed. |  |  |  |  |
| .603(b) | .615(c) Liaison Program with Public Officials |  |  |  |  |
| .605(a) | .616 Public Awareness Program also in accordance with API RP 1162 |  |
|  | .616(e & f) Documentation properly and adequately reflects implementation of operator’s Public Awareness Program requirements - Stakeholder Audience identification, message type and content, delivery method and frequency, supplemental enhancements, program evaluations, etc. (i.e. contact or mailing rosters, postage receipts, return receipts, audience contact documentation, etc. for emergency responder, public officials, school superintendents, program evaluations, etc.). See table below: |  |  |  |  |
|  |  | Operators in existence on June 20, 2005, must have completed their written programs no later than June 20, 2006. See 192.616(a) and (j) for exceptions. |  |  |
|  |  | API RP 1162 Baseline* Recommended Message Deliveries |  |  |
|  |  | Stakeholder Audience (Natural Gas Transmission Line Operators) | Baseline Message Frequency (starting from effective date of Plane) |  |  |
|  |  | Residents Along Right-of-Way and Places of Congregation | 2 years |  |  |
|  |  | Emergency Officials | Annual |  |  |
|  |  | Public Officials | 3 years |  |  |
|  |  | Excavator and Contractors | Annual |  |  |
|  |  | One-Call Centers | As required of One-Call Center |  |  |
|  |  | Stakeholder Audience (Gathering Line Operators) | Baseline Message Frequency starting from effective date of Plane) |  |  |
|  |  | Residents and Places of Congregation | Annual |  |  |
|  |  | Emergency Officials | Annual |  |  |
|  |  | Public Officials | 3 years |  |  |
|  |  | Excavators and Contractors | Annual |  |  |
|  |  | One-Call Centers | As required of One-Call Center |  |  |
|  |  | * Refer to API RP 1162 for additional requirements, including general program recommendations, supplemental requirements, recordkeeping, program evaluation, etc. |  |  |
|  | .616(g) The program conducted in English and any other languages commonly understood by a significant number of the population in the operator's area? |  |  |  |  |
| .517 | Pressure Testing |  |  |  |  |
| .709 | .619 Maximum Allowable Operating Pressure (MAOP) |  |  |  |  |
| .709 | .625 Odorization of Gas |  |  |  |  |
| .709 | .705 Patrolling (Refer to Table Below) |  |  |  |  |
| Class Location At Highway and Railroad Crossings At All Other Places 1 and 2 2/yr (7½ months) 1/yr (15 months) 3 4/yr (4½ months) 2/yr (7½ months) 4 4/yr (4½ months) 4/yr (4½ months) |
| .709 | .706 Leak Surveys (Refer to Table Below) |  |  |  |  |
| Class Location Required Not Exceed 1 and 2 1/yr 15 months 3 2/yr* 7½ months 4 4/yr* 4½ months * Leak detector equipment survey required for lines transporting un-odorized gas. |
| .603b/.727g | .727 Abandoned Pipelines; Underwater Facility Reports |  |  |  |  |
| .709 | .731(a) Compressor Station Relief Devices (1 per yr/15 months) |  |  |  |  |
| .709 | .731(c) Compressor Station Emergency Shutdown (1 per yr/15 months) |  |  |  |  |
| .709 | .736(c) Compressor Stations – Detection and Alarms (Performance Test) |  |  |  |  |
| .709 | .739 Pressure Limiting and Regulating Stations (1 per yr/15 months) |  |  |  |  |
| .709 | .743 Pressure Limiting and Regulator Stations – Capacity (1 per yr/15 months) |  |  |  |  |
| .709 | .745 Valve Maintenance (1 per yr/15 months) |  |  |  |  |
| .709 | .749 Vault Maintenance ((200 cubic feet)(1 per yr/15 months) |  |  |  |  |
| .603(b) | .751 Prevention of Accidental Ignition (hot work permits) |  |  |  |  |
| .603(b) | .225(b) Welding – Procedure |  |  |  |  |
| .603(b) | .227/.229 Welding – Welder Qualification |  |  |  |  |
| .603(b) | .243(b)(2) NDT – NDT Personnel Qualification |  |  |  |  |
| .709 | .243(f) NDT Records (Pipeline Life) |  |  |  |  |
| .709 | Repair: pipe (Pipeline Life); Other than pipe (5 years) |  |  |  |  |

Comments:

| CORROSION CONTROL PERFORMANCE AND RECORDS | S | U | N/A | N/C |
| --- | --- | --- | --- | --- |
| .491 | .491(a) Maps or Records |  |  |  |  |
| .491 | .459 Examination of Buried Pipe when Exposed |  |  |  |  |
| .491 | .465(a) Annual Pipe-to-soil Monitoring (1 per yr/15 months) |  |  |  |  |
| .491 | .465(b) Rectifier Monitoring (6 per yr/2½ months) |  |  |  |  |
| .491 | .465(c) Interference Bond Monitoring – Critical (6 per yr/2½ months) |  |  |  |  |
| .491 | .465(c) Interference Bond Monitoring – Non-critical (1 per yr/15 months) |  |  |  |  |
| .491 | .465(d) Prompt Remedial Actions |  |  |  |  |
| .491 | .465(e) Unprotected Pipeline Surveys, CP active corrosion areas (1 per 3 cal yr/39 months) |  |  |  |  |
| .491 | .467 Electrical Isolation (Including Casings) |  |  |  |  |
| .491 | .469 Test Stations – Sufficient Number |  |  |  |  |
| .491 | .471 Test Lead Maintenance |  |  |  |  |
| .491 | .473 Interference Currents |  |  |  |  |
| .491 | .475(a) Internal Corrosion; Corrosive Gas Investigation |  |  |  |  |
| .491 | .475(b) Internal Corrosion; Internal Surface Inspection; Pipe Replacement |  |  |  |  |
| .476(d) | .476 Internal Corrosion Control: Design and construction of transmission line |  |  |  |  |
| .491 | .477 Internal Corrosion Control Coupon Monitoring (2 per yr/7½ months) |  |  |  |  |
| .491 | .481 Atmospheric Corrosion Control Monitoring (1 per 3 cal yr/39 months onshore; 1 per yr/15 months offshore) |  |  |  |  |
| .491 | .483/.485 Remedial: Replaced or Repaired Pipe; coated and protected; corrosion evaluation and actions |  |  |  |  |

Comments:

| PART 199 – DRUG and ALCOHOL TESTING REGULATIONS and PROCEDURES | S | U | N/A | N/C |
| --- | --- | --- | --- | --- |
| Subparts A - C | Drug & Alcohol Testing & Alcohol Misuse Prevention Program – Use PHMSA Form # 13, PHMSA 2008 Drug and Alcohol Program Check |  |

Recent PHMSA Advisory Bulletins (Last 2 years)

Leave this list with the operator.

Number			Date						Subject

ADB-06-01		January 17, 2006		Pipeline Safety: Notice to Operators of Natural Gas and Hazardous Liquid Pipelines To Integrate Operator Qualification Regulations into Excavation Activities

ADB-06-02		June 16, 2006			Submission of Public Awareness Programs for Review

ADB-06-03		November 22, 2006	Pipeline Safety-Notice to Operators of Natural Gas and Hazardous Liquid Pipelines to Accurately Locate and Mark Underground Pipelines Before Construction-Related Excavation Activities Commence Near the Pipelines

ADB-06-04		December 28, 2006	Pipeline Safety: Lessons Learned From a Security Breach at a Liquefied Natural Gas Facility

For more PHMSA Advisory Bulletins, go to http://ops.dot.gov/regs/advise.htm

# Footnotes

Information not required if included on page 1.