## Monitor Calculator
Life Cycle Cost Estimate for
100 ENERGY STAR Qualified Monitor(s)
This energy savings calculator was developed by the U.S. EPA and U.S. DOE and is provided for estimating purposes only. Actual energy savings may vary based on use and other factors.
Enter your own values in the gray boxes or use our default values.
Electricity Rate ($/kWh) | 0.09039
What screen type is your existing monitor(s)?
Does your current monitor(s) have sleep settings activated?
Will your new ENERGY STAR monitor(s) have sleep settings activated?*
How often do you turn off your monitor or computer at night?
| Use Other Turn Off Rate? |  |  |  |  | Other Turn Off Rate:
| Quantity | ENERGY STAR Qualified Unit |  | Conventional Unit
|  | Initial cost per unit |  | Initial cost per unit
Monitor(s) | 100 |  | 299 |  | 149
*EPA strongly recommends that you consider power managing your monitors, before power managing your monitor at work consult your IT staff.
**Default of 36% as the percentage of monitors turned off each night is based upon 2004 Lawrence Berkeley National Lab Report entitled "After-hours Power Status of Office Equipment and Inventory of Miscellaneous Plug-Load Equipment".
***If your organization always shuts off their monitors at night the turn off rate should be set to 100%.
****If your organization never shuts off their monitors at night, the turn off rate should be set to 0%.
Annual and Life Cycle Costs and Savings for 100 Monitor(s)
|  | 100 ENERGY STAR Qualified Units |  | 100 Conventional Units |  |  | Savings with ENERGY STAR
Annual Operating Costs*
Electricity costs |  |  | 324.6913 |  | 4175.1086 |  | 3850.4174
Annual electricity consumption (kWh) |  |  | 3592.1149 |  | 46189.9394 |  |  | 42597.8245
Maintenance costs |  |  | 0 |  | 0 |  |  | 0
Total |  | 324.6913 |  | 4175.1086 |  |  | 3850.4174
Life Cycle Costs*
Life cycle operating cost (electricity and maintenance) |  |  | 1178.5953 |  | 15155.2068 |  |  | 13976.6116
Electricity costs (lifetime) |  |  | 1178.5953 |  | 15155.2068 |  |  | 13976.6116
Life cycle electricity consumption (kWh) |  |  | 14368.4595 |  | 184759.7574 |  |  | 170391.2979
Maintenance costs (lifetime) |  |  | 0 |  | 0 |  |  | 0
Purchase price for 100 unit(s) |  |  | 29900 |  | 14900 |  |  | -15000
Total |  | 31078.5953 |  | 30055.2068 |  |  |  | -1023.3884
[7 empty] | Simple payback of initial additional cost (years)† | 3.8957
* Calculator assumes that 100% of users turn off their monitor(s) at night. Annual costs exclude the initial purchase price. All costs, except initial cost, are discounted over the products' lifetime using a real discount rate of 4%. See "Assumptions" to change factors including the discount rate night time turn off rate.
† A simple payback period of zero years means that the payback is immediate.
Summary of Benefits for 100 Monitor(s)
Initial cost difference | [7 empty] | 15000
Life cycle savings | [6 empty] | 13976.6116
Net life cycle savings (life cycle savings - additional cost) | [6 empty] | -1023.3884
Simple payback of additional cost (years) | [7 empty] | 3.8957
Life cycle energy saved (kWh) | [6 empty] | 170391.2979
Life cycle air pollution reduction (lbs of CO2) | [6 empty] | 261550.6423
Air pollution reduction equivalence (number of cars removed from the road for a year) | [7 empty] | 22.803
Air pollution reduction equivalence (acres of forest) | [7 empty] | 32.4263
Savings as a percent of retail price | [7 empty] | -3.423%

## Assumptions
Assumptions for Monitors
Category | Value |  | Data Source
Power
Monitor
ENERGY STAR Qualified Unit
Initial cost per unit (estimated retail price) | 299 |  | Industry Data 2007
Average power in "active" mode | 28 | Watts | LBNL 2007
Average power in "sleep" mode | 2 | Watts | ENERGY STAR Specification |  |  | Power Management |  | Use Other Turn Off Rate
Average power in "off" mode | 1 | Watts | ENERGY STAR Specification | 2 | Yes | Conventional | 2 | Yes | ccap-office070713 Cell: 'CRTs'!R213
|  |  |  | 1 | No | ENERGY STAR |  | No | ccap-office070713 Cell: 'CRTs'!R214
Conventional Unit |  |  |  | 1 | CRT |  |  |  | ccap-office070713 Cell: 'CRTs'!R215
LCD |  |  |  |  | LCD
Initial cost per unit (estimated retail price) | 299 |  | Industry Data 2007
Average power in "active" mode | 41 | Watts | LBNL 2007
Average power in "sleep" mode | 3 | Watts | LBNL 2007 |  |  | EPA 2007 - Assumes Always Off at Night
Average power in "off" mode | 2 | Watts | LBNL 2007 |  | active | 802.56
[5 empty] | sleep | 1104.52
CRT |  |  |  |  | off | 6853.92
Initial cost per unit (estimated retail price) | 149 |  | Industry Data 2007
Average power in "active" mode | 73 | Watts | LBNL 2007
Average power in "sleep" mode | 3 | Watts | LBNL 2007
Average power in "off" mode | 1 | Watts | LBNL 2007
Maintenance
ENERGY STAR Qualified Unit
Lifetime maintenance cost | 0 |  | Assumes that unit is traded in or no longer used at the end of expected lifetime.
Conventional Unit | [5 empty] | Without PM
Lifetime maintenance cost | 0 |  | Assumes that unit is traded in or no longer used at the end of expected lifetime. |  |  | Always On | Always Off | Wtg Avg
[5 empty] | active | 8761 | 1907.08 | 6293.5888
Usage |  |  |  |  | sleep | 0 | 0 | 0
All Monitors |  |  |  |  | off | 0 | 6853.92 | 2467.4112
Lifetime | 4 | years | LBNL 2007 |  |  | 64% | 36%
Night time turn off rate | 36% |  | Based on user input
With Power Management Enabled
Average number of hours in "active" mode per year | 802.56 | hours/year | LBNL 2007
Average number of hours in "sleep" mode per year | 5491.0288 | hours/year | LBNL 2007
Average number of hours in "off" mode per year | 2467.4112 | hours/year | LBNL 2007 |  |  | With PM
[6 empty] | Always On | Always Off
Without Power Management Enabled |  |  |  |  | active | 802.56 | 802.56 | 802.56
Average number of hours in "active" mode per year | 6293.5888 | hours/year | LBNL 2007 |  | sleep | 7958.44 | 1104.52 | 5491.0288
Average number of hours in "sleep" mode per year | 0 | hours/year | LBNL 2007 |  | off | 0 | 6853.92 | 2467.4112
Average number of hours in "off" mode per year | 2467.4112 | hours/year | LBNL 2007 |  |  | 64% | 36%
Discount Rate | [7 empty] | 8760
Commercial and Residential Discount Rate (real) | 4% |  | A real discount rate of 4 percent is assumed, which is roughly equivalent to the nominal discount rate of 7 percent (4 percent real discount rate + 3 percent inflation rate). |  | 1 | Night Time Turnoff Rate
[5 empty] | 0.36 | **36 percent of the time turned off
Energy Prices |  |  |  |  | 1 | ***100 percent - Always Turned Off
Commercial Electricity Price | 0.09039 | $/kWh | EIA 2007 |  | 0 | ****Zero percent - Never Turned Off
Residential Electricity Price | 0.09706 | $/kWh | EIA 2007
CO2 Emissions Factors
Electricity CO2 Emission Factor | 1.535 | lbs CO2/kWh | EPA 2006
CO2 Equivalents
Annual CO2 sequestration per forested acre | 8066 | lbs CO2/year | EPA 2004
Annual CO2 emissions for "average" passenger car | 11470 | lbs CO2/year | EPA 2004
Calculator last updated: 1/08
If you have any questions, please contact ESCalcs@cadmusgroup.com.