Title 14

WATER RECREATION FACILITIES(

Chapters:

14.04	General Provisions

14.08	Application

Chapter 14.04

GENERAL PROVISIONS

Sections:

14.04.005	Title.

14.04.010	Purpose and policy declared.

14.04.015	Adoption of RCW 70.90, Chapter 248-98 WAC and Board of Health amendments.

14.04.020	Adoption of RCW 70.90.20, Chapter 248-98 WAC and Board of Health amendments.

14.04.025	Water recreation facility code.

14.04.030	Additions to 248-98 WAC.

14.04.035	Prior offenses.

14.04.005  Title.  The rules and regulations set out in this title may be cited and referred to, and shall be known as the "King County Water Recreation Facility Code" and may be so cited, and is referred to herein as "this title.  (R&R 58 §(part), 5-11-89)

14.04.010  Purpose and policy declared.  A.  This title is enacted as an exercise of the police power of the county to protect and preserve the public peace, health, safety, and welfare.  Its provisions shall be liberally construed for the accomplishment of these purposes.

B.  It is expressly the purpose of this title to provide for and promote the health, safety and welfare of the general public, and not to create or otherwise establish or

designate any particular class or group of persons who will or should be especially protected or benefited by the terms of this title.

C.  It is the specific intent of this title to place the obligation of complying with its requirements upon the owner or operator of each water recreation facility within its scope, and no provision of nor term used in this title is intended to impose any duty whatsoever upon the county or any of its officers or employees, for whom the implementation or enforcement of this title shall be discretionary and not mandatory.

D.  Nothing contained in this title is intended to be nor shall be construed to create or form the basis for any liability on the part of the county, or its officers, employees or agents, for any injury or damage resulting from the failure of the owner or operator of a water recreational facility to comply with the provisions of this title, or by reason or in consequence of any act or omission in connection with the implementation or enforcement of this title on the part of the county by its officers, employees or agents.  (R&R 58 §(part), 5-11-89)

14.04.015  Adoption of RCW 70.90, Chapter 248-98 WAC and Board of Health amendments.  RCW 70.90 (Water Recreation Facilities) and rules and regulations of the state Board of Health, Chapter 248-98 WAC (Safety, Sanitation and Water Quality of Water Recreation Facilities) are adopted by reference.  (R&R 58 §(part), 5-11-89)

14.04.020  Adoption of RCW 70.90.20, Chapter 248-98 WAC and Board of Health amendments.  RCW 70.90.20 and rules and regulations of the state Board of Health Governing Safety, Sanitation and Water Quality of Water Recreation Facilities, Chapter 248-98 WAC, together with Board of Health amendments as adopted by this title shall constitute the Water Recreation Facility Code of the King County Board of Health.  (R&R 58 §(part), 5-11-89)

14.04.025  Water recreation facility code.  This title shall constitute the Water Recreation Facility Code of King County.  This title is adopted under the authority of RCW 70.90.125 (regulation of local boards of health).  (R&R 58 § (part), 5-11-89)

14.04.030  Additions to 248-98 WAC.  In addition to the provisions of 248-98 WAC, the following will apply:

A.  The hydrotherapy pump and air blower shall be connected to a maximum fifteen (15) minute time switch located no closer than ten (10) feet from the spa water's edge.

B.  The dimensions for swimming pools constructed prior to this code shall conform to requirements A-1 through A-6

established by the American Public Health Association for diving areas as shown in Appendix A.  (R&R 58 §(part), 5-11-89)

14.04.035  Prior offenses.  This title does not apply to or govern the construction of and punishment of any offense committed prior to the effective date of this title or to the construction and application of any defense to a prosecution for such an offense.  Such an offense must be construed and punished according to the provisions of the law existing at the time of the commission thereof in the same manner as if this title had not been enacted.  (R&R 58 § (part), 5-11-89)

Chapter 14.08

APPLICATION

Sections:

14.08.005	Application of chapter.

14.08.010	Modification or construction of facility--Permit required--Submission of plans.

14.08.015	Operation permit--Renewal.

14.08.020	(Reserved).

14.08.030	Enforcement.

14.08.005  Application of chapter.  This chapter applies to all water recreation facilities regardless of whether ownership is public or private and regardless of whether the intended use is commercial or private, except that this chapter shall not apply to:

A.  Any water recreation facility for the sole use of residents and invited guests at a single-family dwelling;

B.  Therapeutic water facilities operated exclusively for physical therapy; and

C.  Steam baths and saunas.  (R&R 58 §(part), 5-11-89)

14.08.010  Modification or construction of facility--Permit required--Submission of plans.  A permit is required for any modification to or construction of any water recreation facility.  Water recreation facilities existing on July 26, 1987, which do not comply with the design and construction requirements established by the state Board of Health under Chapter 248.98 WAC may continue to operate without modification to or replacement of the existing physical plant, provided the water quality, sanitation, and lifesaving equipment are in compliance with the requirements established under this chapter. However, if any modifications are made to the physical plant of an existing water recreation facility the modifications shall comply with the requirements established under this chapter. The plans and specifications for the modification or construction shall be submitted to the department. The plans shall be reviewed and may be approved or rejected or modifications or conditions imposed consistent with this chapter as the public health or safety may require, and a permit shall be issued or denied within thirty (30) days of submittal.

(R&R No. 58 §1(part), 5-11-89)

14.08.015	Operation permit--Renewal.

An operating permit from the department is required for each water recreation facility operated in King County. The permit shall be renewed annually. The permit shall be conspicuously displayed at the water recreation facility.

(R&R No. 58 §1(part), 5-11-89)

14.08.020	Reserved.

Editor’s Note

Former Section 14.08.020, entitled Fees, was amended in
 its entirety, and relocated to Title 2 of this code, 
by Rule and Regulation No. 05-05.

14.08.030	Enforcement.

This title shall be enforced in accordance with Chapter 1.08 of this title.

(R&R 58 No. §2(part), 5-11-89)

# Footnotes

(	Editor's Notes:  For administrative rules relevant to this title, look for a following "R" title of the same number.

To the extent that the administrative rules are inconsistent with the provisions of Title 14, the administrative rules are superseded.