Title R18

COSMETOLOGY(

Chapters:

R18.04	Ear Piercing

Chapter R18.04

EAR PIERCING

Sections:

R18.04.010  Definitions.

R18.04.020  Hand-washing facilities.

R18.04.030  Hand-washing procedures.

R18.04.040  Sterility of instruments.

R18.04.010  Definitions.  As used in this chapter:

A.  "Adequate hand-washing facilities" means having hot and cold running water available within the premises and within twenty feet (20') of the place where ear-piercing procedures are performed.

B.  "Sterilized" means:

1.  Autoclaved at two hundred fifty degrees (250°F) under fifteen (15) pounds pressure for twenty (20) minutes; or

2.  Dry heat sterilization at three hundred thirty-eight degrees Fahrenheit (338°F) for two (2) hours; or

3.  Boiling for at least fifteen (15) minutes; or

4.  Other method of sterilization approved by the health officer.  (HDR 14 §1, 11-8-76)

R18.04.020  Hand-washing facilities.  Any commercial facility which is used for performing any ear-piercing procedures shall have adequate hand-washing facilities available. Every owner or operator of a commercial facility which is used for performing any ear-piercing procedures shall ensure that adequate hand-washing facilities are available.  (HDR 14 §2, 11-8-76)

R18.04.030  Hand-washing procedures.  Every owner or operator of a commercial facility which is used for

performing any ear-piercing procedures shall establish standard operating procedures whereby the hands of employees will be thoroughly washed with soap and warm water between customers.  (HDR 14 §4, 11-8-76)

R18.04.040  Sterility of instruments.  Any device, material or thing to be inserted in the ear shall be sterile. All instruments or parts of such instruments that come in direct contact with the device, material or thing to be inserted shall be sterilized prior to each use.  (HDR 14 §3, 11-8-76)

# Footnotes

(	Editor's Note: For board rules and regulations relevant to the administrative rules set out herein, look for a preceding title of the same number not prefixed by "R."