### Fosmid DNA Isolation Protocol:

### Agencourt SprintPrep Kit

Version Number:	3.0

Production Start Date:	10/08/04

Version 3.0 Date:		10/06/04

Authors:			Jamie Jett, Joe Alessi, Dou-Shuan Yang

Reviewed/Revised by:	Danielle Mihalkanin, Lena Philip, Mariana Anaya, Steve Wilson, Simon Roberts

# Summary

Use of the Agencourt SprintPrep Kit and solid phase reversible immobilization (SPRI) technology to isolate Fosmid DNA from E. coli cells in preparation for sequencing chemistry.

# Materials & Reagents

| Materials/Reagents/Equipment Disposables 384-well PCR Plate, White Clear Adhesive Plate Sealers Kimwipes EX-L 384 well Flat Bottom Black Costar Parafilm Reagents SprintPrep (1L) Sprint Prep Solution (store bottles at room temperature) Sprint Prep Activator (store bottles at 4( C) 100% Isopropanol Triton X - 100 Pure Bright Germicidal Bleach Milli-Q water Equipment Plate Positioner Hydra Titer Plate Shaker Metallic Magnetic Magnets Strong Field Magnets Biomek FX 96-well Multidrop Isotemp Water Bath (202/205) | Vendor Axygen Edge Biosystems Kimberly-Clark VWR Agencourt Sigma-Aldrich Sigma Monahan Paper Company Millipore Milli-Q System Robbins Scientific Robbins Scientific Lab-Line Instruments LBL - Beckman Coulter Titertek (Thermo Lab Systems) Fisher Scientific | Stock Number 321-22-052 48461 34120 2944-080 001048 I9030 T-8787 775011 - - - - - - - - |
| --- | --- | --- |

# Calibration Check

96-well Multidrop

NOTE 1: This should be done at the beginning of every day during the setup of the Multidrop.

NOTE 2: Multidrop Cassettes should be cleaned after each shift. Refer to the Multidrop Cleanup instructions listed under Instrument Maintenance.

- Tare an empty, test 96-well Costar plate on the balance in Rm139. Before you weigh the plate, make sure the balance is leveled; the rear bubble is centered.

- Install the Sprint RE1 Multidrop cassette into the Multidrop. Refer to Multidrop Setup listed under Instrument Maintenance for installation instructions.

- Prime the Multidrop by placing the Multidrop tubing in the Milli-Q water bottle and pressing “PRIME/PUMP” button until the trough becomes three quarters of the way full. Check to see if liquid is dispensing evenly from all tips and make sure no tips are clogged or partially clogged.

- Use the Multidrop to dispense the appropriate amount of water into each well of the 96-well Costar plate (RE1: 30μl/well) and reweigh the plate. Make sure that water was dispensed into every well.

NOTE: The setting on the front of the Multidrop should read 30ul for the dispensing of the 12 columns.

- Record the value in the Fosmid Microfill-MD calibration log as well as the date, operator, instrument, cassette #, plate # and any comments.

  - The acceptable calibration range for the fosmid Multidrop is 2.904g-3.045g.

  - To open excel spreadsheet click on Shortcut to Fosmid Calibrations on desktop. If shortcut is unavailable go to Network Places on desktop and click on Entire Network( click on Entire Contents( click on Microsoft Windows Network( click on jgi_psf( click on Octopus( click on ProdSeq( click on Library( click on Fosmids( click on Fosmid Microfill-MD Calibration( click on Fosmid MicroFill-MD Daily Plate Weights( select Fosmid Multidrop worksheet.

  - If the weight entered in the excel spreadsheet is too close to the high or low range, the number entered in the weight column will be highlighted in a red box and the text WARNING will appear in orange under the Spec. column.   If this occurs, continue to use the cassette but monitor it carefully so that it does not fall out of range.  If it is continuously high or low and in the WARNING zone, contact your supervisor to determine how to proceed.

  - If the weight entered in the excel spreadsheet falls out of the range, the number entered in the weight column will be highlighted in a red box and the text DO NOT USE will appear in a red box under the Spec. column. If this occurs, set the bad cassette aside for the Instrumentation group and change to a new cassette (after performing a calibration check on the new cassette). Submit a work request to have the instrumentation group fix the faulty cassette.

- After the calibration check has been completed, remove the tubing from the water bottle and press the “PRIME/PUMP” button to dispense the remaining liquid from the tubing.

- Leave the cassette attached to the Multidrop for the remainder of the shift.

Tip QC for Biomek FX

Perform the tip QC once daily at the beginning of the shift according to the Biomek FX Liquid Handler Fosmid QC SOP. (Perform only at the beginning of shift 2; the first shift of fosmid processing)

# Procedure

NOTE: All reagents/stock solutions should be prepared prior to the start of the procedure.

- DNA Isolation

  - Remove one batch of 96-well costar plates (1 batch = 16 plates) from the -20(C freezer (Freezer 200 in lab 139) and allow the plates 1 hour and 20 minutes to thaw at room temperature before processing.

NOTE 1: Lay single plates out on bench top to thaw. Do not stack them.

NOTE 2: For each additional batch, pull plates from the freezer 1 hour and 20 minutes prior to loading on Biomek FX for cleanup.

  - During the thaw period, scan the plates into the RCA database:

- In the Venonat database, click on RCA DB ( Sprint Prep Cleanup and Consolidation ( enter in:

  - Make sure your initials are selected as the operator.

  - Enter in the lot information for the Sprint Solution, the Sprint beads, RE1 buffer, and Triton-X lot, Ethanol lot and Isopropanol lot.

  - Enter in the processing instrument and consolidation machine that will be used.

  - Scan in A1 quadrant of all 16 Costar plates that will be processed in 1 batch. Submit subsequent batches to the database as necessary throughout the duration of the shift.

  - Click on SUBMIT.

  - Print the barcodes (for the RCA destination and FW/RV destination plates) on the Libraries barcode printer.

- Place all of the barcodes on their corresponding 384-well PCR plates (opposite side of the letters, including the FW/RV destination plates). Seal the top plate of stack of empty plates.

- Using a sharpie, write your initials and the fosmid processing date on the long side of the 384-well RCA plate (same side as the well numbers).

  - Prepare the Biomek for use according to the Biomek Setup instructions listed under Instrument Maintenance.

NOTE: Change the Biomek FX tips every 2-3 days or when they become dirty.

  - Open the BioMek FX file SprintPrep_Manual-Imitation_BG_082604a

  - Click Play.

  - Load the thawed Costar plates onto the Biomek FX deck as described in the program splash screen.

NOTE 1: See Appendix Figure 2 for a visual representation of the correct loading order.

NOTE 2: This program will add 69uL of SprintPrep bead solution and 73uL of IPA to the cell culture then mix 36 times.  It will then perform a total of six 70% ethanol washes, and a final aspiration.  Total time for each Biomek FX  per set of 4 96-well plates is ~ 40 min.

Workflow Note: While FX’s are running, prep Multidrop and Hydras for later use.

  - When the first plate is finished, the program will stop to allow you to remove the Costar plates for drying and prompt to begin processing the next set of Costar plates

  - Using the spare magnetic plate as a backing, pat the washed plates against a paper towel until no ethanol residue is left.

  - Place in the 37°C blowing incubator (top shelf only at the rear/side) for 9 minutes to dry.

NOTE 1: Dry the plates 1-2 minutes longer if cracks not visible in all wells and record in the fosmid log excel sheet.

NOTE 2: Be very careful not to drop plates while removing from incubator!

  - Install the RE1 Multidrop cassette according to the Multidrop Setup instructions listed under Instrument Maintenance and perform a calibration check according to the procedure in the Calibration Check section above.

  - Using the Multidrop with RE1 cassette, dispense 30μl of RE1 with 0.0625% Triton-X into each plate.

  - Shake plates on Titer plate shaker at speed 7 for 7 minutes.

Checkpoint: Following the 7-minute shake, the cell pellet should be completely resuspended so that the mixture appears homogenous and has no clumps.

  - Leave plates on resting shaker and incubate for 5 minutes.

  - Upon completion of the last RE1 buffer dispense for the shift, follow the Multidrop cassette cleaning and removal instructions listed under Instrument Maintenance.

2.  96-well Costar to 384-well Axygen transfer

  - Place the 96-well Costar plates (four per 384-well glycerol stock) onto metallic magnetic plates and incubate 5 minutes prior to aspiration on the Hydra.

  - Use the Hydra 96 and a plate positioner to transfer 25μl of each quadrant to a clean, labeled 384-well Axygen plate.

    - Use Hydra File 6.

    - Wash the Hydra twice before use with Milli-Q water.

    - Change the wash water after each batch of four 384-well plates.

    - When filling from the Costar, be sure to use the metallic magnetic plates.

    - Go to the computer Solstice (at end of Fosmid bay near fume hood) and open the program called barcodeCheck_FosmidConsolidation.exe.

    - Each quadrant should be placed on a specific hydra: A1= Hydra 16, A2= Hydra 23, B2= Hydra 12, B1= Hydra 21.

    - Scan the barcode on hydra 21, 22, 23 and then 16.

    - Scan the destination plate barcode.

    - Press Enter on the computer screen.

      - If the program indicates that the plates are not in the right order or that one of the plates does not belong in the set, correct the problem and scan the plates again.

      - If the program indicates that the plates are okay to process, transfer the plates using the Hydras.

  - Check if any wells were not transferred.  Transfer them by hand if necessary from the costar plate.

  - If bubbles are present in any wells, quickly spin up to 2000 RPM in a centrifuge.

  - Check that the axygen plates are labeled on the long side of each plate with operator initials and date.

  - Seal each 384-well plate with a clear plate seal and put them in the production sequencing deli in the “Fosmids ready for Chemistry” bin in room 140.

# Reagent/Stock Preparation

Sprint Prep Solution + Sprint Prep Activator

NOTE: The Sprint Prep Solution should be stored at room temperature. The Sprint Prep Activator should be stored at 4( C.

- Put the Sprint Prep Activator on theVari-mix rocker to allow the beads to go into the solution. Make sure there are no visible clumps of beads before use. (Approximately 1-2 days.)

- Add Sprint Prep Activator to the Sprint Prep Solution.

- Mix gently by inverting the bottle several times.

- Label with the date, your initials, and the time.

- Place in the 37(C incubator for at least 1 hour before use.

- Store combined solution at 37(C.

70% Ethanol

- Add 1474ml of 95% ethanol to a 2L-graduated cylinder.

- Bring total volume up to 2000 ml with Milli-Q water.

- Transfer to a 1L glass bottle for storage.

- Shake well.

RE1 with .0625% Triton-X

CAUTION! Wear gloves, safety glasses and lab coat when preparing RE1 with Triton X-100 solution.   Make sure you are making this solution in the fume hood located in lab 139.  Keep Triton X-100 bottle tightly closed when not in use. Place the used tips in the Triton X-100 waste container for proper disposal.

- Add 500ml RE1 to a 500 mL bottle

- Add 312.5μl Triton-X to the RE1

a.   Make sure to pipette the Triton-X very slowly, as the detergent is very viscous

- Place in a 37 (C incubator to allow the Triton-X to go into solution before use

- After removing from the 37(C incubator, invert several times to mix.

- Store at room temperature.

# Instrument Setup and Maintenance

Biomek FX

Setup:

- Turn on 37˚C water bath and add water if necessary. The water bath needs to be filled half way.

- Turn on the peristaltic pump and set to reverse flow (arrow down) to empty tubing of all remaining wash water.

    - For the SPRIntPrep beads reservoir, uncap and remove the suction tube from the reservoir before turning pump on.

- Connecting the reagents

    - When the BioMek deck reservoirs and tubing are empty replace the Milli-Q wash bottles with appropriate reagent bottles.  For 2 runs (a total of four 384-well plates)

  - Minimum IPA volume in bottle should be 250ml.

  - Minimum 70% EtOH volume in bottle should be 2L.

  - Minimum SPRIntPrep bead solution volume in bottle should be 250ml.

  - After connecting, place the SPRIntPrep bead solution bottle in the 37-degree water bath.

    - Set the peristaltic pump to forward flow and allow the BioMek deck reservoirs to fill. Make sure that the pump speed is set to 55.

    - Allow the reagents to cycle for at least 10 minutes prior to use.

- Priming the wash station

  - Check that the red valve on the left is open.

  - Set the wash station pump switches (on the controller device as well as the solenoid) to manual on and allow to run for 10 seconds, then set back to automatic.

Cleanup:

If there are no more runs for the day, then the following steps should be carried out:

- Switch the Ismatec pump to the “reverse” direction and prop the reservoirs at an angle so that their reagents are fully emptied. Stop the pump once lines are empty.

NOTE 1: For the SPRIntPrep beads reservoir, uncap and remove the suction tube from reservoir.

NOTE 2: If residue remains in the SPRIntPrep deck reservoir, pour a small amount of any remaining SPRIntPrep solution into the deck reservoir and agitate to put the residue in solution.

- Remove the orange caps from the reagent bottles and replace them with the original bottle caps.

- Flushing the tubing:

  - For each BioMek FX, fill one 500ml bottle and two 1-Liter bottles with Milli-Q H2O.

NOTE 1: Change Milli-Q water rinse bottles daily.

NOTE 2: May need to fill additional 1L bottles to for additional flushing of Sprint tubing.

  - Replace each reagent reservoir with an appropriately sized bottle of Milli-Q H2O

    - For the IPA bottle, replace it with a 500mL bottle of Milli-Q water

    - For the sprint reagent bottle and the 70% EtOH bottle replace them with a 1L bottle of Milli-Q water.

  - The 1-Liter bottle is intended to replace the 70% EtOH reservoir

  - Switch Ismatec pump to the “forward” flow direction (arrow up) and allow the BioMek deck reservoirs to fill. Continue pumping water through for 5 minutes.

  - Switch set the Ismatec pump to the “reverse” flow direction (arrow down), prop the reservoirs at an angle, and allow the BioMek deck reservoirs to empty completely.

    - For the SPRIntPrep beads reservoir, uncap and remove suction tube from reservoir while the pump is in the “off” position and before beginning it in the “reverse” direction.

- Turn off peristaltic pump and release EtOH and IPA tubing from the pump.

- Repeat steps 3.a-e for Sprint tubing until cycling waste water is completely clear.

- Turn off the 37(C water bath.

- Remove the orange cap from the waste bottle and dispose of the waste into the designated red Hazardous Waste Container.

NOTE: If the waste container is empty, you will need to mark it with the date that liquid started being collected in the container.

- Place the waste bottle back on the Biomek.

- Close out the software window by selecting File ( Exit. If prompted to save changes, click on NO.

Moving the Ismatec Tubing:

NOTE: When moving or changing the Ismatec tubing, make sure the Biomek is not running.

- Switch the Ismatec pump off.

- One at a time, release an Ismatec pump white applicator, dissociate it from its tubing, and move the white applicator over one notch.

- After all of the white Return and Supply applicators have been moved, spray the bottom of the tubing that is now under the white applicators with Tri Flow industrial lubricant Switch the Ismatec pumps on to the forward direction and spray the rotating device with Tri Flow industrial lubricant.

- Switch the Ismatec pumps off.

- Re-attach the Ismatec pump white applicators and snap down onto the Ismatec pump rotating device.

NOTE: Make sure to place the applicators back in the same order.

- Switch the Ismatec pump on to the forward direction.

- Mark that the tubing has been moved.

Changing the Ismatec Tubing:

- Switch the reagent Ismatec pump to the reverse direction and prop the reservoirs at an angle so that their reagents are fully emptied.

- Once all reservoirs and tubing are emptied, switch the Ismatec pump off.

- One at a time, release an Ismatec pump white applicator, dissociate it from its tubing, remove the old tubing and place it in the autoclave waste.

- Replace with new tubing of the same color and re-attach the white applicator to the tubing.

NOTE: All supply lines should have purple and gray tubing; all return lines should have purple and white tubing.

- After all of the tubing has been changed, spray the bottom of the tubing that is now under the white applicators with Tri Flow industrial lubricant.

- Switch the Ismatec pump on to the forward direction and spray the rotating device with Tri Flow industrial lubricant.

- Switch the Ismatec pump off.

- Re-attach the Ismatec pump white applicators and snap down the applicators onto the Ismatec pump rotating device.

NOTE: Make sure to place the applicators back in the same order.

- Switch the Ismatec pump on to the forward direction.

- Place a piece of tape onto the Ismatec pump motor labeled with what date the tubing needs to be moved

  - For EtOH and Bead tubing: move one week later and change 2 weeks later.

  - For IPA tubing: move after 3 days and change after 1 week.

Changing the Masterflex tubing:

NOTE: When moving or changing the MasterFlex tubing, make sure the Biomek is not running.

- At the beginning of every week, release the MasterFlex tubing clamps, move the MasterFlex tubing over one notch, and reclamp the MasterFlex tubing clamps.  Mark the date it was moved on the tubing.

- There are four spaces that the MasterFlex tubing can be moved. When all spaces have been filled (approx. 1 month), enter a work request to have the MasterFlex tubing changed by the Instrumentation group.

Daily Maintenance:

NOTE: All reagent and water bottles should be labeled with operator initials and date.

Sprint Prep Solution and RE1: New glass reagent bottles (500ml)should be filled from plastic stock bottles when the current one runs out or if the solution appears abnormal.

IPA: New glass reagent bottles can be refilled from the glass stock bottles for one week. Completely new IPA reagent bottles with fresh IPA should be made at the beginning of each week.

70% EtOH: Fresh 70% ethanol should be made daily in new glass reagent bottles.

Milli-Q water: For cleanup, fresh water bottles should be prepared daily.

Multidrop

Setup:

Installation of Sprint RE1 cassette:

- Perform a visual check on the Sprint RE1 multidrop cassette and the cassette tubing to make sure that they are undamaged.

- Take the lower part of the cassette into your right hand with the dispensing cassette tips pointing down and the upper part in your left hand.

- Carefully place eight tubes below the pump rotor and insert the lower part of the dispensing cassette into the lower part slots of the pump body. Check that the tubes are freely placed below the pump rotor and the tension limiting wires below the rotor shaft.

- Take a firm grip on the upper part of the dispensing cassette with your right hand and carefully pull the tubes around the pump rotor until the upper part reaches and fits into the upper part slots of the pump body.

- Check to make sure that both the upper and lower parts of the dispensing cassette are properly placed into their corresponding slots.

- Make sure that the tension limiting wires have a loose fit around the rotor shaft and the tubes are evenly placed on the rotor needles (four tubes on each half of the pump rotor). Inspect to ensure that the tubing is not kinked or overlapping.

- Pull rotor cover over the rotor.

Priming with water then RE1 plus Triton-X:

- Prime the Multidrop by placing the Multidrop tubing in the warm Milli-Q water bottle and pressing PRIME/PUMP button until the trough becomes three quarters of the way full. Check to see if the liquid is dispensing evenly from all tips and make sure no tips are clogged or partially clogged.

NOTE: If the tips are clogged, see Clogged Tips instructions below.

- Remove the Multidrop tubing from the Milli-Q water bottle and continue pressing the PRIME/PUMP until no more liquid is flowing out of the tubing. Some residual droplets may remain inside the tubing.

- Prime the multidrop by placing the multidrop tubing in the RE1-Triton-X bottle and pressing PRIME/PUMP button until all tips are dispensing buffer evenly.

- Check to see if the liquid is dispensing evenly from all tips and make sure no tips are clogged or partially clogged.

Clogged Tips:

If the tips are clogged, insert a small metal wire into the tip to remove the clog. As needed, try priming the tubing with hot water followed 70% ethanol, but rinse again with Milli-Q water before using the buffer reagents. Run a test plate through to check for even dispensing. If the tips are still clogged, change to the backup multidrop cassette and submit an instrumentation work request.

Cleanup (RE1 cassette):

After dispensing of RE1 buffer is completed for the day, prime the cassette tubing with warm Milli-Q water. Gently wipe the multidrop cassette with 70% ethanol using Kimwipes prior to putting each cassette back in its box.

RE1 Cassette Removal and cleanup:

- Upon completion of buffer dispensing, remove the multidrop tubing from the solution and press the PRIME/PUMP button until all of the solution has been dispensed from the tubing.

- Clean the multidrop tubing by priming it with Milli-Q water until the trough becomes three quarters of the way full. Remove the tubing from the water and continue dispensing until no water is left inside the tubing.

- Push the rotor cover off of the rotor.

- Gently remove the upper part of the multidrop cassette, followed by the lower part.

- Gently wipe the multidrop cassette with 70% ethanol using the Kimwipes.

- Place the cassette in its designated case.

Weekly Maintenance

Calibration check of each cassette. Refer to Calibration Check.

Hydra Maintenance

- Once per week, place a trough with Coulter Clenz cleaning reagent in the destination area and run through the following steps. Use File 2 on the Hydra.

  - Cycle through the Menu to Asp/Disp.

  - Hit the Fill button to Fill the needles to 50uL then let them soak for 1-2mins.

  - Empty the needles.

  - Cycle through the Menu to Wash and run the program. This will wash the needles 5 times.

  - Remove the Coulter Clenz trough.

  - Place a trough with MilliQ Water in the destination area.

  - Cycle through the Menu to Wash and run the program. This will wash the needles 5 times.

  - Replace Water trough after each set of 5 washes.

  - Repeat this method 3 times (total of 15 washes). Steps “f” to “i”.

- To shut down the Hydra Twister Robot for overnight storage:

  - Fill the needles 50% full with MilliQ water.

  - Turn off the instrument by using the switch located on the back of the Hydra next to the power cord.

# SOP Approval

| DEPARTMENT | APPROVED BY | DATE |
| --- | --- | --- |
| Lab Supervisor |  |  |
| Research & Development |  |  |
| Instrumentation |  |  |
| QC |  |  |
| Purchasing |  |  |
| EH & S |  |  |
| Informatics |  |  |
| Seq Assessment & Analysis |  |  |
| Dept Head of Prod Seq |  |  |

# Appendix

Figure 1. FX Deck Layout

# Text boxes

B1

B2

A2

A2

B2

B1

A1

A1