Department of General Administration

Division of Engineering and Architectural Services

Facilities Engineering Section

Energy Project Case Study

Facility:	Washington State Capitol Campus			Project completed May 2000

Project Description:

Phase 1 was completed in 1995 in conjunction with the Puget Power Conservation Partners Program under the largest performance contract used in state facilities. The Department of General Administration (GA) performed a complete renovation of the ceiling, lighting and HVAC systems in three major office buildings, retrofitted lighting in three other buildings, and improved the efficiency of the campus chilled water distribution system on the Washington State Capitol Campus in Olympia.  Phase 2 was completed in May 2000 with major improvements in three buildings.

Campus average monthly electrical usage over 6.2 million kWh in 1990 reduced to 4.6 million kWh in 2000.

Results:			Annual Electrical Savings:	17,514,600 kWh	$592,607

Annual kW Demand Savings:	       13,004 kW		$  34,070

Annual Natural Gas Savings:	     221,280 Therms	$110,640

Total Annual Avoided Cost:				$737,317

Project Benefits:	Improved control of building occupancy, temperature and lighting; improved lighting

quality; monitoring of environmental conditions through the EMCS; removal and disposal

of PCB ballast; and, recycling of Fluorescent lamps and all removed metals.

Environmental Benefits:		Reduction in CO2  of 9,589,877 pounds per year

Reduction in SO2  of 49 pounds per year

Reduction in NOx of 8,190 pounds per year

Energy Companies:		Abacus Resource Management Company – Seattle, Washington

and	Quantum Engineering & Development - Seattle, Washington

Phase 1

Project Cost:			$9,800,000

Funding Source(s):		Washington State Treasurer Lease/Purchase Program	Amount:      $9,800,000

Reimbursement Sources:	Puget Power Conservation Partners Program		Amount:	50%

Energy Conservation Savings				Amount:	50%

Phase 2

Project Cost:			$598,000

Funding Source(s):		Washington State Treasurer Lease/Purchase Program		$401,000

Reimbursement Sources:	Puget Sound Energy Grants					$  97,000

Capital funding							$100,000

Project Managers:		Art Arneson	Dept of General Administration  (360) 902-7261

Mark Kinzer, Vice Pres., Abacus Resource Management Co. (206) 583-0200

Michael O'Connor, Pres., Quantum Engineering & Development (206) 938-7383

For more information please contact: Karen Purtee (360) 902-7194 or email kpurtee@ga.wa.gov

Visit our web site at http://www.ga.wa.gov/eas/energy.htm