Update of the Laboratory Modernization Plans

In the

April 2001 Report

“Infrastructure Frontier Report: A Quick Look Survey of the Office of Science Laboratory Infrastructure”

April, 2003
D R A F T

Prepared by Office of Laboratory Infrastructure (SC-82)

Office of Laboratory Operations and ES&H

Office of Science

Department of Energy

Contact : John Yates 301-903-8435

john.yates@science.doe.gov

Overview

This report summarizes ‘laboratory generated’ recapitalization/modernization plans for the general purpose infrastructure of the SC laboratories from their Year 2002 Strategic Facilities Plans (SFPs).  The Office of Science guidance for the preparation of the Year 2002 SFPs was to develop a plan to modernize the laboratories over a ten year planning horizon to fully support SC and other Departmental research missions now and into the 21st century.  The individual laboratory SFPs can be found on the Office of Laboratory Infrastructure web site: http://www.science.doe.gov/SC-80/sc-82/sfps.html.  Projects to upgrade, expand or add dedicated programmatic facilities such as nano-science centers, accelerators or genome centers are not included in this report.  SC will be issuing a separate 20 year plan for such programmatic facility investments in 2003.

This report covers the 10 SC owned laboratories operated under management and operating contracts and ORISE; together these are referred to as the SC Laboratory System.  The System has 20.2 million gross square feet of space in 1,553 SC buildings (includes 28 non-operational excess and 152 operational excess buildings) and 754 real and personal property trailers.  In addition, there are numerous associated accelerator and reactor components, utility, communication and security systems, roads and other structures, which, together are referred to as Other Structures and Facilities (OSF).  The estimated replacement value of the System as of December 2002 is $11.8 billion, $6.8 billion for buildings and $5 billion for OSF.  The System has a total annual operating budget of about $3 billion, and research and support staff of about 22,500.

Proposed User Research Center at Brookhaven National Laboratory

This report does not include 160 SC buildings (about 2 million square feet) at universities (e.g., Notre Dame, MIT) or other DOE laboratories (e.g. Sandia Laboratories and Lawrence Livermore National Laboratory).

Recapitalization/modernization investment in the context of this report is construction funding and includes Line Item (LI) construction and General Plant Projects (GPP), both of which are directly funded by SC.   Those construction projects with a total cost of $5 million or more are referred to as LIs while those below $5 million are designated GPP.

This report does not cover maintenance activities and clean-up and removal of excess facilities although both of these are important components of a recapitalization/modernization effort.

Also, data in this report were collected in the summer and fall of 2002 and, therefore, may not be consistent with later documents such as program plans and the FY 04 President’s budget.

Page 1

Summary of Laboratory Recapitalization/Modernization Investment Plans

The laboratories identified more than $2.240 billion of recapitalization/modernization investments over the ten-year period (FY 2004 through FY 2013).   See planned investments summarized by year in Exhibit 1.  Note: the FY 04 funding level has not been updated to reflect the President’s    FY 04 request to Congress.

The System LIs total $1.4825 billion and the GPP totals $757.1 million.  A listing and description of each laboratory’s line item projects are given in Appendices A and B, respectively.

Exhibit 1: Modernization Investment Summary by Year

The 2002 total of $2.240 billion is $600M higher than the $1.632B total capital modernization investment identified in the April 2001 Frontier Report.  The Frontier Report was based on the Year 2000 SFPs.  Both can be found on the SC web site at http://www.science.doe.gov/SC-80/sc-82/labs21/infraftr.pdf .  In that Report, LIs totaled $932M and GPP $700M.

The $600 million increase is due primarily to an increase in LIs as shown in Exhibit 2 by laboratory.  PNNL had the largest increase of over $300M.  This is due to the possible need to replace all PNNL facilities in the 300 Area at Richland due to the accelerated clean-up of the 300 Area.

Exhibit 2: Line Item Investments Planned by the Laboratories

There were also significant increases in the planned LI funding for the single program labs – SLAC, Fermi, TJNAF, Ames and PPPL and increases in all the multiprogram labs except ORNL.

Page 3

Page 2

Exhibit 3: Line Item Project Type

Nearly 84 percent of LI investment is related to the building revitalization which includes new buildings to replace existing buildings and rehab of existing buildings. See Exhibit 3.

Why the Large Investment for Recapitalization/Modernization?

Recapitalization/modernization of the laboratories is needed due to a variety of factors including: aging of the laboratory buildings and systems resulting in deterioration and obsolescence; inadequate original construction for current use (e.g., wooden buildings); changing technology (e.g., computers and digital controls); changing research activities (e.g., less nuclear and wet chemistry and more simulation and modeling); and, insufficient capital investment over the years.

Many of the SC laboratories were established during World War II and early Cold War (1950s) including Berkeley, Argonne, Brookhaven, Oak Ridge and Pacific Northwest laboratories.

Exhibit 4: Overall SC Laboratory Facility Age Distribution

Total $1.48 Billion Million

As shown in Exhibit 4, over 65% of the SC Laboratory System space is over 30 years old; 43% is over 40 years old and 24% is 51 years or older.

Many of these facilities are reaching the end of their service life.  These buildings require extensive maintenance and replacement of deteriorating systems, subsystems and components to meet mission, safety standards, and other needs. Age makes much of the building systems, subsystems and components (e.g., electrical, heating, air conditioning, and ventilation) difficult to repair, because equipment becomes obsolete and replacement parts are often unavailable.

Page 3

Exhibit 5 shows the existing maintenance condition of SC active buildings based on Maintenance Condition Index (MCI).  MCI is defined as deferred maintenance (DM) for a building divided by the replacement plant value of the building.  MCI is only a partial indicator of condition because it does not include rehab and modernization costs such as functionality, energy, seismic, accessibility, building code compliance, appearance, etc.  SC will have a Summary Condition Index based on all these by 2004.

Exhibit 5: Condition of SC Buildings Based on Deferred Maintenance

The DOE criteria for maintenance condition are shown below:

Excellent:  DM is <2% of RPV

Good: DM is 2% -<5% of RPV

Adequate: DM is 5% -<10% of RPV

Fair: DM is 10% - <25% of RPV

Poor: Major DM is 25% - <60 percent of RPV

Fail: Replacement is required because DM cost is 60% of RPV

As shown in Exhibit 5, 20 percent of active laboratory space is rated fair, poor or fail.  However, these substandard facilities are still in service because SC laboratories need the space to perform their research missions and have no satisfactory alternatives.  Aging laboratory infrastructure continues to deteriorate because funding is insufficient to support major maintenance projects, recapitalization projects, and to conduct research concurrently.

Office of Science’s Infrastructure Modernization Investment Plan

SC currently budgets $70 million a year for LIs and GPP.  Thus, over a 10 year period SC (assuming a level budget scenario) will fund only $700 million of the highest priority projects in the $2.240 billion of modernization investments identified by the laboratories.  This leaves $1.540 billion of un-funded projects.  Funding these will improve the condition all SC buildings to "good" or "excellent".    SC is updating its Strategic Plan and it will address goals for modernizing the SC Laboratory System.

Page 4

Page 5

Appendix A – List of Line Item Projects by Laboratory

Note: “TEC” is “Total Estimated Cost”; these are “first estimates” and are subject to change.  Also, project start dates are those proposed by the laboratories to modernize over a ten year period.  Generally, the projects are in the laboratory’s priority order.

| Laboratory | Project Title | TEC ($ Millions) | Fiscal Year |
| --- | --- | --- | --- |
| Multiprogram |  |  |  |
| ANL-E | Building Roof Replacements | 16.5 | FY2005 |
| ANL-E | Multiprogram Laboratory Office Building | 12.0 | FY2005 |
| ANL-E | Building Electrical Service Upgrades - Phase II | 9.1 | FY2005 |
| ANL-E | Mechanical and Control Systems Upgrades - Phase II | 10.5 | FY2005 |
| ANL-E | Building Electrical Service Upgrades - Phase III | 10.8 | FY2006 |
| ANL-E | Roads/Parking/Walks/Street Lighting Upgrade | 13.5 | FY2006 |
| ANL-E | Fire Safety Improvements - Phase V | 6.2 | FY2006 |
| ANL-E | Laboratory Space Upgrades - Phase I | 12.9 | FY2007 |
| ANL-E | Mechanical and Control Systems Upgrades - Phase III | 10.8 | FY2008 |
| ANL-E | General Purpose Laboratory Facility | 5.9 | FY2008 |
| ANL-E | Building 362 Asbestos Abatement | 5.4 | FY2008 |
| ANL-E | Building Electrical Service Upgrades - Phase IV | 7.7 | FY2009 |
| ANL-E | Electrical System Upgrade - Phase IV | 11.3 | FY2009 |
| ANL-E | Laboratory Space Upgrades - Phase II | 13.6 | FY2010 |
| ANL-E | Central Heating Plant Auxiliaries Upgrade | 8.0 | FY2010 |
| ANL-E | Mechanical and Control Systems Upgrades - Phase IV | 9.9 | FY2011 |
| ANL-E | Building Electrical Service Upgrades - Phase V | 7.9 | FY2012 |
| ANL-E | Laboratory Space Upgrades - Phase III | 26.1 | FY2013 |
|  | Subtotal | 198.1 |  |
| BNL | User Research Building | 15.4 | FY2004 |
| BNL | Energy Sciences Building | 18.4 | FY2005 |
| BNL | Multi-Program Science Laboratory Renovations | 15.0 | FY2005 |
| BNL | Central Chilled Water II | 9.0 | FY2005 |
| BNL | Renovate Science Labs I (510) | 27.3 | FY2006 |
| BNL | Central Steam Distribution Sys I | 8.0 | FY2006 |
| BNL | Research Support Building II | 13.4 | FY2007 |
| BNL | Building Roof-Replacement | 11.6 | FY2007 |
| BNL | Halon Replacement | 5.0 | FY2007 |
| BNL | Renovate Science Labs II (515,535) | 12.3 | FY2008 |
| BNL | Potable Water System II | 8.0 | FY2008 |
| BNL | Support Shops Complex - Ph 1 | 5.5 | FY2009 |
| BNL | Central Steam Distribution Sys II | 8.0 | FY2009 |
| BNL | Research Support Building IV | 9.2 | FY2010 |
| BNL | Renovate Science Labs III (555,815) | 21.3 | FY2010 |
| BNL | Electrical System Modifications III | 10.0 | FY2010 |
| BNL | Research Support Building III | 17.0 | FY2011 |
| BNL | Sanitary System Mods IV | 10.0 | FY2011 |
| BNL | Renovate Science Labs IV (911,703) | 21.9 | FY2012 |
| BNL | Surface Water | 5.0 | FY2012 |
| BNL | Support Shops Complex - Buildings Division | 6.7 | FY2013 |
| BNL | Flexible Science Labs | 22.8 | FY2013 |
| BNL | Science Museum | 9.3 | FY2013 |
| BNL | Support Shops Complex Ph II | 6.7 | FY2013 |
| BNL | Support Shops Complex Ph III | 6.7 | FY2013 |
| BNL | Safeguards & Security Complex | 12.0 | FY2013 |
| BNL | Materials Handling Center | 12.6 | FY2013 |
| BNL | Recreation Center | 15.5 | FY2013 |
| BNL | Renovate Science Labs V (463,490) | 19.4 | FY2013 |
| BNL | Renovate Science Labs VI (830,902) | 10.2 | FY2013 |
| BNL | Fiber Optic Cables for SFAS | 5.0 | FY2013 |
| BNL | Fire Protection IV | 5.3 | FY2013 |
| BNL | Fire Protection V | 5.0 | FY2013 |
|  | Subtotal | 388.5 |  |
| LBNL | User Support Building | 20.0 | FY2004 |
| LBNL | Research Support Building | 15.0 | FY2005 |
| LBNL | Bldg. 62 & 74 - Rehabilitation of Bldg. Operating Systems | 19.5 | FY2005 |
| LBNL | Operations Building | 15.0 | FY2006 |
| LBNL | Engineering Support Facility | 15.3 | FY2007 |
| LBNL | Replace Bldg. 25 (Seismic Stability) | 20.2 | FY2007 |
| LBNL | Environmental, Health and Safety Support Facility | 16.4 | FY2008 |
| LBNL | Training Center and Auditorium | 16.0 | FY2009 |
| LBNL | Site Support Services Facility | 9.5 | FY2010 |
| LBNL | Replace Building 73 | 14.0 | FY2011 |
| LBNL | Rehabilitation of Bldg. 90 Operating Systems | 18.0 | FY2012 |
| LBNL | Rehabilitation of Bldg. 72 Operating Systems | 12.0 | FY2013 |
|  | Subtotal | 190.9 |  |
| ORNL | 4500N, Wing 4 Lab Upgrades & Renovations | 16.6 | FY2004 |
| ORNL | Primary Substation Upgrades | 7.8 | FY2005 |
| ORNL | 4500N, Wing 3 Lab Upgrades & Renovations | 19.0 | FY2006 |
| ORNL | Laboratory Facilities Vent System Upgrade - Phase I | 7.5 | FY2006 |
| ORNL | Manipulator Repair Facility | 12.0 | FY2007 |
| ORNL | 4500S, Wing 4, Lab Upgrades & Renovations | 18.2 | FY2007 |
| ORNL | Laboratory Facilities Vent System Upgrade - Phase II | 8.5 | FY2008 |
| ORNL | 4500S, Wing 3 Lab Upgrades & Renovations | 19.0 | FY2008 |
| ORNL | 4500N, Wing 2 Lab Upgrades & Renovations | 19.9 | FY2009 |
| ORNL | 4500S, Wing 2 Lab Upgrades & Renovations | 18.0 | FY2009 |
| ORNL | 4500S, Wing 1 Lab Upgrades & Renovations | 17.0 | FY2010 |
| ORNL | Potable Water System Upgrade I | 7.0 | FY2010 |
| ORNL | 4500N, Wing 1 Lab Upgrades & Renovations | 20.2 | FY2011 |
| ORNL | Potable Water System Upgrade II | 7.0 | FY2012 |
| ORNL | Electrical Distribution System Upgrades | 7.0 | FY2013 |
|  | Subtotal | 204.7 |  |
| PNNL | EMSL Expansion Phase I | 17.1 | FY2005 |
| PNNL | EMSL Expansion Phase II | 6.2 | FY2005 |
| PNNL | EMSL Expansion Phase III | 10.9 | FY2006 |
| PNNL | 300 Area Replacement Facility--Phase 1 | 25.9 | FY2006 |
| PNNL | D-485, 320 Building Renovation | 7.6 | FY2007 |
| PNNL | Research Support Building | 25.0 | FY2007 |
| PNNL | D-496, Laboratory Systems & Rehabilitation Upgrades | 9.7 | FY2007 |
| PNNL | 300 Area Utility Distribution Systems | 16.3 | FY2007 |
| PNNL | 300 Area Replacement Facility--Phase 2 | 30.0 | FY2007 |
| PNNL | Engineering Research Laboratory | 80.0 | FY2008 |
| PNNL | 300 Area Replacement Facility – Outyear | 120.0 | FY2008 to FY2011 |
|  | Subtotal | 348.7 |  |
| Subtotal for Multiprogram Laboratories |  | 1330.9 |  |
| Program Dedicated |  |  |  |
| Ames | Emerging Technologies Bldg. | 26.0 | FY2006 |
|  | Subtotal | 26.0 |  |
| Fermi | High Voltage Distribution System Upgrades | 11.0 | FY2005 |
| Fermi | Advanced Manufacturing Facility Phase I | 14.0 | FY2006 |
| Fermi | Advanced Manufacturing Facility Phase II | 16.0 | FY2007 |
| Fermi | Beams Division Consolidation | 13.0 | FY2008 |
|  | Subtotal | 54.0 |  |
| PPPL | LSB West Wing Addition | 8.3 | FY2005 |
| PPPL | Infrastructure Services Upgrade | 5.6 | FY2005 |
|  | Subtotal | 13.9 |  |
| SLAC | Safety and Operating Reliability Improvements Project | 15.6 | FY2004 |
| SLAC | LINAC Electrical Reliability Improvement | 13.3 | FY2007 |
|  | Subtotal | 28.9 |  |
| TJNAF | CEBAF Center Addition, Phase 2 | 15.0 | FY2005 |
| TJNAF | Support Building Complex | 7.0 | FY2005 |
| TJNAF | Test Lab Rehab | 6.8 | FY2007 |
|  | Subtotal | 28.8 |  |
| Subtotal for dedicated program |  | 151.6 |  |
|  | Grand Total | 1482.5 |  |

Appendix B – Descriptions of Line Item Projects by Laboratory

The projects described below are a compilation of the modernization projects from the laboratories’ Year 2002 update of their Year 2000 Strategic Facilities Plan.  Programmatic projects are not included.  This listing is not to be considered SC’s Laboratory Infrastructure Modernization Plan.  A table of these projects is found in Appendix A.  Note: “TEC” is “Total Estimated Cost”; these are “first estimates” and are subject to change.  Also, project start dates are those proposed by the laboratories to modernize over a ten year period.  Generally, the projects are in the laboratory’s priority order.

ANL-E

Building Electrical Systems Upgrade – PH II (TEC $9.1M, FY05 start)  –  This phase will upgrade critical portions of the 30-40 years old electrical power distribution system in twelve research buildings and support facilities. Approximately 1,200 people work in the affected facilities. Upgrade system to meet current safety standards, improve reliability and performance, support the changed missions within the buildings, and reduce maintenance costs. Total annual cost savings of $1,210,000 ($1,180,000 loss in productivity due to power interruptions and $30,000 in maintenance savings), payback 6.8 years.

Building Roof Replacement (TEC $16.5M, FY05 start) - This project involves comprehensive replacement of the roofing systems on older buildings, including all original buildings in the 200 and 300 areas and buildings constructed between 1970 and 1990. The last comprehensive roof replacement at Argonne-East occurred between 1983 and 1987 and used roofing systems with a predicted life of 20 years.  Repair of small leaks is now necessary with increasing frequency.  Roof replacement of the 400 area buildings will need to begin in 2012.

Multiprogram Laboratory Office Building (TEC $12M, FY05 start) - This project provides for the design and construction of a multiprogram laboratory and office building 50,000 square feet). Systems and components will be designed to minimize life-cycle costs and improve environmental performance. The building will facilitate the rehabilitation of laboratory/office space in other buildings by housing dislocated activities, which is currently difficult to do.

Mechanical and Control Systems Upgrades – PH II ( TEC $10.5M, FY05 start)  – This is phase II of four projects to upgrade critical portions of the mechanical and control systems. The projects involve rehabilitation and upgrade of laboratory HVAC systems, exhaust systems, drainage systems, and controls. This work is needed to meet current environment, safety and health standards, improve reliability and performance, and reduce operational and maintenance costs to better support the programmatic mission.

Building Electrical Service Upgrades – PH III (TEC $10.8M, FY06 start)  – This is phase III of five projects to upgrade critical portions of the electrical power distribution system located in the 200, 300, and 360 Areas and their support facilities.  Scopes of work will involve upgrading lighting and power panel boards, 13.2-kV switches, 480-V switchgear, and transformers, replacing 13.2-kV switches and 480-V switchgear with new equipment containing state-of-the-art metering and protection devices, and provision of emergency power to selected buildings. This work is needed to meet current environment, safety and health standards, improve reliability and performance, and reduce operational and maintenance costs to better support the programmatic mission.

Roads/Parking/Walks/Street Lighting (TEC $13.5M, FY06 start) - Many roads, parking lots, and sidewalks at Argonne-East have deteriorated beyond amenability to general maintenance and basic repair.  Other areas require additional parking and walkways. This project will rehabilitate or upgrade the surfaces of selected roads, parking lots, and sidewalks (and will use recycled materials where possible). A new site wide high-pressure sodium lighting system will cut electrical loads by approximately half and will provide better coverage at roadway intersections and in parking lots.

Fire Safety Improvements – Phase V (TEC $6.2M, FY06 start) - This project addresses remaining capital improvements needed for fire protection. Work includes correction of deficiencies affecting property protection and potential interruption or work, installation or upgrading of fire barriers, replacement of halon systems and obsolete building sprinkler water supply connections, and repair of hydraulically deficient sprinkler systems not related to life safety.

Laboratory Space Upgrades – PH I (TEC $12.9M, FY07 start)  –  This project encompasses essentially all aspects of modernizing laboratory space, including reconfiguration and upgrading of laboratory space envelopes, laboratory interiors, work area furnishings, communications, security, electrical distribution systems, plumbing systems, and laboratory and process piping. The projects address safety and health concerns by including upgrades of fume hoods, vacuum frame hoods, canopy hoods, and glove boxes, along with associated utilities.  Also included are removal and disposal of potentially contaminated or hazardous materials such as hoods, exhaust ductwork, piping, and asbestos insulation.

Mechanical and Control Systems Upgrades – PH III  (TEC $10.8M, FY08 start)  – This is phase III of four projects to upgrade critical portions of the mechanical and control systems. The projects involve rehabilitation and upgrade of laboratory HVAC systems; exhaust systems, drainage systems, and controls. This work is needed to meet current environment, safety and health standards, improve reliability and performance, and reduce operational and maintenance costs to better support the programmatic mission.

General-Purpose Laboratory Facility (TEC $5.9M, FY08 start) - This project will provide a flexible high-bay research facility (25,000 square feet) to supplement current facilities and to more readily meet changing needs. A freestanding location will facilitate expansion and reconfiguration and will achieve proximity to laboratory space with minimal physical obstructions. These capabilities cannot be achieved through rehabilitation or reprogramming of existing high-bay areas, because of the resulting disruption of current work and of the type of construction used in the existing buildings.

Building 362 Asbestos Abatement (TEC $5.4M, FY08 start) - Asbestos-containing materials (ACMs) are present in numerous older buildings at Argonne-East. Damaged ACMs threaten building occupants and workers and must be repaired or removed; undamaged ACMs may be left undisturbed or sealed. This project will remove asbestos fireproofing materials now under floor decks and attached to steel structural elements in Building 362. Where needed, the project will clean up friable asbestos. Portions of each floor will be done in turn, cordoned off, enclosed with containment measures and remediated on a rotating basis, including removal of ceiling tiles, where present, and replacement with a new ceiling system. Occupants will be rotated from affected areas while the building remains in service.

Building Electrical Service Upgrades – PH IV (TEC $7.7M, FY09 start)  – This is phase IV of five projects to upgrade critical portions of the electrical power distribution system located in the 200, 300, and 360 Areas and their support facilities.  Scopes of work will involve upgrading lighting and power panel boards, 13.2-kV switches, 480-V switchgear, and transformers, replacing 13.2-kV switches and 480-V switchgear with new equipment containing state-of-the-art metering and protection devices, and provision of emergency power to selected buildings. This work is needed to meet current environment, safety and health standards, improve reliability and performance, and reduce operational and maintenance costs to better support the programmatic mission.

Electrical System Upgrade – PH IV (TEC $11.3M, FY09 start)  – This project will upgrade 5-kV overhead lines to 13.2-kV and will increase the capacity of the 13-kV overhead lines in the 200, 300, and 400 areas. The project will also replace 13.2-kV switchgear and interrupter switch lineups that serve the 300 area, increase the capacity of transformer T3, and replace transformer T6. Outdoor automatic transfer switches will be installed to serve Buildings 201 and 221. Most importantly, additional electrical service capacity will be brought to the site distribution system from Commonwealth Edison’s supply grid, allowing increased reliability and service levels.

Laboratory Space Upgrades – PH II (TEC $13.6M, FY10 start) – This is phase II of three projects to modernize laboratory space reconfiguration including laboratory space envelope; laboratory interiors, work area furnishings; communications, security, and electrical distribution systems; plumbing systems; laboratory and process piping.  The project also addresses safety and health concerns such as fume hoods, vacuum frame hoods, canopy hoods, glove boxes, etc. with associated utilities; and removal and disposal of potentially contaminated or hazardous materials such as hoods, exhaust ductwork, piping, and asbestos insulation.  This work is needed to meet current environment, safety and health standards, improve reliability and performance, and reduce operational and maintenance costs to better support the programmatic mission.

Central Heating Plant Auxiliaries Upgrade (TEC $8.0M, FY10 start) - Upgrade of the steam production auxiliary systems and components at the Central Heating Plant will be undertaken to improve reliability and performance of the steam production process. Additionally, the project will provide both energy and operational savings and may be undertaken as a third party financed energy conservation project.

Mechanical and Control Systems Upgrades – PH IV (TEC $9.9M, FY11 start) – This is phase IV of four projects which will upgrade critical portions of the mechanical and control systems. The projects involve rehabilitation and upgrade of Laboratory HVAC systems, exhaust systems, drainage systems, and controls to address ESH&I concerns about reliability of operations, environmental protection, and other conditions that could have significant adverse consequences for Laboratory activities.

Building Electrical Service Upgrades – PH V (TEC $7.9M, FY12 start)  – This is phase V of five projects which will upgrade of critical portions of the electrical power distribution system located in the 200, 300, and 360 Areas and their support facilities.  The systems will be updated to meet current safety standards, improve the system's reliability and performance, support the changed missions within the buildings, and reduce facility maintenance and repair costs.  Scopes of work will involve upgrading lighting and power panel boards, 13.2-kV switches, 480-V switchgear, and transformers, replacing 13.2-kV switches and 480-V switchgear with new equipment containing state-of-the-art metering and protection devices, and provision of emergency power to selected buildings.

Laboratory Space Upgrades – PH III (TEC $26.1M, FY13 start)  – This project is phase III of four phases and will encompass essentially all modernization aspects of laboratory space reconfiguration and upgrade including laboratory space envelope; laboratory interiors, work area furnishings; communications, security, and electrical distribution systems; plumbing systems; laboratory and process piping.  The project also addresses safety and health concerns such as fume hoods, vacuum frame hoods, canopy hoods, glove boxes, etc. with associated utilities; and removal and disposal of potentially contaminated or hazardous materials such as hoods, exhaust ductwork, piping, and asbestos insulation.

BNL

User Research Building (TEC $15.4M, FY04 start) – This project will construct a new 54,500 SF, three-story office building to support the growing scientific community using the RHIC facility. This new facility will eliminate the current lack of space problem by providing a permanent facility for the BNL/RHIC scientific staff and the short- and long-term visiting scientific community to carry out the program’s vital mission. It will include centrally located offices for 154 personnel; various conference and seminar areas; state-of the-art data information systems; public computer terminals to accommodate transient visiting scientific staff; and a lobby suitable for public displays and visitor orientation.

Energy Sciences Building (TEC $18.4M, FY05 start) – This proposed new building for the Energy, Environment, and National Security Directorate (EENS) will provide 40,000 square feet of laboratory, office and support space. The facility will include individual offices, two-person offices, state-of-the-art laboratories, transient user space for visiting collaborators, with access to computer terminals, and conference rooms on all floors.  This project will construct sorely needed laboratory and office facilities to consolidate the Directorate. EENS is currently dispersed in over twenty buildings on site. Many are old, outdated, inefficient World War II-era facilities incapable of meeting mission need. Execution of this project is essential to perform multi-program DOE initiatives in environmental sciences, carbon management, nano-technology, energy sciences and to promote industrial collaboration and technology transfer.

Central Chilled Water Facility – PH II (TEC $9M, FY05 start) - This project will add 1,250 tons of additional chilled water capacity to BNL’s Central Chilled Water Facility (CCWF) and provide the baseline infrastructure needed to support expected chilled water load growth.  Consistent with strategic plans, the CCWF has seen substantial growth in chilled water load with the addition of several existing buildings which were added when their chilled water systems were no longer economically viable.  The available capacity is only marginally capable of meeting peak load and is no longer able to provide firm capacity.  Additional new buildings are planned that will require provision for additional CCWF capacity growth.  This project will provide improved operating efficiency, reliable firm capacity for current loads, will utilize the latest environmentally benign refrigerants and will provide the base infrastructure to support future load growth.  Construction will include a 3,000 SF addition to the CCWF, installation of a 1,250 ton electric centrifugal chiller and associated cooling tower, pumps, controls and piping.

Support Shops Complex – PH I (TEC $5.5M, FY 09 start) –- This project is phase I of a multi-phase project to consolidate the Plant Engineering Division by relocating building maintenance, site maintenance, and electrical-mechanical maintenance groups from their present locations to a single consolidated facility.  Phase I constructs a 30,000 sq.ft. facility which addresses the Admin portion of the Complex.  Twenty-two excess facilities with a total of 216,000 square feet will be demolished as part of the entire project.  The current shops are scattered throughout the site in inefficient WWII era buildings.  These buildings were retrofitted to accommodate shop operations.  As shops are separated, sharing of facilities and other resources is not possible.  By consolidating into a more efficient, co-located complex resources can be shared and space requirements reduced.  In addition, several of the shops are located near the main entrance and at the entrance to the core area of the site making for an unsightly appearance.

Multi-Program Science Laboratory Renovations (TEC $15 M, FY05 start) - This project will upgrade and rehabilitate existing obsolete and unsuitable BNL laboratory facilities into modern, efficient lab spaces compatible with world-class scientific research.  The majority of BNL’s laboratories are in excess of 40 years of age and have not been rehabilitated since their original construction.  Approximately 33,000 SF of laboratories will be rehabilitated including refurbishment of HVAC, electrical, lighting, plumbing, services, casework, and architectural surfaces.  The renovated lab spaces will utilize modern modular laboratory equipment wherever possible to provide maximum lab flexibility and potential for reuse.

Renovate Science Laboratories – PH I (TEC $27.3M, FY06 start)–- Phase I will renovate Bldg. 510 including interior finishes, electrical and mechanical systems, and basic laboratory furnishings.  Some interior partition changes will also be performed aimed at making these facilities more flexible and adaptable to changing program needs.  An emphasis will be placed on making the building more environmentally benign (“green”) and energy efficient. The renovations will modernize the buildings and increase their functionality.  In addition, this project will significantly lower both the GPP and maintenance backlogs allowing those funds to be directed to other needs.

Central Steam Distribution System Upgrade – PH I (TEC $8M, FY06 start) –- This project will replace the aged steam distribution lines and associated condensate-return lines, and extend the steam distribution system to support multi-program growth in the northern area of the BNL site.   Many of the oldest section of the steam distribution system have poor to no remaining insulation and there are some leaks in the condensate return piping, causing a loss of system efficiency.  With the aging of the steam system, pipe failure rates will increase causing local outages.  Outages during the winter months would disrupt operations.

Research Support Building – PH II (TEC $13.4M, FY07 start)  – This project is phase II of four phases and it will construct a 33,500 sq. ft. modern office building.  Organizations that support BNL research are spread among numerous small buildings, most of which are WWII vintage (over 50 years old) barracks or “temporary” construction. The directorates affected are Facilities & Operations, Environmental Management, ESH & Q, Community Involvement, and Finance & Administration. The potential benefits of the RSC, include increased operational efficiency and reduced energy use through shared resources.

Research Support Building – PH III (TEC $17M, FY11 start) – This project is phase III of four phases and it will construct a 42,500 sq. ft. modern office building.  Organizations that support BNL research are spread among numerous small buildings, most of which are WWII vintage (over 50 years old) barracks or “temporary” construction. The directorates affected are Facilities & Operations, Environmental Management, ESH & Q, Community Involvement, and Finance & Administration. The potential benefits of the RSC, include increased operational efficiency and reduced energy use through shared resources.

Renovate Science Laboratories – PH II (TEC $12.3M, FY08 start) – Phase II will renovate Bldgs. 515 and 535 including interior finishes, electrical and mechanical systems, and basic laboratory furnishings.  Some interior partition changes will also be performed aimed at making these facilities more flexible and adaptable to changing program needs.  An emphasis will be placed on making the building more environmentally benign (‘green’) and energy efficient. The renovations will modernize the buildings and increase their functionality.  In addition, this project will significantly lower both the GPP and maintenance backlogs allowing those funds to be directed to other needs.

Research Support Building – PH IV (TEC $9.2M, FY10 start)  – This project is phase IV of four phases and will construct 23,000 square feet of modern office space.  Organizations that support BNL research are spread among numerous small buildings, most of which are WWII vintage barracks or “temporary” construction.  BNL’s Master Plan suggests that a 4-phase approach constructing 4 buildings in close proximity will be a cost-effective efficient solution that will provide an enhanced image of BNL as a center for world-class science.  The directorates affected are Facilities & Operations, Environmental Management, ESH & Q, Community Involvement, and Finance & Administration. The potential benefits of the RSC, include increased operational efficiency and reduced energy use through shared resources.

Potable Water System – PH II (TEC $8M, FY08 start) – This project will replace the aged potable water system distribution lines.  The area of most need is the housing area. The potential for using third party financing for this in conjunction with third party housing projects will be explored.

Renovate Science Labs – PH III (TEC $21.3M, FY10 start) – This project is phase III of six phases and will renovate close to 800,000 square feet of the Laboratory’s permanent laboratory/office buildings, many of which were constructed in the 1960s.  These renovations include interior finishes, electrical and mechanical systems, and basic laboratory furnishings.  Some interior partition changes will also be performed aimed at making these facilities more flexible and adaptable to changing program needs.  An emphasis will be placed on making the building more environmentally benign (“green”) and energy efficient.  The project will be carried out in phases and BNL has suggested a 6-phase approach that prioritizes the buildings based on mission needs and the asset’s condition.  This project will significantly lower both the GPP and maintenance backlogs.

Support Shops Complex – PH II (TEC $6.7M, FY13 start) – This is phase I of three projects to consolidate the Plant Engineering Division and will relocate the carpentry, painting, and cabinet shop complex from its present location opposite the fire station.  All three phases will provide 154,000 sq. ft. of new space and demolish 216,000 sq. ft. of deteriorated buildings.

Renovate Science Labs – PH IV (TEC $21.9M, FY12 start)  – This project is phase IV of six phases and will renovate close to 800,000 square feet of the Laboratory’s permanent laboratory/office buildings, many of which were constructed in the 1960s.  These renovations include interior finishes, electrical and mechanical systems, and basic laboratory furnishings.  Some interior partition changes will also be performed aimed at making these facilities more flexible and adaptable to changing program needs.  An emphasis will be placed on making the building more environmentally benign (“green”) and energy efficient.  The project will be carried out in phases and BNL has suggested a 6-phase approach that prioritizes the buildings based on mission needs and the asset’s condition.  This project will significantly lower both the GPP and maintenance backlogs.

Central Steam Distribution System – PH II  (TEC $8M, FY09 start) – This project will replace the aged steam distribution lines and associated condensate-return lines, and extend the steam distribution system to support multi-program growth in the northern area of the BNL site.  Many of the oldest sections of the steam distribution system have poor insulation and there are leaks in the condensate return piping, causing a loss of system efficiency.

Halon Replacement (TEC $5M, FY07 start) – This project provides for replacement of Halon Fire Suppression Systems with other fire-suppression systems.  The Clean Air Act requires the discontinuation of ozone-depleting chemicals, including Halon.  The Department of Energy no longer permits its purchase.  These systems must be changed to permit continued ability to provide fire suppression.

Building Roof Replacements (TEC $11.6M, FY07 start) – This project will re-roof those permanent structures whose roofs have reached their end-life and require full replacement. (Note: roofing projects associated with the buildings identified for demolition as part of this plan are not included.  However, if these projects do not come to fruition, then these other roofing projects will also be needed. )

Electrical System Modifications – PH III (TEC $10M, FY09 start)- This project will continue the efforts of previous phases to replace outdated 13.8kV electrical distribution system cable and modify substations to convert the existing radial system into a more reliable loop-type system.

Flexible Science Labs (TEC$22.8M, FY13 start) – This project will provide 67,000 square feet of office/laboratory space.  The current BNL laboratory buildings were designed for the needs of discrete scientific disciplines. The proposed labs will be specifically designed for energy efficiency, will be generic and universal, and adaptable to changing functional and operational requirements. This flexible configuration will foster multidisciplinary interactions and collaborations, as well as the scientific synergy that comes from facilitating interaction of different viewpoints and ideas.  We anticipate that this project will be constructed in phases in a grouping of two-story structures.

Renovate Science Labs – PH V (TEC $19.4M, FY13 start) – This project is phase V of six phases and will renovate close to 800,000 square feet of the Laboratory’s permanent laboratory/office buildings, many of which were constructed in the 1960s.  These renovations include interior finishes, electrical and mechanical systems, and basic laboratory furnishings.  Some interior partition changes will also be performed aimed at making these facilities more flexible and adaptable to changing program needs.  An emphasis will be placed on making the building more environmentally benign (“green”) and energy efficient.  The project will be carried out in phases and BNL has suggested a 6-phase approach that prioritizes the buildings based on mission needs and the asset’s condition.  This project will significantly lower both the GPP and maintenance backlogs.

Sanitary System Modifications – PH IV (TEC $10.M, FY10 start) – This project will continue the work of previous efforts to replace leaky aged sanitary piping and thus ensure all discharges pass through the treatment plant where they can be treated and monitored.

Fire Protection – PH IV (TEC $5.3M, FY13 start) – This project continues the effort to install fire-protection systems/automatic fire-suppression in laboratory facilities that house over 50 people. Most facilities pose fire loss potential in excess of $1 million and are required by DOE’s Property Protection Standards to have automatic suppression systems.  The scope of this project will be reduced if the new buildings and renovations proposed in this plan are funded.

Support Shops Complex – PH III (TEC $6.7M, FY13 start)  – This is phase II of three projects to consolidate the Plant Engineering Division and will relocate the carpentry, painting, and cabinet shop complex from its present location opposite the fire station.  All three phases will provide 154,000 sq. ft. of new space and demolish 216,000 sq. ft. of deteriorated buildings.

Renovate Science Labs –  PH VI (TEC $10.2M, FY13 start) – This project will renovate close to 800,000 square feet of the Laboratory’s permanent laboratory/office buildings, many of which were constructed in the 1960s.  These renovations include interior finishes, electrical and mechanical systems, and basic laboratory furnishings.  Some interior partition changes will also be performed aimed at making these facilities more flexible and adaptable to changing program needs.  An emphasis will be placed on making the building more environmentally benign (“green”) and energy efficient.  The project will be carried out in phases and BNL has suggested a 6-phase approach that prioritizes the buildings based on mission needs and the asset’s condition.  This project will significantly lower both the GPP and maintenance backlogs.

Surface Water (TEC $5M, FY12 start)  – This project will modify and improve BNL’s surface- water and storm-water systems to prevent flooding, and includes increasing pipe size, and construction of additional permitted recharge points.

Safeguards & Security Complex (TEC $12M, FY13 start) – Safety & Security functions are currently housed in several obsolete inadequate structures. The existing wood frame Security building, constructed in 1941, has no fire protection system and is not a hardened facility. In addition, the space for physical training is located in a separate building.  This project will construct approximately 30,000 square feet of new space and demolish a similar amount of WWII wooden structures.

Fire Protection –  PH V (TEC $5M, FY13 start) – This project continues the effort to install fire- protection systems/automatic fire-suppression in laboratory facilities that house over 50 people. Most facilities pose fire loss potential in excess of $1 million and are required by DOE’s Property Protection Standards to have automatic suppression systems.  The scope of this project will be reduced if the new buildings and renovations proposed in this plan are funded.

Materials Handling Center (TEC $12.6M, FY13 start) – This project provides for a new building in which all stores, issue stock items, chemicals, shipping and receiving, certain bulk storage and administration will be consolidated into one modern facility.  The MHC project will demolish 42,600 sf of antiquated, inefficient structures and replace them with an efficient facility about half their size. The MHC will complete BNL’s efforts to consolidate and relocate its warehousing and stockroom functions into a cost-effective operation.

Fiber Optic Cables for SFAS (TEC $5M, FY13 start) – This activity replaces the use of existing telephone lines with fiber-optic communications for the Site Fire Alarm System.  Our present communication system is not as reliable as desired due to failures from electrical disturbances and connection faults (one/week).  Fiber optics would alleviate many of the problems due to electrical isolation and through the high quality of splicing/equipment methods.

Support Shops Complex - Buildings Division (TEC $6.7M, FY13 start) - This is the second phase of a multi-phased program to consolidate the Plant Engineering Division and will relocate the carpentry, painting, and cabinet shop complex from its present location opposite the fire station.  Combined all phases will provide 154,000 sq. ft. of new space and demolish 216,000 sq. ft. of deteriorated buildings.

Science Museum    (TEC $9.3M, FY13 Start) - Although a major contributor to American science with a substantial accumulation of historical scientific documents and artifacts, BNL currently lacks a place to display and conserve its history. BNL also has an active-though inappropriately housed- children's science lab. The proposed Science Museum will incorporate both functions in a protective structure that not only will remember the past, but also encourage the future.  This project will construct 23,000 square feet of new display and museum operational support space.

Recreation Center   (TEC $ 15.5 M, FY13 Start)  - BNL has a very strong and popular wellness and recreation program. While BNL's recreational facilities are diverse and substantial, most of their primary buildings date from WWII, and are obsolete and undersized. The proposed Improvements will consolidate dispersed facilities into a new, efficient and attractive building located within walking distance from the proposed housing facilities.

LBNL

User Support Building (TEC $20M, FY04 start) – This new 30,000 gsf building (20,100 nsf, eff. 67%) will replace Building 10, a wooden 15,575 gsf structure constructed as a service building during WW II, a building with contains structural and life safety elements that restrict use.   Building 10 cannot be cost-effectively upgraded to serve modern science requirements.

The new User Support Building will provide critically needed modern research support space for users of the Advanced Light Source and other national user facilities.     The building will support research in all disciplines (condensed matter physics, materials, chemistry, environmental, and earth sciences, biology, atomic and molecular physics, plasma sciences, nanosciences, etc.).  The new multi-user structure includes a high bay for assembly of experimental apparatus; as well as modern analytical laboratory and office space to support the over 2,000 scientific facility users.   This space will support activities to prepare experiments and to address other critical but short term high-activity work activities. Demolition of sub-standard space and improved productivity combine for a payback of approximately ~7 years.   The estimated cost is $20.0M and the project is identified as a FY 2005 start.

Research Support Building (TEC $15M, FY05 start) - The new 25,000 gsf (15,500 nsf, eff. 62%) office building will replace the structurally unsound and condemned Building 29 (which was demolished in 2002) and four associated condemned trailers. It will house ~70 people from a variety of essential research support functions that are currently scattered across the LBNL site including Library Services,  Center for Science and Engineering, Technology Transfer, Procurement and Patent Department. Relocation of these functions from existing research buildings will free up ~ 20,000 gsf of research space and result in operational cost savings, efficient management and improved access for staff and guest researchers. Payback ~7 years.   The estimated cost is $15.0M and the project is identified as a FY 2004 start.

Building 62 and 74 - Rehabilitation of Building Operating Systems (TEC $19.5M, FY05 start) -

The rehabilitation of these two primary and large laboratory buildings will eliminate operational problems that present hardships to researchers in these buildings and correct structural safety issues – this project will ensure many additional decades of beneficial scientific use of these otherwise fine research buildings.

The scientific utility of Building 62, a forty-year old laboratory building, is severely limited by inadequate and deficient building systems.   This project will improve operational performance and safety.     This project will replace aged wooden fumehoods, install a new centralized laboratory exhaust system and make other HVAC modifications to allow for constant air temperature and pressure conditions in the laboratories.  The project will upgrade the low-conductivity water (LCW) system to meet modern   chemistry research requirements.

Building 74 has serious utility and life-safety issues that make it less than fully adequate for modern research.  The building was constructed as an animal research facility in four stages beginning in the early cold-war period.   As the use of experimental animals has declined, conventional laboratory spaces have expanded in an incremental fashion that now stresses utility services and operations.  These stressed and disjointed operating systems present difficulties to the research function.   In addition, there are both fire and seismic life-safety concerns that will be corrected under this project.

This project will rehabilitate the infrastructure of two primary but aged laboratory buildings so that they are able to meet the fundamental operational expectations of the researchers, and are consistent with modern life safety and engineering design standards.    This Line Item Project has an estimated cost of $19.5M and is identified as a FY2005 project start.

Operations Building (TEC $15M, FY06 start) - The new 25,000 gsf (16,260 nsf, eff. 65%) office building will consolidate Facilities Department functions in a single location. The project will improve the efficiency of highly interdependent functions by co-locating personnel from various fragmented and dispersed site locations. Occupants will include Facilities Management, Administration, Planning, Project Management, Architecture and Engineering, and Operations & Maintenance personnel. The new facility will house ~100 people and eliminate overlap and duplication of administration and support functions, reduce travel time and strengthen communications. Payback ~ 6 years.  The facility has an estimated cost of $15.0M and the project is identified as a FY 2006 start.

Engineering Support Facility (TEC $15.3, FY07 start) - This addition to B77A of 19,000 gsf (11,400 nsf, eff. 60%) of dry laboratory, computer, and office space for 38 Engineering Support Personnel will free up badly needed production and assembly space in the Building 77 complex.  Consolidation of engineering functions at a single site will improve coordination, efficiency, and research support. Payback ~ 8 years.  The estimated cost is $15.3M.

Replace Building 25 (Seismic Stability) (TEC $20.2M, FY07 start) - This project will demolish existing 50+ year old 28,000 gsf Building 25.  Building 25 was constructed in many increments and contains structural deficiencies that can not be cost-effectively upgraded to modern standards in order to meet the needs of modern science.    Building 25 does not meet current seismic construction standards and would not be usable after a significant earthquake.     This project will construct a new 25,000 gsf (16,250 nsf, eff. 65%) office and support services building at a nearby site and relocate the staff prior to demolition of the current building.  The new building will house staff from Building 25 and Operations Division support personnel who are currently housed in off-site leased space. The new facility will allow improvement in overall service quality while reducing lease costs.  Payback ~ 6 years.  The estimated cost is $20.2M.

Environment, Health, and Safety (EH&S) Support Facility (TEC $16.4, FY08 start) - Approximately 90 EH&S staff will be housed in this new 21,000 gsf (approx. 14,000 nsf, eff. 65%) facility. Consolidating these highly interactive staff will improve both internal and external EH&S communications, increase productivity, improve responsiveness, and further minimize potential risks of injury and environmental contamination. This project will demolish an inefficient trailer-complex and replace it with a building that makes effective use of the site and which is suitable for EH&S staff and research. Increased productivity, the removal of an inefficient trailer complex, and the reassignment of space currently used by EH&S staff to address pressing research needs combine for a payback of approximately 5 - 6 years. The estimated cost is $16.4M.

Training Center and Auditorium (TEC $16M, FY09 start) - This new 14,000 gsf (9,000 nsf, eff. 65%) center will serve all research groups and support staff. The Laboratory currently has no suitable training/communication facility. The center will support effective communication both within and among research disciplines, it will also serve to coordinate group communications within virtual research activities. The new multi-purpose training facility will also allow staff to be efficiently trained in safe, secure, and efficient approaches to their work, and support general conference and DOE tele-conference needs. Reduced travel and training costs, productivity gains, and reallocation of existing training spaces to research functions combine for a payback of less than 10-years. The estimated cost is $16M.

Site Support Service Facility (TEC $9.5M, FY10 start) - This new 13,000 gsf (approx. 8,500 nsf, eff. 65%) building and associated yard space will establish a single facility for the management and staging of Facilities Department field operations. Currently larger equipment is stored along streets, in parking lots and in general storage spaces where it is available; and smaller equipment and supplies are housed in temporary shelters and cargo containers and other otherwise un-usable locations across the site. The new facility will house ~ 55 staff adjacent to their equipment and supplies in an energy efficient facility that is fully compliant with OSHA and Clean Water Act regulations. Demolition of sub-standard units, recovery of parking and general storage spaces, and improved productivity combine for a payback of approximately 5 - 6 years. The estimated cost is $9.5M.

Replace Building 73 (TEC $14M, FY11 start) - This new 19,000 gsf facility will provide approximately 8,000 nsf of multi-program research office and project-team space and 5,000 nsf of seminar space and short-term housing for visiting graduate students and post-docs (eff.65%). Approximately 75 staff and graduate students will be accommodated. State of the art communications systems and project-team workspaces will be coupled with facilities specifically designed to assist graduate students and post-doc’s to advance into the ranks of the nation’s top DOE/SC scientists. This facility will replace a specialized research facility that is no longer used for its design purpose and which is not cost-effective to rehabilitate for other uses. Demolition of sub-standard space and improved productivity combine for a payback of approximately 5 - 6 years. The estimated cost is $14M.

Rehabilitation of Building 90 Operating Systems  (TEC $18M, FY12 start) & Rehabilitation of Building 72 Operating Systems (TEC $12M, FY13 start) - These two Line Item building system renovation projects are identified as FY 2012 and 2013 starts.  The Laboratory is currently reviewing the condition of building operating systems in these buildings.  This planning analysis will be completed in late 2002 and the outcome will be discussed in the 2003 SFP.

- ORNL

4500 North Wing 4, Lab Upgrades & Renovations (TEC $16.6M, FY04 start) - The proposed project is an integral part of the new Facilities Revitalization Project (FRP) for revitalization of ORNL's research capabilities and infrastructure in support of the DOE-SC initiative to modernize their national laboratories. New laboratories, supporting offices, and the necessary support facilities are being proposed for construction as part of an integrated new campus environment in the area north and east of the 4500 North and South Buildings complex. The Wing 4 will be modernized to provide laboratory, office, and support functions. The overall goals of this facilities revitalization initiative are to reduce the burdensome costs of maintaining the current inventory of facilities 50 years and older, provide a safer environment for current staff activities, and ensure ORNL's ability to conduct world-class science in the 21st century, including attracting and retaining world-class research scientists.

4500 North Wing 3, Lab Upgrades & Renovations (TEC $19.0M, FY06 start) - The proposed project represents Phase 2 of the multi-year effort to upgrade the 4500N/S complex.  This project will specifically address the demolishing of the current 53 offices and 24 labs/work rooms located in Wing 3 and replacing those with state-of-the-art, space and energy efficient labs and support facilities in accordance with the master plan for that complex.

4500 South Wing 4, Lab Upgrades & Renovations (TEC $18.2M, FY07 start) - The proposed project represents Phase 3 of the multi-year effort to upgrade the 4500N/S complex.  This project will specifically address the demolishing of the current 60 offices and 48 labs/work rooms located in Wing 4 and replacing those with state-of-the-art, space and energy efficient labs and support facilities in accordance with the master plan for that complex.

4500 South Wing 3, Lab Upgrades & Renovations (TEC $19.0M, FY08 start) – The proposed project represents Phase 4 of the multi-year effort to upgrade the 4500N/S complex.  This project will specifically address the demolishing of the current 74 offices and 62 labs/work rooms located in Wing 3 and replacing those with state-of-the-art, space and energy efficient labs and support facilities in accordance with the master plan for that complex.

4500 North Wing 2, Lab Upgrades & Renovations (TEC $19.9M, FY09 start) - The proposed project represents Phase 5 of the multi-year effort to upgrade the 4500N/S complex.  This project will specifically address the demolishing of the current 88 offices and 20 labs/work rooms located in Wing 2 and replacing those with state-of-the-art, space and energy efficient labs and support facilities in accordance with the master plan for that complex.

4500 South Wing 2, Lab Upgrades & Renovations (TEC $18.0M, FY09 start) - The proposed project represents Phase 6 of the multi-year effort to upgrade the 4500N/S complex.  This project will specifically address the demolishing of the current 74 offices and 42 labs/work rooms located in Wing 2 and replacing those with state-of-the-art, space and energy efficient labs and support facilities in accordance with the master plan for that complex.

4500 South Wing 1, Lab Upgrades & Renovations (TEC $17.0M, FY10 start) - The proposed project represents Phase 7 of the multi-year effort to upgrade the 4500N/S complex.  This project will specifically address the demolishing of the current 87 offices and 34 labs/work rooms located in Wing 1 and replacing those with state-of-the-art, space and energy efficient labs and support facilities in accordance with the master plan for that complex.

4500 North Wing 1, Lab Upgrades & Renovations (TEC $20.2M, FY11 start) - The proposed project represents Phase 8 of the multi-year effort to upgrade the 4500N/S complex.  This project will specifically address the demolishing of the current 92 offices and 19 labs/work rooms located in Wing 1 and replacing those with state-of-the-art, space and energy efficient labs and support facilities in accordance with the master plan for that complex.

Primary Substation Upgrades (TEC $7.8M, FY 05 start) - The ORNL Primary Substation Upgrades project will replace and restore components of the ORNL Primary Substation. It will replace an aged and inefficient power transformer and regulating transformer, and will replace the Bus No. 1 13.8-kV Oil Circuit Breakers (OCBs) with new metal-clad switchgear-containing vacuum-insulated circuit breakers. The project will replace existing mechanical relays with advanced microprocessor-based protective relay systems. Grounding improvements will be provided to improve the safety of the substation. Other aged and deteriorated components of the substation will also be replaced. This project is part of a phased infrastructure upgrade to restore the electrical distribution system serving ORNL. The ORNL primary substation is the only source of electrical power to the ORNL site. Most of ORNL's electrical distribution system was installed in the early 1940s and the mid 1960s. A phased upgrade of deteriorated and deficient electrical systems was started in the 1980s. Estimated return on investment for this project is 25.8%, with a simple payback period of approximately 10 years.

Electrical Distribution System Upgrades (TEC $7.0M, FY13 start) - This project is part of a phased infrastructure upgrade to restore the electrical distribution system serving ORNL.  Most of ORNL's electrical distribution system was installed in the early 1940s and the mid 1960s. A phased upgrade of deteriorated and deficient electrical systems was started in the 1980s.

Manipulator Repair Facility (TEC $12M, FY05 start) - The Manipulator Repair Facility will provide a consolidated facility for hot cell manipulator repair and refurbishment in support of all of the ORNL hot cell operations. It will consist of approximately 20,000 square feet of clean and contaminated manipulator wash areas, a boot fabrication shop, and all necessary support facilities to support the repair and decontamination of master/slave and electromechanical manipulators. The facility will be sited to best service the primary users of manipulators and will include process and liquid low-level waste line tie-ins and HEPA filtration systems for contamination control.

Potable Water System Upgrade Phase I (TEC $7.0M, FY 10 start) – This project consists of two phases.  The Potable Water System Upgrade, Phases I will replace or refurbish aged water lines serving the primary research and support facilities in the central campus area of the Laboratory.  Phase II is a continuation of Phase I.  The main lines running along Central Avenue and the north side of the Building 3508/3517 Area will be replaced in the first phase of the project with the Laboratory facilities north of Central Avenue in the vicinity of First Street and the 3047 Isotopes Area. Because of the subsurface contamination concerns within the central campus, multiple technologies are being evaluated for this project, including standard below-grade pipe replacement, above-grade insulated piping, and in-situ lining of existing lines where appropriate and feasible. A preliminary estimate of return on investment (ROI) is 10% with a payback period of seven years.

Laboratory Facility Ventilation System Upgrade, Phase I (TEC $7.5M, FY06 start) - The Laboratory Facility Ventilation System Upgrades, Phases I and II, are projects that will modernize ventilation and exhaust systems in approximately ten ORNL facilities, totaling over 200,000 square feet of space. Ventilation and exhaust systems in many ORNL facilities are in serious need of upgrade to continue service at any level. Some laboratory areas are not used for research because of a lack of proper ventilation. Systems feature 35-year-old equipment applied in a 35-year old design concept. In many systems, the exhaust ducting and filter housings are seriously corroded and have only a marginal future life expectancy. New exhaust fans, ducts, hoods, and an EPA-compliant stack are needed for compliance with regulations. The majority of these duct/housing units are contamination zones that will require closely controlled work conditions. A preliminary estimate of a payback period for this project is seven to nine years.

Potable Water System Upgrade Phase II (TEC $7.0M, FY12 start) - The Potable Water System Upgrade, Phases I and II, will replace or refurbish aged water lines serving the primary research and support facilities in the central campus area of the Laboratory. The main lines running along Central Avenue and the north side of the Building 3508/3517 area will be replaced in the first phase of the project with the Laboratory facilities north of Central Avenue in the vicinity of First Street and the 3047 Isotopes Area. Because of the subsurface contamination concerns within the central campus, multiple technologies are being evaluated for this project, including standard below-grade pipe replacement, above-grade insulated piping, and in-situ lining of existing lines where appropriate and feasible. A preliminary estimate of return on investment is 10% with a payback period of seven years.

Laboratory Facility Ventilation System Upgrade, Phase II (TEC $8.5M, FY08 start) - The Laboratory Facility Ventilation System Upgrades, Phases I and II, are projects that will modernize ventilation and exhaust systems in approximately ten ORNL facilities totaling over 200,000 square feet of space. Ventilation and exhaust systems in many ORNL facilities are in serious need of upgrade to continue service at any level. Some laboratory areas are not used for research because of a lack of proper ventilation. Systems feature 35-year-old equipment applied in a 35-year old design concept. In many systems the exhaust ducting and filter housings are seriously corroded and have only a marginal future life expectancy. New exhaust fans, ducts, hoods, and an EPA-compliant stack are needed for compliance with regulations. The majority of these duct/housing units are contamination zones that will require closely controlled work conditions. A preliminary estimate of a payback period for this project is seven to nine years.

PNNL

EMSL Expansion Phase I (TEC $17.1M, FY05 start) - This project expands the laboratory capabilities of EMSL to accommodate the proposed 1.2 GHz Nuclear Magnetic Resonance (NMR) system, the 21 Tesla FTICR Mass Spectrometer, a Catalysis & Exhaust Emission Science Facility, and expanded high resolution imaging capabilities described in the FY 02 SC Onsite Review.  The 1.2 GHz NMR system will enable structural solutions to complex problems in biology, materials chemistry, and micro imaging.   The 21 tesla FTICR mass spectrometer will enable proteomics studies of microbial communities.  The catalysis and exhaust emission science facility will enable discoveries in catalysis and chemical transformation, providing new insights and technologies for emission control needed, for example, to meet challenging Diesel Emission Standards in 2007.  Finally, expanded high-resolution imaging capabilities are needed to achieve the goals of DOE’s Genomes to Life program.  This project takes advantage of the original EMSL design that provides the capability to add a laboratory pod on the north end of the building.  This modification adds 36,000 GSF laboratory space.

EMSL Expansion Phase II (TEC $6.2 M, FY05 start) - This project expands the office space at EMSL to accommodate the staff and users who will operate and utilize the expanded laboratory capabilities described in the EMSL Laboratory Expansion.  This project takes advantage of the original EMSL design that provides the capability to add an office pod on the north end of the building.  This modification adds 17,900 GSF office space.

EMSL Expansion Phase III (TEC $10.9M, FY06 start) - This project expands the computer laboratory capabilities of EMSL to accommodate proposed topical computing centers in chemistry and nano, biology, subsurface science, and climate physics.  The topical computing centers support the Ultra Scale Simulation for Science Effort (Earth Simulator response).  The modification adds a 27,000 GSF computer room, office and storage space, and a new mechanical and electrical room to house additional chiller and UPS capacity.  The computer room includes a 24” suspended floor system, utilizing computer room air conditioning units for cooling, and providing electrical service from panels in the room.

300 Area Replacement Facility – Phase I (TEC $25.9M, FY 06 start) - Due to changing EM plans for cleanup in the 300 Area, PNNL's strategy of consolidating critical research capability out of weapon production and cold war aged buildings into a core set of old, but relatively better PNNL facilities no longer appears viable.  There is an immediate need to relocate critical research activities out of PNNL occupied 300 Area buildings that are at the end of their mission or functional life. This project constructs a 43,000GSF replacement facility near EMSL.  The multiprogram facility is configured of ~25,000 SF laboratory, ~ 10,000 SF office, and ~4,000 SF storage space. This project is the first step in making 750, 000 GSF of old, contaminated buildings, and associated legacy waste available for EM funded removal.

300 Area Utility Distribution Systems (TEC $16.3 M, FY 07 start) - EM currently is responsible for delivering site and utility services to PNNL buildings located on the Hanford site.  The 300 Area utility distribution system supports many PNNL occupied government owned buildings.  Large-scale EM cleanup of the 300 Area will require extensive excavation and will result in severance of water, sewer, and electrical distribution systems.  Reconfiguration and replacement of these systems will be required. Due to the still uncertain timeframe of the 300 Area closure project, the CAMP score for this project is best represented as a range between "Moderately likely not able to meet mission requirements" and "Cannot meet mission capability".

D-485 320-Building Infrastructure Rehabilitation (TEC $7.6 M, FY07 start) - The 320 Building, one of our core facilities that support DOE missions, was constructed in 1964 and is deteriorating.  In 1999, in an effort to decrease O&M costs and to provide a safer and more productive work environment, PNNL requested funding from DOE-SC to rehabilitate the building.  Line Item Investment D-485 will provide for strategic laboratory and facility system upgrades that will extend the useful life of the building.  Existing facility systems, including the HVAC systems, will be modernized with efficient equipment and control systems that will reduce energy consumption and operational costs.  Excessive vibration caused by the existing HVAC equipment interferes with the performance of sensitive microscopes and spectrometers.  We have estimated that dealing with the effects of this excessive vibration wastes 5 percent to 10 percent of our researcher’s time annually (amounting to $300,000 to $600,000).  The facility system modifications proposed for Line Item Investment D-485 will eliminate this problem, thus improving the productivity of our research staff.  This project was not submitted as an FY 2005 line item based on preliminary information, which broadens the scope of the 300 Area clean-up to include the 320 Building and accelerates the schedule to the 2008–2012 timeframe.  More definitive information will become available once DOE awards the contract in early FY 2003.

D-496 – Laboratory Systems and Facilities Rehabilitation (TEC $9.7 M, FY 07 start) - This project is a part of an ongoing revitalization effort that has focused on upgrading the physical plants in strategic 300 Area facilities over the past 10 years.  The current project scope supports our continuing revitalization plan and initiates the activities that will be undertaken over the next 10 years, which are focused upgrading laboratory and administrative spaces.  The planned activities will ensure that the affected facilities can support their research and development programs, will reduce utility and other O&M costs, and will increase space utilization efficiency by optimizing research and administrative office space use.  Operating cost savings will be realized primarily from converting existing HVAC systems to variable-air-volume systems in the 329 Building laboratories.  In the 331 Building, a new addition will be built to provide additional office space, and in the 337 Building, space use will be improved by renovation of open bay office areas.

The scope of D-496 will be reviewed based on new 300 Area clean up information.  The scope of D-496 will be modified or GPPs created to include the rehabilitations required to maintain research operations until replacement buildings are constructed.  This project was not submitted as an FY 2005 line item based on preliminary information that broadens the scope of the 300 Area clean-up to include all PNNL buildings and accelerates the schedule to the 2008–2012 timeframe.  More definitive information will become available once DOE awards the contract in early FY 2003.

Research Support Building (TEC $25 M, FY07 start) - Future noteworthy scientific advances will not come from individual researchers or individual research institutions; rather it will come from a worldwide network of contributors.  PNNL requires a modern facility to provide efficient access by the wider scientific community to PNNL user facilities and to provide spaces for communities of scientists to come together in collaboration.  The Research Support Building project will construct an approximately 60,000 gross square feet facility to house conferencing capability, lecture halls, science and technology demonstration space, seminar rooms, and leading edge information technology and communication systems.  The facility will create the entrance point to the Laboratory campus and the gateway to gain access to PNNL’s capabilities—its staff, facilities, and equipment.  The Research Support Building also will house on-site food services and other staff amenities, replacing the 300 Area cafeteria.

300 Area Replacement Facility – Phase II (TEC $30 M, FY07 start) - This is the second in a series of replacement buildings that will house critical research capabilities relocated from the 300 Area clean-up zone to a central campus next to EMSL.  This project will allow the DOE-EM funded disposition of part of the 750,000 gross square feet of facilities that PNNL occupies in the 300 Area while maintaining critical research capabilities and programs.  The project includes construction of a 57,000 gross-square-foot facility to replace laboratory, office, and storage capability consolidated from PNNL 300 Area buildings.  If the 300 Area accelerated schedule is not supported and replacement buildings are not constructed, continue rehabilitation of PNNL 300 Area facilities will be required.

300 Area Replacement Facility – Outyear (TEC $120 M, FY 08 start) - This project involves a series of replacement buildings that will house critical research capabilities relocated from the 300 Area clean-up zone to a central campus next to EMSL.  This project will allow the DOE-EM funded disposition of part of the 750,000 gross square feet of facilities that PNNL occupies in the 300 Area while maintaining critical research capabilities and programs.

Engineering Research Laboratory (TEC $80 M, FY08 start) - Expanded mission responsibilities are anticipated for DOE programs in fuel cell materials and technology, micro-technology, lightweight materials research for energy-efficient automobiles and trucks, advanced passive and active electronic sensors, advanced electronic systems, and bio-based processing.  New facilities are needed for prototype testing and technology demonstration, materials synthesis, fabrication, storage, and computations.  We anticipate the need for segregated work areas to accommodate the special confidentiality requirements of industrial partners.

AMES LAB

The Emerging Technologies Building (TEC $26M, FY06 start) - Construction of a building (The Emerging Technologies Building) will be required to house the proposed new initiatives. The building site will be convenient to the other Ames Laboratory buildings and various ISU buildings in which many of the scientific groups that will interact with the staff of these proposed initiatives are presently located.

Fermi

High Voltage Distribution System Upgrades (TEC $11M, FY05 start) will upgrade critical portions of the high voltage distribution system that powers accelerators and support facilities throughout the site.  Upgrade system to meet current safety standards, improve reliability and performance, provide flexibility and reduce maintenance costs.  Replace 2.4 miles 345kV, 340 MVA incoming poles and conductors and over 9 miles 13.8kV, 750 MCM underground feeders and switches.  31 failures related to these feeders have disrupted accelerator operations with the potential for loss of liquefied helium a total of 17 times in the last decade.

Advanced Manufacturing Facility  Phase I   (TEC $14M, FY06 start) will consolidate Technical Division machine shop functions into a new 18,000 sq. ft. high bay structure adjacent to the current industrial area and add 13,500 sq. ft. of tech and office space to the existing  IB-3 building for super conducting magnets and accelerator component R&D.  This is the first of a two-stage master plan that will allow for consolidation of all Technical Division machine shops into one central facility.  After completion of both phases, workers would be relocated into modern, energy efficient “green” buildings and 60,000 sq. ft. of existing structures will be demolished.

Advanced Manufacturing Facility  Phase II  (TEC $16M, FY07 start) is the second phase of a project that will consolidate all Technical Division machine shops into one central facility adjacent to the current industrial area.  A new 18,000 sq.ft. high bay structure and 13,500  sq. ft. low bay link will connect to the Phase I high bay building.   The potential benefits of the AMF include increased operational efficiency, increased productivity, avoided energy and maintenance costs.

Beams Division Consolidation  (TEC $13M, FY08 start)  will provide for the consolidation of approximately 70 Beams Division administrative/engineering personnel  in refurbished ground floor and new mezzanine space in the central administrative building, Wilson Hall.  This location is near other critical functions; division offices, directorate, accelerator control room, and provides easy access to the accelerator complex.  The potential benefits of this project include operational efficiency, productivity increases, avoided energy and maintenance costs.

PPPL

Lyman Spitzer Building (LSB) West Wing Addition  (TEC $8.3 M, FY05 start) -- This project will provide relief for the increasing demands placed upon the PPPL maintenance and operating program due to the increasing age of the PPPL Buildings.  The LSB West Wing Addition will be office space that will consolidate 80 members of the PPPL staff currently located in two permanent structures (the Theory and Administration Buildings) and one modular facility (Module VI) into a single three-story structure, with basement, that can be located adjacent to the west of the LSB. This proposal will provide the following benefits: three existing structures consisting of 35,000 total square feet (demolition costs included in TEC) can be removed from the property inventory; associated maintenance liabilities (and deferred maintenance) associated with the aging facilities can be avoided. The new 25,000 square foot building will consist of three floors and a basement which will function primarily as office-type space; the new building will utilize current energy construction standards and will be integrated with the computerized Building Automation System; a net decrease of 10,000 square feet of building space at PPPL will result, and; the project's simple payback is about 7 years.

Infrastructure Services Upgrade	 (TEC $5.6M, FY05 start) - This proposed project is comprised of the following subprojects: Installation of Safety-Related Improvements (with new state-of-the-art systems that improve reliability and reduce maintenance), improvements to the infrastructure (roofing, distribution systems, etc.) and improvements to the HVAC systems (for modernization of HVAC systems due to obsolescence, inefficiency, and compliance with CFC environmental requirements.)

SLAC

Safety and Operational Reliability Improvements (TEC $15.6M, FY04 start)  - The proposed project will improve the safety and operational reliability of the Laboratory's facility and systems by specifically identifying and upgrading the most critical sections of all failing underground mechanical utility systems, and by selectively upgrading the most important mission-critical experimental and manufacturing facilities that are seismically deficient.  SLAC's piping systems for natural gas, compressed air, low-conductivity water (LCW), cooling tower water (CTW), chilled water (CHW), hot water (HW), fire protection water (FPW), sewer, and storm drainage serve over 200 buildings used for offices, laboratories, shops support, storage, heavy and light fabrication, and above- and below-ground experimental research facilities including LINAC, PEP-II, BaBar, FFTB, Test Accelerator, GLAST, and SPEAR.  Since these piping systems were installed almost 40 years ago, and are prone to leaks and failures that can no longer be prevented by good maintenance, the potential is high for serious disruptions of mission-critical research, and safety and environmental hazards. The mechanical utilities upgrade proposed is necessary for SLAC to continue to provide first-class research facilities, cost effectively, while complying with its ES&H requirements.  Furthermore, since SLAC is located in a seismically active geographic area, the seismic upgrade efforts will enhance SLAC's ability to survive major earthquakes by improving the seismic strength of several important research and infrastructure facilities.  While no one knows when the next major earthquake will strike the San Francisco Bay Area, geologists predict that the probability of such an event during the next 30 years is 67%.

LINAC Electrical Reliability Upgrade (TEC ~$13.3M, FY07 start) - The proposed project will upgrade the existing electrical utility systems in the two-mile linear accelerator (LINAC), which is the source of high-energy electron or positron beam for many of the experimental programs at SLAC.  Its reliability is critical to the successful execution of the planned experimental scientific programs.  The LINAC electrical systems, consisting of motor control centers, panel boards, variable voltage transformers and substations, were all installed at the time when SLAC was originally built, almost 40 years ago.  The equipment is obsolete and replacement parts are no longer available.  In addition, they are not in compliance with the current electrical codes.  Failure of the circuit protection devices to work properly can result in either collateral damage for failure to open or unplanned interruptions of operation.  This project will upgrade the below 600 volt essential electrical utility systems in the LINAC.

TJNAF

CEBAF Center Addition Phase 2 (TEC $15M, FY05 start) - Construction of 82,900 sq.ft.CEBAF Center Addition Phase 2 consists of a double-wide three story wing and a single-wide two story wing to replace an additional 9,980 square feet of existing trailers and, depending on staffing level, a portion of off-site leased office space in the City of Newport News Applied Research Center (ARC).  This project will consolidate an additional major portion of our staff and provide a much-needed large meeting room to support the larger collaborations and conferences.  Completion of this project by the end of FY07 would coincide with the end of our current lease.  The labs and associated office space would be retained in the ARC for at least an additional five years until suitable replacements can be constructed or the need no longer exists.  The CEBAF Center Addition Phase 2 single wide two-story wing would be used to provide office space for occupants currently in the Test Lab Building during the proposed project to rehabilitate the building and programmed growth.

Support Buildings Complex (TEC $7M, FY05 Start) – The Support Buildings Complex is a consolidation of four GPP level projects (Technical Support Building, FY-04; Storage Building Ph 1, FY-04; Addi-tional Technical Labs, FY-05; and Storage Building Ph 2, FY-05) plus relocation of the Technical Stock-room.  This project will consolidate a major portion of our engineering and technical staff on the Accel-erator Site in one building and consolidate shipping/Receiving, the Technical Stockroom, and Warehous-ing in a second building.  Many of the staff impacted by this project work in trailers or in service build-ings.  The technical support building would be a two-story structure with a high bay assembly area and adjacent lay down area.  The Shipping/receiving /warehouse building would be a single story structure with a mezzanine. This project would replace more than 8,200 sq. ft. of trailers and 15,000 SF of shipping containers used for storage.

Test Lab Rehab (TEC $6.8M, FY07 start) - The Test Lab Building contains fabrication and shop areas, labs and clean rooms, as well as offices.  The building was constructed in 1965 and initially used for NASA research.  This project will correct building code compliance items, mixed occupancy use issues, and discrepancies in building systems as well as make improvements in the overall use of space to optimize layout for current and planned use.   .