## Maintenance

### Maintenance

Maintenance is defined in DOE Order 430.1b, Real Property Asset Management Order as “the day to day work that is required to sustain property in a condition suitable for it to be used for its designated purposes, including preventive, predictive, and corrective maintenance.” It does not include: regularly scheduled janitorial work such as cleaning, and preserving facilities and equipment; work performed in relocating or installing partitions, office furniture, and the removal, moving, and placement of equipment; or, grass cutting, snow removal and street sweeping.

Lack of sufficient levels of maintenance can result in an increase in emergency repairs, a reduction in service life, potential safety issues, and deferred maintenance (DM).

Maintenance Investment Index (MII) is the indicator the DOE has selected for measuring maintenance investment. MII is defined as actual maintenance expenditures divided by replacement plant value (RPV). It only applies to conventional facilities; programmatic facilities are excluded.

The DOE goal for MII is 2% to 4% and is based on the National Academy of Science recommendation in their 1998 report Stewardship of Federal Facilities" issued in 1998. SC has adopted a maintenance investment goal of a 2% or more annually and has further specified that sites should exceed this goal as necessary to ensure that maintenance is not being deferred.

A RPV is calculated for every asset at a site and is maintained in the DOE’s web-based Facility Information Management System (FIMS), only RPV for conventional facilities is used in calculating MII.

Facilities maintenance and repair expenses are primarily funded through an indirect overhead charge. Since this funding is allocated to all work done at each laboratory, these activities are paid for using funds from SC and other DOE organizations, as well as other Federal agencies and other entities doing work at SC laboratories.

In some cases, a laboratory may charge maintenance directly to a specific program. An example of this might be if the maintenance were performed in a building used only by a single program. These direct-funded charges are nonetheless in the nature of indirect charges, and are not visible in the program budgets. Note: a portion of the maintenance for the Oak Ridge reservation and Federal buildings in Oak Ridge is an exception because it is directly budgeted by the Science Laboratories Infrastructure program under the Oak Ridge Landlord subprogram ($503,000 in FY 2007).

SC reports maintenance investment plans in the Integrated Facilities and Infrastructures (IFI) budget crosscut and in the overview section of SC’s annual budget submission. SC monitors maintenance expenditures against plans via Quarterly maintenance reports submitted by the Site Offices to SC-31.2. A quarterly report showing actual expenditure against planned expenditures is provided to SC management and OECM.

For SC Guidance on Maintenance Investment and Replacement Plant Values see: http://www.sc.doe.gov/sc-80/sc-82/documents/mirpv.pdf

## Indirect-Funded Maintenance and Repair Funding

|  | (dollars in thousands) |  |  |
| --- | --- | --- | --- |
|  | FY 2007 | FY 2008 | FY 2009 |
| Ames Laboratory | 1,011 | 997 | 1,031 |
| Argonne National Laboratory | 29,589 | 29,613 | 31,064 |
| Brookhaven National Laboratory | 23,767 | 27,511 | 28,289 |
| Fermi National Accelerator Laboratory | 8,514 | 8,557 | 9,668 |
| Lawrence Berkeley National Laboratory | 14,006 | 13,138 | 16,099 |
| Lawrence Livermore National Laboratory | 2,850 | 2,887 | 2,953 |
| Los Alamos National Laboratory | 100 | 100 | 100 |
| Oak Ridge Institute for Science and Education | 505 | 317 | 325 |
| Oak Ridge National Laboratory | 35,711 | 32,655 | 33,341 |
| Oak Ridge National Laboratory facilities at Y-12 | 620 | 818 | 818 |
| Office of Scientific and Technical Information | 301 | 307 | 314 |
| Pacific Northwest National Laboratory | 1,971 | 1,917 | 1,340 |
| Princeton Plasma Physics Laboratory | 5,226 | 5,499 | 5,636 |
| Sandia National Laboratories | 1,999 | 2,045 | 2,096 |
| Stanford Linear Accelerator Center | 5,533 | 4,353 | 5,631 |
| Thomas Jefferson National Accelerator Facility | 3,231 | 2,674 | 2,727 |
| Total, Indirect-Funded Maintenance and Repair | 134,934 | 133,388 | 141,432 |

## Direct-Funded Maintenance and Repair

|  | (dollars in thousands) |  |  |
| --- | --- | --- | --- |
|  | FY 2007 | FY 2008 | FY 2009 |
| Brookhaven National Laboratory | 3,284 | 1,711 | 1,771 |
| Fermilab National Accelerator Facility | 3,260 | 3,411 | 3,854 |
| Notre Dame Radiation Laboratory | 151 | 161 | 169 |
| Oak Ridge National Laboratory | 16,859 | 14,897 | 15,210 |
| Oak Ridge Office | 503 | 550 | 600 |
| Stanford Linear Accelerator Center | 6,097 | 6,737 | 6,283 |
| Thomas Jefferson National Accelerator Facility | 80 | 52 | 53 |
| Total, Direct-Funded Maintenance and Repair | 30,234 | 27,519 | 27,940 |