Annex C

WASTEWATER DISCHARGE PERMITS AND MANAGEMENT

1.  Requirement Reference:	Chapter 2, AR 200-1

Chapter 3, ORARNG Pam 200-1

- Affected Units and Activities:

- Units generating gray water during field training exercises

- Permits are required to discharge wastewater at:

- Camp Rilea

- Camp Withycombe

- Albany Armory

- Ashland Armory

- Forest Grove Armory

- Eugene Armory

- Grants Pass Armory

- Hermiston Armory

- Kliever OMS

- La Grande OMS

- Lebanon OMS

- Medford OMS

- Pendleton AASF

- Pendleton Armory

- COUTES

- Salem AASF

- Salem OMS

- Tigard OMS

c.   As otherwise directed by AGI-ENV in writing to affected unit or facility

3.  Implementation:

- AGI-ENV will obtain and maintain required operating permits for wastewater disposal at ORARNG facilities, and for paying costs of permit applications and laboratory testing fees.

- Unit EPOC must ensure wastewater management and disposal requirements are identified and met during military training events.

- Unit EPOC must obtain required discharge permits for ROWPU operations.

WASHRACK MANAGEMENT

- Use/Operation: The Unit EPOC will manage the washrack when it is being used and ensure it is clean when use is completed.  The Facility EPOC will provide oversight.  AGI-ENV will provide appropriate signs.

- Maintenance: The SMW will maintain the washrack.  This includes routine inspection for operation and function, and documenting inspection on AGO Form 200-1-8.  If repairs are required, SMW must coordinate with AGI-O and request assistance on AGO Form 138.

- Cleaning & Sediment Waste Disposal: The SMW will manage cleaning and sediment waste disposal, with assistance from AGI-ENV.  Laboratory testing is required and can be obtained through AGI-ENV.  Disposal of HW will be accomplished through the Supply Sergeant.  Non-HW will be disposed of as solid waste IAW applicable state and local regulations.

- Permit Compliance: The Facility EPOC will manage this requirement.  Wastewater sampling must be done when the washrack is being used, so this task may be delegated to the applicable Unit EPOC.  However, the Facility EPOC is responsible for coordinating with AGI-ENV and submitting required information to ensure compliance with the operating permit(s).

4.   Requirement Summary:

- Permits are normally required to discharge wastewater from any point-source.  Some permits are facility-specific and detailed; others are more general and activities must be managed IAW written guidance from the issuing authority.  In some cases, no permit is required.  In all case, a copy of the permit or some form of documentation that no permit is required must be maintained at the facility.  This annex suffices as documentation that no permit is required, where that is the case.

- If a permit has been issued, operations must meet conditions defined in the permit.  Use of hazardous materials is normally restricted, and laboratory analysis of wastewater is usually required.  Therefore, an SOP is usually needed to manage the washrack and provide user guidance to ensure compliance.

- Washracks must be operated IAW permits and maintained to ensure systems are functional and discharged wastewater meets regulatory criteria.  Washracks must be routinely inspected and cleaned to ensure operability.  Failure to do so may result in violating applicable law.  Fines may be assessed to facility management for failure to take required actions.  A weekly inspection of the washrack and oil/water separator or filter system must be completed and documented on AGO Form 200-1-8.  This form can be found at Chapter 8; completed forms must also be filed at Annex N.

- The responsibility for cleaning oil/water separators and disposing of wastes must be identified and established in writing.

- Sludge from oil/water separators or filter system wastes may exhibit characteristics of and be classified as “hazardous waste”.  Instructions for inspecting and cleaning washracks, and characterizing wastes prior to disposal, are provided at Appendix H, ORARNGR 420-47.

5.   Submittal Requirements:

- Notify AGI-ENV of significant facility or operational changes, in writing.

- Notify AGI-ENV of problems with treatment facilities provided as part of the wastewater discharge process, in writing.

- Notify AGI-ENV when something occurs or is likely to occur that results or can result in failure of the facility to meet permit conditions, in writing.

- Notify AGI-ENV when receiving correspondence from a regulatory agency or if a regulatory agency inspects the facility.  Notification should initially be telephonically, with follow up as instructed by AGI-ENV.

6.  Documentation Requirements:

- Prepare and maintain a copy of the Washrack SOP for the facility at this annex.  See example at the end of Chapter 3, ORARNG Pam 200-1.

- File a copy of the facility Wastewater Disposal Permit at this annex.

- When required, and as completed, file copies of wastewater testing results at this annex.  Maintain records for at least three years.

- File any regulatory agency or OMD correspondence, memos for record, or other written information pertinent to the permitted activity at this annex, or to changes which require other facilities to comply with wastewater management requirements.

- File requests through chain of command to AGI for repair or maintenance of any wastewater discharge system.  Retain a copy of request at this annex.

# (This Page Intentionally Left Blank)

# SUMMARY OF ORARNG WASTEWATER PERMITTING REQUIREMENTS

a.  Camp Rilea	WPCF Permit # 100977, File # 64802, issued by DEQ

for land application of wastewater from WWTP.  Routine sampling/monitoring and reporting required.  Current permit expires 30 Jun 05.

b.  Camp Rilea	NPDES General Permit 1700-A, File # 64802, issued by

DEQ for washrack wastewater discharge to Neacoxie

Slough.  Routine sampling/monitoring required.  Current permit	expires 31 Jan 03.

c.  Camp Withycombe 	Clackamas County Service District Permit # 01K-018-D issued for discharge to sanitary sewer.  Routine sampling/monitoring and reporting required.  Current permit expires 10 Jun 05.

d.  Albany Armory	Facility has an old washrack that discharged to storm water drainage ditch.  This system was never permitted and is no longer used.  If used, a permit would be required.  Unit should contact AGI-ENV for assistance.

e.  Ashland Armory	NPDES Permit # 1700-J, File No. 108251, issued by			DEQ for washrack wastewater discharge to area			storm water system.  Routine sampling/monitoring of			 wastewater is required.  Current permit expires 31 Jan 03.

f.  Bend Armory	No permit or sampling/monitoring are required for washrack wastewater discharge to City sanitary sewer.  MFR from AGI-ENV on file.  A copy should be maintained at this annex.

g.  Coos Bay Armory	Permit is required to discharge washrack wastewater.  System is closed due to lack of oil/water separator and inability to obtain permit without required improvements.

h.  Eugene Armory	NPDES Permit # 1700-J, File No. 103826, issued by DEQ for washrack wastewater discharge to area storm water system.  Permit now monitored by City of Eugene, under authorization of DEQ.  Routine sampling/monitoring of wastewater is required.  Current permit expires 31 Jan 03.

i.  Forest Grove Armory	United Sewerage Agency Permit # 135-190 (Best Management Practices) issued for washrack wastewater discharge.  No sampling/monitoring are required.  Current permit expires 8 Apr 05.

j.  Grants Pass Armory	NPDES Permit # 1700-J, File No. 108257, issued by DEQ for			washrack wastewater discharge to area storm water system.			Routine sampling/monitoring of wastewater is required. 			Current permit expires 31 Jan 03.

k.  Hermiston Armory	No permit or sampling/monitoring are required to discharge			washrack wastewater to City of Hermiston sanitary sewer.

l.  Kliever OMS	No permit or sampling/monitoring are required for washrack wastewater discharge to the City of Portland sanitary sewer.

m.  La Grande OMS	Washrack and other discharges at the OMS are 	connected to	the City of La Grande sanitary sewer.  No permit is required,		but City Sewer User Ordinance 	# 2783, Series 1990 requires		monitoring and emergency response, but no routine reporting		is necessary.

n.  La Grande Armory	Washrack at the armory is connected to the City of LaGrande sanitary sewer.  No permit is required, but City Sewer User Ordinance # 2783, Series 1990 applies, requiring monitoring and emergency response, but no routine reporting.

o.  Lebanon OMS	No permit or sampling/monitoring are required for washrack			discharge to the City of Lebanon sanitary sewer.

p.  Medford OMS	Permit # 01-M1-1029 issued by City of Medford for discharge of washrack wastewater to the City sanitary sewer.  Permit issued 9 Apr 01, requires compliance with certain standards but does not require sampling/monitoring.  Expires 9 Apr 06.

q.  Pendleton AASF #2	No permit or sampling/monitoring are required to discharge washwater wastewater to City of Pendleton sanitary sewer per discussion with city.

r.  Pendleton Armory	No permit or sampling/monitoring are required to discharge		washrack wastewater to the City of Pendleton sanitary sewer.

s.  Redmond Armory	No permit or sampling/monitoring are required to discharge washrack wastewater to the City of Redmond sanitary sewer.

t.  Redmond COUTES	No permit was originally required.  However, regulatory		requirements now require a "General" Water Pollution		Control Facility Permit, #1700-B.  Permit (File #111416) has		been issued by DEQ.  Expires 31 Jan 03.

u.  Salem AASF #1	Washrack removed during UST removal.  Area by fuel island used as interim washrack and connected to City sanitary sewer.  No permit or sampling/monitoring are required.

v.  Salem OMS	No permit is required to discharge washrack wastewater		to the City of Salem sanitary sewer.

w.  Tigard OMS 	United Sewerage Agency Permit # 111-183-1 (Best Management Practices) is required for washrack wastewater discharge.  Permit expires 15 Feb 04.