Chapter 6

###### ASBESTOS MANAGEMENT PROGRAM

6-1.  REFERENCES

a. AR 200-1, Chapter 8

b. 29 CFR - Section 1910.1000 (Air Contaminants) and 1910.1001 (Asbestos, 					Tremolite, Anthophyllite and Actinolite)

c. Oregon Revised Statutes (ORS) Chapter 654 and Chapter 656

d. Oregon Administrative Rules (OAR) Chap 437, Div 2 - Air Contaminants,

e. Oregon Administrative Rules (OAR) Chap 437, Div 3 - Construction

f. ORARNGR 385-16, Asbestos Management Plan, 1 Jul 92.

  - SCOPE

The ORARNG has many facilities constructed with asbestos-containing materials.  An agency Asbestos Management Program, ORARNGR 385-16, was prepared to provide guidance and is implemented throughout the state to ensure compliance with requirements.  Buildings that contain, or are suspected to contain, ACM are listed at Annex G to Chapter 20 of this pamphlet.

  - BACKGROUND INFORMATION

a.  Asbestos containing materials (ACM) in buildings must be identified and labeled.  Management plans must be developed so persons who may come in contact with ACM can be protected.   Management plans must be prepared and implemented.  Repair of ACM must be conducted properly to ensure asbestos fibers do not become "friable", a condition where tiny particles of asbestos fiber is airborne and can be ingested by humans.

b.  Managing ACM in ORARNG buildings is an AGI responsibility.  All armories and other agency buildings have been surveyed to identify the presence and location of ACM.  An ORARNG Asbestos Management Plan is adopted as ORARNGR 385-16.  Facility management plans and training for building occupants must be implemented.

6-4.  ENVIRONMENTAL COMPLIANCE STATEMENT

- In order to eliminate asbestos-related health hazards at ORARNG facilities, suspected asbestos-containing materials (ACM) have been identified and a plan is implemented to manage the material and train personnel.  Damaged ACM, or ACM in the path of construction or facility renovation, must be removed by contractors licensed for asbestos management and abatement.

- AGI must ensure ACM in agency buildings is properly managed.  State Maintenance Workers will primarily be responsible for this requirement.  Units and tenants in facilities subject to a site-specific Asbestos Management Plan must assist in ACM management, as required.

- A facility-specific Asbestos Management Plan contains the following:

- Name of the Asbestos Management Coordinator for the facility.

- Inventory of each building, by floor and room, indicating use and presence of suspected ACM.  If ACM is suspected, amount, type, condition and potential for fiber release will be estimated.

- Detailed map of the facility, by floor, defining location of all suspected ACM.

- List of possible asbestos-related health hazards, by location.

- Copy of requests to AGI for assistance in eliminating possible ACM-related health hazards.  Requests should be entered on the Work Order system fielded by AGI-O.

- Methods used to notify employees, visitors and contractors of suspected ACM in the facility.

- Asbestos Management Plans (AMP) are based on all buildings in the entire facility.  At sites where more than one unit or activity is located, a single AMP will be prepared to describe all areas of the facility.  A single Asbestos Management Coordinator (AMC) must be identified for the facility and coordinated with AGI.  This will normally be a state maintenance worker.  The Unit EPOC(s) and Facility EPOC must coordinate with the AMC to ensure an understanding of requirements and ensure appropriate information is provided to all personnel.

- The AMP will be reviewed for accuracy every two years by AGI.  It will be updated whenever the condition of ACM deteriorates, the potential ACM fiber exposure increases, ACM removal is conducted (using a certified contractor hired by AGI), or a significant change in use of a room with suspected ACM occurs and could result in disturbing the material.

e.  No ORARNG personnel can perform asbestos abatement projects unless trained and certified to perform such work.  Obtain guidance from AGI-O before doing facility asbestos work.

f.  VEHICLE MAINTENANCE.

(1)  Asbestos management in vehicle maintenance is also an occupational health issue due to potential worker exposure.  These activities are managed by ARP-OH and SAO-S.  Many brake shoes and clutch plates often contain asbestos.  Friable asbestos fibers can become airborne when personnel work on these parts.

(2)  Most ORARNG equipment maintenance facilities have High Efficiency Particulate Air (HEPA) vacuum cleaners to remove friable asbestos from affected equipment parts prior to maintenance or repair operations.  Other systems may be inadequate.  All systems should be reviewed and approved by SAO-S.  Brake and clutch maintenance should not be performed in areas lacking adequate facilities.  DO NOT use HEPA vacuum cleaners provided for the cleaning of armory indoor firing ranges to clean asbestos from equipment or facilities.

6-5.  RESPONSIBILITIES

a.   AGI-O will:

(1)  Maintain a general Asbestos Management Plan for ORARNG facilities, describing the health effects, identification techniques, and management activities requirements necessary to minimize exposure to ACM.

(2)  Prepare a site-specific portion of the general AMP to address each facility.

(3)  Coordinate efforts of a certified Asbestos Management Planner to prepare plans for federally-supported facilities.

(4) Review all Asbestos Management Plans and coordinate remodeling or repair activities scheduled in areas that contain ACM.

- Fund and manage ACM abatement and repair projects at ORARNG facilities.

- Provide certified contractors for the removal or repair of any ACM.

- Provide a Certified Asbestos Inspector to sample items suspected as ACM and assist with proper marking of actual ACM.

c.  State Maintenance Worker (or designated ACM Coordinator) for the facility will:

- Implement the site-specific portion of the general Asbestos Management Plan for facilities that contain suspected or confirmed ACM.   File the site-specific portion with the general plan at Annex G to Chapter 20 of this pamphlet.

- In lieu of an AMP, obtain and file memorandum from AGI citing the date of facility construction or other documentation that no suspect ACM is located in the facility.

- Conduct or coordinate annual awareness training for personnel working in facilities that contain items suspected of containing ACM.  This training will be conducted using the Environmental Training Program described in Chapter 19 of this pamphlet.  The training will describe the dangers associated with airborne asbestos and management requirements at the facility necessary to avoid damage to ACM.

- Notify AGI-O, using AGO Form 138 (Work Order Request) or electronic equivalent, and request repair or abatement of damaged ACM, as described in the AMP.

- Review and update the facility AMP every two years and submit to AGI-O.

- Update the ACM inventory immediately upon a change of ACM conditions and notify AGI-O.

- Authorize and conduct building repairs or other work where ACM has been identified or is suspected ONLY after approval from AGI-O.

- Report potential ACM problems or requests for assistance in ACM training or management through command channels to the Military Department, ATTN: AGI.

- Monitor activities to ensure unauthorized vehicle brake or clutch repair operations are not conducted.

6-6.  KEY QUESTIONS 	YES	NO	N/A

a.  Has AGI provided a facility Asbestos Management Plan and

personnel training where buildings contain ACM?	___	___	___

b.  Does the SMW use the correct forms/procedure to obtain 				    approval from AGI to conduct activities that could affect ACM? 	___	___	___

c.  Are equipment maintenance and repair operations conducted				  at the facility?		___	___	___

d.  If so, is adequate ACM-control equipment available?	___	___	___

e.  Have OMS personnel or M-day soldiers tasked with working

on vehicle brakes/clutches been provided with:

(1)  Training in health hazards of asbestos?	___	___	___

(2)  Proper equipment to conduct the procedure?	___	___	___

(3)  Proper protective clothing and equipment?	___	___	___

f.  Is a HEPA vacuum cleaner used for brake or clutch repair

that is also used for cleaning an indoor range?	___	___	___

6-7.  ENVIRONMENTAL COMPLIANCE NOTEBOOK

The following should be filed in Annex G to Chapter 20 of this pamphlet:

- A copy of the facility Asbestos Management Plan [SMW]

- Asbestos Management Coordinator appointment order [Facility EPOC and SMW]

- A copy of Risk Management Division's Asbestos Assessment Survey or most recent ACM survey for the facility, including reports that identify current location or condition of ACM.

- A copy of personnel "certification" relative to asbestos management, if applicable.

- Copies of reports or requests made IAW ORARNGR 385-16 and AGI responses.

6-8.  TECHNICAL ASSISTANCE.

- Technical assistance related to environmental aspects of the Asbestos Management Program can be obtained from the designated Asbestos POC in AGI-ENV, 503-584-3862.

- Issues related to maintenance of facilities should be directed to AGI-O, 503-584-3176.

- Issues related to safety or occupational health in managing ACM should be directed to SAO-S at 503-584-3222 or ARP-OH at 503-584-3902.