REQUEST FOR PROPOSAL

FOR

FACILITY OPERATION AND MAINTENANCE SUPPORT SERVICES

AT THE

WESTERN REGIONAL RESEARCH CENTER IN ALBANY, CA

SECTION B - SUPPLIES OR SERVICES AND PRICE

B.1 SCOPE OF WORK

The Contractor shall furnish all necessary staff, supplies, materials, and equipment to provide facility operation and maintenance support services for the Western Regional Research Center (WRRC) located in Albany, CA. in accordance with the terms, conditions and the Performance Work Statement (PWS) contained herein.

B.2 PRICE SCHEDULE

The Government will pay the Contractor for accepted services in accordance with the following price schedule:

Item Number				QTY 	  Unit		Unit		Extended										Price		Price

0001		Phase In Period											(06/1/2006—06/30/2006)	    1	  month	$_______	$_______

0002		Base Period

(07/01/2006—09/30/2006)     3	  month	$_______	$_______

Total Firm Fixed Price to perform routine work for

operations and maintenance support including

material prices for the stated period.

Total Price: $__________

0003		ADDITIONAL WORK / SERVICE CONTRACT ACT (Base Period):

The hours listed are estimates only. The actual work may vary from these estimates.  The USDA does not guarantee a specific volume of business.

Item		   Labor		        Estimated	        Fully		Estimated

Number	Category			Hours		Burdened Rate	    Price

0003(A)		Electrician, Maintenance	 1000		$_______		$______

0003(B)        	HVAC/R Mechanic		   500             $_______		$______

0003(C)        	Plumber, Maintenance	   100             $_______		$______

0003(D)        	Welder/Sheet

Metal Maintenance	              100             $______		$______

0003(E)         Carpenter                              100             $______		$_______

0003(F)        	Painter			   100         	$______		$_______

#### SECTION B - SUPPLIES OR SERVICES AND PRICE

0003(G)        	General Maintenance

Worker			  100      	$______		$_______

0003(H)        	Maintenance Trades

Helper				  100  		$______		$_______

0003(I)        	Pipefitter, Maintenance	  100     	$______		$_______

0003(J)        	Maintenance Mechanic 	  100      	$______		$_______

0003(K)        	Laborer		             200      	$______		$_______

Total Estimated Service Contract Act (SCA) Additional Work		$___________

#### SECTION B - SUPPLIES OR SERVICES AND PRICE

0004		ADDITIONAL WORK / DAVIS-BACON ACT (Base Period)

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		   Labor		        Estimated	        Fully		Estimated

Number	Category			Hours		Burdened Rate	    Price

0004(A)          Electrician, Maintenance	  500      	$________		$________

0004(B)         HVAC/R Mechanic		  250               $_______		$______

0004(C)        	Maintenance Mechanic 	  100      	$______		$_______

0004(D)        	General Maintenance

Worker			  100      	$______		$_______

0004(E)        	Maintenance Trades

Helper				  100  		$______		$_______

0004(F)        Welder/Sheet Metal

Maintenance			  100		$________		$________

0004(G)        Carpenter 			  100  		$________		$________

0004(H)         Painter 			  100  		$________		$________

0004(I)         Plumber/Steamfitter	  	  100      	$________		$________

0004(J)         Drywall Finisher		  100	      	$________		$________

0004(K)	Laborer			  100	      	$________		$________

Total Estimated Davis Bacon Act (DBA) Additional Work 		$_________

Total Estimated SCA + DBA Additional Work (Base Period)		$_________

#### SECTION B - SUPPLIES OR SERVICES AND PRICE

Item Number				QTY 	  Unit		Unit		Extended										Price		Price

1001		Option Period I		 12         month

(10/01/2006—09/30/2007)

Total Firm Fixed Price to perform routine work

for operations and maintenance support including

material prices for the stated period.

Total Price: $__________

1002		ADDITIONAL WORK / SERVICE CONTRACT ACT (Option Period I):

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		   Labor		        Estimated	        Fully		Estimated

Number	Category			Hours		Burdened Rate	    Price

1002(A)		Electrician, Maintenance	 1000		$_______		$______

1002(B)        	HVAC/R Mechanic		   500             $_______		$______

1002(C)        	Plumber, Maintenance	   100             $_______		$______

1002(D)        	Welder/Sheet

Metal Maintenance	              100             $______		$______

1002(E)         Carpenter                              100             $______		$_______

1002(F)        	Painter			   100         	$______		$_______

1002(G)        	General Maintenance

Worker			  100      	$______		$_______

1002(H)        	Maintenance Trades

Helper				  100  		$______		$_______

1002(I)        	Pipefitter, Maintenance	  100     	$______		$_______

1002(J)        	Maintenance Mechanic 	  100      	$______		$_______

1002(K)        	Laborer		             200      	$______		$_______

Total Estimated Service Contract Act (SCA) Additional Work 		$_________

#### SECTION B - SUPPLIES OR SERVICES AND PRICE

1003		ADDITIONAL WORK / DAVIS-BACON ACT (Option Period I)

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		   Labor		        Estimated	        Fully		Estimated

Number	Category			Hours		Burdened Rate	    Price

1003(A)          Electrician, Maintenance	  500      	$________		$________

1003(B)         HVAC/R Mechanic		  250               $_______		$______

1003(C)        	Maintenance Mechanic 	  100      	$______		$_______

1003(D)        	General Maintenance

Worker			  100      	$______		$_______

1003(E)        	Maintenance Trades

Helper				  100  		$______		$_______

1003(F)        Welder/Sheet Metal

Maintenance			  100		$________		$________

1003(G)        Carpenter 			  100  		$________		$________

1003(H)         Painter 			  100  		$________		$________

1003(I)         Plumber/Steamfitter	  	  100      	$________		$________

1003(J)         Drywall Finisher		  100	      	$________		$________

1003(K)	Laborer			  100	      	$________		$________

Total Estimated Davis Bacon Act (DBA) Additional Work 		$_________

Total Estimated SCA + DBA Additional Work (Option Period I)	$_________

#### SECTION B - SUPPLIES OR SERVICES AND PRICE

Item Number				QTY 	  Unit		Unit		Extended										Price		Price

2001		Option Period II 		  12        month

(10/01/2007—09/30/2008)

Total Firm Fixed Price to perform routine work for

operations and maintenance support including

material prices for the stated period.

Total Price: $__________

2002		ADDITIONAL WORK / SERVICE CONTRACT ACT (Option Period II):

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		   Labor		        Estimated	        Fully		Estimated

Number	Category			Hours		Burdened Rate	    Price

2002(A)		Electrician, Maintenance	 1000		$_______		$______

2002(B)        	HVAC/R Mechanic		   500             $_______		$______

2002(C)        	Plumber, Maintenance	   100             $_______		$______

2002(D)        	Welder/Sheet

Metal Maintenance	              100             $______		$______

2002(E)         Carpenter                              100             $______		$_______

2002(F)        	Painter			   100         	$______		$_______

2002(G)        	General Maintenance

Worker			  100      	$______		$_______

2002(H)        	Maintenance Trades

Helper				  100  		$______		$_______

2002(I)        	Pipefitter, Maintenance	  100     	$______		$_______

2002(J)        	Maintenance Mechanic 	  100      	$______		$_______

2002(K)        	Laborer		             200      	$______		$_______

Total Estimated Service Contract Act (SCA) Additional Work 		$_________

#### SECTION B - SUPPLIES OR SERVICES AND PRICE

2003		ADDITIONAL WORK / DAVIS-BACON ACT (Option Period II)

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		   Labor		        Estimated	        Fully		Estimated

Number	Category			Hours		Burdened Rate	    Price

2003(A)          Electrician, Maintenance	  500      	$________		$________

2003(B)         HVAC/R Mechanic		  250               $_______		$______

2003(C)        	Maintenance Mechanic 	  100      	$______		$_______

2003(D)        	General Maintenance

Worker			  100      	$______		$_______

2003(E)        	Maintenance Trades

Helper				  100  		$______		$_______

2003(F)        Welder/Sheet Metal

Maintenance			  100		$________		$________

2003(G)        Carpenter 			  100  		$________		$________

2003(H)         Painter 			  100  		$________		$________

2003(I)         Plumber/Steamfitter	  	  100      	$________		$________

2003(J)         Drywall Finisher		  100	      	$________		$________

2003(K)	Laborer			  100	      	$________		$________

Total Estimated Davis Bacon Act (DBA) Additional Work 		$_________

Total Estimated SCA + DBA Additional Work (Option Period II)	$_________

#### SECTION B - SUPPLIES OR SERVICES AND PRICE

Item Number				QTY 	  Unit		Unit		Extended										Price		Price

3001        	Option Period III 		  12	   month

(10/01/2008—09/30/2009)

Firm Fixed Price to perform routine work for

operations and maintenance

support including material prices.

Total Price: $__________

3002		ADDITIONAL WORK / SERVICE CONTRACT ACT (Option Period III):

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		   Labor		        Estimated	        Fully		Estimated

Number	Category			Hours		Burdened Rate	    Price

3002(A)		Electrician, Maintenance	 1000		$_______		$______

3002(B)        	HVAC/R Mechanic		   500             $_______		$______

3002(C)        	Plumber, Maintenance	   100             $_______		$______

3002(D)        	Welder/Sheet

Metal Maintenance	              100             $______		$______

3002(E)         Carpenter                              100             $______		$_______

3002(F)        	Painter			   100         	$______		$_______

3002(G)        	General Maintenance

Worker			  100      	$______		$_______

3002(H)        	Maintenance Trades

Helper				  100  		$______		$_______

3002(I)        	Pipefitter, Maintenance	  100     	$______		$_______

3002(J)        	Maintenance Mechanic 	  100      	$______		$_______

3002(K)        	Laborer		             200      	$______		$_______

Total Estimated Service Contract Act (SCA) Additional Work 		$_________

#### SECTION B - SUPPLIES OR SERVICES AND PRICE

3003		ADDITIONAL WORK / DAVIS-BACON ACT (Option Period III)

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		      Labor		        Estimated	        Fully		Estimated

Number	   Category			Hours		Burdened Rate	    Price

3003(A)          Electrician, Maintenance	  500      	$________		$________

3003(B)         HVAC/R Mechanic		  250               $_______		$______

3003(C)        	Maintenance Mechanic 	  100      	$______		$_______

3003(D)        	General Maintenance

Worker			  100      	$______		$_______

3003(E)        	Maintenance Trades

Helper				  100  		$______		$_______

3003(F)        Welder/Sheet Metal

Maintenance			  100		$________		$________

3003(G)        Carpenter 			  100  		$________		$________

3003(H)         Painter 			  100  		$________		$________

3003(I)         Plumber/Steamfitter	  	  100      	$________		$________

3003(J)         Drywall Finisher		  100	      	$________		$________

3003(K)	Laborer			  100	      	$________		$________

Total Estimated Davis Bacon Act (DBA) Additional Work 		$_________

Total Estimated SCA + DBA Additional Work (Option Period III)	$_________

#### SECTION B - SUPPLIES OR SERVICES AND PRICE

Item Number				QTY 	  Unit		Unit		Extended										Price		Price

4001		Option Period IV 		  12        month

(10/01/2009—09/30/2010)

Total Firm Fixed Price to perform routine work for

operations and maintenance support including

material prices for the stated period:

Total Price: $__________

4002		ADDITIONAL WORK / SERVICE CONTRACT ACT (Option Period IV):

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		   Labor		        Estimated	        Fully		Estimated

Number	Category			Hours		Burdened Rate	    Price

4002(A)		Electrician, Maintenance	 1000		$_______		$______

4002(B)        	HVAC/R Mechanic		   500             $_______		$______

4002(C)        	Plumber, Maintenance	   100             $_______		$______

4002(D)        	Welder/Sheet

Metal Maintenance	              100             $______		$______

4002(E)         Carpenter                              100             $______		$_______

4002(F)        	Painter			   100         	$______		$_______

4002(G)        	General Maintenance

Worker			  100      	$______		$_______

4002(H)        	Maintenance Trades

Helper				  100  		$______		$_______

4002(I)        	Pipefitter, Maintenance	  100     	$______		$_______

4002(J)        	Maintenance Mechanic 	  100      	$______		$_______

4002(K)        	Laborer		             200      	$______		$_______

Total Estimated Service Contract Act (SCA) Additional Work 		$_________

SECTION B - SUPPLIES OR SERVICES AND PRICE

4003		ADDITIONAL WORK / DAVIS-BACON ACT (Option Period IV)

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		      Labor		        Estimated	        Fully		Estimated

Number	   Category			Hours		Burdened Rate	    Price

4003(A)          Electrician, Maintenance	  500      	$________		$________

4003(B)         HVAC/R Mechanic		  250               $_______		$______

4003(C)        	Maintenance Mechanic 	  100      	$______		$_______

4003(D)        	General Maintenance

Worker			  100      	$______		$_______

4003(E)        	Maintenance Trades

Helper				  100  		$______		$_______

4003(F)        Welder/Sheet Metal

Maintenance			  100		$________		$________

4003(G)        Carpenter 			  100  		$________		$________

4003(H)         Painter 			  100  		$________		$________

4003(I)         Plumber/Steamfitter	  	  100      	$________		$________

4003(J)         Drywall Finisher		  100	      	$________		$________

4003(K)	Laborer			  100	      	$________		$________

Total Estimated Davis Bacon Act (DBA) Additional Work 		$_________

Total Estimated SCA + DBA Additional Work (Option Period IV)	$_________

#### SECTION B - SUPPLIES OR SERVICES AND PRICE

Item Number				QTY 	  Unit		Unit		Extended										Price		Price

5001		Option Period V

(10/01/2010 - 5/31/2011)	  8         month

Total Firm Fixed Price to perform routine work for

Operations and maintenance support including

Material prices for the stated period:

Total Price: $__________

5002		ADDITIONAL WORK/SERVICE CONTRACT ACT (Option Period V):

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		   Labor		        Estimated	        Fully		Estimated

Number	Category			Hours		Burdened Rate	    Price

5002(A)		Electrician, Maintenance	 1000		$_______		$______

5002(B)       	HVAC/R Mechanic		   500             $_______		$______

5002(C)        	Plumber, Maintenance	   100             $_______		$______

5002(D)        	Welder/Sheet

Metal Maintenance	              100             $______		$______

5002(E)         Carpenter                              100             $______		$_______

5002(F)        	Painter			   100         	$______		$_______

5002(G)        	General Maintenance

Worker			  100      	$______		$_______

5002(H)        	Maintenance Trades

Helper				  100  		$______		$_______

5002(I)        	Pipefitter, Maintenance	  100     	$______		$_______

5002(J)        	Maintenance Mechanic 	  100      	$______		$_______

5002(K)        	Laborer		             200      	$______		$_______

Total Estimated Service Contract Act (SCA) Additional Work 		$_________

SECTION B - SUPPLIES OR SERVICES AND PRICE

5003		ADDITIONAL WORK / DAVIS-BACON ACT (Option Period V)

The hours listed below are estimates only. The actual work may vary from these estimates. The USDA does not guarantee a specific volume of business.

Item		      Labor		        Estimated	        Fully		Estimated

Number	   Category			Hours		Burdened Rate	    Price

5003(A)          Electrician, Maintenance	  500      	$________		$________

5003(B)         HVAC/R Mechanic		  250               $_______		$______

5003(C)        	Maintenance Mechanic 	  100      	$______		$_______

5003(D)        	General Maintenance

Worker			  100      	$______		$_______

5003(E)        	Maintenance Trades

Helper				  100  		$______		$_______

5003(F)        Welder/Sheet Metal

Maintenance			  100		$________		$________

5003(G)        Carpenter 			  100  		$________		$________

5003(H)         Painter 			  100  		$________		$________

5003(I)         Plumber/Steamfitter	  	  100      	$________		$________

5003(J)         Drywall Finisher		  100	      	$________		$________

5003(K)	Laborer			  100	      	$________		$________

Total Estimated Davis Bacon Act (DBA) Additional Work 		$_________

Total Estimated SCA + DBA Additional Work (Option Period V)	$_________

SECTION B - SUPPLIES OR SERVICES AND PRICE

PRICE SUMMARY (Routine Work Only):

Total Price Phase-In Period		$__________

Total Price Base Period			$__________

Total Price Option Period I			$__________

Total Price Option Period II		$__________

Total Price Option Period III		$__________

Total Price Option Period IV		$__________

Total Price Option Period V		$__________

Total Firm Fixed Price			$__________

B.3	OVERTIME RATE

If overtime is proposed for any additional work, it will be paid at a rate of one and a half times the normal pay rate.

B.4	RATES FOR HANDLING CHARGE/ADDITIONAL WORK

A handling charge may be applied to materials, equipment purchases, and subcontracted work.  The rates below are the maximum for each period of performance that may be applied to additional work.

Handling

Charge

Base Period	(including Phase-in)			________

04/1/06 - 9/30/06

Option Period I					________

10/1/06 - 9/30/07

Option Period II					________

10/1/07 - 9/30/08

Option Period III					________

10/1/08 - 9/30/09

Option Period IV					_________

10/1/09 - 9/30/10

Option Period V					_________

10/1/10 – 03/31/11

SECTION C - DESCRIPTION/SPECIFICATIONS/WORK STATEMENT

C.1	AGAR 452.211-72 STATEMENT OF WORK/SPECIFICATIONS

(FEB 1988)

The Contractor shall furnish all the necessary staff, supplies, materials, and equipment to provide facility operation and maintenance support services for the Western Regional Research Center located in Albany, CA in accordance with the terms, conditions and the Performance Work Statement (PWS) contained herein.

See PWS Sections 2.1 and 2.1.3 for definitions of Routine Work and Additional Work

C.2	AGAR 452.211-73 ATTACHMENTS TO STATEMENT OF WORK/SPECIFICATIONS (FEB 1988)

The attachments to the Statement of Work/Specifications listed in Section J are hereby made part of this solicitation and any resultant contract.

SECTION D - PACKAGING AND MARKING

D.1	AGAR 452.247-71 MARKING DELIVERABLES (FEB 1988)

(a)	The contract number shall be placed on or adjacent to all exterior mailing or 	shipping labels of deliverable items called for by the contract.

(b)	Mark deliverables, except for reports, for:

Administrative Contracting Officer

USDA, ARS, Western Regional Research Center

800 Buchanan Street

Albany, CA  94710

D.2	AGAR 452.247-72 PACKING FOR DOMESTIC SHIPMENT (FEB 1988)

Material shall be packed for shipment in a manner that will ensure acceptance by routine carriers and ensure safe delivery at destination.  Containers and closures shall comply with the Interstate Commerce Commission regulations, Uniform Freight Classification Rules, or regulations of other carriers as applicable to the mode of transportation.

SECTION E - INSPECTION AND ACCEPTANCE

E.1 	52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this address:

www.acqnet.gov/far

FEDERAL ACQUISITION REGULATION (48 CFR CHAPTER 1) CLAUSES:

NUMBER		TITLE					DATE

52.246-2	Inspection of Supplies 		AUG 1996
Fixed-Price

52.246-4 	Inspection of Services 		AUG 1996
Fixed Price

52.246-6	Inspection—Time and		MAY 2001

Material & Labor Hour

52.246-12		Inspection of Construction		AUG 1996

52.246-16		Responsibility for Supplies 	APR 1984

E.2 	AGAR 452.246-70 INSPECTION AND ACCEPTANCE (FEB 1988)

(a) The Contracting Officer or the Contracting Officer's duly authorized representative will inspect and accept the supplies and/or services to be provided under this contract.

(b) Inspection and acceptance will be performed at:

U.S. Department of Agriculture, ARS

Western Regional Research Center

800 Buchanan Street

Albany, CA  94710

SECTION F - DELIVERIES OR PERFORMANCE

F.1 52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this address:

www.acqnet.gov/far

FEDERAL ACQUISITION REGULATION (48 CFR CHAPTER 1) CLAUSES

NUMBER	TITLE	DATE

52.242-15	Stop-Work Order	AUG 1989

52.242-17	Government Delay of Work	APR 1984

F.2 	AGAR 452.211-74 PERIOD OF PERFORMANCE (FEB 1988)

The contract contains a thirty-day phase-in period, six month base period, four twelve-month option periods and one five month option period.

Phase-In Period		May1, 2006 - May 31, 2006
 Base Period  		May 1, 2006 - September 30, 2006
 First Option Period		October 1, 2006 - September 30, 2007
 Second Option Period 	October 1, 2007 - September 30, 2008
 Third Option Period		October 1, 2008 - September 30, 2009
 Fourth Option Period	October 1, 2009 - September 30, 2010

Fifth Option Period		October 1, 2010 - April 30, 2011

F.3   	PLACE OF PERFORMANCE

The routine work to be performed under this contract shall be performed on-site at the following locations;

U.S. Department of Agriculture, ARS

Western Regional Research Center

800 Buchanan Street

Albany, CA  94710

F.4    REPORTING REQUIREMENTS

The Contractor shall provide the required reports referenced in Appendix 11 on the specified due date to the individuals identified.

SECTION G - CONTRACT ADMINISTRATION DATA

G.1	AGAR 452.237-76 PROGRESS REPORTING (FEB 1988)

The Contractor shall submit a progress report by the 15th of each month, covering work accomplished during the prior month of contract performance. The progress report shall be brief and factual and shall be prepared in accordance with the following format:

(a) A cover page containing:

(1) Contract number and title

(2) Type of report, sequence number of report, and period of performance being reported.
(3) Contractor's name and address

(4) Author(s)

(5) Date of report

(b) SECTION I: An introduction covering the purpose and scope of the contract effort. This shall be limited to one paragraph in all but the first and final month's narrative.

(c) SECTION II: A description of overall progress plus a separate description of each task or other logical segment of work on which effort was expended during the report period. The description shall include pertinent data and/or graphs in sufficient detail to explain any significant results achieved.

(d) SECTION III: A description of current technical or substantive performance, and any problem(s) that may impede performance along with the proposed corrective action.

(e) SECTION IV: A planning schedule shall be included with the first progress report for all assigned work required under the contract, along with the estimated starting and completion dates for each task. The planning schedule shall be updated and submitted with each subsequent technical progress report, including an explanation of any difference between actual progress and planned progress, why the differences have occurred, and if behind planned progress what corrective steps are planned.

(f)  SECTION V:  Report the overall service level achieved via customer satisfaction results and metrics established in the QASP.  If any performance standards are not met, the contractor shall explain why its QCP did not work, as well as describe how the QCP will be altered to ensure the performance standards will be met in the future.

(g) SECTION VI: If applicable, financial information shall be submitted for each additional work (task) provided. Data shall include:

(1) Price of each additional task

(2) Total additional work to-date expenditures

(3) Total remaining funds if Time and Material or Labor Hour order

G.2	INVOICE PREPARATION/SUBMISSION

A.	Based upon acceptance of the required contract deliverables, including an acceptable monthly report, the contractor shall submit an original invoice with three (3) copies to the following government office:

ATTN: Clarice E. Dixson, ACO

WESTERN REGIONAL RESEARCH CENTER

800 BUCHANAN STREET

ALBANY, CA 94710

An information copy of the invoice shall be provided to:

ATTN: Lyndia V. Countee, PCO

USDA/ARS/APD/AB/MD Section

5601 SUNNYSIDE AVENUE, MS 5116

BELTSVILLE, MD 20705-5000

B.	The Contractor must include the following information to comply with proper invoice submission pursuant to FAR 32.9.

1.  Name of business concern, invoice number and date

2.  Contract/Order number (DO invoices shall also include work

order and contract numbers)

3.  Name, title, phone number, complete mailing address,

and signature of official authorized to submit invoice.

4.  Prices in accordance with Section B.2 PRICE SCHEDULE.

- Routine Work - The contractor shall invoice for routine work as

shown in Schedule B.2.

- Additional Work - The contractor shall invoice in accordance with

the delivery order when the work is completed and Government

acceptance has been made.

- A list of materials (supporting data) purchased shall be included for

time and material labor hour additional orders.

6. Vendor Express Number.

7. VID #

C.	Each monthly invoice will be in an equal installment of the specific Period price for the “routine work”.

G.3 	CONTRACT ADMINISTRATION

The Contracting Officer is the only person authorized to approve any changes in the scope of work of this contract. The authority remains solely with the Contracting Officer. In the event the Contractor effects any changes at the direction of any person other than the Contracting Officer, the changes will be considered to have been made without authority and NO adjustment will be made in the contract price to cover any INCREASE in price incurred as a result thereof.

A.	Procuring Contracting Officer (PCO):

Name:		Lyndia V. Countee

Address:	USDA/ARS/APD/AB/MD Section

5601 Sunnyside Avenue

Beltsville, MD 20705-5000

Phone:	(301) 504-1700

Fax:		(301) 504-1717

E-mail:	lcountee@ars.usda.gov

Administrative Contracting Officer (ACO) at Contract Site:

Name:		Clarice E. Dixson

Address:	WESTERN REGIONAL RESEARCH CENTER

800 BUCHANAN STREET

ALBANY, CA 94710

Phone:	(510) 559-6027

Fax:		(510) 559-5638

E-mail:	cdixson@pw.usda.gov

B.	The Contracting Officer’s Representative (COR) is a Government employee with the authority to administer the contract, authority to monitor and inspect work requirements of the PWS, and make technical decisions with respect thereto. The COR has no authority to obligate funds or make changes to the contract. Such authority is reserved for the Contracting Officer.

C.	Service Provider’s Point of Contact:

(Specific information for B and C to be inserted at time of award)

### G.4		DELEGATION OF AUTHORITY FOR CONTRACT ADMINISTRATION

The Administrative Contracting Officer (ACO) for the Western Regional Research

Center (WRRC) is hereby designated by the Contracting Officer to act as the

authorized Government agent that oversees Contractor performance in accordance

with the terms and conditions of the contract.

G.5	ADDITIONAL WORK

Additional work is defined as work that is not part of the routine work for operations and

maintenance support for the Center, but comes within the scope of the contract.

Specific work will be defined as required by WRRC in accordance with the Performance

Work Statement attached to this contract.

Prior to starting any work, the Contractor shall submit to the ACO, a proposal outlining

the work to be done, including a tentative start date after receiving approval and

indicating the number of days to complete the work. The proposal shall also identify

the methods, equipment and material to be used and the number of hours and wage

rate per craft, using the fully burdened rates previously negotiated under Section B, to

complete the work. ACO approval is required prior to performing any additional work.

If any other direct prices (for example; materials) are involved in performance of this

work, they shall be priced out separately when submitting proposal to ACO. If work is of

such urgency that it cannot be awarded and negotiated in a timely manner, the

contractor shall notify the ACO immediately.

The ACO shall determine whether the additional work shall be performed. An order will

be issued for approved work citing funded or supplemental funding, and payment will be

processed upon completion by invoice as described in Section G.2.

G.6	DELEGATION OF AUTHORITY AND ORDERING TASK/DELIVERY ORDERS

In addition to the Procuring Contracting Officer, delivery orders may be

issued by the Administrative Contracting Officer.

A.	Procuring Contracting Officer (PCO):

Name:		Lyndia V. Countee

Address:	USDA/ARS/APD/AB/MD Section

5601 Sunnyside Avenue, MS 5116

Beltsville, MD 20705

Phone:	(301) 504-1700

Fax:		(301) 504-1717

E-mail:	lcountee@ars.usda.gov

B.	Administrative Contracting Officer (ACO)

Name:		Clarice E. Dixson

Address:	WESTERN REGIONAL RESEARCH CENTER

800 BUCHANAN STREET

ALBANY, CA 94710

Phone:	(510) 559-6027

Fax:		(510) 559-5638

E-mail:	cdixson@pw.usda.gov

SECTION H – SPECIAL CONTRACT CLAUSES

H.1	AGAR 452.224-70 CONFIDENTIALITY OF INFORMATION (FEB 1988)

(a) Confidential information, as used in this clause, means (1) information or data of a personal nature, proprietary about an individual, or (2) information or data submitted by or pertaining to an organization.

(b) In addition to the types of confidential information described in (a)(1) and (2) above, information which might require special consideration with regard to the timing of its disclosure may derive from studies or research, during which public disclosure of primarily invalidated findings could create an erroneous conclusion which might threaten public health or safety if acted upon.

(c) The Contracting Officer and the Contractor may, by mutual consent, identify elsewhere in this contract specific information and/or categories of information which the Government will furnish to the Contractor or that the Contractor is expected to generate which is confidential. Similarly, the Contracting Officer and the Contractor may, by mutual consent, identify such confidential information from time to time during the performance of the contract. Failure to agree will be settled pursuant to the "Disputes" clause.

(d) If it is established that information to be utilized under this contract is subject to the Privacy Act, the Contractor will follow the rules and procedures of disclosure set forth in the Privacy Act of 1974, 5 U.S.C. 552a, and implementing regulations and policies, with 
respect to systems of records determined to be subject to the Privacy Act.

(e) Confidential information, as defined in (a)(1) and (2) above, shall not be disclosed without the prior written consent of the individual, institution or organization.

(f) Written advance notice of at least 45 days will be provided to the Contracting Officer of the Contractor's intent to release findings of studies or research, which have the possibility of adverse effects on the public or the Federal agency, as described in (b) above. If the Contracting Officer does not pose any objections in writing within the 45-day period, the CONTRACTOR may proceed with disclosure. Disagreements not resolved by the CONTRACTOR and Contracting Officer will be settled pursuant to the "Disputes" clause.

(g) Whenever the Contractor is uncertain with regard to the proper handling of material under the contract, or if the material in question is subject to the Privacy Act or is confidential information subject to the provisions of this clause, the Contractor shall obtain a written determination from the Contracting Officer prior to any release, 
disclosure, dissemination, or publication.

(h) The provisions of paragraph (e) of this clause shall not apply when the information is subject to conflicting or overlapping provisions in other Federal, State or local laws.

H.2	AGAR 452.228-71 INSURANCE COVERAGE (NOV 1996)

Pursuant to FAR Clause 52.228-5, Insurance-Work on a Government 
Installation, the Contractor will be required to present evidence to show, as a minimum, the amounts of insurance coverage indicated below:

(a)  Workers Compensation and Employer’s Liability. The Contractor is required to comply with applicable Federal and State worker’s compensation and occupational disease statutes. If occupational diseases are not compressible under those statutes, they shall be covered under the employer’s liability section of the insurance policy,
except when contract operations are so commingled with a Contractor’s commercial operations that it would not be practical to require this coverage.

Employer’s liability coverage of at least $100,000 shall be required, except in States with exclusive or monopolistic funds that do not permit worker’s compensation to be written by private carriers.

(b) General Liability. The Contractor shall have bodily injury liability insurance coverage written on the comprehensive form of policy of at least $500,000 per occurrence.

(c) Automobile Liability. The Contractor shall have automobile liability insurance written on the comprehensive form of policy. The policy shall provide for bodily injury and property damage liability covering the operation of all automobiles used in connection with performing the contract. Policies covering automobiles operated in the United States shall provide coverage of at least $200,000 per other than passenger damage. Coverage for passenger liability bodily injury shall be at least $200,000 multiplied by the number of seats or passengers, whichever is greater.

H.3 	AGAR 452.236-74 CONTROL OF EROSION, SEDIMENTATION, AND   
POLLUTION (NOV 1996)

(a) Operations shall be scheduled and conducted to minimize erosion of soils and to prevent silting and muddying of streams, rivers, irrigation systems, and impoundments (lakes, reservoirs, etc.).

(b) Pollutants such as fuels, lubricants, bitumen, raw sewage, and other harmful materials shall not be discharged on the ground; into or nearby rivers, streams, or impoundments; or into natural or man-made channels.  Wash water or waste from concrete or aggregate operations shall not be allowed to enter live streams prior to treatment by filtration, settling, or other means sufficient to reduce the sediment content to not more than that of the stream into which it is discharged.

(c) Mechanized equipment shall not be operated in flowing streams without written approval by the Contracting Officer.

H.4 	AGAR 452.237-74 KEY PERSONNEL (FEB 1988)

(a) The Contractor shall assign to this contract the following key personnel:

(To be inserted at time of award)

(b) During the first ninety (90) days of performance, the Contractor shall make no substitutions of key personnel unless the substitution is necessitated by illness, death, or termination of employment. The Contractor shall notify the Contracting Officer within 15 calendar days after the occurrence of any of these events and provide the information required by paragraph (c) below. After the initial 90-day period, the contractor shall submit the information required by paragraph (c) to the Contracting Officer at least 15 days prior to making any permanent substitutions.

(c)The contractor shall provide a detailed explanation of the circumstances necessitating the proposed substitutions, complete resumes for the proposed substitutes, and any additional information requested by the Contracting Officer.  Proposed substitutes should have comparable Qualifications to those of the persons being replaced. The Contracting Officer will notify the contractor within 15 calendar days after receipt of all required information of the decision on substitutions. The contract will be modified to reflect any approved changes of key personnel.

H.5 	AGAR 452.237-75 RESTRICTIONS AGAINST DISCLOSURE  (FEB 1988)

(a) The Contractor agrees, in the performance of this contract, to keep all information contained in source documents or other media furnished by the Government in the strictest confidence. The Contractor agrees not to publish or otherwise divulge such information in whole or in part in any manner or form, or to authorize or permit others to do so, taking such reasonable measures as are necessary to restrict access to such information while in the Contractor's possession, to those employees needing such information to perform the work provided herein, i.e., on a "need to know" basis. The Contractor agrees to immediately notify in writing, the Contracting Officer, named herein, in the event that the Contractor determines or has reason to suspect a breach of this requirement. The Contractor agrees not to disclose any information concerning the work under this contract to any persons or individual unless prior written approval is obtained from the Contracting Officer. The Contractor agrees to insert the substance of this clause in any consultant agreement or subcontract hereunder.

H.6 	CENTRAL CONTRACTOR REGISTRATION SYSTEM (CCR)

Contractors doing business with USDA and potential vendors are required to register in the CCR database before they can be awarded a contract. A template containing the information for registration can be found at:

http://www.ccr.gov

PART II – CONTRACT CLAUSES

SECTION I - CONTRACT CLAUSES

I.1 52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this address:    www.acqnet.gov/far

I. FEDERAL ACQUISITION REGULATION (48 CFR CHAPTER 1)

| CLAUSES |  |  |  |  |
| --- | --- | --- | --- | --- |
| NUMBER |  | TITLE | DATE |  |
| 52.202-1 |  | DEFINITIONS | JUL 2004 |  |
| 52.203-3 |  | GRATUITIES | APR 1984 |  |
| 52.203-5 |  | COVENANT AGAINST CONTINGENT FEES | APR 1984 |  |
| 52.203-6 |  | RESTRICTIONS ON SUBCONTRACTOR | JUL 1995 |  |
|  |  | SALES TO THE GOVERNMENT |  |  |
| 52.203-7 |  | ANTI-KICKBACK PROCEDURES | JUL 1995 |  |
| 52.203-8 |  | CANCELLATION, RESCISSION, AND | JAN 1997 |  |
|  |  | RECOVERY OF FUNDS FOR |  |  |
|  |  | ILLEGAL OR IMPROPER ACTIVITY |  |  |
| 52.203-10 |  | PRICE OR FEE ADJUSTMENT FOR | JAN 1997 |  |
|  |  | ILLEGAL OR IMPROPER ACTIVITY |  |  |
| 52.203-12 |  | LIMITATION ON PAYMENTS TO | JUN 2003 |  |
|  |  | INFLUENCE CERTAIN FEDERAL |  |  |
|  |  | TRANSACTIONS |  |  |
| 52.204-2 |  | SECURITY | AUG 1996 |  |
| 52.204-4 |  | PRINTING/COPYING DOUBLE-SIDED | AUG 2000 |  |
| 52.204-7 |  | ON RECYCLED PAPER CENTRAL CONTRACTOR REGISTRATION | OCT 2003 |  |
| 52.208-9 |  | CONTRACTOR USE OF MANDATORY | JUL 2004 |  |
|  |  | SOURCES OF SUPPLY |  |  |
| 52.209-6 |  | PROTECTING THE GOVERNMENT'S | JAN 2005 |  |
|  |  | INTEREST WHEN SUBCONTRACTING WITH CONTRACTORS DEBARRED, SUSPENDED, OR PROPOSED FOR DEBARMENT |  |  |
| 52.215-2 |  | AUDIT AND RECORDS--NEGOTIATION | JUN 1999 |  |
| 52.215-8 |  | ORDER OF PRECEDENCE--UNIFORM | OCT 1997 |  |
|  |  | CONTRACT FORMAT |  |  |
| 52.215-14 |  | INTEGRITY OF UNIT PRICES | OCT 1997 |  |
| 52.217-8 |  | OPTION TO EXTEND SERVICES | NOV 1999 |  |
| NUMBER | TITLE |  |  | DATE |
| 52.219-6 | NOTICE OF TOTAL SMALL BUSINESS SET ASIDE |  |  | JUN 2003 |
| 52.219-8 | UTILIZATION OF SMALL |  |  | MAY 2004 |
|  | BUSINESS CONCERNS |  |  |  |
| 52.219-14 | LIMITATIONS ON SUBCONTRACTING |  |  | DEC 1996 |
| 52,222-1 | NOTICE TO THE GOVERNMENT OF |  |  | FEB 1997 |
|  | LABOR DISPUTES |  |  |  |
| 52.222-2 | PAYMENT FOR OVERTIME PREMIUMS |  |  | JUL 1990 |
| 52.222-3 | CONVICT LABOR |  |  | JUN 2003 |
| 52.222-4 | CONTRACT WORK HOURS AND |  |  | JULY 2005 |
|  | SAFETY STANDARDS |  |  |  |
| 52.222-6 | DAVIS-BACON ACT |  |  | FEB 1995 |
| 52.222-7 | WITHHOLDING OF FUNDS |  |  | FEB 1988 |
| 52.222-8 | PAYROLLS AND BASIC RECORDS |  |  | FEB 1988 |
| 52.222-9 | APPRENTICES AND TRAINEES |  |  | JULY 2005 |
| 52.222-10 | COMPLIANCE WITH COPELAND ACT |  |  | FEB 1988 |
|  | REQUIREMENTS |  |  |  |
| 52.222-11 | SUBCONTRACTS(LABOR STANDARDS) |  |  | JULY 2005 |
| 52.222-12 | CONTRACT TERMINATION-DEBARMENT |  |  | FEB 1988 |
| 52.222-13 | COMPLIANCE WITH DAVIS-BACON AND |  |  | FEB 1988 |
|  | RELATED ACT REGULATIONS |  |  |  |
| 52.222-14 | DISPUTES CONCERNING LABOR |  |  | FEB 1988 |
|  | STANDARDS |  |  |  |
| 52.222-15 | CERTIFICATION OF ELIGIBILITY |  |  | FEB 1988 |
| 52.222-16 | APPROVAL OF WAGE RATES |  |  | FEB 1988 |
| 52.222-17 | LABOR STANDARDS FOR CONSTRUCTION |  |  | FEB 1988 |
|  | WORK-FACILITIES CONTRACTS |  |  |  |
| 52.222-21 | PROHIBITION OF SEGREGATED |  |  | FEB 1999 |
|  | FACILITIES |  |  |  |
| 52.222-26 | EQUAL OPPORTUNITY |  |  | APR 2002 |
| 52.222-35 | EQUAL OPPORTUNITY FOR |  |  | DEC 2001 |
|  | SPECIAL DISABLED AND VIETNAM |  |  |  |
|  | ERA AND VETERANS AND OTHER |  |  |  |
|  | ELIGIBLE VETERANS |  |  |  |
| 52.222-36 | AFFIRMATIVE ACTION FOR |  |  | JUN 1998 |
|  | WORKERS WITH DISABILITIES |  |  |  |
| 52.222-37 | EMPLOYMENT REPORTS ON SPECIAL |  |  | DEC 2001 |
|  | DISABLED VETERANS AND VETERANS |  |  |  |
|  | OF THE VIETNAM ERA |  |  |  |
| 52.222-41 | SERVICE CONTRACT ACT OF 1965 |  |  | JULY 2005 |
|  | AS AMENDED |  |  |  |
| 52.222-43 | FAIR LABOR STANDARDS ACT |  |  | MAY 1989 |
|  | AND SERVICE CONTRACT ACT—PRICE |  |  |  |
|  | ADJUSTMENT (MULTIPLE YEAR AND OPTION CONTRACTS) |  |  |  |
| NUMBER | TITLE |  |  | DATE |
| - POLLUTION PREVENTION AND |  |  |  | AUG 2003 |
| RIGHT-TO-KNOW INFORMATION |  |  |  |  |
| 52.223-6 DRUG-FREE WORKPLACE |  |  |  | MAY 2001 |
| 52.223-10 WASTE REDUCTION PROGRAM |  |  |  | AUG 2000 |
| - REFRIGERATION EQUIPMENT AND AIR CONDITIONERS |  |  |  | MAY 1995 |
| 52.223-14 TOXIC CHEMICAL RELEASE REPORTING |  |  |  | AUG 2003 |
| 52.224-1 PRIVACY ACT NOTIFICATION |  |  |  | APR 1984 |
| 52.224-2 PRIVACY ACT |  |  |  | APR 1984 |
| - RESTRICTIONS ON CERTAIN FOREIGN PURCHASE |  |  |  | JAN 2004 |
| - NOTICE AND ASSISTANCE REGARDING PATENT AND COPYRIGHT INFRINGEMENT |  |  |  | AUG 1996 |
| - RIGHTS TO PROPOSAL DATA (TECHNICAL) |  |  |  | JUN 1987 |
| 52.228-5 INSURANCE - WORK ON A GOVERNMENT INSTALLATION |  |  |  | JAN 1997 |

52.229-3         FEDERAL, STATE, AND LOCAL TAXES        	  APR 2003                       52.232-1         PAYMENTS                              	                        APR 1984
52.232-7	 PAYMENTS UNDER TIME AND MATERIAL 	  DEC 2002
                      AND LABOR-HOUR CONTRACTS
52.232-8	DISCOUNTS FOR PROMPT PAYMENT 	  FEB 2002
52.232-9	LIMITATION ON WITHHOLDING OF  		 APR 1984
                      PAYMENTS
52.232-11	EXTRAS 						 APR 1984 
52.232-17	INTEREST 						 JUN 1996
52.232.18	AVAILABILITY OF FUNDS 			 APR 1984
52.232-23	ASSIGNMENT OF CLAIMS 			 JAN 1986 
52.232-25	PROMPT PAYMENT 				 OCT 2003
52.232-32	PERFORMANCE-BASED PAYMENTS  		 FEB 2002
52.232-33	PAYMENT BY ELECTRONIC FUNDS 		 OCT 2003
                     TRANSFER-CENTRAL CONTRACTOR
                      REGISTRATION
52.233-1	DISPUTES 						 JULY 2002
52.233-3	PROTEST AFTER AWARD 			 AUG 1996
52.236-7	PERMITS AND RESPONSIBILITIES 		 NOV 1991
52.237-2	PROTECTION OF GOVERNMENT 		 APR 1984
                      BUILDINGS, EQUIPMENT, & VEGETATION
52.237-3	CONTINUITY OF SERVICES 			 JAN 1991
52.242-13	BANKRUPTCY 					 JUL 1995
52.243-1	CHANGES - FIXED-PRICE  			 AUG 1987                  			Alternate II (APR 1984)

| NUMBER | TITLE | DATE |
| --- | --- | --- |

52.243-3	CHANGES-TIME AND MATERIAL 		 SEP 2000
                      OR LABOR HOURS
52.244-2	SUBCONTRACTS                			 AUG 1998
                      Alternate II (AUG 1998)

52.244-5  	COMPETITION IN SUBCONTRACTING 	  DEC 1996
52.245-1  	PROPERTY RECORDS 				  APR 1984
52.245-2 	GOVERNMENT PROPERTY (FIXED PRICE) 	  MAY 2004
52.245-11 	GOVERNMENT PROPERTY 			  APR 1984
           	(FACILITIES USE) 
52.245-19  	GOVERNMENT PROPERTY FURNISHED 	  APR 1984
                      "AS IS"
52.246-20 	WARRANTY OF SERVICES 			  MAR 2001
52.246-25 	LIMITATION OF LIABILITY - SERVICES 	  FEB 1997
52.247-21 	CONTRACTOR LIABILITY FOR PERSONNEL   APR 1984
                      INJURY AND/OR PROPERTY DAMAGE
52.247-28  	CONTRACTOR’S INVOICES 			  APR 1984
52.249-2  	TERMINATION FOR CONVENIENCE 		  MAY 2004
                      OF THE GOVERNMENT (FIXED-PRICE)
52.249-8 	DEFAULT (FIXED-PRICE SUPPLY  		  APR 1984
                      AND SERVICE)
52.249-13 	FAILURE TO PERFORM 				  APR 1984
52.249-14  	EXCUSABLE DELAYS 				  APR 1984
52.251-1   	GOVERNMENT SUPPLY SOURCES 		  FEB 1998
52.251-2  	INTERAGENCY FLEET MANAGEMENT 	  JAN 1991
                      SYSTEM (IFMS) VEHICLES AND RELATED

SERVICES
52.253-1 	COMPUTER GENERATED FORMS 		  JAN 1991

I.2 52.216-18 ORDERING (OCT 1995) (Applies to Additional Work)

(a) Any supplies and services to be furnished under this contract shall be ordered by issuance of delivery orders or task orders by the individuals or activities designated in the Schedule. Such orders may be issued from date of award through the effective period of the contract.

(b) All delivery orders or task orders are subject to the terms and conditions of this contract. In the event of conflict between a delivery order or task order and this contract, the contract shall control.

(c) If mailed, a delivery order or task order is considered "issued" when the Government deposits the order in the mail. Orders may be issued orally, by facsimile, or by electronic commerce methods only if authorized in the Schedule.

(d) The Government will order any additional work to be furnished under this contract by issuing a time and material labor hour or firm fixed price delivery order from the effective date of this contract through the expiration date of the contract. The Contracting Officer’s Representative (COR) may recommend approval of delivery/task orders.

I.3	52.216-19 ORDERING LIMITATIONS (OCT 1995)

(Applies to Additional Work)

(a) Minimum order. When the Government requires supplies or services covered by this contract in an amount less than the price $2,500.00, the Government is not obligated to purchase, nor is the Contractor obligated to furnish, those supplies or services under the contract.

(b) Maximum order. The Government will not issue any order in excess of $25,000.

I.4	52.216-22 INDEFINITE QUANTITY (OCT 1995) (Applies to Additional Work)

(a) This is an indefinite-quantity contract for the supplies or services specified, and effective for the period stated, in the Schedule.  The quantities of supplies or services specified in the Schedule are estimates only and are not purchased by this contract.

(b) Delivery or performance shall be made only as authorized by orders issued in accordance with the Ordering clause. The Contractor shall furnish to the Government, when and if ordered, the supplies or services specified in the Schedule up to and including the quantity designated in the Schedule as the maximum. The Government shall order at least the quantity of supplies or services designated in the Schedule as the minimum.

(c) Except for any limitations on quantities in the Order Limitations clause or in the Schedule, there is no limit on the number of orders that may be issued. The Government may issue orders requiring delivery to multiple destinations or performance at multiple locations.

(d) Any order issued during the effective period of this contract and not completed within that period shall be completed by the Contractor within the time specified in the order. The contract shall govern the Contractor's and Government's rights and obligations with respect to that order to the same extent as if the order were completed during the contract's effective period; provided, that the Contractor shall not be required to make any deliveries under this contract after March 31, 2010.

I.5	52.217-9 OPTION TO EXTEND THE TERM OF THE CONTRACT 
(MAR 2000)

(a) The Government may extend the term of this contract by written notice to the Contractor within 30 days; provided that the Government gives the Contractor a preliminary written notice of its intent to extend at least 60 days before the contract expires. The preliminary notice does not commit the Government to an extension.

(b) If the Government exercises this option, the extended contract shall be considered to include this option clause.

(c) The total duration of this contract, including the exercise of any options under this clause, shall not exceed 5 years.

I.6	52.222-42 STATEMENT OF EQUIVALENT RATES FOR FEDERAL HIRES
 	(MAY 1989)

In compliance with the Service Contract Act of 1965, as amended, and the regulations of the Secretary of Labor (29 CFR Part 4), this clause identifies the classes of service employees expected to be employed under the contract and states the wages and fringe benefits payable to each if they were employed by the contracting agency subject to the provisions of 5 U.S.C. 5341 or 5332.

This Statement is for Information Only: It is not a Wage Determination

_____________________________________________________________________

Employee class			Monetary Wage—Fringe benefits

_____________________________________________________________________

Boiler Operator			WG-10

HVAC Mechanic			WG-10

Electrician				WG-10

Grounds Laborer			WG-04

Janitor				WG-04

General Maintenance Worker	WG-09

______________________________________________________________________

**Government Fringe Benefits are approximately 33% of salary.

I.7 52.239-1 PRIVACY OR SECURITY SAFEGUARDS (AUG 1996)

(a) The Contractor shall not publish or disclose in any manner, without the Contracting Officer's written consent, the details of any safeguards either designed or developed by the Contractor under this contract or otherwise provided by the Government.

(b) To the extent required to carry out a program of inspection to safeguard against threats and hazards to the security, integrity, and confidentiality of Government data, the Contractor shall afford the Government access to the Contractor's facilities, installations, technical capabilities, operations, documentation, records, and 
databases.

(c) If new or unanticipated threats or hazards are discovered by either the Government or the Contractor, or if existing safeguards have ceased to function, the discoverer shall immediately bring the situation to the attention of the other party.

I.8	52.244-6 SUBCONTRACTS FOR COMMERCIAL ITEMS (JUL 2004)

(a) Definitions. As used in this clause:

"Commercial item" has the meaning contained in the clause at 52.202-1, Definitions.

"Subcontract" includes a transfer of commercial items between divisions, subsidiaries, or affiliates of the Contractor or subcontractor at any tier.

(b) To the maximum extent practicable, the Contractor shall incorporate, and require its subcontractors at all tiers to incorporate, commercial items or nondevelopmental items as components of items to be supplied under this contract.

(c)	(1) The following clauses shall be flowed down to subcontracts for commercial items.

(i) 52.219-8, Utilization of Small Business Concerns (OCT 2000) (15 U.S.C. 637(d)(2) and (3)), in all subcontracts that offer further subcontracting opportunities. If the subcontract (except subcontracts to small business concerns) exceeds $500,000 ($1,000,000 for construction of any public facility), the subcontractor must include 52.219-8 in lower tier subcontracts that offer subcontracting opportunities.

(ii) 52.222-26, Equal Opportunity (FEB 1999) (E.O. 11246)

(iii) 52.222-35, Affirmative Action for Disabled Veterans and Veterans of the Vietnam Era (APR 1998) (38 U.S.C. 4212(a))

(iv) 52.222-36, Affirmative Action for Workers with Disabilities (JUN 1998) (29 U.S.C. 793).

(v) 52.247-64, Preference for Privately Owned U.S.-Flagged Commercial Vessels (JUN 2000) (46 U.S.C. Appx 1241) (flow down not required for subcontracts awarded beginning May 1, 1996).

(2) While not required, the Contractor may flow down to subcontracts for commercial items a minimal number of additional clauses necessary to satisfy its 
contractual obligations.

(d)	The Contractor shall include the terms of this clause, including this paragraph (d), in subcontracts awarded under this contract.

I.9	 52.252-6 AUTHORIZED DEVIATIONS IN CLAUSES (APR 1984)

(a) The use in this solicitation or contract of any Federal Acquisition Regulation (48 CFR Chapter 1) clause with an authorized deviation is indicated by the addition of "(DEVIATION)" after the date of the clause.

(b) The use in this solicitation or contract of any Agriculture Acquisition Regulation (48 CFR Chapter 4) clause with an authorized deviation is indicated by the addition of "(DEVIATION)" after the name of the regulation.

PART III - LIST OF DOCUMENTS, EXHIBITS AND OTHER ATTACHMENTS

SECTION J - LIST OF ATTACHMENTS

J.1	LIST OF ATTACHMENTS

ATTACHMENT 	TITLE								         PAGES

1		Performance Work Statement					33

Appendix 1 - (Glossary)						6

Appendix 2 - (Maps and Area Layout)				3

Appendix 3 - (Historical Workload Data)				150

Appendix 4 - (Historically Subcontracted Work)			2

Appendix 5 - (Facilities Inventory)					26

Appendix 6 - (PM Equipment Listing)				71

Appendix 7 - (PM Task Description Master List)			31

Appendix 8 - (Government Furnished Equipment)		8

Appendix 9 - (Government Vehicle Listing)			1

Appendix 10 - (Equipment Test/Certification)			3

Appendix 11 – (Required Reports)				2

- Quality Assurance Surveillance Plan				9

- SF-LLL Disclosure of Lobbying					3

- Service Contract Act Wage Determination			9

1994-2052 (Revision No. 21) dated 5/23/2005

- Davis Bacon Act Wage Determination				34	CA030029 dated 12/02/2005

- Non-citizen Data Sheet (ARS 230)				3

SECTION K -REPRESENTATIONS, CERTIFICATIONS, AND

OTHER STATEMENTS OF OFFERORS

K.1 	ON-LINE REPRESENTATIONS AND CERTIFICATIONS (ORCA)

Vendors are directed to complete all representations and certifications on 	line by 	registering with the Business Partner Network at http://www/bpn.gov. Vendors who 	do not have access to the Internet or feel they need additional Internet help 	should contact the Contracting Officer issuing this solicitation.

K.2	AUTHORIZED NEGOTIATORS

The Offeror shall identify those persons authorized to negotiate under the 	resultant contract:

________________________		_________________________

Name						Title

________________________		_________________________

Name						Title

	________________________		_________________________

SIGNATURE					DATE

SECTION L-INSTRUCTIONS, CONDITIONS, AND NOTICES TO OFFERORS

L.1 	52.252-1  SOLICITATION PROVISIONS INCORPORATED BY REFERENCE
      	(JAN 2004)

This solicitation incorporates one or more solicitation provisions by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer.  In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer. Also, the full text of a solicitation provision may be accessed electronically at this address:

www.acqnet.gov/far

I. 	FEDERAL ACQUISITION REGULATION (48 CFR CHAPTER 1) PROVISIONS

| NUMBER | TITLE | DATE |
| --- | --- | --- |
| 52.214-34 SUBMISSION OF OFFERS IN THE |  | APR 1991 |
| ENGLISH LANGUAGE |  |  |
| 52.214-35 SUBMISSION OF OFFERS IN US |  | APR 1991 |
| CURRENCY |  |  |
| 52.215-1 | INSTRUCTIONS TO OFFERORS-- | MAR 2001 |
|  | COMPETITIVE ACQUISITION |  |
| Alternate I (OCT 1997) |  |  |
| 52.222-24 PREAWARD ON-SITE EQUAL |  | FEB 1999 |
| OPPORTUNITY COMPLIANCE EVALUATION |  |  |
| 52.222-46 EVALUATION OF COMPENSATION |  | FEB 1993 |
| FOR PROFESSIONAL EMPLOYEES |  |  |

L.2  52.216-1 TYPE OF CONTRACT (APR 1984)

The Government contemplates award of a firm-fixed price contract with time and materials, labor hour, Indefinite Delivery/Indefinite Quantity (IDIQ), provisions.

L.3  52.233-2 SERVICE OF PROTEST (AUG 1996)

(a) Protests, as defined in Section 33.101 of the Federal Acquisition Regulation, that are filed directly with an agency, and copies of any protests that are filed with the General Accounting Office (GAO), shall be served on the Contracting Officer (addressed as follows) by obtaining written and dated acknowledgment of receipt from:

Lyndia V. Countee

USDA/ARS/APD/AB/MD Section

5601 Sunnyside Avenue, MS 5116

Beltsville, MD 20705

Phone:(301) 504-1700

Fax:  (301) 504-1717

(b) The copy of any protest shall be received in the office designated above within one day of filing a protest with the GAO.

L.4  AGAR 452.215-71 INSTRUCTIONS FOR PREPARATION OF TECHNICAL AND BUSINESS PROPOSALS (NOV 1996)

Offerors are responsible for submitting proposals, and any modifications or revisions, so as to reach the Government office designated below by the time and date specified below:

Date:			February 21, 2006

Time:			1:00 PM EST

Location:		U.S. Department of Agriculture

Agricultural Research Center

5601 Sunnyside Avenue, Mail Stop 5116

Beltsville, MD 20705-5000

Point of Contact:	Lyndia V. Countee

(a) General Instructions.  Proposals submitted in response to this solicitation shall be furnished in the following format with the numbers of copies as specified below.

(1) The proposal must be prepared in two parts: a technical proposal and a business proposal.  Each of the parts shall be separate and complete in itself so that evaluation of one may be accomplished independently from evaluation of the other.  The technical proposal must not contain reference to price; however, resource information (such as data concerning labor hours and categories, materials, subcontracts, etc.) must be contained in the technical proposal so that the contractor’s understanding of the statement of work may be evaluated.

(2) Offerors may, at their discretion, submit alternate proposals which deviate from the requirement; provided, that an offeror also submit a proposal for performance of the work as specified in the performance work statement.  Any “alternate” proposal may be considered if overall performance would be improved or not compromised, and if it is in the best interest of the Government.  Alternate proposals, or deviations from any requirement of this RFP, must be clearly identified.

(3) The proposal(s) shall be submitted in the following format and the

quantities specified:

(a) STANDARD FORM OF CONTRACT - One (1) copy of the completed, signed offer (Sections A through K) of the solicitation package.

(b) TECHNICAL PROPOSAL – Original and Eight (8) copies

(c) BUSINESS/PRICE PROPOSAL – Original and Eight (8) copies

L.5.  TECHNICAL PROPOSAL INSTRUCTIONS

The technical proposal will be used to make an evaluation and arrive at a determination as to whether the proposal will meet the requirements of the Government. Therefore, the technical proposal must present sufficient information to reflect a thorough understanding of the requirements and a detailed description of the techniques, procedures and program for achieving the objectives of the specifications/statement of work.  Proposals that merely paraphrase the requirements of the Government’s specifications and/or statement of work, or use such phrases as “will comply” or “standard techniques will be employed” will be considered unacceptable and will not be considered further.

NOTE:  In developing the offer, the Contractor may group functions for performance by individual employee class to reflect the Contractor’s normal operating procedures. In the Performance Work Statement, each function is described individually; however, the Government is not assuming that they will be performed separately. The Government anticipates and expects the cross utilization of personnel.

As a minimum, the proposal must clearly provide the following:

(a) This volume of the proposal shall consist of the parts in the format outlined below which are limited to directly responding to the information sought by the Government's Performance Work Statement (PWS).  The Contractor's proposal shall address the information in the PWS in the order outlined in this clause.

(b) The text of the proposal should be typed, double-spaced, using font size 12 and printed in unreduced size on a 8 ½ inch x 11 inch paper.  Illustrations shall be legible and foldouts shall, in general, be held to a 11 inch x 14 inch size.

TECHNICAL PROPOSAL SECTION I

PAST PERFORMANCE/SIMILAR EXPERIENCE

(A) Discuss your firm's experience performing similar operations and maintenance support of a complexity similar to Western Regional Research Center as it relates to the RFP.  Discuss your overall corporate experience versus individual experience.

List up to five (5) contracts of a similar nature and complexity with multiple-function support services in a research, hospital, and laboratory environment that were awarded or performed within the past five (5) years or are currently in force.  For each contract listed, provide the following information:

(1) Names, addresses, telephone numbers and fax numbers of the contracting organization, Government Project Officer(s) and Contracting Officer(s).  Please indicate who should be contacted to discuss past performance.

(2) Contract numbers, types, and dollar values.

(3) Date of contract and period(s) of performance.

(4) Average number of technical personnel (by labor skill) involved.

(5) Percentage of turnover of contract technical personnel per year.

(6) Provide a brief description of the work and discuss the similarities and differences between this proposed effort and that contract with special emphasis on safety, health, and environmental management issues.

(7) Provide and discuss any ratings received during the life of the contract, and the date of the ratings.  Explain any fluctuation in ratings.

(B) Identify any contract(s) terminated for convenience or default (partial or complete) within the past 3 years.  Include the contract number, name, address, and telephone of the terminating officer.

TECHNICAL PROPOSAL SECTION II

QUALITY CONTROL

(A)  	QUALITY CONTROL PROGRAM (QCP)

(1) Submit a copy of your QCP. It should: (a) discuss procedures to evaluate completed work for acceptance by the Government. (b) include a mechanism to determine the government’s level of satisfaction and (c) address how the contractor will monitor and report on the AQL’s in Attachment 1 of the QASP.

(2) Describe your method to resolve customer complaints.

(3) Discuss how you will obtain customer feedback for routine services being provided.

(4) Discuss your method of identifying deficiencies in the quality of services performed.

(B)  	PERFORMANCE ASSESSMENT

(1)  Propose a process for assessing and reporting company performance in 	accordance with the Quality Assurance Performance Objective in Attachment 2. 	Discuss the metrics you would propose that will allow the government to evaluate 	your success in meeting the specified contract requirements.

TECHNICAL PROPOSAL SECTION III

MANAGEMENT AND OPERATION

(A) KEY POSITION(S)/PERSONNEL

Identify positions of responsibility for this project and the rationale for designating a position as “key”

(1) Provide resumes and letters of commitment for proposed key personnel indicating education, background, recent experience, and specific pertinent accomplishments. Current telephone numbers shall be provided to allow for confirmation of past employment. Reference checks of key personnel may be a part of the evaluation.

(2) Identify the positions that will be assigned to manage performance and supervise the work under this contract.  Provide Information that will identify each position’s general qualifications and expected recent experience with similar projects or contracts.

(B)  WORK REQUEST SYSTEM

(1) Discuss a work order system using a computerized data base system for accomplishing work, both routine and additional work under this contract. Included in this discussion will be the proposed procedures for reviewing requests for clarity, coordination, scheduling, manning, estimating, expediting, and executing.

(2) Identify methods to be used to advise requestors on the status of their work requests.

(3) Provide samples of the work request form and work request log.

(C) MANAGEMENT PLAN

(1) Briefly define your company's personnel management plan.  Discuss 	such items as: qualification standards for employment; labor relations 	policies; standard workday; fringe benefit policies; incentive or award 	programs for employees; employee efficiency, company rules, regulations, 	and disciplinary policies; and training programs.  Also discuss policy for 	holiday, vacation, sick and administrative leave

(2) Discuss how you propose to maintain communications and coordination with Government representatives to assure maximum effectiveness and minimum interference with Agency operations.

(3) Submit a chart showing the organization you propose to establish at the contract site. For each position you propose to staff, indicate whether the position will be full-time or part-time. Identify the number of hours for each person and function.  Where required, use the categories on the Department of Labor (DOL) Wage Determination. Include on the chart all of the specific functions in the PWS.

(4) Discuss all lines of authority for the proposed organization.

(5) Address the method to be employed for obtaining labor for additional work.

(D) OVERALL OPERATIONS

(1) Discuss your plan to accomplish contract transition, including a milestone chart, while minimizing the disruption of support services to the programs at WRRC.

(2) Discuss your plan of operations for the proposed contract services, appropriately cross-referenced to your proposed organizational chart.  Your plan should precisely address procedures, frequencies, employee classification, and methods you propose to accomplish specific work functions of the PWS. The discussion must include systems and response times for assuring all services are maintained.

(3) Discuss integration of your work with the Center’s programs and priorities

(4) State the extent work will be accomplished by subcontract.  Work to be performed by the subcontractor should include the rationale. Indicate whether subcontractors will be located on-site or on-call.

L.6	BUSINESS PROPOSAL INSTRUCTIONS

I.	 Price Proposal

This section shall consist of the offeror's prices to perform the work outlined in the Performance Work Statement (PWS). The offeror shall furnish a price for the base and any option years.

Offerors shall identify prices for the Routine Work.

Offerors shall submit fully burdened hourly rates for the additional work labor categories cited in Section B.

1.  Direct Costs/Prices

Provide a Breakdown by labor category, of the hours proposed for each functional area for each performance period.

2.  Other Direct Prices

Provide an explanation of any materials or subcontract prices.

3.  Overhead and G&A

Provide a copy of your most recent Defense Contract Audit Agency (DCAA) report.

4.	Escalation

Propose escalation for non Service Contract Act and Davis Bacon Act labor in addition to other direct costs for the option years and rationale. The rationale should incorporate any anticipated learning or improvement curve and potential for price reduction.

II.	Business Proposal

A. Furnish financial statements for the last two years, or demonstrate financial capability to perform any resulting contract.

L.7	AGAR 452.215-72 AMENDMENTS TO PROPOSALS (FEB 1988)

Any changes to a proposal made by the offeror after its initial submittal shall be accomplished by replacement pages. Changes from the original page shall be indicated on the outside margin by vertical lines adjacent to the change. The offeror shall include the date of the amendment on the lower right corner of the changed pages.

L.8	AGAR 452.215-73 POST AWARD CONFERENCE (NOV 1996)

A post award conference with the successful offeror is required. It will be scheduled within 20 days after the date of contract award. The conference will be held at:

WESTERN REGIONAL RESEARCH CENTER

800 BUCHANAN STREET

ALBANY, CA  94710

L.9	AGAR 452.219-70 SET-ASIDE/SIZE STANDARD INFORMATION (FEB 1988)

This solicitation includes the following set-aside and/or size standard criteria:

(a)	Percent of set-aside is 100%.
(b)	Type of set-aside is small business set-aside.
(c)	Standard Industrial Classification (SIC) Code: 8744/NAICS: 561210 
(d) 	Size Standard is $32.5 Million

L.10	AGAR 452.237-71 PRE-BID/PRE-PROPOSAL CONFERENCE

(FEB 1988) & 52.237-1 SITE VISIT (APR 1984)

(a) The Government is planning a pre-bid/pre-proposal conference, during which potential offerors may obtain a better understanding of the work required.

(b)  Offerors should submit all questions in writing at least five (5) days prior to the conference. Questions will be considered at any time prior to or during the conference; however, offerors will be asked to confirm verbal questions in writing. Subsequent to the conference, an amendment containing an abstract of the questions and answers, and a list of attendees, will be disseminated.  Submit questions in written format via email to Lyndia V. Countee at lcountee@ars.usda.gov.  Questions and responses will be provided to all offerors in an amendment(s) to the solicitation.

(c)  In order to facilitate conference preparations it is requested that the

person named on the Standard Form 33 of this solicitation be contacted and advised of the number of persons who will attend.

(d) The Government assumes no responsibility for any expense incurred by an offeror prior to contract award.

(e) Offerors are cautioned that, notwithstanding any remarks or clarifications given at the conference, all terms and conditions of the solicitation remain unchanged unless they are changed by amendment to the solicitation. If the answers to conference questions, or any solicitation amendment, create ambiguities, it is the responsibility of the offeror to seek clarification prior to submitting an offer.

(f) The conference and site visit will be held:

Date:		February 2, 2006  
	 Time: 	8:30 AM/PST  
	 Location: 	Western Regional Research Center

800 Buchanan Street

Albany, CA 94710

Offerors are urged and expected to inspect the equipment on which 	maintenance or repairs are to be performed and to satisfy themselves 	regarding all conditions that may affect the price of contract performance, 	to the extent that the information is reasonably obtainable. In no event 	shall failure to inspect the equipment constitute grounds for a claim after 	contract award.

Inspection of equipment will take place on the day of the Pre-Proposal Conference. You will be informed of the meeting location at the time the reservation is made.

L.11	AGAR 452.204-70 INQUIRIES (FEB 1988)

Inquiries and all correspondence concerning this solicitation should be submitted in writing to the Contracting Officer. Offerors should contact only the Contracting Officer issuing the solicitation about any aspect of this requirement prior to contract award.

L.12	COMPETITIVE RANGE/DISCUSSIONS

A competitive range determination may be made after the initial evaluation. The competitive range will be limited to the number that will permit an efficient competition among the most highly rated proposals. Those offerors within the competitive range shall be notified. The Government may conduct oral and/or written discussions with all offerors within the competitive range.

SECTION M - EVALUATION FACTORS FOR AWARD

M.1 	52.252-1 SOLICITATION PROVISIONS INCORPORATED BY REFERENCE (FEB 1998)

This solicitation incorporates one or more solicitation provisions by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph 
identifier and provide the appropriate information with its quotation or offer. The full text of a clause may be accessed electronically at this address:

www.acqnet.gov/far

I. FEDERAL ACQUISITION REGULATION (48 CFR CHAPTER 1) PROVISIONS

NUMBER 		TITLE 					DATE

52.217-5  		EVALUATION OF OPTIONS 		JUL 1990

M.2	CRITERIA FOR EVALUATING PROPOSALS

TECHNICAL FACTORS

Proposals that meet all applicable requirements of the solicitation will be evaluated to determine conformance with Section L.5 for the criteria listed below.  An objective technical evaluation will be performed on each offeror’s technical proposal based solely on the information furnished and not on previous knowledge or associations, with the exception of information concerning past performance.

Evaluated Criteria

I.	Past Performance/Similar Experience

The evaluation will consider the quality of relevant past performance in a similar research environment; efforts similar to this requirement; and success meeting customer expectations.

II.   	Quality Control

The evaluation will assess the Quality Control Program to assure the requirements of the contract are provided as specified.

III.	Management and Operation

The evaluation will assess the organization, quality and competence of the proposed management and workforce controls, including efficiency, productivity, and timeliness; Key Positions; Work Request System; Management Plan; and Overall Operation.

Technical Factor I is twice as important as Technical Factor II and 	Technical Factor III which are equal to each other.

PRICE FACTORS

For evaluation purposes the evaluated price will be the total combination of the

phase-in, base, and option periods for routine and estimated additional work.

BASIS FOR AWARD

Technical merit plays a significant role in determining contract award.  All evaluation factors other than price, when combined are significantly more important than price.  The Contracting Officer shall determine what trade-off between technical merit and price promises to be the best value to the Government, price and other factors considered. As offeror’s technical proposals become more equal, price may become the determining factor. The offeror is encouraged therefore, to offer the Government a sound technical proposal supported by competitive pricing.  Contract award will be made on a determination as to which proposal offers the greatest value and is most advantageous to the Government.