FACILITIES DIVISION

Policy Guidance Memorandum

DATE: November 20, 2003

SUBJECT: IMPLEMENTATION OF ACCESSIBILITY REQUIREMENTS ON AFM-MANAGED PROJECTS

NUMBER: PGM-04-003

EFFECTIVE DATE: Immediately Until Replaced or Superseded

Purpose

This Policy Guidance Memorandum provides information and guidance regarding implementation of accessibility requirements on AFM-managed projects.

References

The Architectural Barriers Act (ABA) of 1968

The Americans with Disabilities Act (ADA) of 1990

Policies and Procedures 242.1, ARS Facilities Design Standards

Definitions

Accessible - Describes a site, building, facility, or portion thereof that can be approached, entered, and used by individuals with disabilities pursuant to the ABA, as amended (42 U.S.C. 4151 et seq.).

Access Board - The U.S. Architectural and Transportation Barriers Compliance Board created pursuant to the ABA.

Alteration - Means repairing, improving, remodeling, extending, or otherwise changing a building.

People with Disabilities - An individual who has a physical impairment which results in a functional limitation in access to and use of a building or facility.

Uniform Federal Accessibility Standards (UFAS) - Are accessibility design guidelines developed under the ABA for facilities designed, built, or altered with Federal funds.

The Americans with Disabilities Act Accessibility Guidelines (ADAAG) - Are accessibility design guidelines developed under the ADA for the construction and alteration of facilities in the private sector (places of public accommodation and commercial facilities) and the public sector (State and local Government facilities).

Background

The ABA (Public Law (PL) 90-480), enacted in 1968, requires that facilities designed, built, altered or leased with certain Federal funds be accessible to people with disabilities in accordance with the Uniform Federal Accessibility Standards (UFAS).  The ABA is enforced by the U.S. Architectural and Transportation Barriers Compliance Board (Access Board).

In 1990, Congress passed the ADA (PL 101-336), which expanded accessibility requirements beyond Federal Government buildings to State and local Government buildings as well as the private sector.  The ADA requires that buildings and facilities be accessible to and usable by people with disabilities, in accordance with the ADAAG published by the Access Board in 1991.

Policy

All major new construction and major modernization projects managed by the Facilities Division (FD), AFM, will be designed, constructed, and altered per UFAS.  Design compliance with the requirements of the ADAAG is also encouraged where those requirements are more stringent than UFAS.

Appropriate access requirements for each project will be determined based on facility-specific needs considering research program accessibility, constraints, and tenant needs.  It is FD policy that only one accessible laboratory or work station be provided per floor and located on an accessible route.  Accessibility items such as minimum

36-inch doors, lever faucet handles on sink, UFAS compliant audio/visual fire alarms and 36-inch wide access/egress passage(s) within spaces will be routinely included when and where possible.

Due to the unreasonable impact to space and configuration requirements and related costs in specialized research laboratories and animal facilities (i.e., biocontainment laboratories and animal spaces, pilot plants, etc.), these specialized spaces will be designed to provide reasonable accommodations to individuals with disabilities, as required on a case-by-case basis considering ADA and as determined by the project=s Research Program Representative (RPR).

General Guidance for the Implementation of Accessibility Requirements on AFM-Managed Projects

Include accessibility provisions in all new construction and renovation projects.  Ensure Program of Requirements (POR) discusses approach to meeting the most stringent minimum requirements of UFAS or ADAAG.

For all projects managed by AFM, evaluate facilities and determine if there are physical barriers that may prevent individuals with disabilities from using such facilities.  Implement accessibility improvement project opportunities to the extent possible.

Discuss minimum UFAS or ADAAG accessibility requirements during the RPR/customer orientation, POR development, design submission reviews, and 50 percent Design Board reviews.  Ensure customer identifies any accessibility needs in excess of UFAS or ADAAG standards.

Point of Contact

For further information, please contact the Facilities Engineering Branch on 301-504-1193.

PATRICK G. BARRY

Director

Facilities Division