Subpart F - Drug Testing Laboratories

§ 40.87   What are the cutoff concentrations for initial and confirmation tests?

(a) As a laboratory, you must use the cutoff concentrations displayed in the following table for initial and confirmation drug tests. All cutoff concentrations are expressed in nanograms per milliliter (ng/mL). The table follows:

| Type of Drug or Metabolite | Initial Test | Confirmation Test |
| --- | --- | --- |
| - Marijuana metabolites (i) Delta-9-tetrahydrocannabinol-9-carboxylic acid (THC) | 50 | 15 |
| (2) Cocaine metabolites (Benzoylecgonine) | 300 | 150 |
| (3) Phencyclidine (PCP) | 25 | 25 |
| (4) Amphetamines (i) Amphetamine (ii) Methamphetamine | 1000 | 500 500 (Specimen must also contain amphetamine at a concentration of greater than or equal to 200 ng/mL. |
| (5) Opiate metabolites (i) Codeine (ii) Morphine (iii) 6-acetylmorphine | 2000 | 2000 2000 10 Test for 6-AM in the specimen. Conduct this test only when specimen contains morphine at a concentration greater than or equal to 2000 ng/mL. |

(b) On an initial drug test, you must report a result below the cutoff concentration as negative. If the result is at or above the cutoff concentration, you must conduct a confirmation test.

(c) On a confirmation drug test, you must report a result below the cutoff concentration as negative and a result at or above the cutoff concentration as confirmed positive.

(d) You must report quantitative values for morphine or codeine at 15,000 ng/mL or above.