## SolidsList
All samples, except those described as "standard", were the FGD gypsum starting materials obtained from wallboard manufacturers. Those samples described as "standard" were obtained from Brammer Standard Co. Inc.
Brammer standards |  | Digestions and Techniques
|  | EPA 3051 |  | EPA 3052 |  | ASTM D6349 | EPA 7473
Sample ID | Description | ICP-OES | ICP-MS | ICP-OES | ICP-MS | ICP-OES | DMA-80
2004CLK10C1G (note 1) | FGD gypsum | X |  | X |  |  | X
2004CLK10C2G (note 1) | FGD gypsum | X |  | X |  |  | X
2004CLK10C3G (note 1) | FGD gypsum | X |  | X |  |  | X
2005CLK18D1G (note 2) | FGD gypsum | X |  | X |  |  | X
2005CLK18D2G (note 2) | FGD gypsum | X |  | X |  |  | X
2005CLK18D3G (note 2) | FGD gypsum | X |  | X |  |  | X
2006CLK23B | FGD gypsum | X |  | X |  | X | X
2006LB028A | FGD gypsum | X |  | X |  |  | X
2006LB028B | FGD gypsum | X |  | X |  |  | X
2006LB028D | FGD gypsum | X |  | X |  |  | X
2006LB028E | FGD gypsum | X |  | X |  |  | X
2006LB028H | FGD gypsum | X |  | X |  |  | X
2006LB029A | FGD gypsum | X |  | X |  |  | X
2006LB029B | FGD gypsum | X |  | X |  |  | X
2006LB029C | FGD gypsum | X |  | X |  |  | X
2006LB029D | FGD gypsum | X |  | X |  |  | X
2006LB029E | FGD gypsum | X |  | X |  |  | X
2006LB029F | FGD gypsum | X |  | X |  |  | X
2006LB033A | FGD gypsum | X | X | X | X |  | X
2006LB033C | FGD gypsum | X | X | X | X |  | X
2006LB036H | FGD gypsum | X | X | X | X |  | X
2006LB036A | Standard FGD gypsum | X |  | X |  | X | X
2006LB036B | Standard FGD gypsum | X |  | X |  | X | X
2006LB036C | Mineral Gypsum Standard | X |  | X |  | X | X
2006LB036D | Mineral Gypsum Standard | X |  | X |  | X | X
2006LB036E | Mineral Gypsum Standard | X |  | X |  | X | X
2006LB036F | Mineral Gypsum Standard | X |  | X |  | X | X
note 1 = | 3 samples from same plant
note 2 = | 3 samples from same plant

## EPA_3051
EPA Method 3051
Average for n=2
ICP-OES
|  | CLK 23B | LB 36A | LB 36B | LB 36C | LB 36D | LB 36E | LB 36F | det limits
Ag | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 5 | Ag
Al | ug/g | 367.2688 | 282.9256 | 188.131 | 313.595 | 682.2417 | 1180.7669 | 543.4399 | < 20 | Al
As | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 8 | As
Ba | ug/g | 20.7447 | 17.5048 | 14.2853 | 13.6551 | 18.2215 | 39.3628 | 24.5563 | < 1 | Ba
Be | ug/g | < DL | < DL | 0.1562 | 0.15069 | 0.11364 | 0.20274 | 0.19744 | < 0.1 | Be
Ca | ug/g | 207664.6338 | 207918.4942 | 205385.1372 | 206107.8423 | 202584.5235 | 191223.1294 | 202473.4021 |  | Ca
Cd | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 2 | Cd
Ce | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 75 | Ce
Co | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 3 | Co
Cr | ug/g | 14.8734 | 11.226 | 6.9631 | < DL | 5.7935 | 7.5404 | 6.8276 | < 3 | Cr
Cu | ug/g | 9.2994 | 10.6122 | 10.2164 | 9.7716 | 10.2218 | 8.6598 | 20.1515 | < 4 | Cu
Fe | ug/g | 420.3954 | 360.1087 | 225.7504 | 329.3008 | 493.1338 | 2444.7004 | 860.7251 | < 3 | Fe
K | ug/g | < DL | < DL | 248.4079 | < DL | 387.3682 | 471.8376 | 42.5612 | < 40 | K
Li | ug/g | < DL | < DL | < DL | < DL | 17.3251 | 13.549 | < DL | < 9 | Li
Mg | ug/g | 126.4214 | 127.3691 | 25.5979 | 922.9497 | 9542.4057 | 30454.8086 | 368.6775 | < 2 | Mg
Mn | ug/g | 3.3015 | 2.7979 | 2.7971 | 16.0021 | 10.5516 | 55.09 | 36.5995 | < 1 | Mn
Mo | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 3 | Mo
Na | ug/g | 107.7223 | 172.9471 | 167.5929 | 86.4346 | 112.2078 | 110.4627 | 179.4933 |  | Na
Ni | ug/g | 22.1295 | < DL | 19.3403 | < DL | 8.1128 | 11.6841 | 6.7184 | < 4 | Ni
P | ug/g | 118.5299 | 122.4732 | < DL | < DL | 11.0185 | 61.7567 | 175.6236 | < 15 | P
Pb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 5 | Pb
S | ug/g | 153012.7055 | 156215.7359 | 157223.2459 | 158245.8905 | 136382.0656 | 113438.159 | 157623.1677 |  | S
Sb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 6 | Sb
Se | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 8 | Se
Sn | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 15 | Sn
Sr | ug/g | 182.9648 | 181.2442 | 94.3561 | 906.6996 | 1072.9836 | 2671.5392 | 193.4726 | < 1 | Sr
Ti | ug/g | < DL | 3.7955 | 3.5965 | 1.6699 | 5.4862 | 11.6112 | 1.1692 | < 1 | Ti
Tl | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 15 | Tl
V | ug/g | 6.7947 | 6.9498 | 2.5439 | < DL | < DL | 4.0496 | 2.7385 | < 2 | V
Zn | ug/g | 102.1408 | 114.5741 | 31.3558 | 19.3551 | 10.7199 | 26.0421 | 39.0132 | < 3 | Zn
ICP-OES
|  | LB 033A | LB 033C | LB 036H | det limits
Ag | ug/g | < DL | < DL | < DL | < 3 | Ag
Al | ug/g | 264.7604 | 451.0915 | 401.0067 | < 8 | Al
As | ug/g | < DL | < DL | < DL | < 6 | As
Ba | ug/g | 3.8174 | 10.6565 | 4.8014 | < 1 | Ba
Be | ug/g | < DL | < DL | < DL | < 0.1 | Be
Ca | ug/g | 216258.8569 | 213218.3012 | 203805.4172 |  | Ca
Cd | ug/g | < DL | < DL | < DL | < 1 | Cd
Ce | ug/g | 14.2199 | 19.6966 | 23.5599 | < 3 | Ce
Co | ug/g | < DL | < DL | < DL | < 3 | Co
Cr | ug/g | 2.061 | 22.293 | 13.9111 | < 3 | Cr
Cu | ug/g | 11.5427 | 13.0661 | 22.9993 | < 4 | Cu
Fe | ug/g | 564.6367 | 1003.8603 | 783.8371 | < 3 | Fe
K | ug/g | 113.2755 | 131.6529 | 136.8502 | < 40 | K
Li | ug/g | < DL | < DL | < DL | < 10 | Li
Mg | ug/g | 918.4573 | 708.4252 | 290.8366 | < 2 | Mg
Mn | ug/g | 13.5004 | 29.062 | 27.4454 | < 1 | Mn
Mo | ug/g | < DL | < DL | < DL | < 3 | Mo
Na | ug/g | 295.3595 | 204.8645 | 172.9427 |  | Na
Ni | ug/g | 5.1943 | 7.6512 | 13.2684 | < 4 | Ni
P | ug/g | 27.1376 | 23.5549 | 29.2277 | < 5 | P
Pb | ug/g | < DL | < DL | < DL | < 3 | Pb
S | ug/g | 167520.8084 | 162755.8563 | 167823.8742 |  | S
Sb | ug/g | < DL | < DL | < DL | < 6 | Sb
Se | ug/g | < DL | < DL | < DL | < 6 | Se
Si | ug/g | < DL | 72.8436 | 73.1703 | < 75 | Si
Sn | ug/g | < DL | < DL | < DL | < 10 | Sn
Sr | ug/g | 91.2499 | 252.1927 | 243.117 | < 1 | Sr
Ti | ug/g | 5.3179 | 6.9957 | < DL | < 1 | Ti
Tl | ug/g | < DL | < DL | < DL | < 6 | Tl
V | ug/g | 3.7781 | < DL | < DL | < 1 | V
Zn | ug/g | 22.35 | 43.1973 | 44.0176 | < 2 | Zn
ICP-MS
|  | LB 033A | LB 033C | LB 036H
Be | ug/g | 0.011338 | 0.021162 | 0.014137 | Be
Al | ug/g | 216.3654 | 378.7515 | 315.6776 | Al
V | ug/g | 2.3292 | 0.75017 | < DL | V
Cr | ug/g | 1.4453 | 18.2906 | 10.9873 | Cr
Mn | ug/g | 9.7032 | 21.8765 | 19.8866 | Mn
Co | ug/g | 1.4106 | 1.6644 | 1.9243 | Co
Ni | ug/g | 43.3327 | 51.7115 | 67.8412 | Ni
Cu | ug/g | 7.7514 | 8.2571 | 13.7853 | Cu
Zn | ug/g | 13.7507 | 29.5924 | 33.3218 | Zn
As | ug/g | < DL | < DL | < DL | As
Se | ug/g | 2.2166 | 2.1199 | 0.43999 | Se
Mo | ug/g | 0.47024 | 0.94922 | 0.58914 | Mo
Ag | ug/g | < DL | < DL | < DL | Ag
Cd | ug/g | 0.030307 | 0.27807 | 0.21005 | Cd
Sb | ug/g | 0.055322 | 0.080925 | 0.077335 | Sb
Tl | ug/g | 0.030113 | 0.057212 | 0.043189 | Tl
Pb | ug/g | 0.97375 | 1.1633 | 1.5279 | Pb
Th | ug/g | < DL | < DL | < DL | Th
U | ug/g | 1.5698 | 0.58386 | 0.55725 | U
ICP-OES
|  | CLK 10C1G | CLK 10C2G | CLK 10C3G | CLK 10D1G | CLK 10D2G | CLK 10D3G | LB 028A | LB 28B | LB 28D | LB 28E | LB 28H | det limits
Ag | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 3
Al | ug/g | 1383.6903 | 1049.3255 | 898.0707 | 1139.3739 | 895.5829 | 772.7528 | 374.8204 | 954.6446 | 642.8158 | 1103.8664 | 830.7215 | < 8
As | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 6
Ba | ug/g | 77.2054 | 76.1212 | 69.8235 | 15.9376 | 12.308 | 13.8327 | 3.5287 | 44.5805 | < DL | 13.8979 | 23.8382 | < 1
Be | ug/g | 0.49111 | 0.29844 | 0.36073 | 0.32225 | 0.37976 | 0.33744 | 0.24472 | 0.27616 | 0.25125 | 0.3024 | 0.29562 | < 0.1
Ca | ug/g | 211840.0791 | 213422.9571 | 209190.4453 | 215838.069 | 206767.9115 | 208870.322 | 204650.4142 | 198491.6674 | 199163.9548 | 192124.3349 | 192621.2915
Cd | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 1
Co | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 3
Cr | ug/g | 6.0521 | 5.1154 | 4.073 | 3.5324 | 3.3127 | 5.9948 | < DL | 5.3817 | 10.5985 | 3.5078 | 8.5827 | < 3
Cu | ug/g | 10.8049 | 14.7311 | 6.7007 | 16.7992 | 11.5257 | 13.0817 | 10.7197 | 12.2714 | 237.5177 | 25.0639 | 10.2342 | < 4
Fe | ug/g | 2464.7546 | 2643.2753 | 2507.412 | 1630.4567 | 1679.935 | 1309.866 | 254.1369 | 1950.3875 | 809.439 | 1556.224 | 1140.9263 | < 3
K | ug/g | 224.3548 | 326.2521 | 200.0213 | 107.8353 | 67.3566 | 90.7758 | < DL | 269.9663 | < DL | 139.2904 | 245.0568 | < 40
Mg | ug/g | 482.1157 | 496.9185 | 447.2841 | 603.4444 | 481.2255 | 424.2571 | 1245.7221 | 926.2293 | 126.7313 | 600.7357 | 1263.9489 | < 2
Mn | ug/g | 22.2919 | 23.4269 | 20.6687 | 8.5803 | 6.5564 | 7.3767 | < DL | 14.9862 | < DL | 8.1881 | 37.4562 | < 1
Mo | ug/g | 3.2819 | < DL | < DL | < DL | < DL | < DL | < DL | < DL | 3.6632 | < DL | < DL | < 3
Na | ug/g | 310.0022 | 329.1639 | 250.2717 | 357.7972 | 274.6379 | 249.1399 | 197.5287 | 295.7329 | 282.2643 | 436.3649 | 224.8667
Ni | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 4
P | ug/g | 92.5363 | 93.5885 | 92.0547 | 16.8271 | 11.7728 | 15.9494 | < DL | 60.1492 | 16.1934 | 25.4454 | 33.9361 | < 5
Pb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 3
S | ug/g | 164258.5864 | 167839.5355 | 163720.3137 | 162391.0403 | 159362.5218 | 160215.5775 | 158176.5896 | 150573.1151 | 154211.201 | 148299.4189 | 146282.8599
Sb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 6
Se | ug/g | < DL | < DL | < DL | 23.0292 | 24.3764 | 17.8674 | < DL | < DL | < DL | 23.8626 | < DL | < 6
Si | ug/g | 858.4511 | 897.5368 | 832.6862 | 949.4576 | 723.2202 | 792.8669 | 411.6957 | 739.8244 | 492.4502 | 744.0002 | 712.7122 | < 75
Sr | ug/g | 319.4412 | 318.5268 | 318.8911 | 206.0846 | 193.9412 | 151.7916 | 164.7789 | 230.99 | 55.2194 | 195.505 | 314.5301 | < 1
Ti | ug/g | 17.6214 | 7.2058 | 6.2191 | 24.1245 | 17.3861 | < DL | 18.3327 | 14.3243 | 8.3819 | 22.2162 | 10.4244 | < 1
Tl | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 6
V | ug/g | < DL | < DL | < DL | < DL | < DL | 6.7115 | < DL | < DL | < DL | < DL | < DL | < 1
Zn | ug/g | 39.2047 | 29.0394 | 28.0677 | 25.3189 | 13.2925 | 22.0355 | 32.4974 | 28.9748 | 32.1956 | 38.179 | 28.8049 | < 2
ICP-OES
|  | LB 29A | LB 29B | LB 29C | LB 29D | LB 29E | LB 29F | det limits
Ag | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 3
Al | ug/g | 451.8053 | 735.556 | 425.4599 | 520.4221 | 498.1578 | 693.3923 | < 8
As | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 6
Ba | ug/g | 5.2715 | 7.2904 | 22.5801 | 3.4974 | 4.7922 | 4.8274 | < 1
Be | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 0.1
Ca | ug/g | 224290.4444 | 229846.3889 | 225965.2411 | 204214.5387 | 224741.2135 | 227663.7171
Cd | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 1
Co | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 3
Cr | ug/g | < DL | 3.7397 | < DL | 9.5665 | 28.3491 | < DL | < 3
Cu | ug/g | < DL | < DL | 6.2383 | 4.9502 | 9.1587 | < DL | < 4
Fe | ug/g | 332.6249 | 1005.2305 | 459.9751 | 1147.8076 | 708.2567 | 1150.6465 | < 3
K | ug/g | 78.745 | 151.7075 | 94.6038 | 159.2745 | 267.7454 | 210.8351 | < 40
Mg | ug/g | 1314.2054 | 473.7471 | 2397.6361 | 588.1417 | 663.833 | 1515.7144 | < 2
Mn | ug/g | 4.7474 | 41.6237 | 9.0396 | 33.378 | 25.468 | < DL | < 1
Mo | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 3
Na | ug/g | 224.8135 | 157.6257 | 354.0204 | 160.7098 | 287.044 | 395.4476
Ni | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 4
P | ug/g | 3.8853 | 20.8922 | 46.7808 | 24.9363 | 131.0938 | 30.5254 | < 5
Pb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 3
S | ug/g | 179448.5761 | 179466.9759 | 175610.6214 | 164221.8542 | 179545.6711 | 177817.3135
Sb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 6
Se | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 6
Si | ug/g | 188.1618 | 210.6058 | 155.4468 | 131.525 | 131.9425 | 528.1296 | < 75
Sr | ug/g | 168.7362 | 187.393 | 251.0433 | 252.8248 | 77.4667 | 99.3272 | < 1
Ti | ug/g | 11.24 | 20.5601 | 8.7156 | < DL | 7.8326 | 27.9838 | < 1
Tl | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 6
V | ug/g | < DL | 3.498 | 2.5536 | 3.3299 | 2.9941 | 6.2834 | < 1
Zn | ug/g | 17.1421 | 15.6088 | 43.7802 | 30.246 | 21.405 | 22.3899 | < 2

## EPA_3052
EPA Method 3052
Average for n=2
ICP-OES
|  | CLK 23B | LB 36A | LB 36B | LB 36C | LB 36D | LB 36E | LB 36F | det limits
Ag | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 5 | Ag
Al | ug/g | 304.2188 | 266.7828 | 288.7989 | 568.9462 | 905.2408 | 4068.3696 | 10006.0155 | < 20 | Al
As | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 8 | As
Ba | ug/g | 21.1753 | 45.1635 | 23.3276 | 19.9168 | 21.4594 | 71.0437 | 104.992 | < 1 | Ba
Be | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | 0.23688 | < 0.1 | Be
Ca | ug/g | 211038.418 | 212140.8385 | 218402.6852 | 213487.4399 | 212627.996 | 196566.1781 | 180500.2231 |  | Ca
Cd | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 2 | Cd
Ce | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 75 | Ce
Co | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 3 | Co
Cr | ug/g | 15.0282 | 16.0117 | 12.7413 | 11.7993 | 8.7397 | 30.5498 | 18.5309 | < 3 | Cr
Cu | ug/g | 5.9745 | 8.0853 | 9.7011 | 29.8059 | < DL | 27.0357 | 9.8923 | < 4 | Cu
Fe | ug/g | 333.5569 | 333.3672 | 194.0831 | 383.8134 | 482.6382 | 2964.1341 | 7373.5783 | < 3 | Fe
K | ug/g | < DL | < DL | < DL | 76.0128 | 339.8136 | 2855.2837 | 4352.4917 | < 40 | K
Li | ug/g | < DL | < DL | < DL | < DL | 13.0773 | 11.0758 | < DL | < 9 | Li
Mg | ug/g | 122.1891 | 115.2854 | 15.3895 | 997.6018 | 10327.5116 | 31356.2784 | 9682.7294 | < 2 | Mg
Mn | ug/g | 2.7612 | 2.3389 | 2.1331 | 16.6157 | 9.9395 | 63.1807 | 171.5576 | < 1 | Mn
Mo | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 3 | Mo
Na | ug/g | 231.0197 | 333.9763 | 281.2766 | 441.6266 | 354.9632 | 399.06 | 762.1009 |  | Na
Ni | ug/g | < DL | < DL | 4.5474 | 10.5808 | < DL | 11.901 | 6.5409 | < 4 | Ni
P | ug/g | 452.2387 | 457.7129 | 416.6938 | 383.0604 | 350.5702 | 417.85 | 459.8035 | < 15 | P
Pb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 5 | Pb
S | ug/g | 168038.3856 | 167138.5252 | 177297.5097 | 169951.4235 | 151002.0563 | 123047.6055 | 134218.2427 |  | S
Sb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 6 | Sb
Se | ug/g | 13.0184 | 20.9997 | 16.911 | 13.2534 | 14.9687 | 11.3355 | 21.1393 | < 8 | Se
Sn | ug/g | < DL | 66.5939 | 134.7145 | 17.6279 | 119.9705 | 202.204 | 204.2632 | < 15 | Sn
Sr | ug/g | 183.8525 | 183.0616 | 102.0146 | 918.8956 | 1106.5653 | 2882.5047 | 1613.0782 | < 1 | Sr
Ti | ug/g | 10.6947 | 10.1369 | 9.3002 | 27.8046 | 48.2847 | 209.4919 | 479.3406 | < 1 | Ti
Tl | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 15 | Tl
V | ug/g | 5.255 | 5.7035 | < DL | < DL | < DL | 4.5472 | 12.6828 | < 2 | V
Zn | ug/g | 11.8701 | 10.3773 | 16.9697 | 21.4971 | 13.0695 | 27.4778 | 22.663 | < 3 | Zn
ICP-OES
|  | LB 033A | LB 033C | LB 036H | det limits
Ag | ug/g | < DL | < DL | < DL | < 3 | Ag
Al | ug/g | 1090.4489 | 507.0968 | 650.5321 | < 8 | Al
As | ug/g | < DL | < DL | < DL | < 6 | As
Ba | ug/g | 31.7346 | 6.8976 | 6.3883 | < 1 | Ba
Be | ug/g | < DL | < DL | < DL | < 0.1 | Be
Ca | ug/g | 234982.5755 | 236282.6613 | 225836.3737 |  | Ca
Cd | ug/g | < DL | < DL | < DL | < 1 | Cd
Ce | ug/g | 14.4362 | 19.4607 | 12.3557 | < 3 | Ce
Co | ug/g | < DL | < DL | < DL | < 3 | Co
Cr | ug/g | < DL | 6.0661 | 18.389 | < 3 | Cr
Cu | ug/g | 17.0662 | 27.9377 | 19.4898 | < 4 | Cu
Fe | ug/g | 1248.0428 | 766.3479 | 854.6677 | < 3 | Fe
K | ug/g | 313.934 | 439.3919 | 177.3148 | < 40 | K
Li | ug/g | < DL | < DL | < DL | < 10 | Li
Mg | ug/g | 1164.4894 | 1172.0519 | 270.8215 | < 2 | Mg
Mn | ug/g | 36.0188 | 11.4215 | 28.7927 | < 1 | Mn
Mo | ug/g | < DL | < DL | < DL | < 3 | Mo
Na | ug/g | 346.5787 | 310.2897 | 225.2907 |  | Na
Ni | ug/g | < DL | 8.0056 | < DL | < 4 | Ni
P | ug/g | 286.7112 | 160.7936 | 151.3178 | < 5 | P
Pb | ug/g | < DL | < DL | < DL | < 3 | Pb
S | ug/g | 178766.3717 | 183896.0801 | 178404.2988 |  | S
Sb | ug/g | < DL | < DL | < DL | < 6 | Sb
Se | ug/g | < DL | 8.4704 | < DL | < 6 | Se
Si | ug/g | 675.6723 | 217.7326 | 378.9078 | < 75 | Si
Sn | ug/g | < DL | < DL | < DL | < 10 | Sn
Sr | ug/g | 331.1225 | 102.565 | 257.4934 | < 1 | Sr
Ti | ug/g | 78.4323 | 31.2746 | 30.6652 | < 1 | Ti
Tl | ug/g | < DL | < DL | < DL | < 6 | Tl
V | ug/g | 3.0244 | 3.1895 | 2.2804 | < 1 | V
Zn | ug/g | 19.568 | 20.8352 | 31.0391 | < 2 | Zn
ICP-MS
|  | LB 033A | LB 033C | LB 036H
Ag | ug/g | < DL | < DL | < DL
Al | ug/g | 477.2437 | 826.0211 | 735.2368
As | ug/g | < DL | < DL | < DL
Be | ug/g | 0.088834 | 0.12737 | 0.12469
Cd | ug/g | < DL | 0.17338 | 0.24661
Co | ug/g | 13.8397 | 11.1919 | 14.0499
Cr | ug/g | 2.5546 | 6.2598 | 13.754
Cu | ug/g | 14.8463 | 15.0546 | 15.6471
Mn | ug/g | 13.716 | 22.5982 | 22.3569
Mo | ug/g | 0.43025 | 0.61561 | 0.45838
Ni | ug/g | 46.1074 | 38.3871 | 50.7064
Pb | ug/g | 0.9492 | 1.2156 | 0.97404
Sb | ug/g | 0.062343 | 0.03722 | 0.018967
Se | ug/g | 1.6738 | 1.5165 | 1.1447
Th | ug/g | < DL | < DL | < DL
Tl | ug/g | 0.0098141 | 0.060419 | 0.03257
U | ug/g | 1.1555 | 0.43304 | 0.40655
V | ug/g | 7.7758 | 7.5996 | 6.7812
Zn | ug/g | 5.834 | 18.6027 | 14.3316
ICP-OES
|  | CLK 10C1G | CLK 10C2G | CLK 10C3G | CLK 10D1G | CLK 10D2G | CLK 10D3G | LB 028A | LB 28B | LB 28D | LB 28E | LB 28H | det limits
Ag | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 3 | Ag
Al | ug/g | 17951.2237 | 14582.6686 | 24275.1807 | 20642.5158 | 20303.7694 | 21980.0338 | 19119.0659 | 22441.7694 | 16878.5049 | 14837.9147 | 18495.0482 | < 8 | Al
As | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 6 | As
Ba | ug/g | 129.6268 | 106.5264 | 128.2109 | 29.2229 | 241.3716 | 57.2837 | 47.52 | 60.0013 | 80.0509 | 100.293 | 117.0882 | < 1 | Ba
Be | ug/g | 0.30104 | 0.31041 | 0.261 | 0.27086 | 0.26582 | < DL | 0.16518 | 0.25118 | < DL | 0.24122 | 0.30975 | < 0.1 | Be
Ca | ug/g | 205706.1324 | 211477.4879 | 209969.9847 | 214652.6272 | 210014.9232 | 210746.9206 | 198418.7746 | 195032.1743 | 184831.5037 | 193309.6312 | 186729.4992 |  | Ca
Cd | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 1 | Cd
Co | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 3 | Co
Cr | ug/g | 10.7637 | 10.3178 | 10.4411 | 8.7577 | 11.7939 | 9.6969 | 5.8234 | 11.2472 | 9.3659 | 10.0209 | 14.6672 | < 3 | Cr
Cu | ug/g | 12.3282 | 12.8843 | 25.851 | 10.046 | 9.8832 | 12.7748 | 11.3973 | 15.8663 | 11.727 | 14.0196 | 9.3115 | < 4 | Cu
Fe | ug/g | 2912.3666 | 2867.9042 | 3008.8654 | 2093.2767 | 2110.4413 | 1803.1236 | 655.6899 | 2590.5328 | 1064.2625 | 1982.3153 | 1678.7613 | < 3 | Fe
K | ug/g | 591.1691 | 605.0913 | 897.9228 | 286.7589 | 694.9653 | 658.6478 | 269.5052 | 515.2161 | 301.1254 | 411.5107 | 579.5102 | < 40 | K
Mg | ug/g | 563.1838 | 560.1009 | 570.6528 | 685.7378 | 589.114 | 618.6766 | 1294.188 | 992.1559 | 201.5213 | 742.7709 | 1358.4649 | < 2 | Mg
Mn | ug/g | 31.8162 | < DL | 30.3906 | 13.4535 | 16.7551 | 20.0586 | 9.7342 | 20.9898 | 9.5813 | 17.4859 | 44.4139 | < 1 | Mn
Mo | ug/g | < DL | < DL | 7.2447 | 4.8466 | 3.5065 | 6.1274 | < DL | 7.1547 | 5.1083 | < DL | < DL | < 3 | Mo
Na | ug/g | 42113.4245 | 34339.2547 | 57601.8317 | 46827.2571 | 49424.6707 | 54034.0128 | 45458.8172 | 50010.3027 | 43376.9644 | 34678.7567 | 42673.145 |  | Na
Ni | ug/g | 20.1457 | 16.7869 | 7.5973 | < DL | < DL | < DL | < DL | 5.3838 | 8.6429 | < DL | < DL | < 4 | Ni
P | ug/g | 105.3551 | 104.0585 | 118.7298 | 43.0216 | 38.7656 | 48.1066 | 29.1702 | 83.0443 | 34.58 | 25.2195 | 43.8723 | < 5 | P
Pb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 3 | Pb
S | ug/g | 163162.7423 | 162683.5263 | 161723.2793 | 165036.2092 | 163372.7789 | 163323.9961 | 159294.0694 | 148605.6289 | 148810.9881 | 155246.9498 | 148709.7738 |  | S
Sb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 6 | Sb
Se | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 6 | Se
Si | ug/g | 509462.4369 | 423412.526 | 691550.386 | 587105.7381 | 595332.3914 | 657724.6225 | 579019.2288 | 628358.1225 | 540271.3706 | 437447.1759 | 549290.1017 | < 75 | Si
Sr | ug/g | 327.5155 | 323.0951 | 336.708 | 227.8908 | 206.8678 | 172.4532 | 178.9063 | 247.7365 | 69.8951 | 197.5528 | 321.4488 | < 1 | Sr
Ti | ug/g | 209.3556 | 298.7783 | 208.02 | 171.6837 | 299.0543 | < DL | 141.3896 | 477.3843 | 114.2665 | 207.4807 | 231.3402 | < 1 | Ti
Tl | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 6 | Tl
V | ug/g | < DL | < DL | < DL | < DL | 3.7755 | 9.6747 | < DL | < DL | 73.2488 | < DL | < DL | < 1 | V
Zn | ug/g | 20.1778 | 25.6847 | 26.9282 | 17.7714 | 21.5112 | 19.0243 | 20.2812 | 28.2636 | 14.2761 | 21.6774 | 23.9689 | < 2 | Zn
|  | LB 29A | LB 29B | LB 29C | LB 29D | LB 29E | LB 29F | det limits
Ag | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 3
Al | ug/g | 5549.1597 | 8545.9129 | 7126.8759 | 5203.8081 | 5634.5238 | 6743.5413 | < 8
As | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 6
Ba | ug/g | 18.8085 | 14.8418 | 79.6258 | 33.7828 | 28.3277 | 37.1865 | < 1
Be | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 0.1
Ca | ug/g | 213350.996 | 237650.828 | 219532.0189 | 204691.9103 | 216992.7183 | 231070.9527
Cd | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 1
Co | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 3
Cr | ug/g | 4.3426 | 8.8163 | 7.0828 | 14.7618 | 41.9832 | 5.6124 | < 3
Cu | ug/g | 22.3693 | 26.231 | 15.6788 | 14.517 | 19.0547 | 13.7683 | < 4
Fe | ug/g | 496.1773 | 990.1587 | 570.7875 | 1333.6235 | 834.6239 | 1363.0746 | < 3
K | ug/g | 234.4924 | 362.2895 | 274.68 | 415.9384 | 433.0532 | 377.4127 | < 40
Mg | ug/g | 1418.4106 | 548.4453 | 2350.2261 | 688.1338 | 709.9967 | 1504.9959 | < 2
Mn | ug/g | 7.5284 | 46.2159 | 12.3326 | 36.46 | 27.6155 | 16.1005 | < 1
Mo | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 3
Na | ug/g | 14183.1185 | 21016.9497 | 19710.96 | 13280.8255 | 14504.8737 | 19538.0023
Ni | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 4
P | ug/g | < DL | 31.8419 | 50.091 | 29.1556 | 130.9418 | 40.3494 | < 5
Pb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 3
S | ug/g | 170857.7082 | 181079.3839 | 166712.0818 | 163349.5977 | 173558.5491 | 172992.8866
Sb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 6
Se | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 6
Si | ug/g | 22049.4533 | 32497.5201 | 29563.2635 | 19764.9482 | 22356.4375 | 30796.1252 | < 75
Sr | ug/g | 177.0105 | 196.3844 | 258.4526 | 261.0175 | 80.6998 | 103.5818 | < 1
Ti | ug/g | 51.2667 | 94.9202 | 73.0228 | 119.004 | 84.261 | 84.3143 | < 1
Tl | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < 6
V | ug/g | 2.1686 | 4.4703 | 3.0625 | 4.4619 | 3.8621 | 8.6431 | < 1
Zn | ug/g | 32.1426 | 47.5073 | 38.4108 | 39.2558 | 43.3204 | 27.8007 | < 2

## ASTM D6349
molten salt fusion
Average for n=2
ICP-OES
|  | CLK 23B | LB 36A | LB 36B | LB 36C | LB 36D | LB 36E | LB 36F | det limits
Ag | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 12.5 | Ag
Al | ug/g | 397.4569 | 461.9542 | 398.907 | 884.3709 | 1151.3607 | 3856.4833 | 9195.2926 | < 50 | Al
As | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 20 | As
Ba | ug/g | 30.0192 | 56.115 | 35.0635 | 64.7431 | 10409.503 | 64.6144 | 123.6273 | < 2.5 | Ba
Be | ug/g | 0.51232 | < DL | 0.34162 | < DL | 0.58614 | 0.38191 | 0.62405 | < 0.25 | Be
Ca | ug/g | 205811.0098 | 205026.3252 | 205407.7802 | 209020.1013 | 204895.6276 | 188697.6523 | 169421.4632 |  | Ca
Cd | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 5 | Cd
Ce | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 200 | Ce
Co | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 7.5 | Co
Cr | ug/g | 41.6822 | 34.0711 | 29.2571 | 27.67 | 34.9058 | 29.817 | 40.247 | < 7.5 | Cr
Cu | ug/g | 122.3587 | 88.9762 | 97.1948 | 2586.6936 | 113.5702 | 62.4526 | 75.7256 | < 10 | Cu
Fe | ug/g | 763.4145 | 570.6944 | 327.581 | 1081.7842 | 767.8796 | 2858.5481 | 7259.5776 | < 7.5 | Fe
K | ug/g | 228.0042 | 193.8398 | 241.2661 | 235.7747 | 712.9547 | 2779.3454 | 4087.7699 | < 100 | K
Mg | ug/g | 175.3862 | 171.9414 | 90.3176 | 1347.5132 | 9979.7218 | 29913.3859 | 9674.03 | < 7.5 | Mg
Mn | ug/g | 7.4128 | 5.5479 | 5.5667 | 112.1515 | 16.7071 | 60.1174 | 168.0249 | < 2.5 | Mn
Mo | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 7.5 | Mo
Na | ug/g | 844.9755 | 508.7738 | 743.2066 | 536.0755 | 723.8702 | 682.6004 | 1153.0682 |  | Na
Ni | ug/g | 313.4396 | 237.2456 | 95.5135 | 269.1761 | 137.7779 | 59.6317 | 144.9074 | < 10 | Ni
P | ug/g | 764.4107 | 657.874 | 527.1171 | 1418.1105 | 687.7109 | 501.3099 | 706.0285 | < 38 | P
Pb | ug/g | < DL | < DL | < DL | 38.2173 | < DL | < DL | < DL | < 12 | Pb
S | ug/g | 146406.4842 | 140351.0582 | 143915.6931 | 145630.5943 | 130444.8775 | 107942.3008 | 115118.722 |  | S
Sb | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 15 | Sb
Se | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 20 | Se
Si | ug/g | < DL | < DL | < DL | 443.1766 | 3615.046 | 22913.6993 | 63782.9859 | < 325 | Si
Sn | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 40 | Sn
Sr | ug/g | 173.2602 | 175.119 | 92.0873 | 1070.0679 | 1161.4119 | 2925.8844 | 1304.6411 | < 2 | Sr
Ti | ug/g | 14.5332 | 16.0414 | 13.9307 | 25.9996 | 40.555 | 185.7993 | 390.9099 | < 2.5 | Ti
Tl | ug/g | < DL | < DL | < DL | < DL | < DL | < DL | < DL | < 38 | Tl
V | ug/g | 8.8019 | 8.0899 | 2.9537 | 2.873 | 2.0873 | 6.3508 | 13.6921 | < 5 | V
Zn | ug/g | 178.158 | 101.3579 | 94.2781 | 1381.8551 | 115.4025 | 82.5247 | 78.7219 | < 7.5 | Zn

## EPA 7473
Milestone DMA-80
EPA Method 7473 |  |  | Averages for n=5
|  | "Standard" | "Standard"
sample | CLK 23B | LB 36A | LB 36B | LB 36C | LB 36D | LB 36E | LB 36F | LB 033A | LB 033C | LB 036H
conc. units | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg
avg. | 363.3933 | 384.83 | 15.0933 | 0.44333 | 0.47667 | 24.6967 | 0.48667 | 162.9 | 130.678 | 22.356
std. dev. | 3.6835 | 5.5268 | 1.7609 | 0.041633 | 0.025166 | 1.8352 | 0.10693 | 9.3376 | 3.3629 | 3.6819
sample | CLK 10C1G | CLK 10C2G | CLK 10C3G | CLK 10D1G | CLK 10D2G | CLK 10D3G | LB 028A | LB 28B | LB 28D | LB 28E | LB 28H
conc. units | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg
avg. | 1378.53 | 1428.0367 | 1375.74 | 462.6933 | 461.5567 | 342.3167 | 56.9967 | 937.43 | 9.6033 | 299.5267 | 134.07
std. dev. | 33.7668 | 14.364 | 12.1214 | 11.5618 | 5.5202 | 6.2173 | 1.4251 | 3.1198 | 1.325 | 4.0453 | 4.138
sample | LB 29A | LB 29B | LB 29C | LB 29D | LB 29E | LB 29F
conc. units | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg
avg. | 44.69 | 86.428 | 172.4 | 67.155 | 118.256 | 570.266
Std Dev | 1.0227 | 3.9242 | 4.5537 | 2.7246 | 9.7509 | 112.4182

## QAQC
All digestions done in duplicate (n=2).
All DMA analyses done in pentuplicate (n=5).
Initial and continuing calibation standards including:
CRDL, CRDL' = contract required detection limits standards (3-5x DL)
ICS ABC = interference check solution mix
QCS-21 = 0.5 ppm mixed metals standard
ICM-240 = 0.2 ppm mixed metals standard
LFS, MCS-4, ICV-1A = mixed metals standards
A standard reference material (SRM 1633b) is digested and analyzed simultaneously.

## Expanded Dataset
EPA Method 3052
Average for n=2
ICP-OES | [32 empty] | "Standard FGD" | "Mineral" |  |  |  | Brammer Standard Gypsum Rock (DOMTAR) |  |  |  |  | "Mineral" | "Mineral" | "Mineral" | "Mineral"
|  | CLK 23B | CLK 10C1G | CLK 10C2G | CLK 10C3G | CLK 10D1G | CLK 10D2G | CLK 10D3G | LB 033A | LB 033C | LB 036H | LB 028A | LB 28B | LB 28D | LB 28E | LB 28H | LB 29A | LB 29B | LB 29C | LB 29D | LB 29E | LB 29F |  |  | ORD Data Min Max |  | EPRI/OSU FGD 3 | EPRI/OSU FGD 5 | OSU Fact Sheet |  | Gypsum Product 1* | Gypsum Product 2* | Range | Range |  |  |  | GypA | GypB | GypC | GypD |  | LB 36C | LB 36D | LB 36E | LB 36F | det limits | "Mineral" range
Ag | ug/g | < DL (<5) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | Ag | ug/g | [5 empty] | Ag |  |  | < DL (<5) | <DL (<5) | Ag | [6 empty] | Ag | < DL (<5) | < DL (<5) | < DL (<5) | < DL (<5) | < 5 | < 5 | Ag
Al | ug/g | 304.2188 | 17951.2237 | 14582.6686 | 24275.1807 | 20642.5158 | 20303.7694 | 21980.0338 | 477.2437 | 507.0968 | 650.5321 | 19119.0659 | 22441.7694 | 16878.5049 | 14837.9147 | 18495.0482 | 5549.1597 | 8545.9129 | 7126.8759 | 5203.8081 | 5634.5238 | 6743.5413 | Al | ug/g |  |  | 2116.2231 | 860.7105 |  | Al | 9426.4239 | 1516.0963 | 267 - 269 | 569 - 10,006 | Al | [6 empty] | Al | 568.9462 | 905.2408 | 4068.3696 | 10006.0155 | < 20 | 569 - 10006 | Al
As | ug/g | < DL (<8) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | As | ug/g | 2 | 4 | 3.4105 | <2.6 | 0.56 | As | 4.7816 | <2.6 | < DL (<8) | < DL (<8) | As | As | ug/g | 0.19 | 0.2 | 2.4 | 3 | As | 0.19 | 0.2 | 2.4 | 3 | < 8 | 0.19 - 3.0 | As
[27 empty] | 42.4368 | <3.0 | 26.7 | B | 38.9072 | 5.9402
Ba | ug/g | 21.1753 | 129.6268 | 106.5264 | 128.2109 | 29.2229 | 241.3716 | 57.2837 | 31.7346 | 6.8976 | 6.3883 | 47.52 | 60.0013 | 80.0509 | 100.293 | 117.0882 | 18.8085 | 14.8418 | 79.6258 | 33.7828 | 28.3277 | 37.1865 | Ba | ug/g | 3 | 60 | 81.8293 | 71.316 |  | Ba | 123.3246 | 67.9809 | 23.3 - 45.2 | 19.9 - 105 | Ba | Ba | ug/g | 28 | 25 | 53 | 106 | Ba | 19.9168 | 21.4594 | 71.0437 | 104.992 | < 1 | 19.9 - 105 | Ba
Be | ug/g | < DL (<0.1) | 0.30104 | 0.31041 | 0.261 | 0.27086 | 0.26582 | < DL | 0.088834 | < DL (<0.1) | < DL (<0.1) | 0.16518 | 0.25118 | < DL | 0.24122 | 0.30975 | < DL (<0.1) | < DL (<0.1) | < DL (<0.1) | < DL (<0.1) | < DL (<0.1) | < DL (<0.1) | Be | ug/g |  |  | <0.2 | <0.2 |  | Be | <DL | <0.2 | < DL (<0.1) | <0.1 - 0.24 | Be | [6 empty] | Be | < DL (<0.1) | < DL (<0.1) | < DL (<0.1) | 0.23688 | < 0.1 | <0.1 - 0.24 | Be
Ca | ug/g | 211038.418 | 205706.1324 | 211477.4879 | 209969.9847 | 214652.6272 | 210014.9232 | 210746.9206 | 234982.5755 | 236282.6613 | 225836.3737 | 198418.7746 | 195032.1743 | 184831.5037 | 193309.6312 | 186729.4992 | 213350.996 | 237650.828 | 219532.0189 | 204691.9103 | 216992.7183 | 231070.9527 | Ca | ug/g |  |  | 201998.4679 | 243252.1574 | 230000 | Ca | 225954.3295 | 246589.8125 | 212,141 - 218,403 | 180,500 - 213,487 | Ca | [6 empty] | Ca | 213487.4399 | 212627.996 | 196566.1781 | 180500.2231 |  | 180500 - 213487 | Ca
Cd | ug/g | < DL (<2) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | 0.17338 | 0.24661 | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | Cd | ug/g | 0.3 | 0.5 | 1.1938 | 0.2316 | < 0.48 | Cd | 5.4833 | 0.3494 | < DL (<2) | < DL (<2) | Cd | Cd | ug/g | 0.51 | < DL | < DL | < DL | Cd | 0.51 | < DL (<2) | < DL (<2) | < DL (<2) | < 2 | < 2 - 0.5 | Cd
Ce | ug/g | < DL (<75) | [6 empty] | 14.4362 | 19.4607 | 12.3557 | [11 empty] | Ce | ug/g | [5 empty] | Ce |  |  | < DL (<75) | < DL (<75) | Ce | Ce | ug/g | 0.7 | 1.24 | 5 | 9 | Ce | 0.7 | 1.24 | 5 | 9 | < 75 | 0.7 - 9.0 | Ce
Co | ug/g | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | 13.8397 | 11.1919 | 14.0499 | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | Co | ug/g | 1 | 4 | 1.0138 | 0.3174 | < 0.48 | Co | 2.2207 | 0.7187 | < DL (<3) | < DL (<3) | Co | Co | ug/g | 0.2 | 0.7 | 1.2 | 2.4 | Co | 0.2 | 0.7 | 1.2 | 2.4 | < 3 | 0.2 - 2.4 | Co
Cr | ug/g | 15.0282 | 10.7637 | 10.3178 | 10.4411 | 8.7577 | 11.7939 | 9.6969 | 2.5546 | 6.0661 | 18.389 | 5.8234 | 11.2472 | 9.3659 | 10.0209 | 14.6672 | 4.3426 | 8.8163 | 7.0828 | 14.7618 | 41.9832 | 5.6124 | Cr | ug/g | 6 | 20 | 13.2064 | 5.1475 | 1.3 | Cr | 95.4952 | 4.8037 | 12.7 - 16.0 | 8.7 - 30.5 | Cr | Cr | ug/g | 2 | 2 | 4 | 9 | Cr | 11.7993 | 8.7397 | 30.5498 | 18.5309 | < 3 | 8.7 - 30.5 | Cr
Cu | ug/g | 5.9745 | 12.3282 | 12.8843 | 25.851 | 10.046 | 9.8832 | 12.7748 | 17.0662 | 27.9377 | 19.4898 | 11.3973 | 15.8663 | 11.727 | 14.0196 | 9.3115 | 22.3693 | 26.231 | 15.6788 | 14.517 | 19.0547 | 13.7683 | Cu | ug/g |  |  | <0.8 | <0.8 | 1.16 | Cu | 5.6213 | <0.8 | 8.1 - 9.7 | <4 - 29.8 | Cu | [6 empty] | Cu | 29.8059 | < DL | 27.0357 | 9.8923 | < 4 | <4 - 29.8 | Cu
Fe | ug/g | 333.5569 | 2912.3666 | 2867.9042 | 3008.8654 | 2093.2767 | 2110.4413 | 1803.1236 | 1248.0428 | 766.3479 | 854.6677 | 655.6899 | 2590.5328 | 1064.2625 | 1982.3153 | 1678.7613 | 496.1773 | 990.1587 | 570.7875 | 1333.6235 | 834.6239 | 1363.0746 | Fe | ug/g |  |  | 1202.0469 | 1379.2338 | 264 | Fe | 5312.1274 | 906.1217 | 194 - 333 | 384 - 7,374 | Fe | [6 empty] | Fe | 383.8134 | 482.6382 | 2964.1341 | 7373.5783 | < 3 | 384 - 7374 | Fe
Hg | ug/g | 0.36339 | 1.3785 | 1.428 | 1.3757 | 0.46269 | 0.46156 | 0.34232 | 0.1629 | 0.13068 | 0.022356 | 0.056997 | 0.93743 | 0.0096033 | 0.29953 | 0.13407 | 0.04469 | 0.086428 | 0.1724 | 0.067155 | 0.11826 | 0.57027 | Hg | ug/g | 0.01 | 0.5 |  |  | < 0.26** | Hg | [11 empty] | Hg | 0.44333 | 0.47667 | 24.6967 | 0.48667 |  | 0.00044 - .0247
K | ug/g | < DL (<40) | 591.1691 | 605.0913 | 897.9228 | 286.7589 | 694.9653 | 658.6478 | 313.934 | 439.3919 | 177.3148 | 269.5052 | 515.2161 | 301.1254 | 411.5107 | 579.5102 | 234.4924 | 362.2895 | 274.68 | 415.9384 | 433.0532 | 377.4127 | K | ug/g |  |  | 418.2989 | 479.6838 |  | K | 9835.9563 | 771.6028 | < DL (<40) | 76 - 4352 | K | [6 empty] | K | 76.0128 | 339.8136 | 2855.2837 | 4352.4917 | < 40 | 76 - 4352 | K
Li | ug/g | < DL (<9) | [6 empty] | < DL (<10) | < DL (<10) | < DL (<10) | [11 empty] | Li | ug/g |  |  | 48.8367 | 34.3034 |  | Li | 84.6249 | 31.1677 | < DL (<9) | <9 - 13.1 | Li | [6 empty] | Li | < DL (<9) | 13.0773 | 11.0758 | < DL (<9) | < 9 | <9 - 13.1 | Li
Mg | ug/g | 122.1891 | 563.1838 | 560.1009 | 570.6528 | 685.7378 | 589.114 | 618.6766 | 1164.4894 | 1172.0519 | 270.8215 | 1294.188 | 992.1559 | 201.5213 | 742.7709 | 1358.4649 | 1418.4106 | 548.4453 | 2350.2261 | 688.1338 | 709.9967 | 1504.9959 | Mg | ug/g |  |  | 7426.2962 | 1039.8475 | 100 | Mg | 7269.8803 | 1286.1032 | 15.4 - 115 | 998 - 31356 | Mg | [6 empty] | Mg | 997.6018 | 10327.5116 | 31356.2784 | 9682.7294 | < 2 | 998 - 31356 | Mg
Mn | ug/g | 2.7612 | 31.8162 | < DL (<1) | 30.3906 | 13.4535 | 16.7551 | 20.0586 | 36.0188 | 11.4215 | 28.7927 | 9.7342 | 20.9898 | 9.5813 | 17.4859 | 44.4139 | 7.5284 | 46.2159 | 12.3326 | 36.46 | 27.6155 | 16.1005 | Mn | ug/g |  |  | 59.6551 | 160.4651 | 5.5 | Mn | 127.4627 | 30.4947 | 2.1 - 2.3 | 9.9 - 171.6 | Mn | Mn | ug/g | 19 | 9 | 65 | 200 | Mn | 16.6157 | 9.9395 | 63.1807 | 171.5576 | < 1 | 9.9 - 171.6 | Mn
Mo | ug/g | < DL (<3) | < DL (<3) | < DL (<3) | 7.2447 | 4.8466 | 3.5065 | 6.1274 | 0.43025 | 0.61561 | 0.45838 | < DL (<3) | 7.1547 | 5.1083 | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | Mo | ug/g | 2 | 12 | 1.8217 | 0.5861 | 0.51 | Mo | 2.6185 | 0.85785 | < DL (<3) | < DL (<3) | Mo | [6 empty] | Mo | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < 3 | < 3 | Mo
Na | ug/g | 231.0197 | 42113.4245 | 34339.2547 | 57601.8317 | 46827.2571 | 49424.6707 | 54034.0128 | 346.5787 | 310.2897 | 225.2907 | 45458.8172 | 50010.3027 | 43376.9644 | 34678.7567 | 42673.145 | 14183.1185 | 21016.9497 | 19710.96 | 13280.8255 | 14504.8737 | 19538.0023 | Na | ug/g |  |  | 577.2706 | <26 |  | Na | 2733.0183 | 239.638 | 281 - 334 | 355 - 762 | Na | [6 empty] | Na | 441.6266 | 354.9632 | 399.06 | 762.1009 |  | 355 - 762 | Na
Ni | ug/g | < DL (<4) | 20.1457 | 16.7869 | 7.5973 | < DL (<4) | < DL (<4) | < DL (<4) | 46.1074 | 8.0056 | 50.7064 | < DL (<4) | 5.3838 | 8.6429 | < DL (<4) | < DL (<4) | < DL (<4) | < DL (<4) | < DL (<4) | < DL (<4) | < DL (<4) | < DL (<4) | Ni | ug/g |  |  | 5.0159 | 2.3287 | 0.73 | Ni | 19.763 | 2.2476 | <4 - 4.5 | <4 - 11.9 | Ni | [6 empty] | Ni | 10.5808 | < DL (<4) | 11.901 | 6.5409 | < 4 | <4 - 11.9 | Ni
P | ug/g | 452.2387 | 105.3551 | 104.0585 | 118.7298 | 43.0216 | 38.7656 | 48.1066 | 286.7112 | 160.7936 | 151.3178 | 29.1702 | 83.0443 | 34.58 | 25.2195 | 43.8723 | < DL (<5) | 31.8419 | 50.091 | 29.1556 | 130.9418 | 40.3494 | P | ug/g |  |  | 271.9508 | 22.1146 | 16.7 | P | 4649.3308 | 12.9092 | 417 - 458 | 351 - 460 | P | [6 empty] | P | 383.0604 | 350.5702 | 417.85 | 459.8035 | < 15 | 351 - 460 | P
Pb | ug/g | < DL (<5) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | 0.9492 | 1.2156 | 0.97404 | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | < DL (<3) | Pb | ug/g | 1 | 12 | 2.1266 | <1.5 | 0.8 | Pb | 2.1736 | <1.5 | < DL (<5) | < DL (<5) | Pb | [6 empty] | Pb | < DL (<5) | < DL (<5) | < DL (<5) | < DL (<5) | < 5 | < 5 | Pb
S | ug/g | 168038.3856 | 163162.7423 | 162683.5263 | 161723.2793 | 165036.2092 | 163372.7789 | 163323.9961 | 178766.3717 | 183896.0801 | 178404.2988 | 159294.0694 | 148605.6289 | 148810.9881 | 155246.9498 | 148709.7738 | 170857.7082 | 181079.3839 | 166712.0818 | 163349.5977 | 173558.5491 | 172992.8866 | S | ug/g |  |  | 186943.3483 | 209181.6465 | 187000 | S | 149804.3317 | 206711.8764 | 167,139 - 177,298 | 123,048 - 169,951 | S | [6 empty] | S | 169951.4235 | 151002.0563 | 123047.6055 | 134218.2427 |  | 123048 - 169951 | S
Sb | ug/g | < DL (<8) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | 0.062343 | 0.03722 | 0.018967 | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | Sb | ug/g | 2 | 6 | 9.1437 | 7.8271 |  | Sb | 10.6391 | 6.9512 | < DL (<8) | < DL (<6) | Sb | Sb | ug/g | 0.04 | 0.024 | 0.16 | 0.28 | Sb | 0.04 | 0.024 | 0.16 | 0.28 | < 6 | 0.02 - 0.28 | Sb
Se | ug/g | 13.0184 | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | 1.6738 | 8.4704 | 1.1447 | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | Se | ug/g | 2 | 30 | 18.8095 | <4.6 | 5.51 | Se | 5.5 | <4.6 | 16.9 - 21 | 11.3 - 21.1 | Se | [6 empty] | Se | 13.2534 | 14.9687 | 11.3355 | 21.1393 | < 8 | 11.3 - 21.1 | Se
Si | ug/g |  | 509462.4369 | 423412.526 | 691550.386 | 587105.7381 | 595332.3914 | 657724.6225 | 675.6723 | 217.7326 | 378.9078 | 579019.2288 | 628358.1225 | 540271.3706 | 437447.1759 | 549290.1017 | 22049.4533 | 32497.5201 | 29563.2635 | 19764.9482 | 22356.4375 | 30796.1252 | Si | ug/g |  |  | 1230.4316 | 879.74 |  | Si | 1977.0597 | 1151.4688
Sn | ug/g | < DL (<15) | [6 empty] | < DL (<10) | < DL (<10) | < DL (<10) | [11 empty] | Sn | ug/g | [5 empty] | Sn |  |  | 66.6 - 135 | 17.6 - 204 | Sn | [6 empty] | Sn | 17.6279 | 119.9705 | 202.204 | 204.2632 | < 15 | 17.6 - 204 | Sn
Sr | ug/g | 183.8525 | 327.5155 | 323.0951 | 336.708 | 227.8908 | 206.8678 | 172.4532 | 331.1225 | 102.565 | 257.4934 | 178.9063 | 247.7365 | 69.8951 | 197.5528 | 321.4488 | 177.0105 | 196.3844 | 258.4526 | 261.0175 | 80.6998 | 103.5818 | Sr | ug/g |  |  | 132.6571 | 146.019 |  | Sr | 972.5331 | 1334.4913 | 102 - 183 | 919 - 2883 | Sr | [6 empty] | Sr | 918.8956 | 1106.5653 | 2882.5047 | 1613.0782 | < 1 | 919 - 2883 | Sr
Ti | ug/g | 10.6947 | 209.3556 | 298.7783 | 208.02 | 171.6837 | 299.0543 | < DL (<1) | 78.4323 | 31.2746 | 30.6652 | 141.3896 | 477.3843 | 114.2665 | 207.4807 | 231.3402 | 51.2667 | 94.9202 | 73.0228 | 119.004 | 84.261 | 84.3143 | Ti | ug/g | [5 empty] | Ti |  |  | 9.3 - 10.1 | 27.8 - 479 | Ti | Ti | ug/g | 78 | 74 | 230 | 473 | Ti | 27.8046 | 48.2847 | 209.4919 | 479.3406 | < 1 | 27.8 - 479 | Ti
Tl | ug/g | < DL (<15) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | 0.0098141 | 0.060419 | 0.03257 | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | < DL (<6) | Tl | ug/g | 0.6 | 2 |  |  |  | Tl |  |  | < DL (<15) | < DL (<15) | Tl | [6 empty] | Tl | < DL (<15) | < DL (<15) | < DL (<15) | < DL (<15) | < 15 | < 15 | Tl
V | ug/g | 5.255 | < DL (<1) | < DL (<1) | < DL (<1) | < DL (<1) | 3.7755 | 9.6747 | 3.0244 | 3.1895 | 2.2804 | < DL (<1) | < DL (<1) | 73.2488 | < DL (<1) | < DL (<1) | 2.1686 | 4.4703 | 3.0625 | 4.4619 | 3.8621 | 8.6431 | V | ug/g |  |  | 29.7586 | 4.0677 |  | V | 72.8231 | 4.9295 | <2 - 5.7 | <2 - 12.7 | V | V | ug/g | < DL | < DL | < DL | 17 | V | < DL (<2) | < DL (<2) | 4.5472 | 12.6828 | < 2 | <2 - 13 | V
Zn | ug/g | 11.8701 | 20.1778 | 25.6847 | 26.9282 | 17.7714 | 21.5112 | 19.0243 | 19.568 | 20.8352 | 31.0391 | 20.2812 | 28.2636 | 14.2761 | 21.6774 | 23.9689 | 32.1426 | 47.5073 | 38.4108 | 39.2558 | 43.3204 | 27.8007 | Zn | ug/g |  |  | 16.4839 | 4.2641 | 3.38 | Zn | 93.0349 | 6.1154 | 10.4 - 17 | 13.1 - 27.5 | Zn | Zn | ug/g | 7 | 7 | 15 | 16 | Zn | 21.4971 | 13.0695 | 27.4778 | 22.663 | < 3 | 13.1 - 27.5 | Zn
[10 empty] | = analyzed using OEP-MS | [25 empty] | Brammer acquired samples from DOMTAR INC., CANADA
|  | 0.38079 | 0.94333 | 0.85143 | 1.1505 | 1.0379 | 1.0427 | 1.1112 | 0.41886 | 0.42401 | 0.40742 | 1.004 | 1.0495 | 0.93617 | 0.83925 | 0.95032 | 0.42846 | 0.48316 | 0.44638 | 0.40928 | 0.43548 | 0.46472 | [14 empty] | = in online catalogue, values listed within (parentheses)
[36 empty] | Br | ug/g | 0.5 | 0.4 | 1.7 | 1.3
[36 empty] | Cl |  | 12 | 34 | 156 | 234
[36 empty] | Cs | ug/g | 0.15 | 0.2 | 0.41 | 1.3
[36 empty] | Eu | ug/g | 0.06 | 0.07 | 0.12 | 0.17
[36 empty] | Hf | ug/g | 0.26 | 0.32 | 0.36 | 0.6
[36 empty] | La | ug/g | 0.24 | 0.56 | 3 | 5
[36 empty] | Lu | ug/g | 0.006 | 0.007 | 0.05 | 0.067
[36 empty] | Rb | ug/g | 0.8 | 4 | 11 | 25
[36 empty] | Sc | ug/g | 0.09 | 0.16 | 0.8 | 2
[36 empty] | Sm | ug/g | 0.041 | 0.074 | 0.45 | 0.83
[36 empty] | Ta | ug/g | < DL | < DL | < DL | 0.15
[36 empty] | Th |  | 0.1 | 0.15 | 0.51 | 1.3
[36 empty] | U |  | 0.1 | 0.23 | 0.72 | 0.65
[36 empty] | Yb |  | 0.02 | 0.03 | 0.17 | 0.44
[36 empty] | Zr |  | 9 | 16 | 28 | 29

## Brammer
EPA Method 3052
ICP-OES
|  | DOMTAR GypA | DOMTAR GypB | DOMTAR GypC | DOMTAR GypD
As | ug/g | 0.19 | 0.2 | 2.4 | 3
Ba | ug/g | 28 | 25 | 53 | 106
Br | ug/g | 0.5 | 0.4 | 1.7 | 1.3
Cd | ug/g | 0.51 | < DL | < DL | < DL
Ce | ug/g | 0.7 | 1.24 | 5 | 9
Cl |  | 12 | 34 | 156 | 234
Co | ug/g | 0.2 | 0.7 | 1.2 | 2.4
Cr | ug/g | 2 | 2 | 4 | 9
Cs | ug/g | 0.15 | 0.2 | 0.41 | 1.3
Eu | ug/g | 0.06 | 0.07 | 0.12 | 0.17
Hf | ug/g | 0.26 | 0.32 | 0.36 | 0.6
La | ug/g | 0.24 | 0.56 | 3 | 5
Lu | ug/g | 0.006 | 0.007 | 0.05 | 0.067
Mn | ug/g | 19 | 9 | 65 | 200
Rb | ug/g | 0.8 | 4 | 11 | 25
Sb | ug/g | 0.04 | 0.024 | 0.16 | 0.28
Sc | ug/g | 0.09 | 0.16 | 0.8 | 2
Sm | ug/g | 0.041 | 0.074 | 0.45 | 0.83
Ta | ug/g | < DL | < DL | < DL | 0.15
Th |  | 0.1 | 0.15 | 0.51 | 1.3
Ti | ug/g | 78 | 74 | 230 | 473
U |  | 0.1 | 0.23 | 0.72 | 0.65
V | ug/g | < DL | < DL | < DL | 17
Yb |  | 0.02 | 0.03 | 0.17 | 0.44
Zn | ug/g | 7 | 7 | 15 | 16
Zr |  | 9 | 16 | 28 | 29

## EPRI-OSU 2007
Source: Unpublished data from The Ohio State University collected under a current EPRI study
FGD Gypsum Samples: The two gypsum samples are from different power plants. Both burn subbitumnous coal and have forced oxidation. Neither plant washes the gypsum.
Gypsum Product Samples: Two different sources of agricultural gypsum, likely mixed with some other things to enhance agricultural performance. Both were in the form of prills (pelletized).
1a and 1b are subsamples of the same gypsum product.
Analysis: Samples were analyzed by microwave assisted digestion with nitric and hydrochloric acid.
All sample results are an average of two replicates.
|  | Ca | S | Al | Fe | Fe | K | Mg | Na | P | Si | As | B | Ba | Be | Cd | Co | Cr | Cu | Li | Mn | Mo | Ni | Pb | Sb | Se | Sr | V | Zn
OSU 1 | Gypsum Product 1a | 223713.0104 | 156968.8798 | 9938.7572 | 5628.9484 | 4602.4857 | 9779.0691 | 7005.6524 | 2697.121 | 4359.962 | 2134.8821 | 4.7107 | 40.7501 | 125.8 | <0.2 | 5.2454 | 2.316 | 98.4381 | 6.146 | 86.8201 | 132.3565 | 2.783 | 20.1897 | 2.6473 | 10.567 | <4.6 | 983.0221 | 73.6903 | 92.297
OSU 2 | Gypsum Product 1b | 228195.6485 | 142639.7835 | 8914.0907 | 4995.3063 | 4537.9256 | 9892.8435 | 7534.1083 | 2768.9155 | 4938.6995 | 1819.2373 | 4.8526 | 37.0642 | 120.8491 | <0.2 | 5.7213 | 2.1254 | 92.5523 | 5.0966 | 82.4298 | 122.569 | 2.4539 | 19.3362 | 1.6999 | 10.7112 | 5.5288 | 962.044 | 71.956 | 93.7728
OSU 3 | FGD Gypsum 1 | 201998.4679 | 186943.3483 | 2116.2231 | 1202.0469 | 959.6376 | 418.2989 | 7426.2962 | 577.2706 | 271.9508 | 1230.4316 | 3.4105 | 42.4368 | 81.8293 | <0.2 | 1.1938 | 1.0138 | 13.2064 | <0.8 | 48.8367 | 59.6551 | 1.8217 | 5.0159 | 2.1266 | 9.1437 | 18.8095 | 132.6571 | 29.7586 | 16.4839
OSU 4 | Gypsum Product 2 | 246589.8125 | 206711.8764 | 1516.0963 | 906.1217 | 835.9085 | 771.6028 | 1286.1032 | 239.638 | 12.9092 | 1151.4688 | <2.6 | 5.9402 | 67.9809 | <0.2 | 0.3494 | 0.7187 | 4.8037 | <0.8 | 31.1677 | 30.4947 | 0.85785 | 2.2476 | <1.5 | 6.9512 | <4.6 | 1334.4913 | 4.9295 | 6.1154
OSU 5 | FGD Gypsum 2 | 243252.1574 | 209181.6465 | 860.7105 | 1379.2338 | 1230.8912 | 479.6838 | 1039.8475 | <26 | 22.1146 | 879.74 | <2.6 | <3.0 | 71.316 | <0.2 | 0.2316 | 0.3174 | 5.1475 | <0.8 | 34.3034 | 160.4651 | 0.5861 | 2.3287 | <1.5 | 7.8271 | <4.6 | 146.019 | 4.0677 | 4.2641
|  |  | OSU 3 | OSU 5 |  | OSU 1 | OSU 2 |  | OSU 4
|  |  | FGD Gypsum 1 | FGD Gypsum 2 |  | Gypsum Product 1a | Gypsum Product 1b | (G+H)/2 | Gypsum Product 2
|  | Ca | 201998.4679 | 243252.1574 |  | 223713.0104 | 228195.6485 | 225954.3295 | 246589.8125
|  | S | 186943.3483 | 209181.6465 |  | 156968.8798 | 142639.7835 | 149804.3317 | 206711.8764
|  | Al | 2116.2231 | 860.7105 |  | 9938.7572 | 8914.0907 | 9426.4239 | 1516.0963
|  | Fe | 1202.0469 | 1379.2338 |  | 5628.9484 | 4995.3063 | 5312.1274 | 906.1217
|  | Fe | 959.6376 | 1230.8912 |  | 4602.4857 | 4537.9256 | 4570.2057 | 835.9085
|  | K | 418.2989 | 479.6838 |  | 9779.0691 | 9892.8435 | 9835.9563 | 771.6028
|  | Mg | 7426.2962 | 1039.8475 |  | 7005.6524 | 7534.1083 | 7269.8803 | 1286.1032
|  | Na | 577.2706 | <26 |  | 2697.121 | 2768.9155 | 2733.0183 | 239.638
|  | P | 271.9508 | 22.1146 |  | 4359.962 | 4938.6995 | 4649.3308 | 12.9092
|  | Si | 1230.4316 | 879.74 |  | 2134.8821 | 1819.2373 | 1977.0597 | 1151.4688
|  | As | 3.4105 | <2.6 |  | 4.7107 | 4.8526 | 4.7816 | <2.6
|  | B | 42.4368 | <3.0 |  | 40.7501 | 37.0642 | 38.9072 | 5.9402
|  | Ba | 81.8293 | 71.316 |  | 125.8 | 120.8491 | 123.3246 | 67.9809
|  | Be | <0.2 | <0.2 |  | <0.2 | <0.2 | <DL | <0.2
|  | Cd | 1.1938 | 0.2316 |  | 5.2454 | 5.7213 | 5.4833 | 0.3494
|  | Co | 1.0138 | 0.3174 |  | 2.316 | 2.1254 | 2.2207 | 0.7187
|  | Cr | 13.2064 | 5.1475 |  | 98.4381 | 92.5523 | 95.4952 | 4.8037
|  | Cu | <0.8 | <0.8 |  | 6.146 | 5.0966 | 5.6213 | <0.8
|  | Li | 48.8367 | 34.3034 |  | 86.8201 | 82.4298 | 84.6249 | 31.1677
|  | Mn | 59.6551 | 160.4651 |  | 132.3565 | 122.569 | 127.4627 | 30.4947
|  | Mo | 1.8217 | 0.5861 |  | 2.783 | 2.4539 | 2.6185 | 0.85785
|  | Ni | 5.0159 | 2.3287 |  | 20.1897 | 19.3362 | 19.763 | 2.2476
|  | Pb | 2.1266 | <1.5 |  | 2.6473 | 1.6999 | 2.1736 | <1.5
|  | Sb | 9.1437 | 7.8271 |  | 10.567 | 10.7112 | 10.6391 | 6.9512
|  | Se | 18.8095 | <4.6 |  | <4.6 | 5.5288 | 5.5 | <4.6
|  | Sr | 132.6571 | 146.019 |  | 983.0221 | 962.044 | 972.5331 | 1334.4913
|  | V | 29.7586 | 4.0677 |  | 73.6903 | 71.956 | 72.8231 | 4.9295
|  | Zn | 16.4839 | 4.2641 |  | 92.297 | 93.7728 | 93.0349 | 6.1154