The following text specifies that the design shall result in a facility that’s designed to earn the Environmental Protection Agency’s (EPA) ENERGY STAR®.  The design may be eligible to receive the ENERGY STAR special application graphic, which denotes that the estimated energy use is intended to be in the top 25% as compared to the U.S. building stock.  Once the building is built and operating for at least one year, it may qualify to receive the ENERGY STAR plaque.

The architecture firm of record can apply to for the “Designed to Earn the ENERGY STAR” graphic from EPA, for a specified project. The design firm must demonstrate that the final estimate of the building’s energy use corresponds to a rating of 75 or better using the U.S. EPA’s Energy Performance Rating from the Internet based tool Target Finder.

The EPA energy performance rating is derived from fuel consumption data of existing commercial buildings, which includes the total energy use associated with the buildings.  Therefore, design energy use must include all fuel sources and total estimated energy use for building design.  An incomplete design energy use profile could result in a high but inaccurate rating.  Gaps in energy analysis must be addressed in order for the rating to be a useful indicator of future performance.

The building owner can apply for the ENERGY STAR plaque by demonstrating that, after at least one year of operation, the building energy consumption from utility bills must (1) rate 75 or higher by using the U.S. EPA’s Energy Performance Rating from the Internet based tool Portfolio Manager; and (2) meet specific indoor environmental quality standards.

Instructions for using this document

This document may be modified to suit various conditions. A client may use it in a request for proposal, or it may be incorporated in the contractual arrangement between client and architecture firm, construction documents and/or in a lease agreement.  The specification includes language for both building design and the occupied building.

Use the document to state energy goals in Construction Documents and include the language in the Supplementary General Conditions Section.

Including this building energy performance specification signals a commitment to design, build, and operate a building with superior energy performance—one whose energy use, greenhouse gas emissions, and costs-to-operate are lower than 75% of comparable buildings nationwide.

- Recommended Designer Scope of Work or Request for Proposal Language:

  - Pre-Design or Programming Phase:  The designer shall assist the owner in developing a scope of work, project budget and schedule, and assemble a multi-disciplinary team to execute an integrated design approach and to establish an energy performance target that exceeds the Energy Star rating of 75, generated by from the U.S. EPA’s Energy Performance Rating tool Target Finder, on the http://www.energystar.gov/newbuildingdesign  Web page.  All references to the use of the EPA energy performance rating system and Target Finder are dependent on the building being one of the space types handled by Target Finder. The design team shall conduct a comprehensive charrette to address architecture, energy and environmental issues.

  - Schematic Design Phase:  Design team members shall explore strategies to achieve an EPA rating of 75 or greater.

  - Design Development:  Design team members shall fine tune original design strategies and methodologies.  Energy performance shall be adjusted and evaluated using U.S. EPA’s Target Finder for each phase of design development.

  - Construction Documents.

    - Design team members shall fully develop and document energy performance strategies and methodologies for the project.  Design team shall review progress and adjust strategies and systems to meet or exceed ENERGY STAR criteria for building design.

    - Specification Content: The Specifications in the Project Manual shall include	and reference the “Statement of Energy Design Intent,” generated from U.S. EPA’s Target Finder, at completion construction documents.  A copy of the original Statement of Energy Design Intent shall be included and sealed by a licensed architect or engineer as evidence in the application to U.S. EPA, showing that the energy design intent meets or exceeds Energy Star standards.

    - The architect of record shall apply for the “Designed to Earn the ENERGY STAR” graphic.  This graphic shall be affixed in the drawing’s title block and	may also be affixed to other related Construction Documents for the specified project.

- Recommended Specification Language:

  - Summary, Administration, or Supplementary General Conditions Section:

    - This project is designed to achieve an EPA rating of 75 or higher.  The designer has filed a Statement of Energy Design Intent, generated from Target Finder, with the U.S. EPA.  The Contractor shall adhere to products, methods, and quality levels specified in the construction documents.  Any proposed substitutions must be submitted according to the procedures defined herein.  Substitutions that may alter the energy performance goals of the project will not be approved.  No substitutions are permitted without approval of the design team.

  - Commissioning or Administration Section:

    - The owner has employed a Commissioning Agent (independent of the design team) that shall provide documented confirmation that building systems function in compliance with energy performance goals set forth in the Project Documents to satisfy the owner's operational needs.  The Contractor shall assist the Commissioning Agent by performing testing, and documenting procedures necessary to verify compliance with intended operation of specified systems.  The Contractor’s Commissioning responsibilities are indicated within the drawings and individual specification sections.

    - The Commissioning Agent shall measure and track actual energy consumption of the building’s systems to determine if energy performance goals are being achieved and maintained.  The Contractor will make needed adjustments and corrections prior to expiration of the ___ year warranty period.

  - Post Occupancy:

    - ENERGY STAR Building Certification shall be achieved within 14 months of reaching 95% occupancy if the building is one of the space types handled by EPA’s energy performance rating system. The building’s annual energy use shall be benchmarked (rated) against its peers using Portfolio Manager at  http://www.energystar.gov/index.cfm?c=evaluate_performance.bus_portfoliomanager   A copy of the original “Statement of Energy Performance” shall be included and sealed by a professional engineer as evidence in the application to U.S. EPA, showing that the energy performance meets or exceeds Energy Star standards.