## Programmable Thermostat Savings
Life Cycle Cost Estimate for
1 ENERGY STAR Qualified Programmable Thermostat(s)
This energy savings calculator was developed by the U.S. EPA and U.S. DOE and is provided for estimating purposes only. Actual energy savings may vary based on use and other factors.
Enter your own values in the gray boxes or use our default values.
4
| Number of Units |  | 1 |  | 24 Hour Typical Usage Patterns*
| Initial Cost per ENERGY STAR Unit (retail price) |  | 92 |  |  |  | Weekday | Weekend
| Initial Cost per Conventional Unit (retail price) |  | 73 |  | Nighttime Set-Back/Set-Up Hours |  | 8 | 8
| Unit Fuel Cost (Cooling) ($/kWh) |  | 0.09706 |  | Daytime Set-Back/Set-Up Hours |  | 10 | 10
| Unit Fuel Cost (Heating) ($/Therm) |  | 1.3423 |  | Hours without Set-Back/Set-Up |  | 6 | 6
City
| Heating Season* |  |  |  | Cooling Season*
| Typical Indoor Temperature w/o Set-Back |  | 70 |  | Typical Indoor Temperature w/o Set-Up |  |  | 78
| Nighttime Set-Back Temperature (Average) |  | 62 |  | Nighttime Set-Up Temperature (Average) |  |  | 82
| Daytime Set-Back Temperature (Average) |  | 62 |  | Daytime Set-Up Temperature (Average) |  |  | 85
| Heating System Type |  |  |  | Cooling System Type
*All temperatures are in degrees Fahrenheit. Setpoint is defined as the temperature setting for any given time period. Set-back temperature is defined as the lower setpoint temperature for the energy-savings periods during the heating season, generally nighttime and daytime. Set-up temperature is defined as the higher setpoint temperature for the energy-savings periods during the cooling season, generally nighttime and daytime.
Annual and Life Cycle Costs and Savings for 1 Programmable Thermostat(s)
|  | 1 ENERGY STAR Unit(s) |  |  | 1 Conventional Unit(s) |  | Savings with ENERGY STAR
Annual Energy Costs
| Heating Energy Cost |  | 576.8202 |  |  | 703.4393 |  | 126.6191
| Heating Energy Consumption (MBTU) |  | 42.9725 |  |  | 52.4055 |  | 9.433
| Cooling Energy Cost |  | 169.8529 |  |  | 227.9905 |  | 58.1376
| Cooling Energy Consumption (MBTU) |  | 5.9499 |  |  | 7.9865 |  | 2.0366
| Total |  | 746.6731 |  |  | 931.4297 |  | 184.7566
Life Cycle Costs
| Energy Costs |  | 8301.8008 |  |  | 10355.9967 |  | 2054.1959
| Heating Energy Costs |  | 6413.3104 |  |  | 7821.1103 |  | 1407.7999
| Heating Energy Consumption (MBTU) |  | 644.5879 |  |  | 786.0828 |  | 141.4949
| Cooling Energy Costs |  | 1888.4904 |  |  | 2534.8864 |  | 646.396
| Cooling Energy Consumption (MBTU) |  | 89.2489 |  |  | 119.7972 |  | 30.5483
| Purchase Price for 1 Unit(s) |  | 92 |  |  | 73 |  | -19
| Total |  | 8393.8008 |  |  | 10428.9967 |  | 2035.1959
[7 empty] | Simple payback of initial cost (years) | 0.10284
Summary of Benefits for 1 Programmable Thermostat(s)
| Initial cost difference | [6 empty] | 19
| Life cycle savings | [6 empty] | 2054.1959
| Net life cycle savings (life cycle savings - additional cost) | [6 empty] | 2035.1959
| Life cycle energy saved (MBTU)-includes both Heating and Cooling | [6 empty] | 172.0432
| Simple payback of additional cost (years) | [6 empty] | 0.10284
| Life cycle air pollution reduction (lbs of CO2) | [6 empty] | 25541.4995
| Air pollution reduction equivalence (number of cars removed from the road for a year) | [6 empty] | 2.2268
| Air pollution reduction equivalence (acres of forest) | [6 empty] | 3.1666
| Savings as a percent of retail price | [6 empty] | 2212%
Choose your city from the drop-down menu

## Assumptions
Assumptions for Programmable Thermostats
| Category | Value |  | Data Source
Heating/Cooling System Efficiencies
| Gas Furnace | 84 |  | LBNL 2004, Average of ENERGY STAR and Conventional
| Gas Boiler | 82.5 |  | LBNL 2004, Average of ENERGY STAR and Conventional
| Oil Furnace | 84 |  | LBNL 2004, Average of ENERGY STAR and Conventional
| Oil Boiler | 82.5 |  | LBNL 2004, Average of ENERGY STAR and Conventional
Baseline Energy Consumption (MBTU)
| Gas Furnace | 54.0964 |  | DOE 2001
| Gas Boiler | 56.0815 |  | DOE 2001
| Oil Furnace | 68.7166 |  | DOE 2001
| Oil Boiler | 71.2381 |  | DOE 2001
| Central Air Conditioner | 9.5 |  | DOE 2001
Reference Degree Days (Heating/Cooling)
| Gas Furnace | 4255 |  | DOE 2001
| Gas Boiler | 4255 |  | DOE 2001
| Oil Furnace | 5339 |  | DOE 2001
| Oil Boiler | 5339 |  | DOE 2001
| Central Air Conditioner |  | 1701 | DOE 2001
| Typical Indoor Temperature (Heating Season) | 70 |  | ENERGY STAR Programmable Thermostat Eligibility Criteria. Pre-programmed settings for heating include a morning and evening temperature ≤70°F and an adjustment of at least 8°F (≤62°F) during daytime and nighttime.
| Typical Indoor Temperature (Cooling Season) | 78 |  | ENERGY STAR Programmable Thermostat Eligibility Criteria. Pre-programmed settings for cooling include a morning and evening temperature ≥78°F and an adjustment of at least 7°F (≥85°F) during daytime and an adjustment of at least 4°F (≥82°F) at nighttime.
| Energy Prices |  |  |  | 1
| Natural Gas ($/Therm) | 1.3423 | $/Therm | EIA 2007
| Fuel Oil ($/Gallon) | 2.41 | $/gal | EIA 2007
| Electric Price (Residential) | 0.09706 | $/kWh | EIA 2007
Usage
| Nighttime Hours | 8 |  | Default shipped setting, ENERGY STAR specification
| Daytime Hours | 10 |  | Default shipped setting, ENERGY STAR specification
Carbon Dioxide Emissions Factors
| Oil Carbon Emission Factor | 161.27 | lbs CO2/MBtu | EPA 2007
| Gas Carbon Emission Factor | 116.97 | lbs CO2/MBtu | EPA 2007
| Electricity Carbon Emission Factor | 1.535 | lbs CO2/kWh | EPA 2006
Thermostat Savings
| Savings per Degree of Setback (Heating Season) | 3% |  | Industry Data 2004
| Savings per Degree of Setback (Cooling Season) | 6% |  | Industry Data 2004
| Thermostat Lifetime | 15 | years | LBNL 2007
Initial Cost
| ENERGY STAR Programmable Thermostat | 92 |  | Industry Data 2008
| Conventional Thermostat | 73 |  | Industry Data 2008
CO2 Equivalents
| Annual CO2 sequestration per forested acre | 8066 | lbs CO2/acre-yr | EPA 2004
| Annual CO2 emissions for "average" passenger car | 11470 | lbs CO2/acre-yr | EPA 2004
Discount Rate
| Commercial and Residential Discount Rate (real) | 4% |  | A real discount rate of 4 percent is assumed, which is roughly equivalent to the nominal discount rate of 7 percent (4 percent real discount rate + 3 percent inflation rate).
31
| Climate Data Heating and Cooling Degree Days | Heating | Cooling
| For Selected City | 4122 | 1430
1 | AK-Anchorage | 10816 | 0 | EPA 2002
2 | AK-Barrow | 20370 | 0 | EPA 2002
3 | AK-Fairbanks | 14274 | 70 | EPA 2002 |  |  | Control Matrix
4 | AK-Juneau | 9105 | 0 | EPA 2002
5 | AK-Nome | 14371 | 0 | EPA 2002 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
6 | AL-Birmingham | 2863 | 1881 | EPA 2002 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
7 | AL-Huntsville | 3279 | 1708 | EPA 2002 |  | 4 4: Efficiency; 5 5: Original; 10 10: Not Used
8 | AL-Mobile | 1695 | 2643 | EPA 2002 |  |  | Technology | Consumption | Adjusted Consumption (1) | Units(2) | in MBTU's | Efficiency | Avg. HDD's | Avg. CDD's | Cost/Unit | MBTU/Unit | Savings | Total Savings | $/MBTU | CO2 Offset
9 | AL-Montgomery | 2277 | 2274 | EPA 2002 |  | 1 1: 2; 12 12: /degree
10 | AR-Fort Smith | 3477 | 1969 | EPA 2002 |  | 1 1: 1; 2 2: None
11 | AR-Little Rock | 3152 | 2045 | EPA 2002 |  | 2 | Gas Furnace | 54 | 530.3571 | TCF | 54.0964 | 84 | 4255 |  | 1.3423 | 0.1 | 1.5722 | 9.433 | 13.423 | 1103.3772
12 | AZ-Flagstaff | 7254 | 127 | EPA 2002 |  | 3 | Gas Boiler | 54 | 549.8182 | TCF | 56.0815 | 82.5 | 4255 |  | 1.3423 | 0.1 | 1.6299 | 9.7791 | 13.423 | 1143.8648
13 | AZ-Phoenix | 1442 | 3746 | EPA 2002 |  | 4 | Oil Furnace | 507 | 497.9464 | gallons | 68.7166 | 84 | 5339 |  | 1.3423 | 0.14 | 1.5916 | 9.5495 | 9.5879 | 1117.0093
14 | AZ-Tucson | 1734 | 2840 | EPA 2002 |  | 5 | Oil Boiler | 507 | 516.2182 | gallons | 71.2381 | 82.5 | 5339 |  | 1.3423 | 0.14 | 1.65 | 9.8999 | 9.5879 | 1157.997
15 | AZ-Winslow | 4839 | 1187 | EPA 2002 |  | 2 2: (for gas); 3 3: in TCF; 4 4: in Therms
16 | AZ-Yuma | 983 | 4244 | EPA 2002
17 | CA-Beverly Hills | 1383 | 729 | EPA 2002
18 | CA-Los Angeles | 1204 | 1339 | EPA 2002 |  | 1 1: 2
19 | CA-Palm Springs | 1024 | 3836 | EPA 2002 |  | 1 1: 1; 2 2: None
20 | CA-Sacramento | 2772 | 1198 | EPA 2002 |  | 2 | Central AC | 2796 | 2796 | kWh | 9.5 |  |  | 1701 | 0.09706 | 0.0034 | 0.47919 | 2.0366 | 28.5471 | 599.3894
21 | CA-San Diego | 1284 | 842 | EPA 2002
22 | CA-San Francisco | 3071 | 56 | EPA 2002 |  | 2 2: Heating Setpoint (Weighted Average); 4 4: 64
23 | CA-Stockton | 2674 | 1448 | EPA 2002 |  | 2 2: Cooling Setpoint (Weighted Average); 4 4: 82.25
24 | CO-Alamosa | 8717 | 69 | EPA 2002
25 | CO-Colorado Springs | 6346 | 501 | EPA 2002 |  | 2 2: 1. Consumption normalized to reflect the efficiencies of different heating/cooling technology
26 | CO-Denver | 6014 | 680 | EPA 2002 |  | 2 2: 2. TCF=Thousand Cubic Feet
27 | CO-Grand Junction | 5683 | 1205 | EPA 2002
28 | CO-Pueblo | 5465 | 1042 | EPA 2002
29 | CT-Bridgeport | 5501 | 746 | EPA 2002 |  | 2 2: 64; 3 3: 45.7143
30 | CT-Hartford | 6174 | 666 | EPA 2002 |  | 2 2: 64; 3 3: 18.2857
31 | DC-Washington | 4122 | 1430 | EPA 2002 |  | 3 3: 64
32 | DE-Wilmington | 4986 | 1015 | EPA 2002
33 | FL-Daytona Beach | 900 | 2878 | EPA 2002
34 | FL-Fort Myers | 441 | 3699 | EPA 2002
35 | FL-Gainesville | 1259 | 2599 | EPA 2002
36 | FL-Jacksonville | 1402 | 2520 | EPA 2002
37 | FL-Key West | 114 | 4756 | EPA 2002
38 | FL-Miami | 199 | 4095 | EPA 2002
39 | FL-Orlando | 656 | 3401 | EPA 2002
40 | FL-Pensacola | 1571 | 2680 | EPA 2002
41 | FL-Tallahassee | 1652 | 2492 | EPA 2002
42 | FL-Tampa | 739 | 3324 | EPA 2002
43 | FL-W. Palm Beach | 262 | 3769 | EPA 2002
44 | GA-Athens | 2965 | 1680 | EPA 2002
45 | GA-Atlanta | 3021 | 1670 | EPA 2002
46 | GA-Augusta | 2568 | 1935 | EPA 2002
47 | GA-Columbus | 2356 | 2152 | EPA 2002
48 | GA-Macon | 2279 | 2217 | EPA 2002
49 | GA-Savannah | 1921 | 2290 | EPA 2002
50 | HI-Hilo | 0 | 3134 | EPA 2002
51 | HI-Honolulu | 0 | 4389 | EPA 2002
52 | IA-Des Moines | 6554 | 1019 | EPA 2002
53 | IA-Dubuque | 7375 | 580 | EPA 2002
54 | IA-Sioux City | 6947 | 940 | EPA 2002
55 | IA-Waterloo | 7537 | 667 | EPA 2002
56 | ID-Boise | 5802 | 742 | EPA 2002
57 | ID-Lewiston | 5429 | 742 | EPA 2002
58 | ID-Pocatello | 7123 | 445 | EPA 2002
59 | IL-Chicago | 6455 | 740 | EPA 2002
60 | IL-Moline | 6498 | 899 | EPA 2002
61 | IL-Peoria | 6226 | 948 | EPA 2002
62 | IL-Rockford | 6952 | 714 | EPA 2002
63 | IL-Springfield | 5654 | 1165 | EPA 2002
64 | IN-Evansville | 4729 | 1378 | EPA 2002
65 | IN-Fort Wayne | 6320 | 786 | EPA 2002
66 | IN-Indianapolis | 5650 | 988 | EPA 2002
67 | IN-South Bend | 6377 | 710 | EPA 2002
68 | KS-Dodge City | 5059 | 1479 | EPA 2002
69 | KS-Goodland | 6099 | 934 | EPA 2002
70 | KS-Topeka | 5319 | 1380 | EPA 2002
71 | KS-Wichita | 4787 | 1684 | EPA 2002
72 | KY-Lexington | 4814 | 1170 | EPA 2002
73 | KY-Louisville | 4525 | 1342 | EPA 2002
74 | KY-Paducah | 4283 | 1491 | EPA 2002
75 | LA-Baton Rouge | 1673 | 2605 | EPA 2002
76 | LA-Lake Charles | 1579 | 2682 | EPA 2002
77 | LA-New Orleans | 1490 | 2686 | EPA 2002
78 | LA-Shreveport | 2269 | 2444 | EPA 2002
79 | MA-Boston | 5593 | 699 | EPA 2002
80 | MA-Worcester | 6950 | 359 | EPA 2002
81 | MD-Baltimore | 4706 | 1138 | EPA 2002
82 | ME-Caribou | 9616 | 147 | EPA 2002
83 | ME-Portland | 7501 | 254 | EPA 2002
84 | MI-Alpena | 8410 | 180 | EPA 2002
85 | MI-Detroit | 6563 | 615 | EPA 2002
86 | MI-Flint | 7068 | 456 | EPA 2002
87 | MI-Grand Rapids | 6927 | 570 | EPA 2002
88 | MI-Lansing | 6987 | 530 | EPA 2002
89 | MI-Marquette | 9520 | 148 | EPA 2002
90 | MI-Muskegon | 6925 | 451 | EPA 2002
91 | MI-Sault St Marie | 9305 | 131 | EPA 2002
92 | MN-Duluth | 9901 | 150 | EPA 2002
93 | MN-International Falls | 10604 | 216 | EPA 2002
94 | MN-Minneapolis | 8007 | 662 | EPA 2002
95 | MN-Rochester | 8277 | 479 | EPA 2002
96 | MN-St. Cloud | 8965 | 397 | EPA 2002
97 | MO-Columbia | 5206 | 1269 | EPA 2002
98 | MO-Kansas City | 5283 | 1333 | EPA 2002
99 | MO-Springfield | 4660 | 1374 | EPA 2002
100 | MO-St. Louis | 4938 | 1468 | EPA 2002
101 | MS-Jackson | 2389 | 2290 | EPA 2002
102 | MS-Meridian | 2479 | 2158 | EPA 2002
103 | MS-Tupelo | 3088 | 1961 | EPA 2002
104 | MT-Billings | 7212 | 553 | EPA 2002
105 | MT-Glasgow | 8940 | 465 | EPA 2002
106 | MT-Great Falls | 7766 | 391 | EPA 2002
107 | MT-Havre | 8660 | 420 | EPA 2002
108 | MT-Helena | 8176 | 294 | EPA 2002
109 | MT-Kalispell | 8361 | 177 | EPA 2002
110 | MT-Miles city | 7891 | 776 | EPA 2002
111 | MT-Missoula | 7839 | 216 | EPA 2002
112 | NC-Asheville | 4294 | 842 | EPA 2002
113 | NC-Charlotte | 3342 | 1546 | EPA 2002
114 | NC-Greensboro | 3874 | 1303 | EPA 2002
115 | NC-Raleigh | 3531 | 1394 | EPA 2002
116 | NC-Wilmington | 2469 | 1904 | EPA 2002
117 | ND-Bismarck | 9075 | 473 | EPA 2002
118 | ND-Fargo | 9343 | 476 | EPA 2002
119 | ND-Williston | 9241 | 440 | EPA 2002
120 | NE-Grand Island | 6482 | 1028 | EPA 2002
121 | NE-Lincoln | 6375 | 1124 | EPA 2002
122 | NE-Norfolk | 7005 | 935 | EPA 2002
123 | NE-North Platte | 6909 | 773 | EPA 2002
124 | NE-Omaha | 6592 | 964 | EPA 2002
125 | NE-Scottsbluff | 6702 | 728 | EPA 2002
126 | NH-Concord | 7482 | 353 | EPA 2002
127 | NJ-Atlantic City | 4763 | 832 | EPA 2002
128 | NJ-Newark | 4972 | 1091 | EPA 2002
129 | NM-Albuquerque | 4414 | 1254 | EPA 2002
130 | NM-Roswell | 3126 | 1863 | EPA 2002
131 | NV-Elko | 7248 | 406 | EPA 2002
132 | NV-Ely | 7700 | 192 | EPA 2002
133 | NV-Las Vegas | 2532 | 3029 | EPA 2002
134 | NV-Reno | 6030 | 357 | EPA 2002
135 | NV-Winnemucca | 6409 | 505 | EPA 2002
136 | NY-Albany | 6927 | 494 | EPA 2002
137 | NY-Binghamton | 7344 | 330 | EPA 2002
138 | NY-Buffalo | 6798 | 476 | EPA 2002
139 | NY-New York | 4868 | 1089 | EPA 2002
140 | NY-Rochester | 6713 | 531 | EPA 2002
141 | NY-Syracuse | 6787 | 506 | EPA 2002
142 | OH-Akron | 6241 | 625 | EPA 2002
143 | OH-Cincinnati | 5247 | 1037 | EPA 2002
144 | OH-Cleveland | 6178 | 612 | EPA 2002
145 | OH-Columbus | 5686 | 862 | EPA 2002
146 | OH-Dayton | 5689 | 947 | EPA 2002
147 | OH-Mansfield | 6249 | 652 | EPA 2002
148 | OH-Toledo | 6570 | 622 | EPA 2002
149 | OH-Youngstown | 6560 | 485 | EPA 2002
150 | OK-Oklahoma City | 3735 | 1914 | EPA 2002
151 | OK-Tulsa | 3731 | 2043 | EPA 2002
152 | OR-Astoria | 5248 | 14 | EPA 2002
153 | OR-Eugene | 4799 | 261 | EPA 2002
154 | OR-Medford | 4798 | 645 | EPA 2002
155 | OR-Pendleton | 5263 | 726 | EPA 2002
156 | OR-Portland | 4691 | 332 | EPA 2002
157 | OR-Salem | 4974 | 238 | EPA 2002
158 | PA-Allentown | 5815 | 751 | EPA 2002
159 | PA-Erie | 6768 | 402 | EPA 2002
160 | PA-Harrisburg | 5335 | 1006 | EPA 2002
161 | PA-Philadelphia | 4947 | 1075 | EPA 2002
162 | PA-Pittsburgh | 5950 | 645 | EPA 2002
163 | PA-Scranton | 6330 | 569 | EPA 2002
164 | PA-Williamsport | 6047 | 659 | EPA 2002
165 | RI-Providence | 5908 | 574 | EPA 2002
166 | SC-Charleston | 1868 | 2304 | EPA 2002
167 | SC-Columbia | 2629 | 2033 | EPA 2002
168 | SC-Greenville | 3239 | 1501 | EPA 2002
169 | SD-Aberdeen | 8570 | 589 | EPA 2002
170 | SD-Huron | 8103 | 738 | EPA 2002
171 | SD-Rapid City | 7301 | 667 | EPA 2002
172 | SD-Sioux Falls | 7885 | 749 | EPA 2002
173 | TN-Bristol | 4356 | 1066 | EPA 2002
174 | TN-Chattanooga | 3583 | 1578 | EPA 2002
175 | TN-Knoxville | 3658 | 1449 | EPA 2002
176 | TN-Memphis | 3207 | 2067 | EPA 2002
177 | TN-Nashville | 3756 | 1661 | EPA 2002
178 | TX-Abilene | 2621 | 2467 | EPA 2002
179 | TX-Amarillo | 4231 | 1428 | EPA 2002
180 | TX-Austin | 1760 | 2914 | EPA 2002
181 | TX-Brownsville | 609 | 3772 | EPA 2002
182 | TX-Corpus Christi | 970 | 3574 | EPA 2002
183 | TX-Dallas | 2407 | 2809 | EPA 2002
184 | TX-Del Rio | 1510 | 3272 | EPA 2002
185 | TX-El Paso | 2664 | 2096 | EPA 2002
186 | TX-Galveston | 1253 | 2967 | EPA 2002
187 | TX-Houston | 1549 | 2761 | EPA 2002
188 | TX-Lubbock | 3516 | 1676 | EPA 2002
189 | TX-Midland | 2658 | 2126 | EPA 2002
190 | TX-Port Arthur | 1477 | 2861 | EPA 2002
191 | TX-San Angelo | 2313 | 2596 | EPA 2002
192 | TX-San Antonio | 1606 | 2983 | EPA 2002
193 | TX-Victoria | 1273 | 3184 | EPA 2002
194 | TX-Waco | 2126 | 2891 | EPA 2002
195 | TX-Wichita Falls | 3011 | 2506 | EPA 2002
196 | UT-Salt Lake City | 5802 | 981 | EPA 2002
197 | VA-Lynchburg | 4323 | 1074 | EPA 2002
198 | VA-Norfolk | 3446 | 1458 | EPA 2002
199 | VA-Richmond | 3960 | 1336 | EPA 2002
200 | VA-Roanoke | 4315 | 1085 | EPA 2002
201 | VT-Burlington | 7953 | 379 | EPA 2002
202 | WA-Olympia | 5709 | 94 | EPA 2002
203 | WA-Seattle | 4681 | 200 | EPA 2002
204 | WA-Spokane | 6882 | 411 | EPA 2002
205 | WA-Walla Walla | 4807 | 863 | EPA 2002
206 | WA-Yakima | 6031 | 484 | EPA 2002
207 | WI-Green Bay | 8143 | 381 | EPA 2002
208 | WI-La Crosse | 7540 | 683 | EPA 2002
209 | WI-Madison | 7642 | 467 | EPA 2002
210 | WI-Milwaukee | 7326 | 470 | EPA 2002
211 | WV-Beckley | 5577 | 466 | EPA 2002
212 | WV-Charleston | 4697 | 1007 | EPA 2002
213 | WV-Elkins | 6045 | 378 | EPA 2002
214 | WV-Huntington | 4676 | 1121 | EPA 2002
215 | WY-Casper | 7642 | 457 | EPA 2002
216 | WY-Cheyenne | 7310 | 309 | EPA 2002
217 | WY-Lander | 7905 | 436 | EPA 2002
218 | WY-Sheridan | 7841 | 419 | EPA 2002
| For questions or comments, please send your email to: | Escalcs@cadmusgroup.com
updated 06/08