Table 4-6

Field Blank Concentrations and Precisions (g/filter)

for Imperial Valley/Mexicali PM10 SFS Filter Samples

Total No.

Blankb	Blankc	Average	Field Blank	Root Mean Squared	of Blanks

Speciesa	Subtracted (Bi)	Precision (Bi)	Field Blank	Std. Dev. (STDBi)	Blank Precision (RMSI)	in Average

MSGC	20.9074	16.0721	20.9074	16.0721	8.7700	54

BBDC	0.0000	0.0100	0.0075	0.0076	0.0100	48

CLIC

a	See Tables 3-4 and 3-5 for species identification.

b	Values used in data processing.  Non-zero average blank concentrations are subtracted when the average blank exceeds its standard deviation.

c	Larger of either the analytical precision or standard deviation from the field.