## Sheet1
Table 4-9
Intersampler Comparison of PM10 Concentrations at the Calexico and Mexicali Sites
|  |  |  | Corr.d | [6 empty] | Avg.g
Samplera |  | Slopeb | Interceptc | Coeff. | No. of |  | % Distributionf |  |  |  | Diff. | Precision (µg/m3)
Y | X | (µg/m3) | (µg/m3) | (r) | Pairs | Avg. Ratioe | <1s | 1-2s | 2-3s | >3s | (µg/m3) | Collocatedh | RMSi | P>¦T¦j
I. Calexico Site
POR | SFS | 1.05±0.03 | 2.70±1.88 | 0.98 | 62 | 0.98±0.18 | 63 | 27 | 10 | 0 | 0.16 | 8.47 | 7.34 | 0.88
SSI | SFS | 1.19±0.02 | 5.02±1.68 | 0.98 | 82 | 1.32±0.24 | 28 | 43 | 17 | 12 | 15.72 | 10.86 | 9.42 | 0.0001
DIC | SFS | 1.11±0.04 | -2.21±2.32 | 0.96 | 71 | 1.09±0.18 | 56 | 28 | 13 | 3 | 3.81 | 10.83 | 6.96 | 0.0044
BAM | SFS | 1.10±0.06 | 3.29±2.95 | 0.94 | 45 | 1.20±0.27 | 47 | 31 | 4 | 18 | 7.63 | 9.63 | 6.63 | 0.0001
SSI | POR | 1.08±0.05 | 10.25±3.11 | 0.96 | 50 | 1.39±0.37 | 36 | 32 | 18 | 14 | 14.99 | 12.6 | 9.47 | 0.0001
DIC | POR | 0.88±0.05 | 9.87±3.26 | 0.92 | 47 | 1.15±0.29 | 55 | 19 | 9 | 17 | 3.74 | 11.82 | 6.48 | 0.0372
BAM | POR | 0.86±0.09 | 14.47±5.13 | 0.91 | 21 | 1.34±0.40 | 24 | 52 | 10 | 14 | 7.78 | 13.76 | 7.65 | 0.02
SSI | DIC | 1.00±0.03 | 10.56±2.41 | 0.96 | 82 | 1.22±0.23 | 52 | 29 | 12 | 6 | 10.64 | 11.67 | 9.81 | 0.0001
BAM | DIC | 1.00±0.08 | 6.34±4.48 | 0.91 | 34 | 1.14±0.26 | 56 | 32 | 3 | 9 | 6.43 | 10.82 | 7.56 | 0.0017
SSI | BAM | 0.97±0.07 | 4.09±4.41 | 0.93 | 33 | 1.06±0.18 | 73 | 12 | 15 | 0 | 2.5 | 10.01 | 9.26 | 0.19
II. Mexicali Site
POR | SFS | 1.07±0.06 | 2.36±8.43 | 0.93 | 49 | 1.03±0.33 | 53 | 16 | 12 | 18 | 5.6 | 34.04 | 12.64 | 0.26
a POR=Low-volume Portable PM10 Survey Sampler; SFS=Medium-volume Sequential Filter Sampler; SSI=High-volume size-selective inlet PM10 sampler; DIC=Low-volume dichotomous sampler; BAM=Beta Attenuation Monitor.
b Regression slope with standard error.
c Regression intercept with standard error.
d Correlation coefficient.
e Average of Y/X and standard deviation of this ratio.
f Percentage of data pairs falling into the specified precision intervals, where each precision interval is equal to root mean square (RMS) of the sum of the squared precisions of the X and Y samplers.
g Average of X minusY.
h Collocated precision or standard deviation of X minusY.
i RMS precision of the difference between X and Y, the root mean square (RMS) of the sum of the squared precisions of X and Y.
j Probability of a greater absolute value for Student's T under the hypothesis that the difference between X and Y is zero.