Some Examples of Medical Center Decon Consumables (not all facilities will require all these materials)

| Decon Shower Corridor Supplies |  |
| --- | --- |
| Item | Quantity |
| Plastic tarps, tents, frames, etc. | As needed to construct DECON Corridors |
| Shower Curtains (weighted bottoms), | As needed at ends of Disrobe & DECON Corridors to Louvered Doors, privacy screens maintain privacy and to warm temperature in cold weather; Ideally, have double door/curtain system for entrances to avoid clear “line of sight” into Disrobe/DECON areas by onlookers |
| Showers, Standard heads, adjustable flow |  |
| Raised flooring | As needed to keep patients above wash waster |
| Towlettes (disposable) | Box of 220 1 box for every two AMB shower, 1 per NON-AMB DECON station |
| Water supply | Adjustable temperature (warm), flow rate of approx 6 gal/min per showerhead |
| Fan (Free standing), grounded, large | 1 per At-Risk Entrance* |
| Trash Can (50 gallon), plastic | 2 for each DECON Corridor |
| Biohazard “Red” Bags | For each Trash Can plus replacements |
| Trash Buckets (1 gallon) | 1 placed with every towlette box (for used towlettes) |
| Plastic Buckets (2 gallon) | 4: for holding wash water for NON-AMB DECON |
| Brushes, soft bristle, long handle | Multiple: for use in washing NON AMB DECON patients |
| Liquid Soap Containers | 1 liter with 1 per AMB shower, 2 per NON-AMB DECON station large volume dispenser |
| Liquid Soap, | liquid hand or dish soap or adequate amount to fill and re-fill Soap Dispensers shampoo - NOT automatic dishwasher soap) |
| Laundry Hamper Cart (for bagged clothing) | 1 per each AMB and NON-AMB Corridor plus multiple available replacements |
| Towels (normal hospital size) | 100 at each AMB DECON Corridor, 40 at each NON-AMB Station; more available through Hospital Linen Supply |
| Hospital Gowns & Booties on Linen Carts | 100 of each at each AMB DECON Corridor, 40 at each NON- AMB Station; more available through Hospital Linen Supply |
| Plastic Bags (clear) | 50 gal and 50 numbered pairs (one large, one small) at each AMB Disrobe Resealable 1 gal freezer bag or equivalent Station, 20 numbered pairs at each NON AMB Disrobe Station |
| Plastic Tags with Plastic Necklace numbered | Same as plastic bag pairs & placed with identical numbered paired bags) |
| Graphic DECON Instruction Signs | Provides illustrated instructions (and two-sided tape pre-set on back of signs for the DECON Process. for hanging) |
| Directional Signs with hanging tape | To assist patients in moving to the appropriate locations |
| Clipboards | (5) For Triage & Safety Officers’ notes, and for Registration Logs |
| Brief Registration Logs & waterproof pen | One per DECON Corridor, on clipboard |
| Walkers | 2 per AMB DECON Corridor |
| Wheelchairs | 2 per AMB DECON Corridor |
| Lamps (halogen, grounded, on stands) | As needed to provide adequate light & heat for night operations |
| Cones (orange hazard 1 foot high) | As needed to demarcate Primary Triage and DECON areas |
| Barrier Tape | As needed to demarcate Primary Triage and DECON areas |
| Hoses and Low Pressure/High Volume | As needed to run from warm water source to NON-AMB Spray Nozzles DECON, and to accessory DECON area (for wash down of pets, wheelchairs, etc.) |
| Hand-held Sprayers with nozzles | Multiple, to provide a portable means of water delivery for DECON |
| Booms (Fluid Containment) | As needed to control run-off down drains and to demarcate hot/ cold Transfer Areas** |
| Back boards (preferably impermeable | 2 for each NON-AMB DECON Corridor, one staged & non-slip), with collars & straps each AMB DECON Corridor |
| Stretchers, preferably with locking wheels | 2 for each NON AMB DECON Corridor |
| Stand/saw horses with clips | 4 for each NON AMB DECON Corridor; for holding backboards during DECON |
| Bullhorns (compatible with APRs & PAPRs) | As needed for Security and DECON personnel to maintain crowd control and provide directions |
| Radios or phones (water resistant) | As needed to maintain communication between Primary DECON, Safety/DECON Officer, Command Post, and Emergency Department |
| Radiation Detector (Geiger type) | At least one unit, with another available (as back-up) through the on-site Hospital radiation safety expert |
| Extension cords – heavy utility/outdoors | As needed for lights, fans and other equipment |
| Containment pools | 4: For rare instance where waste water is contained |
| Vacuum pump or wet/dry vacuum | 1: For draining containment pools |
| 55 gal approved HAZMAT Waste Containers | 2: For holding the contained waste water |
| Plastic bags, large, trash type | As needed to cover expensive equipment |

| Personal Protective Equipment (PPE) Supplies |  |
| --- | --- |
| Item | Number |
| Suits water impermeable, chemical resistant | As needed for full staffing of all PPE positions plus replacement (varying sizes) personnel |
| APRs and/or PAPRs full face mask or hood | As needed for full staffing of all PPE positions plus replacement types with appropriate filters per text; personnel; three filter pairs available per APR or PAPR mask |
| Batteries and Battery Charger for PAPRs | As needed: 2 batteries per PAPR |
| Boots (chemical resistant, fluid impermeable) | As needed for full staffing of all PPE positions plus replacement (varying sizes) personnel, plus boots for Transfer Station personnel |
| Gloves (latex, varying sizes) | Enough for all PPE personnel to place under HAZMAT gloves |
| Gloves (butyl rubber, medium thickness) | As needed for full staffing of all PPE positions plus replacement (varying sizes) personnel, plus boots for Transfer Station personnel |
| Apron, water & chemical resistant | Multiple, for use when level D is adequate protection or over Level C Suit for additional protection |
| Scrubs, surgical type | As needed for PPE personnel to wear under PPE suits |
| Training suits | As many as possible to allow real-world training without (varying sizes) compromising integrity of incident equipment |
| Duct Tape (large rolls) | Multiple Rolls for sealing PPE suits and for PPE nametags |
| N-95 HEPA Masks, face shield, glasses, etc | Enough for all DECON and Perimeter personnel (for use in Biological Agent contamination incidents requiring only an N-95 level of HEPA filtration) |
| Baby Powder | 4 small bottles: for use in boots & gloves for ease of removal |
| Medical Surveillance kits BP cuffs, scales | For pre and post entry staff exams paperwork) |
| Chairs for staff to sit in while dressing in PPE | Varies per number of PPE staff |
| Valuables-securing system for PPE Staff |  |

Tent-based temporary/portable decon facility with showers, waste-water treatment, warm water and air supplies etc. will be supplied by VACO.

Basic Level C PPE ensemble will be provided by VACO.