### ITEM D-702   SLOTTED DRAINS

DESCRIPTION

702-1.1  This item shall consist of the construction of steel slotted drains or cast iron slotted vane drains in accordance with these specifications and in reasonably close conformity with the lines and grades shown on the plans.  Type detail shall be shown on the plans.

MATERIALS

702-2.1 GENERAL.  All slotted drains shall meet the requirements shown on the plans and specified below.  All slotted drains shall meet specified hydraulic design requirements and shall support the loadings specified.

702-2.2 PIPE.

a.  Steel slotted Drain.  Pipe shall be metallic coated (galvanized or aluminized steel type II) corrugated steel type I meeting the requirements of ASTM A760.  Pipe diameter and gage shall be as shown on the plans.

The corrugated steel pipe shall have a minimum of two rerolled annular ends.

b.  Cast Iron Slotted Vane Drain.  Polyvinyl Chloride (PVC) pipe shall meet the requirements of ASTM D 3034.  Pipe diameter shall be as shown on the plans.  The pipe shall have an open slot to accept the cast iron slotted vane drain castings.

702-2.3 GRATES AND CASTINGS.

a. Steel Slotted Drain.  Grates shall be manufactured from ASTM A 36 or A 570, Grade 36 steel.  Spacers and bearing bars (sides) shall be 3/16-inch (5 mm) material.  The spacers shall be welded to each bearing bar with four 1-1/4-inch long 3/16-inch wide (32 mm long by 5 mm wide) fillet welds on each side of the bearing bar at spacings not exceeding 6 inches (150 mm).  The grates shall be 6 inches (150 mm) high or as shown on the plans and shall have a maximum 1-3/4-inch (45 mm) opening in the top.

Grates shall be galvanized in accordance with ASTM A 123 except with a 2 ounce per square foot (0.61 kg per square meter) galvanized coating.

The grates shall be fillet welded to the corrugated steel pipe with a minimum weld 1 inch (25 mm) long on each side of the grate at every other corrugation.  Weld areas and the heat affected zones where the slot is welded to the corrugated pipe shall be thoroughly cleaned and painted with a zinc-rich paint in accordance with repair of damaged coatings in ASTM A 760.

Each 20-foot (6.1 m) length of drain delivered to the job site shall be within the following tolerances: vertical bow +/- 3/8 inch (9.5 mm), horizontal bow +/- 5/8 inch (16 mm), twist +/- 1/2 inch (12.5 mm).

b. Cast Iron Slotted Vane Drain.  Castings shall meet the requirements of ASTM A 48, Class 35B gray iron.  Castings shall be furnished with no coatings.

Castings shall be designed to fit on open slots in 15-inch (380 mm) PVC pipe.  Casting sections shall not exceed three feet (915 mm) in length.  Casting sections shall have a built-in vane configuration with bar spacings not exceeding 6 inches (150 mm).  The opening at the surface shall not exceed 3-3/4 inches (95 mm), and the vane shall be constructed on a radius so that the opening shall be less than 1-1/2 inches (38 mm) at a depth of 1-1/2 inches (38 mm) as measured vertically from the surface.  Casting sections shall integrally lock into the concrete by use of top and bottoms flanges and shear tabs.  Castings shall accept bolts for bolting sections together and shall accept wire for fitting to pipe.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer should note that certain standard details can be found in AASHTO AGC-ARTBA publication “A Guide to Standardized Highway Drainage Products”.  All products used shall meet the strict airport loading and tire pressure  requirements.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

702-2.3 CONCRETE.

a.  Steel Slotted Drain.  Concrete shall have a minimum compressive strength of 1,000 psi (6.9 Mpa) at 28-days when tested in accordance with ASTM C 39.

b.  Cast Iron Slotted Vane Drain.  Concrete shall have a minimum compressive strength of 3,000 psi (20.7 Mpa) at 28-days when tested in accordance with ASTM C 39.

[702-2.3 CONCRETE.  Plain or reinforced concrete used shall conform to the requirements of Item P-610.]

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

If design requirements indicate the need for structural concrete, the Engineer should include Item P-610 Structural Portland Cement Concrete.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

CONSTRUCTION METHODS

702-3.1 EXCAVATION.  The width of the trench shall be sufficient to permit satisfactory installation and jointing of the slotted drain and placing of a high slump concrete backfill material under and around the drain, but shall not be less than the external pipe diameter plus 6 inches (150 mm) on each side.  The depth of the trench shall be a minimum of 2 inches (51 mm) below the invert for steel slotted drain and 6 inches (150 mm) below the invert for cast iron slotted vane drain.

The trench may be roughly shaped to the slotted drain bed.

702-3.2  INSTALLATION.  Steel slotted drain shall be laid in sections joined firmly together with coupling bands, or as shown on the plans.  Cast iron drains shall be wired to the top of the PVC pipe in the slot cut in to receive the castings.  The top of all drains shall be held firmly in place to the proper grade, to preclude movement during the backfilling operation.

702-3.3  JOINING.  Slotted steel drain joints shall be firmly joined by modified hugger type bands, or as indicated, to secure the pipe and prevent infiltration of the backfill.  When the slotted steel drain is banded together, the adjacent grates shall have a maximum 3 inch (76 mm) gap.  Cast iron drains castings shall be bolted together.

702-3.4  BACKFILLING.  Slotted drains shall be inspected before any backfill is placed.  Damaged drains shall be aligned or replaced at the expense of the Contractor.

The slotted drain assembly shall be backfilled with concrete that will easily flow under and around the drain and the trench wall. The opening in the top of grates and castings shall be covered to prevent unwanted material from entering the drain during the backfilling and subsequent surfacing operations.

METHOD OF MEASUREMENT

702-4.1  The length of slotted drain shall be measured in linear feet (meters) of slotted drain in place, completed, and approved.  It shall be measured along the centerline of the drain from end or inside face of structure to the end or inside face of structure, whichever is applicable. The several classes, types, and sizes shall be measured separately. All fittings shall be included in the footage as typical pipe sections being measured.

BASIS OF PAYMENT

702-5.1  Payment shall be made at the contract unit price per linear foot (meter) for each kind of slotted drain type and size designated and at the contract unit price per cubic yard (cubic meter) of concrete for backfill.

These prices shall be full compensation for all materials, all preparation, excavation and installation of these materials; and all labor, equipment, tools, and incidentals necessary to complete the item.

Payment will be made under:

Item 702-5.1	[   ] inch (mm) diameter [     gage] pipe per linear foot (meter)

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall include a pay item for each size and gage pipe specified for each drain type.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Item 702-5.2	 Concrete for backfill-per cubic yard (cubic meter).

TESTING REQUIREMENTS

ASTM C 39	Compressive Strength of Cylindrical Concrete Specimens

MATERIAL REQUIREMENTS

ASTM A 36	Structural Steel

ASTM A 48	Gray Iron Castings

ASTM A 123	Zinc Coating (Hot-Dip) on Iron and Steel Products

ASTM A 570	Steel, Sheet and Strip, Carbon, Hot-Rolled, Structural Quality

ASTM A 760	Corrugated Steel Pipe, Metallic-Coated for Sewers and Drains

ASTM D 3034	Type PSM Poly (Vinyl Chloride), (PVC), Sewer Pipe and Fittings

Information	A guide to Standardized Highway Drainage Products disseminated under the sponsorship of the American Association of State Highway and Transportation Officials, Associated General Contractors, and the American Road and Transportation Builders Association

END OF ITEM D-702

Intentionally Left Blank