# PART VIII – FENCING

### ITEM F-160  WIRE FENCE WITH WOOD POSTS
(Classes A and B Fences)

DESCRIPTION

160-1.1  This item covers the requirements for furnishing materials and constructing new wire fences and gates with wood posts in accordance with the details included herein and as shown on the plans.  The class of fence to be erected shall be either Class A, woven wire fencing surmounted by two strands of barbed wire, or Class B, four strands of barbed wire, as indicated on the plans and in the bid proposal.

MATERIALS

160-2  WIRE.

a.  Woven Wire (Zinc-coated).  The woven wire fence shall be 7-bar, 26-inch (66 cm) field fence with top and bottom wires No. 10 gauge, and filler and stay wires No. 12 1/2 gauge.  Stay wires shall be spaced 6 inches (150 mm) apart.  All wires shall be smooth galvanized steel wire, conforming to ASTM A 121, Type B.  All wires shall be two-dip and shall be spaced as shown on the plans.

b.  Barbed Wire (Zinc-coated).  Zinc-coated barbed wire shall be 2-strand twisted No. 12 1/2 gauge galvanized steel wire with 4-point barbs of No. 14 gauge galvanized steel wire.  All wire shall conform to ASTM A 121, Type A.  The barbs shall be spaced approximately 4 inches (100 mm) apart.

c.  Barbed Wire (Copper-covered).  Copper-covered steel barbed wire shall conform to ASTM A 121, Type A.

d.  Barbed Wire (Aluminum-coated).  Aluminum-coated steel-barbed wire shall be 2-strand twisted No. 12 1/2 gauge.  The 4-point barbs of No. 14 gauge aluminum-coated steel wire shall be spaced approximately 5 inches (125 mm) apart.  The steel wire shall have a tensile strength of between 60,000 and 80,000 pounds per square inch (413 400 and 551 200 kPa), and the aluminum coating shall have a minimum weight of 0.30 ounce per square foot (0.07 kg/square meter) of wire surface on the No. 12 1/2 gauge line wires and 0.25 ounce per square foot (0.06 kg/square meter) of wire surface on the No. 14 gauge barbs.

e.  Bracing Wire (Zinc-coated).  Wire used for cable for bracing shall be No. 9 smooth galvanized soft wire.

160-2.2  GATES AND HARDWARE.  Gates shall be constructed of galvanized steel tubing conforming to Fed. Spec. RR-F-191 and shall be the size shown on the plans.  Heavily galvanized hinges and latches for wood posts shall be furnished with each gate.  Either a bolt or lag screw hinge shall be used, and either a wing or butterfly latch shall be furnished.

160-2.3  POSTS.

a.  Species.  All posts shall be one of the following species of wood, unless otherwise noted in the proposal.

Group I			Group II

Cedar			Douglas-fir

Chestnut			Gum, Red

Cypress, Southern		Larch, Western

Locust, Black		Pine, Southern Yellow

Osage-orange		Pine, Lodgepole

Redwood		Tamarack

Yew, Pacific		Ash

Honeylocust		Maple, Sugar

Oak, White		Oak, Red

Mulberry		Spruce

Live Oak

Posts of Group I may be used untreated, provided at least 75% of the wood is heartwood.  Posts of less than 75% heartwood of Group I shall be given a preservative treatment for the part of the post that will have contact with the ground line in accordance with the method specified under subparagraph e(1) below.  Posts of Group II shall be given a preservative treatment in accordance with the method specified under subparagraph e(2) below.

b.  Quality.  Posts shall be peeled, sound, straight-grained, free from decay, cracks, and splits; shakes shall not be in excess of 1/4 inch (6 mm) wide and 3 feet (90 cm) long.  Checks (lengthwise separations of the wood in a generally radial direction) are permitted, provided they are not injurious.

c.  Dimensions.  All posts shall be of the length shown on the plans.  Posts shall have the minimum top diameters shown on the plans or as specified.  Sawed and split posts are acceptable in lieu of round posts provided their dimensions are such that round posts of required diameter could be turned therefrom.

d.  Manufacture.  Outer bark shall be completely removed from all posts including depressions.  Inner bark shall be removed from all post surfaces to be treated, except inner bark may remain in depressions.  The amount of wood shaved off in the removal of inner bark shall be held to a minimum.

e.  Treatment.

(1)  Butt treatment.  All timber shall be thoroughly seasoned and dry (22% maximum moisture content) before applying preservative treatment.  The treatment shall be by a process at least equal to a hot and cold bath process.  The hot bath temperature shall be from 200 to 230 F (90 to 110 C) for a duration of 45 minutes, and the cold bath temperature not over 120 F (50 C) for a duration of 45 minutes.  The preservative shall be either coal-gas tar or coke-oven tar creosote conforming to American Wood Preservers Association (AWPA) Specification No. 4 for Grade 1 creosote; or a 5% minimum, by weight, pentachlorophenol petroleum solution made by either mixing a liquid concentrate of pentachlorophenol in fuel oil or kerosene, or by dissolving pentachlorophenol crystals of technical purity in suitable fuel oil solvents, as specified by AWPA.

(2)  Full length treatment.  Posts shall be conditioned by air seasoning, steaming, or heating in oil in a manner that prevents injurious checking, splitting, or warping before treating.  The treatment, care and preservative shall be in accordance with AWPA.

160-2.4  BRACES.  Cleats, gate stops, and braces shall be of the size shown on the plans.  They shall be of the same species and quality specified for the posts or approved by the Engineer, and they shall be free from knots larger than one-third the width of the piece.  Gate stops shall be made of posts of suitable length.  Braces may be made of posts of suitable length or of sawed lumber.  All cleats, gate stops, and any braces in contact with the ground and for a distance of at least 6 inches (150 mm) above the ground shall be treated by the hot and cold bath process, specified herein for posts.  The wire used in cable for bracing shall conform to 160-2.1e.

160-2.5  STAPLES.  The staples shall be No. 9 galvanized steel wire, 1 inch (25 mm) long for hardwood posts and 1-1/2 inches (37 mm) long for use in softwood posts.

CONSTRUCTION METHODS

160-3.1  GENERAL.  The fence shall be constructed in accordance with the details on the plans and as specified herein using new materials, and all work shall be performed in a workmanlike manner, satisfactory to the Engineer.  Prior to the beginning of the work or upon the request of the Contractor, the Engineer shall locate the position of the work by establishing and marking the property line or fence line.  When directed, the Contractor shall span the opening below the fence with barbed wire fastened to posts of extra length at locations of small natural or drainage ditches where it is not practical to conform the fence to the general contour of the ground surface.  The new fence shall be permanently tied to the terminals of existing fences whenever required by the Engineer.  The finished fence shall be plumb, taut, true to line and ground contour, and complete in every detail.  When directed, the Contractor shall stake down the woven wire fence at several points between posts.

When directed, in order to keep stock on adjoining property enclosed at all times, the Contractor shall arrange the work so that construction of the new fence will immediately follow the removal of existing fences.  The length of unfenced section at any time shall not exceed 300 feet (90 m) or such length that the stock can be kept in the proper field.  The work shall progress in this manner, and at the close of the working day, the newly constructed fence shall be tied to the unremoved existing fence.  Any openings in the fence shall be guarded when stock is using the adjoining property.

160-3.2  CLEARING FENCE LINE.  The site of the fence shall be sufficiently clear of obstructions, and surface irregularities shall be graded so that the fence will conform to the general contour of the ground.  The fence line shall be cleared to a minimum width of 2 feet (60 cm) on each side of the centerline of the fence.  This clearing shall consist of the removal of all stumps, brush, rocks, trees, or other obstructions that will interfere with proper construction of the fence.  Stumps within the cleared area of the fence line shall be grubbed or excavated.  The bottom of the fence shall be placed a uniform distance above ground as specified in the plans.  When shown on the plans or as directed by the Engineer, the existing fences which coincide with, or are in a position to interfere with, the new fence location shall be removed by the Contractor as part of the construction work, unless such removal is listed as a separate item in the bid schedule.  All holes remaining after post and stump removal shall be refilled with suitable soil, gravel, or other material acceptable to the Engineer and shall be compacted properly with tampers.

The work shall include the handling and disposal of all material cleared, of excess excavation and the removal of spoiled material regardless of the type, character, composition, or condition of such material encountered.

160-3.3  SETTING POSTS.  Posts shall be set with large ends down, plumb, and in good line on the side on which the wire is to be fastened.  Posts shall be set full depth and shall not be cut off to eliminate rock or other excavation.  Where rock is encountered, it shall be removed, even if blasting is necessary, to provide full-depth and full-size holes.  The bottoms of all posts shall be cut off square.  The diameter of the holes shall be at least 6 inches (150 mm) larger than the diameter of the posts.  When cleats are used on posts, the holes shall be dug large enough to accommodate them.  After posts are placed and lined, the holes shall be backfilled with suitable material that shall be properly compacted by the use of tampers.  The posts adjacent to end, corner, anchor, and gate posts shall be set and braced with braces and wire, as shown on the plans.  No extra compensation shall be made for rock excavation.  Rock excavation shall not be grounds for extension of time.

160-3.4  ANCHORING.  Corner, end, gate, and adjacent intermediate posts shall be anchored, by gaining and spiking cleats to the sides of the posts, as indicated on the plans.  No cleats will be required on other intermediate posts or on anchor posts.

160-3.5  BRACING.  End, corner, anchor, and gate posts shall be braced by using a post of sufficient length or a piece of sawed lumber of the proper size, together with a wire cable.  The wooden brace shall be gained and securely spiked into the end, corner, anchor, or gate posts and into the next intermediate posts about 6 inches (150 mm) from the top of the respective posts.  A cable made of a double strand of galvanized soft wire shall be looped around the end, corner, anchor, or gate post near the ground and around the next intermediate post about 12 inches (300 mm) from the top.  After the cable has been stapled in this position, it shall be twisted until tight.  The staples used to hold the cable shall be not less than 1-1/2 inches (37 mm) long.  The tool used for twisting the cable shall be left in placed to permit later adjustment of bracing if found necessary.  Anchor posts shall be set at approximately 500-foot (150 m) intervals and braced to the adjacent posts.  Posts shall be braced before the wire fencing is placed.

160-3.6  INSTALLING WIRE.  The wires shall be placed on the side of the posts away from the airport or as directed.  The wire fence shall be placed on the posts at the height indicated on the plans.  Longitudinal wires shall be installed parallel and drawn uniformly taut.  The vertical stay wires of the woven wire fencing shall be straight and vertical.  At end and gate posts the woven wire and barbed wire shall be wrapped once around the post; each longitudinal wire shall be stapled at least three times and the ends of these wires shall be tied with a snug, tight twist.  Each longitudinal wire shall be stapled to each intermediate post with one steel wire staple; at the corner and anchor posts, two or more stapled shall be used.  The top strand of barbed wire of all fences shall be stapled with two staples in each post.  All staples shall be set diagonally with the grain of the wood and driven up tight.  After the fence has been erected, the tops of the wood posts shall be sawed off with a 1-to-3 pitch.  The bottom wire of the wire fencing shall clear the ground by not more than 4 inches (100 mm) or less than 1 inch (25 mm) at any place.

160-3.7  SPLICING WIRE.  Wire splices in longitudinal wires will be permitted if made with an approved galvanized bolt-clamp splice or a wire splice made as follows:  The end of the wires shall be carried 3 inches (75 mm) past the splice tool and wrapped around the other wire away from the tool for at least six turns in opposite directions.  After the tool is removed, the space occupied by it shall be closed by pulling the ends together.  The unused ends of the wires shall be cut close to make a neat, workmanlike job.  Woven wire shall be spliced only at posts.

160-3.8  INSTALLING GATES.  The gates shall be hung on gate fittings, as shown on the plans.  Fittings on the gate posts shall be clamped, screwed, or bolted to prevent slipping.  Gates shall be so erected as to swing in the direction indicated and shall be provided with gate stops, as specified or as shown on the plans.  Gates shall be erected locations shown on the plans.

160-3.9  EXISTING FENCE CONNECTIONS.  Wherever the new fence joins an existing fence, either at a corner or at the intersection of straight fence lines, a corner or anchor post shall be set at the junction and braced and anchored the same as herein described for corner posts.

If the connection is made at other than the corner of the new fence, the last span of the old fence shall contain a brace span.

160-3.10  CLEANING UP.  The Contractor shall remove from the vicinity of the completed work all tools, buildings, equipment, etc., used during construction.

METHOD OF MEASUREMENT

160-4.1  Fences, Class A (Wood Posts) or Class B (Wood Posts), shall be measured in place from outside to outside of end posts or corner posts and shall be the length of fence actually constructed, except for the space occupied by the gates.

Driveway gates and walkway gates shall be measured in units for each gate installed and accepted.

BASIS OF PAYMENT

160-5.1  Payment will be made at the contract unit price per linear foot (meter) for Class A or Class B wire fence.  This price shall be full compensation for furnishing all materials and for preparation, erection, and installation of these materials, and for all labor, equipment, tools and incidentals necessary to complete the item.

Payment will be made at the contract unit price per each for driveway or for walkway gates.  This price shall be full compensation for furnishing all materials and for all preparation, erection, and installation of these materials and for all labor, equipment, tools, and necessary incidentals to complete the item.

Payment will be made under:

Item F-160-5.1	Fence, Class A—per linear foot (meter)

Item F-160-5.2	Fence, Class B—per linear foot (meter)

Item F-160-5.3	Driveway Gates—per each

Item F-160-5.4	Walkway Gates—per each

MATERIAL REQUIREMENTS

ASTM A 121	Standard Specification for Zinc Coated (Galvanized) Steel Barbed Wire

FED SPEC	Fencing, Wire and Post, Metal

RR-F-191/Gen

AWPA		Specification No. 4 for Grade I Creosote

END OF ITEM F-160

Intentionally Left Blank