### ITEM P-304  CEMENT-TREATED BASE COUSE

#### DESCRIPTION

304-1.1  This item shall consist of a cement-treated base (CTB) course composed of mineral aggregate and cement, uniformly blended and mixed with water.  The mixed material shall be spread and shaped with a mechanical spreader, and compacted with rollers in accordance with these specifications and in conformance to the lines, grades, dimensions, and cross-sections shown on the plans.

#### MATERIALS

304-2.1  AGGREGATE.  The aggregate shall be select granular materials, comprised of crushed or uncrushed gravel and/or stone, or recycled crushed and graded portland cement concrete (PCC).  The material shall be free of roots, sod, and weeds.  The crushed or uncrushed aggregate shall consist of hard, durable particles of accepted quality, free from an excess of soft, flat, elongated, or disintegrated pieces, and objectionable matter.  The method used in producing the aggregate shall be such that the finished product is as consistent as practicable.  All stones and rocks of inferior quality shall be wasted.  When recycled PCC is used as the aggregate, it must meet the requirements for virgin aggregate.

The percentage of wear of the crushed aggregate retained on the No. 4 (4.75-mm) sieve shall not be greater than 40 percent when tested in accordance with ASTM C 131.  The sodium sulfate soundness loss shall not exceed 10 percent, or the magnesium sulfate soundness loss shall not exceed 13 percent, after five cycles, when tested in accordance with ASTM C 88.

When tested in accordance with ASTM C 136, the aggregate shall conform to the gradations shown in Table 1.  An aggregate blend that meets the requirements of Table 1 shall be selected by the Contractor and used in the final mix design.  The final aggregate blend shall be well graded from coarse to fine within the limits designated in the table and shall not vary from the low limit on one sieve to the high limit on adjacent sieves, or vice versa.  The portion of final aggregate blend passing the No. 40 (425-µm) sieve shall have a liquid limit of not more than 25 and a plasticity index of not more than 6 when tested in accordance with ASTM D 4318.

Table 1.  Aggregate gradation for CTB material.

| Sieve Size | Percentage by Weight Passing Sieves |  |
| --- | --- | --- |
|  | Gradation A | Gradation B |
| 2 in (51 mm) | 100 1 | 100 1 |
| No. 4 (4.75 mm) | 45 - 100 | 55 - 100 |
| No. 10 (1.80 mm) | 37 - 80 | 45 - 100 |
| No. 40 (450 m) | 15 - 50 | 25 - 80 |
| No. 80 (210 m) | 0 - 25 | 10 - 35 |

1  Maximum size of aggregate is 1 in (25.4 mm) when used as a base

course under Item P-501, Portland Cement Concrete Pavement.

All aggregate samples required for testing shall be furnished by the Contractor at the expense of the Contractor.  Sampling shall be performed by the Contractor in accordance with ASTM D 75.

304-2.2  CEMENT.  Cement shall conform to the requirements of ASTM [    ].

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall specify ASTM C 150 Type I, II, III, IV, or V or ASTM C 595 Type IS, IS-A, IP, IP-A, P, or PA.  Type II cement shall be specified in areas with a history of sulfate reaction with the selected aggregate.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

304-2.3  CEMENTITIOUS ADDITIVIES.  Pozzolanic and ground granulated blast furnace (GGBF) slag may be added to the CTB mix.  If used, each material must meet the following requirements:

- Pozzolan.  Pozzolanic materials must meet the requirements of ASTM C 618, Class C, F, or N with the exception of loss of ignition, where the maximum shall be less than 6 percent for Class F or N.  [The supplementary optional chemical and physical properties of tables 1A and 2A contained in ASTM C 618 shall apply].

- GGBF Slag.  Slag shall conform to ASTM C 989, Grade 80, 100, or 120.

304-2.4  WATER.  Water used in mixing or curing shall be clean and free of oil, salt, acid, alkali, sugar, vegetable, or other deleterious substances injurious to the finished product.  Water shall be tested in accordance with the requirements of AASHTO T 26.  Water known to be of potable quality may be used without testing.

304-2.5  CURING MATERIALS.  Curing materials shall conform to the requirements provided below, as defined by the type of pavement surface to be placed on top of the CTB layer.

304-2.5.1  Portland Cement Concrete (PCC) Pavement.  For curing CTB placed under PCC pavement, use white-pigmented, liquid membrane-forming compound conforming to ASTM C 309, Type 2, Class A or Class B (wax-based).

304-2.5.2  Hot Mix Asphalt (HMA) Pavement.  For curing CTB placed under HMA pavement, use emulsified asphalt conforming to ASTM C 977 or ASTM D 2397 (Table 2).

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

If emulsified asphalt is allowed as a curing agent, the Engineer shall specify

the type and grade of material to be used and the corresponding application temperature from Table 2.

Table 2.  Emulsified asphalt curing material.

| Type and Grade | Specification | Application Temperature |  |
| --- | --- | --- | --- |
|  |  | °F | °C |
| Emulsified Asphalt |  |  |  |
| RS-1, SS-1 | ASTM D 977 | 75 - 130 | 25 - 55 |
| CRS-1 | ASTM D 2397 | 75 - 130 | 25 - 55 |

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

304-2.6  SAND BLOTTER.  If emulsified asphalt is used as a curing material, sand shall be applied, when required, for the prevention of pick-up of emulsion curing materials.  The sand material shall be clean, dry, and non-plastic.

#### COMPOSITION OF MIXTURE

304-3.1  GENERAL.  The CTB material shall be composed of a mixture of aggregate, [Portland cement] [blended hydraulic cement], and water.  Fly Ash or GGBF slag may be used as a partial replacement for Portland cement.

304-3.2  MIX DESIGN.  The mix design shall utilize a cement content that, when tested in the laboratory according to ASTM D 1633, produces a 7-day compressive strength meeting the following requirements:

- For CTB placed under PCC pavement:  500 psi (3,447 kPa) minimum and 1,000 psi (6,895 kPa) maximum.

- For CTB placed under HMA pavement:  750 psi (5,170 kPa) minimum and 1,000 psi (6,895 kPa) maximum.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

In areas subject to considerable wet-dry and/or freeze-thaw cycles, insert the following statement:

“Wet-dry and/or freeze-thaw tests shall be performed in accordance with ASTM D 559 and D 560, respectively.  The weight loss for each type of test shall not exceed 14 percent after 12 cycles.  However, if a 7-day compressive strength of 750 psi (5,170 kPa) is achieved, the wet-dry and freeze-thaw tests are not necessary.”

An estimated cement content may be determined from Table 1, Chapter 2, of the Soil-Cement Laboratory Handbook, published by the Portland Cement Association (PCA).  In designing the mixture, cement contents above and below the initial estimated amount should be tested to determine the minimum quantity of cement needed to achieve the required strength (or strength and durability where freeze-thaw resistance is deemed necessary by the Engineer).

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The mix design shall include a complete list of materials, including type, brand, source, and amount of cement, fine aggregate, coarse aggregate, water, and cementitious additives, if used.  It shall also contain the 7-day compressive strength test results and the results of the wet-dry and/or freeze-thaw tests.

Should a change be made in aggregate sources or type of cement, or if cementitious additives are added or deleted from the mix, production of the CTB mix shall be stopped and a new mix design shall be submitted.

304-3.3  SUBMITTALS.  At least  [    ] days prior to the placement of the CTB, the Contractor shall submit certified test reports to the Engineer for those materials proposed for use during construction, as well as the mix design information for the CTB material.  Tests older than 6 months shall not be used.  The certification shall show the ASTM or AASHTO specifications or tests for the material, the name of the company performing the tests, the date of the tests, the test results, and a statement that the material did or did not comply with the applicable specifications.  The submittal package shall include the following:

- Sources of materials, including aggregate, cement, cementitious additives, curing, and bond-breaking materials.

- Physical properties of the aggregates, cement, cementitious additives, curing, and bond-breaking materials.

- Mix design

  - mix identification number.

  - aggregate gradation.

  - cement content.

  - water content.

  - cementitious materials content.

d.	Laboratory test results

  - compaction and strength testing procedures.

  - laboratory compaction characteristics (maximum dry density and optimum moisture content).

  - compressive strength at 7 days.

  - Wet-dry and/or freeze-thaw weight loss, if applicable.

No CTB material shall be placed until the submittal is accepted in writing by the Engineer.

During production, the Contractor shall submit batch tickets for each delivered load.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Insert the appropriate number of days for Contractor submittal of certified test reports for the proposed materials; 10 to 20 days is typical.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

#### EQUIPMENT

All equipment necessary to mix, transport, place, compact, and finish the CTB material shall be furnished by the Contractor.  The equipment shall be inspected and approved by the Engineer at the job site prior to the start of construction operations.

304-4.1  MIXING.  The mixer shall be a batch or continuous-flow type stationary mixer and shall be equipped with calibrated metering and feeding devices that introduce the aggregate, cement, water, and cementitious additives (if used) into the mixer in the specified quantities.  If necessary, a screening device shall be used to remove oversized material greater than 2 in (51 mm) from the raw aggregate feed prior to mixing.

Free access to the plant must be provided at all times for inspection of the plant’s equipment and operation and for sampling the CTB mixture and its components, as deemed necessary by the Engineer.

304-4.2  HAULING.  The mixed CTB material shall be transported from the plant to the job site in trucks or other hauling equipment having beds that are smooth, clean, and tight.  Truck bed covers shall be provided and used to protect the CTB from rain.  CTB material that becomes wet during transport shall be subject to rejection.

304-4.3  PLACING.  CTB material shall be placed using a mechanical spreader or a machine capable of receiving, spreading, and shaping the mixture without segregation into a uniform layer or lift.  The equipment shall be equipped with a strike-off plate capable of being adjusted to the specified layer thickness.  It shall also be equipped with two end gates or cut off plates, so that the CTB may be spread in widths varying up to lane width.

304-4.4  COMPACTION.  Compaction of the CTB layer shall be accomplished using one or a combination of the following pieces of equipment:

- Tamping or grid roller.

- Steel-wheeled roller

- Vibratory roller.

- Pneumatic-tire roller.

- Vibrating plate compactor (for areas inaccessible to rollers).

The number, type, and weight of rollers and/or compactors shall be sufficient to compact the mixture to the required density.

304-4.5  FINISHING.  Final trimming of the compacted CTB to meet surface requirements shall be accomplished using a self-propelled grader or trimming machine, with a mold board cutting edge, which is at least 12 ft (3.7 m) wide and is automatically controlled by sensors in conjunction with an independent grade control from a taut stringline.  Stringline will be required on both sides of the sensor controls for the pilot lane.  For all other lanes, a single stringline on the outside and grade matching with previously completed adjacent lanes is permissible.

#### CONSTRUCTION METHODS

304-5.1  WEATHER LIMITATIONS.

304-5.1.1  Cold Weather.  The CTB material shall not be mixed or placed while the air temperature is below 40°F (4°C) or when conditions indicate that the temperature may fall below 35°F (2°C) within 24 hours.  The CTB shall not be placed on frozen surfaces.

304-5.1.1  Rain.  The CTB may not be placed when rainfall is occurring.  If an unexpected rain event occurs during placement, the layer should be quickly compacted.  CTB material that becomes wet by rain during transport or placement shall be evaluated by the Engineer, and may be subject to rejection.

304-5.2  PREPARATION OF UNDERLYING COURSE.  The underlying course shall be checked by the Engineer before placing and spreading operations are started, in order to ensure that it is free of any ruts, depressions, or bumps and is finished to the correct grade.  Any ruts or soft yielding places caused by improper drainage conditions, hauling, or any other cause, shall be corrected before the CTB mixture is placed thereon.  The underlying course shall be wetted in advance of placing the CTB layer.  The final prepared grade prior to placing the CTB should be in a firm and moist condition free of frost.  Use of chemicals to eliminate frost will not be permitted.

To ensure proper drainage, placement of the base shall begin along the centerline of the pavement on a crowned section or on the highest elevation contour of a pavement with variable cross slope.

304-5.3  GRADE CONTROL.  Grade control between the edges of the CTB shall be accomplished at intervals of 50 ft (15.2 m) or less on the longitudinal grade and at 25 ft (7.6 m) or less on the transverse grade.

304-5.4  HANDLING, MEASURING, AND BATCHING.  The continuous flow central plant site, layout, equipment, and provisions for transporting material shall assure a

continuous supply of material to the work.  Aggregate stockpiles shall be constructed in a manner that prevents segregation and intermixing of deleterious materials.

Aggregates that are segregated or mixed with earth or foreign material will not be accepted.

Continuous flow plants shall be equipped with feeders to proportion aggregates and bulk cement, by weight, automatically and accurately.  When bulk cement is used, the Contractor shall use a suitable method of handling the cement from weighing hopper to transporting container or into the batch itself for transportation to the mixer, such as a chute, boot or other device, to prevent loss of cement.  The device shall be arranged to provide positive assurance that the cement content specified is present in each batch.

304-5.5  MIXING.  Aggregate and cement may be proportioned either by weight or volume, and shall be mixed sufficiently to prevent the forming of cement balls when water is added.  The mixing time shall be that which is required to secure an intimate, uniform mixture of aggregate, cement, water, and pozzolan (if used).  The minimum mixing time will be based on the uniformity and consistency of the mixture.

304-5.6  PLACING.  The CTB mixture shall be deposited on the moistened subgrade or subbase and spread into a uniform layer of such width and thickness that, following compaction and trimming, conforms to the required grade and cross-section.  The Contractor may install the CTB layer in single or multiple compacted lifts; however, each compacted lift must be no greater than 6 in (152 mm) thick.  In multi-lift construction, the surface of the compacted lift shall be kept moist until covered with the next lift.  Successive lifts shall be placed and compacted so that the required total depth of the CTB layer is completed within 12 hours.

A single spreader may be used, provided it is capable of placing a uniform, full-depth layer of material across the full width of the base in one pass.  Otherwise, two or more spreaders will be required, and shall be operated so that spreading progresses along the full width of the base in a uniform manner.

304-5.7  COMPACTION.  Immediately upon completion of the spreading operations, the CTB material shall be thoroughly compacted using approved compaction equipment.  At the start of compaction, the moisture content shall be within 2 percentage points of the specified optimum moisture.

304-5.8  FINISHING.  Upon completion of compaction, the surface of the CTB layer shall be shaped to the specified lines, grades, and cross-section.  During the finishing process, the surface shall be kept moist by means of fog-type sprayers.  Compaction and finishing shall be done in such a manner as to produce a smooth, dense surface, free of ruts, cracks, ridges, and loose material.  All placement, compaction, and finishing operations shall be completed within 2 hours from the start of mixing.  Material not completed within the 2-hour time limit shall be removed and replaced at the Contractor’s expense.

CTB layer limits that extend beyond the edges of the new PCC surface course shall be rolled down or shaped in such a manner that the drainage is away from the new PCC surface course edge.

304-5.9  CONSTRUCTION JOINTS.  At the end of each day's construction, a transverse construction joint shall be formed that is a true vertical face (perpendicular to the centerline) and is free of loose material.

Longitudinal construction joints (parallel to the centerline) shall be formed to a consistent, well-defined near vertical edge that is free of loose material.  The longitudinal joints shall be located such that there is a 2-ft (0.6-m) minimum offset from planned joints in any overlying layer.

While forming construction joints, the Contractor shall make sure the material in the joint area is adequately compacted and that the joints are finished level and even with the remainder of the CTB layer.

304-5.10  CURING.  The compacted and finished CTB shall be cured with the approved curing agents as soon as possible, and in no case later than 2 hours after completion of the finishing operations.  The layer shall be kept moist using a moisture-retaining cover or a light application of water until the curing material is applied.

When asphalt emulsion is used as the curing agent, the entire surface of the CTB layer shall be uniformly sprayed with the emulsion at a rate of between 0.15 and 0.30 gal/yd2 (0.7 and 1.4 L/m2); the exact temperature and rate of application being that required to achieve complete and uniform coverage without runoff.  Should it be necessary for construction equipment or other traffic to use the asphalt-covered surface, sufficient sand blotter cover shall be applied to prevent pick-up.

When liquid membrane-forming curing compound is used as the curing agent, the entire surface of the CTB layer shall be uniformly sprayed with the compound at the rate of 1 gal (3.8 L) to not more than 200 ft2 (18.6 m2).  The rate of application shall be determined such that a uniform surface is obtained.  The spraying equipment shall be of the fully atomizing type equipped with a tank agitator.  The compound shall be thoroughly mixed with the pigment uniformly dispersed throughout the storage tank.  During application, the compound shall be stirred continuously by effective mechanical means.  Hand spraying of odd widths or shapes and CTB surfaces exposed by the removal of forms is permitted.

The curing seal shall be maintained and protected until the pavement is placed.  Should the surface of the finished CTB and/or the curing seal become damaged, additional curing material shall be applied at the time it is damaged or when the damage is first observed.

304-5.11  PROTECTION.  The Contractor shall protect the finished CTB against traffic.  Completed portions of the CTB layer can be opened immediately to low-speed traffic and to construction equipment, provided the curing material is not damaged and the CTB is sufficiently stable to resist permanent deformation.  Should the CTB be damaged, it shall be replaced using full-depth patches, and sprayed with the selected curing compound as described above.  The CTB shall also be protected from freezing at all times.

304-5.12  BOND-BREAKER.  When the CTB is to be placed directly beneath PCC, a bond-breaker selected by the Contractor shall be used.  The entire surface of the CTB shall be coated with a de-bonding compound applied in a quality sufficient to prevent bonding of the PCC pavement to the base course.  If an impervious membrane or asphalt emulsion is used as a curing material, additional applications of curing materials may be required. The Contractor shall be responsible for selecting the de-bonding compound and determining the necessary application rate. The de-bonding compound shall be approved by the Engineer prior to being incorporated into the work.

#### MATERIAL ACCEPTANCE

304-6.1  ACCEPTANCE SAMPLING AND TESTING.  All acceptance sampling and testing, with the exception of thickness determination, necessary to determine conformance with the requirements specified in this section will be performed by the Engineer.  The Contractor shall provide the required CTB samples during construction for acceptance testing purposes.  The samples shall be taken in the presence of the Engineer.

Testing organizations performing these tests shall meet the requirements of ASTM D 3666.  All test equipment in Contractor-furnished laboratories shall be calibrated by the testing organization prior to the start of operations.

The CTB layer shall be tested for density, thickness, grade, and surface tolerance on a lot basis, with a lot consisting of one of the following:

- One day’s production not to exceed [2,000 yd2 (1,675 m2)].

- A half day’s production, where a day’s production consists of [2,000 to 4,000 yd2 (1,675 to 3,350 m2)].

Each lot shall be divided into four (4) equal sublots.  Within each sublot, one (1) density test, one (1) thickness measurement, and continuous surface straightedge tests (surface tolerance testing) shall be performed, as described below.  Sampling locations shall be determined by the Engineer in accordance with the random sampling procedures contained in ASTM D 3665.

In the event that only three (3) sublots are produced, the three sublots shall constitute a complete lot.  If one (1) or two (2) sublots are produced for the same reason, they shall be incorporated into the next or previous lot, and the total number of sublots shall be used in the acceptance criteria calculation.

End-of-production sublots (i.e., sublots associated with the final placement of CTB for the project and are less than a complete lot) shall be handled as follows:

- Three (3) sublots shall constitute a lot.

- One (1) or two (2) sublots shall be incorporated into the previous lot.

304-6.1.1  Density Testing.  CTB samples shall be taken from each sublot and used to create laboratory test specimens representing the various sublots.  The specimens shall be compacted and tested for density and moisture content in accordance with ASTM D 558.  Using the density results for each sublot comprising a lot, an average density for the lot shall be determined, which will serve as the basis for acceptance of the lot with regard to density.

Within each sublot in the field, one (1) in-place density test shall be performed in accordance with ASTM D 1556, ASTM D 2167, or ASTM D 2922 and ASTM D 3017.  The location of the test shall be randomly selected in accordance with the procedures contained in ASTM D 3665.  The in-place density results for each sublot comprising the lot shall then be averaged and compared with the corresponding average lot density.  Acceptance criteria for CTB density are provided in paragraph 304-6.2.1.

304-6.1.2  Thickness Testing.  The CTB shall be tested for thickness using the same lot and sublot designations established for density testing.  After 3 days of curing, one (1) 4-in (102-mm) diameter core per sublot shall be obtained from a random location, as identified using the procedures contained in ASTM D 3665.  The thickness of each sampled core shall be determined using the caliper measurement procedures provided in ASTM C 174.  The average thickness for the lot shall be determined using the individual sublot core thicknesses.  Acceptance criteria for CTB thickness are provided in paragraph 304-6.2.2.  At all locations where cores have been drilled, the resulting core holes shall be filled by the Contractor with CTB, HMA, or non-shrink grout.

304-6.1.3 Grade Testing.  The elevations of the finished CTB shall be surveyed every 25 ft (7.6 m) on both sides of the CTB lane as soon as it has hardened sufficiently.  Acceptance criteria for CTB grade are provided in paragraph 306-6.2.3.

304-6.1.4  Surface Tolerance Testing.  As soon as the CTB has hardened sufficiently, it shall be tested for surface tolerance with a 16-ft (4.9-m) straightedge or other approved measuring device.

304-6.2  ACCEPTANCE CRITERIA.  Acceptance of CTB will be based on density, thickness, grade, and surface tolerance, as described in the paragraphs below.

304-6.2.1  Density Requirements.  With respect to density, each lot of compacted material will be accepted without adjustment if the average in-place density of the lot is equal to or greater than 98 percent of the average density determined for the lot.  Each lot of compacted CTB shall be accepted and payment adjusted in accordance with Table 3.

Table 3.  Sliding pay scale factors for density.

| Average Dry Density (%) | Payment (%) |
| --- | --- |
| 98.0 and greater | 100 |
| 97.0 - 97.9 | 95 |
| 96.0 - 96.9 | 90 |
| 95.0 - 95.9 | 75 |
| Less than 95.0 | Reject |

If the average density is below 95 percent, the lot will be rejected and shall be removed and replaced at the Contractor’s expense.  In multi-layer construction, density shall be tested for each lift, and all lifts within a rejected lot shall be removed and replaced.  No payment shall be made for removed lifts.  Replacement lifts shall be paid in accordance with this section.

304-6.2.2  Thickness Requirements.  The completed thickness shall be as shown on the plans.  When the average lot thickness is not deficient by more than ½ in (12.5 mm) from the plan thickness, full payment shall be made.  If the average lot thickness is deficient by more than 1 in (25.4 mm), it shall be removed and replaced at the Contractor’s expense.  When such measurement is deficient by more than ½ in (12.5 mm) but less than 1 in (25.4 mm) from the plan thickness, one additional core shall be taken at random from each sublot within the lot.  The thickness of these additional cores shall be determined as indicated in paragraph 304-6.1.2.  A new average lot thickness shall be recomputed based on these additional cores and the original cores taken from each sublot.  If the recomputed average lot thickness is not deficient by more than ½ in (12.5 mm) from the plan thickness, full payment shall be made.  If the average lot thickness is deficient by more than ½ in (12.5 mm) from the plan thickness, the entire lot shall be removed and replaced at the Contractor's expense or shall be permitted to remain in-place at an adjusted payment of 75 percent of the contract unit price.

When the measured thickness is more than that indicated on the plans, it will be considered as conforming to the requirements, provided the surface of the completed CTB layer is within the established grade and surface tolerance requirements.

304-6.2.3  Grade Requirements.  When the completed surface is higher than ½ in (12.5 mm) above the grade shown in the plans, the surface shall be trimmed, at the Contractor’s expense, with an approved grinding machine to an elevation that falls within a tolerance of ¼ in (6 mm) or less.

304-6.2.4  Surface Tolerance Requirements.  The finished surface shall not vary more than ⅜ in (9.5 mm) when tested with a 16-ft (4.9-m) straightedge applied parallel with, or at right angles to, the centerline of the CTB area.  Areas in the CTB showing high spots greater than ⅜ in (9.5 mm) over 16 ft (4.9 m) shall be marked and immediately trimmed with an approved grinding machine.  Such trimming shall be at the Contractor’s expense.

#### METHOD OF MEASUREMENT

304-7.1  CEMENT-TREATED BASE COURSE.  The quantity of cement-treated base course to be paid for will be determined by measurement of the number of [yd2 (m2)] of CTB actually constructed and accepted by the Engineer as complying with the plans and specifications.

#### BASIS OF PAYMENT

304-8.1  CEMENT-TREATED BASE COURSE.  Payment shall be made at the contract unit price per [yd2 (m2)] for cement-treated base course.  This price shall be full compensation for furnishing all materials, including cement; for all preparation, manipulation, placing, and curing of these materials; and for all labor, equipment, tools, and incidentals necessary to complete the item.

Each lot of CTB material will be accepted for density at the full contract price adjusted in accordance with Table 3 in paragraph 304-6.2.1.

Payment will be made for cement-treated base course--per [yd2 (m2)].

#### TESTING REQUIREMENTS

ASTM C 88		Soundness of Aggregates by Use of Sodium Sulfate or

Magnesium Sulfate

ASTM C 131	Resistance to Degradation of Small-Size Coarse Aggregate

by Abrasion and Impact in the Los Angeles Machine

ASTM C 136	Sieve or Screen Analysis of Fine and Coarse Aggregate

ASTM C 174	Measuring Thickness of Concrete Elements Using Drilled

Concrete Cores

ASTM D 75		Sampling Aggregates

ASTM D 558	Moisture-Density Relations of Soil-Cement Mixtures

ASTM D 559	Test Methods for Wetting & Drying Compacted Soil Cement

Mixtures

ASTM D 560	Freezing-and-Thawing Tests of Compacted Soil-Cement Mixtures

ASTM D 1556	Density of Soil in Place by the Sand-Cone Method

ASTM D 1633	Compressive Strength of Molded Soil-Cement Cylinders

ASTM D 2167	Density of Soil in Place by the Rubber-Balloon Method

ASTM D 2922	Density of Soil and Soil-Aggregate in Place by Nuclear Methods

ASTM D 3017	Water Content of Soil and Rock in Place by Nuclear Methods

ASTM D 3665	Random Sampling of Paving Materials

ASTM D 3666	Minimum Requirements for Agencies Testing and Inspecting

Road and Paving Materials

ASTM D 4318	Liquid Limit, Plastic Limit, and Plasticity Index of Soils

AASHTO T 26	Quality of Water to be Used in Concrete

#### MATERIAL REQUIREMENTS

ASTM C 150	Portland Cement

ASTM C 309	Liquid Membrane-Forming Compounds for Curing Concrete

ASTM C 595	Blended Hydraulic Cements

ASTM C 618	Coal Fly Ash and Raw or Calcined Natural Pozzolan for Use as a

Mineral Admixture in Concrete

ASTM C 989	Ground Granulated Blast-Furnace Slag for Use in Concrete

and Mortars

ASTM D 977	Emulsified Asphalt

ASTM D 2397	Cationic Emulsified Asphalt

- End P-304