### ITEM F-163  WILDLIFE DETERRENT FENCE

DESCRIPTION

163-1.1 This item shall consist of furnishing and installing chain-link fence fabric underground along an existing chain link fence, constructing concrete pads at existing fence gates in accordance with these specifications and the details shown on the drawings and in conformity with the lines and grades shown on the plans or established by the Engineer.

MATERIALS

163-2.1 CHAIN LINK FENCE FABRIC.  The fabric shall be woven with a 9-gauge galvanized steel wire in a 2-inch (50 mm) mesh and shall meet the requirements of ASTM A 392, Class II.  The fabric shall be 5'-0" wide.

163-2.2 BARBED WIRE.  Barbed wire shall be 2-strand 12-1/2 gauge zinc-coated wire with 4-point barbs and shall conform to the requirements of ASTM A 121, Class 3.

163-2.3 WIRE TIES AND TENSION WIRES.  Wire fabric ties, wire ties, and tension wire for use in conjunction with a given type of fabric shall be of the same material identified with the fabric type.  The tension wire shall be 7-gauge coiled spring wire coated similarly to the respective wire fabric being used.

Wire fabric ties shall be hog rings of galvanized steel wire not less than 9-gauge.

All material shall conform to Fed. Spec. RR-F-191/4.

163-2.4 MISCELLANEOUS FITTINGS AND HARDWARE.  Miscellaneous steel fittings and hardware for use with zinc-coated steel fabric shall be of commercial grade steel or better quality, wrought or cast as appropriate to the article, and sufficient in strength to provide a balanced design when used in conjunction with fabric posts, and wires of the quality specified herein.  All steel fittings and hardware shall be protected with a zinc coating applied in conformance with ASTM A 153.

163-2.5 CONCRETE PADS AT GATES.  Concrete shall be of a commercial grade with a minimum 28-day compressive strength of 3000 psi.

163-2.6 MARKING.  Each roll of fabric shall carry a tag showing the kind of base metal, kind of coating, the gauge of the wire, the length of fencing in the roll, and the name of the manufacturer.  Posts, wire, and other fittings shall be identified as to manufacturer, kind of base metal, and kind of coating.

163-2.7 WEED CONTROL MATERIAL.  A commercially available weed control material shall be applied at the manufacturer’s recommended rate.

CONSTRUCTION METHODS

163-3.1 CLEARING FENCE LINE.  All brush, stumps, logs, and other debris which would interfere with the proper construction of the fence in the required location shall be removed a minimum width of 4 feet on the side of the fence centerline before starting fencing operations.  The material removed and disposed of shall not constitute a pay item and shall be considered incidental to fence construction.

163-3.2 INSTALLING FABRIC.  Excavate ground to the depth required for proper installation of the fabric.  Obtain Engineer’s approval of depth of excavation before placing the wire fabric.  Place the fabric and lap splice it to existing fence fabric and tie with wire ties at 2 foot 0 inch spacing.  Cut wire fabric around fence post footing to allow proper placement.  Backfill with native soil to original grade.  Compact all backfill and fill to attain 90% of AASHTO T-180.

163-3.3 WEED CONTROL APPLICATION.  Weed control material shall be applied over an area 3 feet wide, measured from the fence centerline, and over the wildlife fence.  Apply weed control material as recommended by the manufacturer’s instructions and in compliance with state and local regulations.

METHOD OF MEASUREMENT

163-4.1 CHAIN LINK FENCE FABRIC.  Chain-link fence fabric shall be measured for payment by the linear foot to the nearest foot.  Measurement shall be along the fence from center to center of end or corner posts, excluding the length occupied by gate openings.

163-4.2 CONCRETE PADS AT GATES.  Concrete pads at gates shall be measured by the unit.

163-4.3 BORROW FILL MATERIAL.  Borrow material for fill will be furnished by the Contractor.  This shall be measured by the cubic yard in place.

163-4.4 WEED CONTROL APPLICATION.  Shall be measured by the linear foot.

BASIS OF PAYMENT

163-5.1 CHAIN LINK FENCE FABRIC.  Payment for chain-link fence fabric shall be made at the contract unit price per linear foot.  This price shall be full compensation for furnishing materials, all labor (including preparation, excavation, backfill, fill, and installation), equipment, tools, and incidentals necessary to complete this item.  Utility locates shall be included in this pay item.

163-5.2 CONCRETE PADS AT GATES.  Payment for concrete pads at gates shall be made at the contract unit price for each pad.  This price shall be full compensation for furnishing materials, all labor (including preparation, excavation, backfill, placement of concrete, reinforcing steel, and forms), equipment, tools, and incidentals necessary to complete this item.

163-5.3 BORROW FILL MATERIAL.  Payment for the loading, transporting, and placing of borrow material shall be made at the contract unit price per cubic yard.  This price shall be full compensation for furnishing all labor (including placement, compaction, and grading), equipment, tools, and incidentals necessary to complete this item.

163-5.4 WEED CONTROL APPLICATION.  Payment for weed control application shall be made at the contract unit price per linear foot.  This price shall be full compensation for furnishing materials, all labor, equipment, tools, and incidentals necessary to complete this item.

163-5.5 EXAMPLES OF DETAILS.  The following drawings are examples of details for a WILDLIFE DETERRENT FENCE.  The fence type and dimensions shown will vary according to specific project design requirements.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer should delete paragraph 163-5.5 STANDARD DETAILS and the example drawings and incorporate appropriate/applicable design details on the project plans.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

MATERIAL REQUIREMENTS

ASTM A 121 	Zinc-Coated (Galvanized) Steel Barbed Wire

ASTM A 123 	Zinc (Hot Galvanized) Coatings on Iron and Steel Products

ASTM A 153 	Zinc Coating (Hot-Dip) on Iron and Steel Hardware

ASTM A 392 	Zinc-Coated Steel Chain-Link Fence Fabric

ASTM A 572 	High-Strength Low-Alloy Columbium-Vanadium Structural Steel

ASTM A 1011	Steel, Sheet and Strip Hot-Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability

ASTM F 1043	Strength and Protective Coatings on Metal Industrial Chain Link Fence Framework

ASTM F 1083 	Pipe, Steel, Hot-Dipped Zinc-coated (galvanized) Welded, for Fence Structures

AASHTO T-180	Moisture-Density Relations of Soils Using a 4.54-kg (10-lb) Rammer and a 457-mm (18-in) Drop

FED SPEC

RR-F-191/3 	Fencing, Wire and Post, Metal (Chain-Link Fence Posts, Top Rails and Braces)

FED SPEC

RR-F-191/4 	Fencing, Wire and Post, Metal (Chain-Link Fence Accessories)

END OF ITEM F-163

Intentionally Left Blank