# PART IX – DRAINAGE

### ITEM D-701   PIPE FOR STORM DRAINS AND CULVERTS

DESCRIPTION

701-1.1  This item shall consist of the construction of pipe culverts and storm drains in accordance with these specifications and in reasonably close conformity with the lines and grades shown on the plans.

MATERIALS

701-2.1  Materials shall meet the requirements shown on the plans and specified below.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer should indicate the required class, schedule, SDR, gage, and/or strength of pipe desired.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

701-2.2  PIPE.  The pipe shall be of the type called for on the plans or in the proposal and shall be in accordance with the following appropriate requirements.

Metallic Coated Corrugated Steel Pipe (Type I, IR or II)	ASTM A 760

Galvanized Steel Corrugated Structural Plates

and Fasteners for Pipe, Pipe-Arches, and Arches	ASTM A 761

Polymer Precoated Corrugated Steel Pipe for Sewers and Drains	ASTM A 762

Post-Coated and Lined (Bituminous or Concrete)

Corrugated Steel Sewer and Drainage Pipe	ASTM A 849

Steel Sheet, Zinc and Aramid Fiber Composite Coated for

Corrugated Steel Sewer, Culvert, and Underdrain Pipe	A885/A885M-96

Corrugated Aluminum Alloy Culvert Pipe	ASTM B 745

Non-Reinforced Concrete Pipe	ASTM C 14

Reinforced Concrete Pipe	ASTM C 76

Reinforced Concrete D-Load Pipe	ASTM C 655

Reinforced Concrete Arch Pipe	ASTM C 506

Reinforced Concrete Elliptical Pipe	ASTM C 507

Precast Reinforced Concrete Box Sections	ASTM C 789 and C 850

Poly (Vinyl Chloride) Ribbed Drain Pipe & Fittings	ASTM F 794

Based on Controlled Inside Diameter

Poly (Vinyl Chloride) (PVC) Corrugated Sewer Pipe	ASTM F 949

With a Smooth Interior and Fittings

Bituminous-Coated Corrugated Metal Pipe and Pipe Arches	AASHTO M 190

Bituminous-Coated Corrugated Aluminum Alloy Culvert Pipe	AASHTO M 190 and M 196

Bituminous-Coated Structural Plate Pipe, Pipe Arch, and Arches	AASHTO M 167 and M 243

Aluminum Alloy Structural Plate for Pipe, Pipe Arch, and Arches	AASHTO M 219

Polyvinyl Chloride (PVC) Pipe	ASTM D 3034

Corrugated Polyethylene Drainage Tubing (all types)	AASHTO M 252

Corrugated Polyethylene Pipe 300 to 1200 mm Diameter (all types)	AASHTO M 294M

Poly (Vinyl Chloride) (PVC) Profile Wall Drain Pipe and Fittings Based	AASHTO M 304

on Controlled Inside Diameter

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall select the pipe used for the project and may delete inappropriate requirements from paragraph 701-2.2 and from the list of material requirements.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

701-2.3  CONCRETE.  Concrete for pipe cradles shall have a minimum compressive strength of 2000 psi (13.8 MPa) at 28 days and conform to the requirements of ASTM C 94.

701-2.4  RUBBER GASKETS.  Rubber gaskets for rigid pipe shall conform to the requirements of ASTM C 443.  Rubber gaskets for PVC pipe and polyethylene pipe shall conform to the requirements of ASTM F 477.  Rubber gaskets for zinc-coated steel pipe and precoated galvanized pipe shall conform to the requirements of ASTM D 1056, for the "RE'' closed cell grades.

701-2.5  JOINT MORTAR.  Pipe joint mortar shall consist of one part portland cement and two parts sand.  The portland cement shall conform to the requirements of ASTM C 150, Type I.  The sand shall conform to the requirements of ASTM C 144.

701-2.6  JOINT FILLERS.  Poured filler for joints shall conform to the requirements of ASTM D 1190.

701-2.7  PLASTIC GASKETS.  Plastic gaskets shall conform to the requirements of AASHTO M 198 (Type B).

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

ASTM C 789 and C 850 are primarily manufacturing specifications.  The box section dimensions, compressive strength of the concrete, and reinforcement details shown in the specifications have been designed for a combined earth dead load and AASHTO HS20 live load condition.  A modified design will be necessary when aircraft loadings are greater than HS20 live loads.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

[701-2.8.  CONTROLLED LOW STRENGTH MATERIAL (CLSM).   Controlled low strength material shall conform to the requirements of Item P-153.  When CLSM is used all joints shall have gaskets.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Specification Item P-153 Controlled Low Strength Material (CLSM)contains guidance for use of CLSM.  The locations where CLSM is permitted shall be shown on the plans.  This paragraph and the option to allow Item P-153 in paragraph 701-3.5 must agree.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

CONSTRUCTION METHODS

701-3.1  EXCAVATION.  The width of the pipe trench shall be sufficient to permit satisfactory jointing of the pipe and thorough tamping of the bedding material under and around the pipe, but it shall not be less than the external diameter of the pipe plus 6 inches (150 mm) on each side.  The trench walls shall be approximately vertical.

Where rock, hardpan, or other unyielding material is encountered, the Contractor shall remove it from below the foundation grade for a depth of at least 12 inches (300 mm) or one-half inch (12 mm) for each foot of fill over the top of the pipe (whichever is greater) but for no more than three-quarters of the nominal diameter of the pipe.  The width of the excavation shall be at least 1 foot (30 cm) greater than the horizontal outside diameter of the pipe.  The excavation below grade shall be backfilled with selected fine compressible material, such as silty clay or loam, and lightly compacted in layers not over 6 inches (150 mm) in uncompacted depth to form a uniform but yielding foundation.

Where a firm foundation is not encountered at the grade established, due to soft, spongy, or other unstable soil, the unstable soil shall be removed and replaced with approved granular material for the full trench width.  The Engineer shall determine the depth of removal necessary.  The granular material shall be compacted to provide adequate support for the pipe.

The excavation for pipes that are placed in embankment fill shall not be made until the embankment has been completed to a height above the top of the pipe as shown on the plans.

701-3.2  BEDDING.  The pipe bedding shall conform to the class specified on the plans.  When no bedding class is specified or detailed on the plans, the requirements for Class C bedding shall apply.

a.  Rigid Pipe.  Class A bedding shall consist of a continuous concrete cradle conforming to the plan details.

Class B bedding shall consist of a bed of granular material having a thickness of at least 6 inches (150 mm) below the bottom of the pipe and extending up around the pipe for a depth of not less than 30 percent of the pipe's vertical outside diameter.  The layer of bedding material shall be shaped to fit the pipe for at least 10 percent of the pipe's vertical diameter and shall have recesses shaped to receive the bell of bell and spigot pipe.  The bedding material shall be sand or selected sandy soil, all of which passes a 3/8 inch (9 mm) sieve and not more than 10 percent of which passes a No. 200 (0.075 mm) sieve.

Class C bedding shall consist of bedding the pipe in its natural foundation to a depth of not less than 10 percent of the pipe's vertical outside diameter.  The bed shall be shaped to fit the pipe and shall have recesses shaped to receive the bell of bell and spigot pipe.

b.  Flexible Pipe.  For flexible pipe, the bed shall be roughly shaped to fit the pipe, and a bedding blanket of sand or fine granular material shall be provided as follows:

Pipe Corrugation Depth				Minimum Bedding Depth

in.		mm				in.		mm

1/2		12.5				1 		25.0

1		25.0				2		50.0

2		50.0				3		75.0

2-1/2		62.5				3-1/2		87.5

c.  PVC and Polyethylene Pipe.  For PVC and polyethylene pipe, the bedding material shall consist of coarse sands and gravels with a maximum particle size of 3/4-inch (13 mm).  For pipes installed under paved areas, no more than 12 percent of the material shall pass the No. 200 (0.075 mm) sieve.  For all other areas, no more than 50 percent of the material shall pass the No. 200 (0.075 mm) sieve.  The bedding shall have a thickness of at least 6 inches (150 mm) below the bottom of the pipe and extend up around the pipe for a depth of not less than 50 percent of the pipe's vertical outside diameter.

701-3.3  LAYING PIPE.  The pipe laying shall begin at the lowest point of the trench and proceed upgrade.  The lower segment of the pipe shall be in contact with the bedding throughout its full length.  Bell or groove ends of rigid pipes and outside circumferential laps of flexible pipes shall be placed facing upgrade.

Paved or partially lined pipe shall be placed so that the longitudinal center line of the paved segment coincides with the flow line.

Elliptical and elliptically reinforced pipes shall be placed with the manufacturer's top of pipe mark within five degrees of a vertical plane through the longitudinal axis of the pipe.

701-3.4  JOINING PIPE.  Joints shall be made with (1) portland cement mortar, (2) portland cement grout, (3) rubber gaskets, (4) plastic gaskets, or (5) coupling bands.

Mortar joints shall be made with an excess of mortar to form a continuous bead around the outside of the pipe and shall be finished smooth on the inside.  Molds or runners shall be used for grouted joints in order to retain the poured grout.  Rubber ring gaskets shall be installed to form a flexible watertight seal.

a.  Concrete Pipe.  Concrete pipe may be either bell and spigot or tongue and groove.  The method of joining pipe sections shall be such that the ends are fully entered and the inner surfaces are reasonably flush and even.  Joints shall be thoroughly wetted before mortar or grout is applied.

b.  Metal Pipe.  Metal pipe shall be firmly joined by form fitting bands conforming to the requirements of ASTM A 760 for steel pipe and AASHTO M 196 for aluminum pipe.

c.  PVC and Polyethylene Pipe.  Joints for PVC and Polyethylene pipe shall conform to the requirements of ASTM D 3212 when water tight joints are required.  Joints for PVC and Polyethylene pipe shall conform to the requirements of AASHTO M 304 when soil tight joints are required.  Fittings for polyethylene pipe shall conform to the requirements of AASHTO M 252 or M 294M.

701-3.5  BACKFILLING.  Pipes shall be inspected before any backfill is placed; any pipes found to be out of alignment, unduly settled, or damaged shall be removed and relaid or replaced at the Contractor's expense.

Material for backfill shall be fine, readily compatible soil, granular material selected from the excavation or a source of the Contractor's choosing[, or shall meet the requirements of  Item P-153].  .  It shall not contain frozen lumps, stones that would be retained on a 2-inch (50.0 mm) sieve, chunks of highly plastic clay, or other objectionable material.  No less than 95 percent of a granular backfill material shall pass through a 1/2 inch (12 mm) sieve, and no less than 95 percent of it shall be retained on a No. 4 (4.75 mm) sieve.

When the top of the pipe is even with or below the top of the trench, the backfill shall be compacted in layers not exceeding 6 inches (150 mm) on both sides of the pipe and shall be brought up one foot (30 cm) above the top of the pipe or to natural ground level, whichever is greater.  Care shall be exercised to thoroughly compact the backfill material under the haunches of the pipe.  Material shall be brought up evenly on both sides of the pipe.

When the top of the pipe is above the top of the trench, the backfill shall be compacted in layers not exceeding 6 inches (150 mm) and shall be brought up evenly on both sides of the pipe to 1 foot (30 cm) above the top of the pipe.  The width of backfill on each side of the pipe for the portion above the top of the trench shall be equal to twice the pipe's diameter of 12 feet (3.5 m), whichever is less.

For PVC and polyethylene pipe, the backfill shall be placed in two stages; first to the top of the pipe and then at least 12 inches (300 mm) over the top of the pipe.  The backfill material shall meet the requirements of paragraph 701-3.2c.

All backfill shall be compacted to the density required under Item P-152.

METHOD OF MEASUREMENT

701-4.1  The length of pipe shall be measured in linear feet (meters) of pipe in place, completed, and approved.  It shall be measured along the centerline of the pipe from end or inside face of structure to the end or inside face of structure, whichever is applicable.  The several classes, types and size shall be measured separately.  All fittings shall be included in the footage as typical pipe sections in the pipe being measured.

701-4.2  The volume of concrete for pipe cradles to be paid for shall be the number of cubic yards (cubic meters) of concrete that is completed in place and accepted.

701-4.3  The volume of rock to be paid for shall be the number of cubic yards (cubic meters) of rock excavated.  No payment shall be made for the cushion material placed for the bed of the pipe.

BASIS OF PAYMENT

701-5.1  Payment will be made at the contract unit price per linear foot (meter) for each kind of pipe of the type and size designated; at the contract unit price per cubic yard (cubic meter) of concrete for pipe cradles; and at the contract unit price per cubic yard (cubic meter) for rock excavation.

These prices shall fully compensate the Contractor for furnishing all materials and for all preparation, excavation, and installation of these materials; and for all labor, equipment, tools, and incidentals necessary to complete the item.

Payment will be made under:

Item 701-5.1	[    ] inch [    ] per linear foot (meter)

Item 701-5.2	Concrete for pipe cradles—per cubic yard (cubic meter)

Item 701-5.3	Rock excavation—per cubic yard (cubic meter)

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall specify the size and type of pipe for each pipe size specified in the plans.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

MATERIAL REQUIREMENTS

ASTM A 760	Corrugated Steel Pipe, Metallic-Coated for Sewers and Drains

ASTM A 761	Corrugated Steel Structural Plate, Zinc Coated, for Field-Bolted Pipe, Pipe-Arches, and Arches

ASTM A 762	Corrugated Steel-Pipe, Polymer Precoated for Sewers and Drains

ASTM A 849	Post-Applied Coatings, Pavings, and Linings for Corrugated Steel Sewer and

Drainage Pipe

ASTM A 885/A 885M-96	Steel Sheet, Zinc and Aramid Fiber Composite Coated for Corrugated Steel Sewer, Culvert, and Underdrain Pipe

ASTM B 745	Corrugated Aluminum Alloy Culvert Pipe

ASTM C 14	Concrete Sewer, Storm Drain, and Culvert Pipe

ASTM C 76	Reinforced Concrete Culvert, Storm Drain, and Sewer Pipe

ASTM C 94	Ready Mixed Concrete

ASTM C 144	Aggregate for Masonry Mortar

ASTM C 150	Portland Cement

ASTM C 443	Joints for Circular Concrete Sewer and Culvert Pipe, Using Rubber Gaskets

ASTM C 506	Reinforced Concrete Arch Culvert, Storm Drain, and Sewer Pipe

ASTM C 507	Reinforced Concrete Elliptical Culvert, Storm Drain and Sewer Pipe

ASTM C 655	Reinforced Concrete D-Load Culvert, Storm Drain and Sewer Pipe

ASTM C 1433	Precast Reinforced Concrete Box Sections for Culverts, Storm Drains, and Sewers

ASTM D 1056	Flexible Cellular Materials—Sponge or Expanded Rubber

ASTM D 3034	Type PSM Poly (Vinyl Chloride) (PVC) Sewer Pipe and Fittings

ASTM D 3212	Joints for Drain and Sewer Plastic Pipes Using Flexible Elastomeric Seals

ASTM D 6690	Joint and Crack Sealants, Hot-Applied, for Concrete and Asphalt Pavements

ASTM F 477	Elastomeric Seals (Gaskets) for Joining Plastic Pipe

ASTM F 794	Poly (Vinyl Chloride) Ribbed Drain Pipe & Fittings Based on Controlled Inside Diameter

ASTM F 949	Poly (Vinyl Chloride) (PVC) Corrugated Sewer Pipe With a Smooth Interior and Fittings

AASHTO M 190	Bituminous-Coated Corrugated Metal Culvert Pipe and Pipe Arches

AASHTO M 196	Corrugated Aluminum Alloy Culverts and Underdrains

AASHTO M 198	Joints for Circular Concrete Sewer and Culvert Pipe Using Flexible Watertight Gaskets

AASHTO M 219	Aluminum Alloy Structural Plate for Pipe, Pipe-Arches, and Arches

AASHTO M 243	Field Applied Coating of Corrugated Metal Structural Plate for Pipe, Pipe-Arches, and Arches

AASHTO M 252	Corrugated Polyethylene Drainage Tubing

AASHTO M 294M	Corrugated Polyethylene Pipe, 300 to 1200 mm Diameter

AASHTO M 304	Poly (Vinyl Chloride) (PVC) Profile Wall Drain Pipe and Fittings Based on Controlled Inside Diameter

END ITEM D-701

Intentionally Left Blank

### ITEM D-702   SLOTTED DRAINS

DESCRIPTION

702-1.1  This item shall consist of the construction of steel slotted drains or cast iron slotted vane drains in accordance with these specifications and in reasonably close conformity with the lines and grades shown on the plans.  Type detail shall be shown on the plans.

MATERIALS

702-2.1 GENERAL.  All slotted drains shall meet the requirements shown on the plans and specified below.  All slotted drains shall meet specified hydraulic design requirements and shall support the loadings specified.

702-2.2 PIPE.

a.  Steel slotted Drain.  Pipe shall be metallic coated (galvanized or aluminized steel type II) corrugated steel type I meeting the requirements of ASTM A760.  Pipe diameter and gage shall be as shown on the plans.

The corrugated steel pipe shall have a minimum of two rerolled annular ends.

b.  Cast Iron Slotted Vane Drain.  Polyvinyl Chloride (PVC) pipe shall meet the requirements of ASTM D 3034.  Pipe diameter shall be as shown on the plans.  The pipe shall have an open slot to accept the cast iron slotted vane drain castings.

702-2.3 GRATES AND CASTINGS.

a. Steel Slotted Drain.  Grates shall be manufactured from ASTM A 36 or A 570, Grade 36 steel.  Spacers and bearing bars (sides) shall be 3/16-inch (5 mm) material.  The spacers shall be welded to each bearing bar with four 1-1/4-inch long 3/16-inch wide (32 mm long by 5 mm wide) fillet welds on each side of the bearing bar at spacings not exceeding 6 inches (150 mm).  The grates shall be 6 inches (150 mm) high or as shown on the plans and shall have a maximum 1-3/4-inch (45 mm) opening in the top.

Grates shall be galvanized in accordance with ASTM A 123 except with a 2 ounce per square foot (0.61 kg per square meter) galvanized coating.

The grates shall be fillet welded to the corrugated steel pipe with a minimum weld 1 inch (25 mm) long on each side of the grate at every other corrugation.  Weld areas and the heat affected zones where the slot is welded to the corrugated pipe shall be thoroughly cleaned and painted with a zinc-rich paint in accordance with repair of damaged coatings in ASTM A 760.

Each 20-foot (6.1 m) length of drain delivered to the job site shall be within the following tolerances: vertical bow +/- 3/8 inch (9.5 mm), horizontal bow +/- 5/8 inch (16 mm), twist +/- 1/2 inch (12.5 mm).

b. Cast Iron Slotted Vane Drain.  Castings shall meet the requirements of ASTM A 48, Class 35B gray iron.  Castings shall be furnished with no coatings.

Castings shall be designed to fit on open slots in 15-inch (380 mm) PVC pipe.  Casting sections shall not exceed three feet (915 mm) in length.  Casting sections shall have a built-in vane configuration with bar spacings not exceeding 6 inches (150 mm).  The opening at the surface shall not exceed 3-3/4 inches (95 mm), and the vane shall be constructed on a radius so that the opening shall be less than 1-1/2 inches (38 mm) at a depth of 1-1/2 inches (38 mm) as measured vertically from the surface.  Casting sections shall integrally lock into the concrete by use of top and bottoms flanges and shear tabs.  Castings shall accept bolts for bolting sections together and shall accept wire for fitting to pipe.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer should note that certain standard details can be found in AASHTO AGC-ARTBA publication “A Guide to Standardized Highway Drainage Products”.  All products used shall meet the strict airport loading and tire pressure  requirements.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

702-2.3 CONCRETE.

a.  Steel Slotted Drain.  Concrete shall have a minimum compressive strength of 1,000 psi (6.9 Mpa) at 28-days when tested in accordance with ASTM C 39.

b.  Cast Iron Slotted Vane Drain.  Concrete shall have a minimum compressive strength of 3,000 psi (20.7 Mpa) at 28-days when tested in accordance with ASTM C 39.

[702-2.3 CONCRETE.  Plain or reinforced concrete used shall conform to the requirements of Item P-610.]

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

If design requirements indicate the need for structural concrete, the Engineer should include Item P-610 Structural Portland Cement Concrete.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

CONSTRUCTION METHODS

702-3.1 EXCAVATION.  The width of the trench shall be sufficient to permit satisfactory installation and jointing of the slotted drain and placing of a high slump concrete backfill material under and around the drain, but shall not be less than the external pipe diameter plus 6 inches (150 mm) on each side.  The depth of the trench shall be a minimum of 2 inches (51 mm) below the invert for steel slotted drain and 6 inches (150 mm) below the invert for cast iron slotted vane drain.

The trench may be roughly shaped to the slotted drain bed.

702-3.2  INSTALLATION.  Steel slotted drain shall be laid in sections joined firmly together with coupling bands, or as shown on the plans.  Cast iron drains shall be wired to the top of the PVC pipe in the slot cut in to receive the castings.  The top of all drains shall be held firmly in place to the proper grade, to preclude movement during the backfilling operation.

702-3.3  JOINING.  Slotted steel drain joints shall be firmly joined by modified hugger type bands, or as indicated, to secure the pipe and prevent infiltration of the backfill.  When the slotted steel drain is banded together, the adjacent grates shall have a maximum 3 inch (76 mm) gap.  Cast iron drains castings shall be bolted together.

702-3.4  BACKFILLING.  Slotted drains shall be inspected before any backfill is placed.  Damaged drains shall be aligned or replaced at the expense of the Contractor.

The slotted drain assembly shall be backfilled with concrete that will easily flow under and around the drain and the trench wall. The opening in the top of grates and castings shall be covered to prevent unwanted material from entering the drain during the backfilling and subsequent surfacing operations.

METHOD OF MEASUREMENT

702-4.1  The length of slotted drain shall be measured in linear feet (meters) of slotted drain in place, completed, and approved.  It shall be measured along the centerline of the drain from end or inside face of structure to the end or inside face of structure, whichever is applicable. The several classes, types, and sizes shall be measured separately. All fittings shall be included in the footage as typical pipe sections being measured.

BASIS OF PAYMENT

702-5.1  Payment shall be made at the contract unit price per linear foot (meter) for each kind of slotted drain type and size designated and at the contract unit price per cubic yard (cubic meter) of concrete for backfill.

These prices shall be full compensation for all materials, all preparation, excavation and installation of these materials; and all labor, equipment, tools, and incidentals necessary to complete the item.

Payment will be made under:

Item 702-5.1	[   ] inch (mm) diameter [     gage] pipe per linear foot (meter)

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall include a pay item for each size and gage pipe specified for each drain type.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Item 702-5.2	 Concrete for backfill-per cubic yard (cubic meter).

TESTING REQUIREMENTS

ASTM C 39	Compressive Strength of Cylindrical Concrete Specimens

MATERIAL REQUIREMENTS

ASTM A 36	Structural Steel

ASTM A 48	Gray Iron Castings

ASTM A 123	Zinc Coating (Hot-Dip) on Iron and Steel Products

ASTM A 570	Steel, Sheet and Strip, Carbon, Hot-Rolled, Structural Quality

ASTM A 760	Corrugated Steel Pipe, Metallic-Coated for Sewers and Drains

ASTM D 3034	Type PSM Poly (Vinyl Chloride), (PVC), Sewer Pipe and Fittings

Information	A guide to Standardized Highway Drainage Products disseminated under the sponsorship of the American Association of State Highway and Transportation Officials, Associated General Contractors, and the American Road and Transportation Builders Association

END OF ITEM D-702

Intentionally Left Blank

### ITEM D-705   PIPE UNDERDRAINS FOR AIRPORTS

DESCRIPTION

705-1.1  This item shall consist of the construction of pipe drains in accordance with these specifications and in reasonably close conformity with the lines and grades shown on the plans.

MATERIALS

705-2.1  GENERAL.  Materials shall meet the requirements shown on the plans and specified below.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer should indicate the required class, schedule, SDR, gage, and/or strength of pipe desired.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

705-2.2  PIPE.  The pipe shall be of the type called for on the plans or in the proposal and shall be in accordance with the following appropriate requirements.

Perforated Concrete Pipe 	ASTM C 444

Porous Concrete Pipe 	ASTM C 654

Polymer Precoated Perforated Corrugated Steel Pipe	ASTM A 762

Perforated Corrugated Aluminum Alloy Pipe	AASHTO M 196

Smooth-Wall Perforated PVC Pipe 	ASTM F 758

Poly (Vinyl Chloride) Ribbed Drain Pipe & Fittings

Based on Controlled Inside Diameter	ASTM F 794

Poly (Vinyl Chloride)(PVC) Corrugated Sewer

Pipe With a Smooth Interior and Fittings	ASTM F 949

Perforated Corrugated Steel Pipe 	ASTM A 760

Bituminous-Coated Perforated Corrugated	AASHTO M 196

Aluminum Alloy Pipe	  and M 190

Corrugated Polyethylene Drainage Tubing (all types)	AASHTO M 252

Corrugated Polyethylene Pipe, 300 to 1200 mm Diameter (all types)	AASHTO M 294M

Poly (Vinyl Chloride) (PVC) Profile Wall Drain Pipe  and 	AASHTO M 304

Fittings Based on Controlled Inside Diameter

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall select the pipe used for the project and may delete inappropriate requirements from paragraph 705-2.2 and from the list of material requirements.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

705-2.3  JOINT MORTAR.  Pipe joint mortar shall consist of one part portland cement and two parts sand.  The portland cement shall conform to the requirements of ASTM C 150, Type I.  The sand shall conform to the requirements of ASTM C 144.

705-2.4  ELASTOMERIC SEALS.  Elastomeric seals shall conform to the requirements of ASTM F 477.

705-2.5  POROUS BACKFILL.  Porous backfill shall be free of clay, humus, or other objectionable matter, and shall conform to the gradation in Table 1 when tested in accordance with ASTM C 136.

| TABLE 1. GRADATION OF POROUS BACKFILL |
| --- |
| Sieve Designation (square openings) | Percentage by Weight Passing Sieves |
|  | Porous Material No. 1 | Porous Material No. 2 |
| 1-1/2 inch (38 mm) |  | 100 |
| 1 inch (25 mm) |  | 90 - 100 |
| 3/8 inch (9.5 mm) | 100 | 25 - 60 |
| No. 4 (4.75 mm) | 95 – 100 | 5 - 40 |
| No. 8 (2.36 mm) |  | 0 - 20 |
| No. 16 (1.18 mm) | 45 – 80 |  |
| No. 50 (0.30 mm) | 10 – 30 |  |
| No. 100 (0.15 mm) | 0 – 10 |  |

When two courses of porous backfill are specified in the plans, the finer of the materials shall conform to particle size tabulated herein for porous material No. 1.  The coarser granular material shall meet the gradation given in the tabulation for porous material No. 2.

705-2.6.  GRANULAR MATERIAL.  Granular material used for backfilling shall conform to the requirements of ASTM D 2321 for Class IA, IB, or II materials, or shall meet the requirements of AASHTO Standard Specification for Highway Bridges Section 30.

705-2.7.  FILTER FABRIC.  The filter fabric shall conform to the requirements of AASHTO M 288-99, Class 2.

| TABLE 2 |
| --- |
| Fabric Property | Test Method | Test Requirement |
| Grab Tensile Strength, lbs | ASTM D 4632 | 125 min |
| Grab Tensile Elongation % | ASTM D 4632 | 50 min |
| Burst Strength, psi | ASTM D 3785 | 125 min |
| Trapezoid Tear Strength, lbs | ASTM D 4533 | 55 min |
| Puncture Strength, lbs | ASTM D 4833 | 40 min |
| Abrasion, lbs | ASTM D 4886 | 15 max loss |
| Equivalent Opening Size | ASTM D 4751 | 70-100 |
| Permittivity sec-1 | ASTM D 4491 | 0.80 |
| Accelerated Weathering | ASTM D 4355 | 70 |
|  | (UV Stability) | *(500 hrs exposure) |  |
|  | (Strength Retained - %) |  |  |

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall specify Class 2 unless sufficient survivability information is available for a reduction in minimum property requirements.  Permittivity and Apparent Opening Size requirements shall be based on knowledge of in situ soil.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

705-2.8.  CONTROLLED LOW STRENGTH MATERIAL (CLSM).   Controlled low strength material shall conform to the requirements of Item P-153.  When CLSM is used all joints shall have elastomeric seals.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Specification Item P-153 Controlled Low Strength Material (CLSM)contains guidance for use of CLSM.  The locations where CLSM is permitted shall be shown on the plans.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

CONSTRUCTION METHODS

705-3.1  EQUIPMENT.  All equipment necessary and required for the proper construction of pipe underdrains shall be on the project, in first-class working condition, and approved by the Engineer before construction is permitted to start.

705-3.2  EXCAVATION.  The width of the pipe trench shall be sufficient to permit satisfactory jointing of the pipe and thorough tamping of the bedding material under and around the pipe, but shall not be less than the external diameter of the pipe plus 6 inches (150 mm) on each side.  The trench walls shall be approximately vertical.

Where rock, hardpan, or other unyielding material is encountered, it shall be removed below the foundation grade for a depth of at least 4 inches (100 mm).  The excavation below grade shall be backfilled with selected fine compressible material, such as silty clay or loam, and lightly compacted in layers not over 6 inches (150 mm) in uncompacted depth to form a uniform but yielding foundation.

Where a firm foundation is not encountered at the grade established, due to soft, spongy, or other unstable soil, the unstable soil shall be removed and replaced with approved granular material for the full trench width.  The Engineer shall determined the depth of removal necessary.  The granular material shall be compacted to provide adequate support for the pipe.

Excavated material not required or acceptable for backfill shall be disposed of by the Contractor as directed by the Engineer.  The excavation shall not be carried below the required depth; when this is done, the trench shall be backfilled at the Contractor's expense with material approved by the Engineer and compacted to the density of the surrounding earth material.

The bed for the pipe shall be so shaped that at least the lower quarter of the pipe shall be in continuous contact with the bottom of the trench.  Spaces for the pipe bell shall be excavated accurately to size to clear the bell so that the barrel supports the entire weight of the pipe.

The Contractor shall do such trench bracing, sheathing, or shoring necessary to perform and protect the excavation as required for safety and conformance to governing laws.  Unless otherwise provided, the bracing, sheathing, or shoring shall be removed by the Contractor after the completion of the backfill to at least 12 inches (300 mm) over the top of the pipe.  The sheathing or shoring shall be pulled as the granular backfill is placed and compacted to avoid any unfilled spaces between the trench wall and the backfill material.  The cost of bracing, sheathing, or shoring, and the removal of same, shall be included in the unit price bid per foot (meter) for the pipe.

705-3.3  LAYING AND INSTALLING PIPE.

a.  Concrete Pipe.  The laying of the pipe in the finished trench shall be started at the lowest point and laid upgrade.  When bell and spigot pipe is used, the bells shall be laid upgrade.  If tongue and groove pipe is used, the groove end shall be laid upgrade.  Holes in perforated pipe shall be placed down, unless otherwise shown on the plans.  The pipe shall be firmly and accurately set to line and grade so that the invert will be smooth and uniform.  Pipe shall not be laid on frozen ground.

Pipe which is not true in alignment, or which shows any settlement after laying, shall be taken up and relaid without extra compensation.

b.  Metal Pipe.  The metal pipe shall be laid with the separate sections joined firmly together with bands, with outside laps of circumferential joints pointing upgrade, and with longitudinal laps on the sides.  Any metal in the pipe or bands that is not protected thoroughly by galvanizing shall be coated with a suitable asphaltum paint.

During installation, the asphalt-protected pipe shall be handled without damaging the asphalt coating.  Any breaks in the bitumen or treatment of the pipe shall be refilled with the type and kind of bitumen used in coating the pipe originally.

c.  PVC or Polyethylene Pipe.  PVC or polyethylene pipe shall be installed in accordance with the requirements of ASTM D 2321 or AASHTO Standard Specification for Highway Bridges Section 30.  Perforations shall meet the requirements of AASHTO M 252 or M 294 Class 2, unless otherwise indicated on the plans.  The pipe shall be laid accurately to line and grade.

d.  All Types of Pipe.  The upgrade end of pipelines, not terminating in a structure, shall be plugged or capped as approved by the Engineer.

Unless otherwise shown on the plans, a 4-inch (100 mm) bed of granular backfill material shall be spread in the bottom of the trench throughout the entire length under all perforated pipe underdrains.

Pipe outlets for the underdrains shall be constructed when required or shown on the plans.  The pipe shall be laid with tight-fitting joints.  Porous backfill is not required around or over pipe outlets for underdrains.  All connections to other drainage pipes or structures shall be made as required and in a satisfactory manner.  If connections are not made to other pipes or structures, the outlets shall be protected and constructed as shown on the plans.

e.  Filter Fabric.  The filter fabric shall be installed in accordance with the manufacturer's recommendations, or in accordance with AASHTO M 288-99 APPENDIX, unless otherwise shown on the plans.

705-3.4  MORTAR.  The mortar shall be of the desired consistency for caulking and filling the joints of the pipe and for making connections to other pipes or to structures.  Mortar that is not used within 45 minutes after water has been added shall be discarded.  Retempering of mortar shall not be permitted.

705-3.5  JOINTS IN CONCRETE PIPE.  When open or partly open joints are required or specified, they shall be constructed as indicated on the plans.  The pipe shall be laid with the ends fitted together as designed.  If bell and spigot pipe is used, mortar shall be placed along the inside bottom quarter of the bell to center the following section of pipe.

The open or partly open joints shall be surrounded with granular material meeting requirements of porous backfill No. 2 or as indicated on the plans.  This backfill shall be placed so its thickness will be not less than 3 inches (75 mm) nor more than 6 inches (150 mm), unless otherwise shown on the plans.

When the original material excavated from the trench is impervious, commercial concrete sand or granular material meeting requirements of porous backfill No. 1 shall surround porous backfill No. 2, as shown on the plans or as directed by the Engineer.

When the original material excavated from the trench is pervious and suitable, it may be used as backfill in lieu of porous backfill No. 1, when indicated on the plans or as directed by the Engineer.

705-3.6  BACKFILLING.

a.  Earth.  All trenches and excavations shall be backfilled within a reasonable time after the pipes are installed, unless other protection of the pipe is directed.  The backfill material shall be selected material from excavation or borrow; material which is placed within a nominal pipe diameter distance at the sides of the pipe and 1 foot (30 cm) over the top shall be material that can be readily compacted.  It shall not contain stones retained on a 3-inch (75 mm) sieve, frozen lumps, chunks of highly plastic clay, or any other material that is objectionable to the Engineer.  The material shall be moistened or dried, if necessary to be compacted by the method in use.  Backfill material shall be approved by the Engineer.  Special care shall be taken in placing the backfill.  Great care shall be used to obtain thorough compaction under the haunches and along the sides to the top of the pipe.

The backfill shall be placed in loose layers not exceeding 6 inches (150 mm) in depth under and around the pipe, and not exceeding 8 inches (200 mm) over the pipe.  Successive layers shall be added and thoroughly compacted by hand and pneumatic tampers, approved by the Engineer, until the trench is completely filled and brought to the proper elevation.  Backfilling shall be done in a manner to avoid injurious top or side pressures on the pipe.

In embankments and for other areas outside of pavements, the backfill shall be compacted to the density required for embankments in unpaved areas under Item P-152.  Under paved areas, the subgrade and any backfill shall be compacted to the density required for embankments for paved areas under Item P-152.

b.  Granular Material.  When granular backfill is required, its placement in the trench and about the pipe shall be as shown on the plans.  Special care shall be taken in placing the backfill.  The granular backfill shall not contain a damaging amount of foreign matter, nor shall earth from the sides of the trench or from the windrow be allowed to filter into the backfill.  When required by the Engineer, a template shall be used to properly place and keep separate the two sizes of backfill.  The backfill shall be placed in loose layers not exceeding 6 inches (150 mm) in depth and compacted by hand and pneumatic tampers to the requirements as given for earth backfill.  Backfilling shall be done in a manner to avoid injurious top or side pressure on the pipe.  The granular backfill shall be made to the elevation of the trench, as shown on the plans.

When perforated pipe is specified, granular backfill material shall be placed along the full length of the pipe.  The position of the granular material shall be as shown on the plans.  If the original material excavated from the trench is pervious and suitable, it shall be used in lieu of porous backfill No. 1.

When porous backfill is to be placed in paved or adjacent areas prior to the completion of grading or subgrade operations, the backfill material shall be placed immediately after laying the pipe.  The depth of this granular backfill shall be not less than 12 inches (300 mm), measured from the top of the underdrain.  During subsequent construction operations, this minimum backfill of 12 inches (300 mm) of depth shall not be disturbed until such time as the underdrains are to be completed.  When the underdrains are to be completed, the unsuitable material shall be removed until the porous backfill is exposed.  That part of the porous backfill that contains objectionable material shall be removed and replaced with suitable material.  The cost of removing and replacing any such unsuitable material shall be borne by the Contractor.

Whenever a granular subbase blanket course is to be used under pavements which extends several feet beyond the edge of paving to the outside edge of the underdrain trench, the granular backfill material over the underdrains shall be placed in the trench up to an elevation of 2 inches (50 mm) above the bottom surface of the granular subbase blanket course.  Immediately prior to the placing of the granular subbase blanket course, the Contractor shall blade this excess trench backfill from the top of the trench onto the adjacent subgrade where it can be incorporated into the granular subbase blanket course.  Any unsuitable material that remains over the underdrain trench shall be removed and replaced.  The subbase material shall be placed to provide clean contact between the subbase material and the underdrain granular backfill material for the full width of the underdrain trench.

c.  Controlled Low Strength Material (CLSM).  Controlled low strength material shall conform to the requirements of Item P-153.

d.  Deflection Testing.  The Engineer may at any time, not withstanding previous material acceptance, reject or require re-installation of pipe that exceeds 5 percent deflection when measured in accordance with ASTM D 2321, including Appendices.

705-3.7  CONNECTIONS.  When the plans call for connections to existing or proposed pipe or structures, these connections shall be watertight and made so that a smooth uniform flow line will be obtained throughout the drainage system.

705-3.8  CLEANING AND RESTORATION OF SITE.  After the backfill is completed, the Contractor shall dispose of all surplus material, dirt, and rubbish from the site.  Surplus dirt may be deposited in embankments, shoulders, or as ordered by the Engineer.  Except for paved areas of the airport, the Contractor shall restore all disturbed areas to their original condition.

METHOD OF MEASUREMENT

705-4.1  The length of pipe to be paid for shall be the number of linear feet (meters) of pipe underdrains in place, completed, and approved; measured along the centerline of the pipe from end or inside face of structure to the end or inside face of structure, whichever is applicable.  The several classes, types, and sizes shall be measured separately.  All fittings shall be included in the footage as typical pipe sections in the pipeline being measured.

705-4.2  The quantity of porous backfill to be paid for shall be the number of cubic yards (cubic meters) of porous backfill No. 1 and No. 2, complete in place and accepted, and shall be determined from the dimensions given on the plans by typical trench sections indicating the placement of porous backfill or dimensions ordered by the Engineer.

705-4.3  The quantity of filter fabric to be paid for shall be the number of square yards (square meters) of filter fabric in place, completed, and approved; and shall be determined from the dimensions given on the plans by typical trench sections indicating the placement of filter fabric or dimensions ordered by the Engineer.

BASIS OF PAYMENT

705-5.1  Payment will be made at the contract unit price per linear foot (meter) for pipe underdrains of the type, class, and size designated; at the contract unit price [per cubic yard (cubic meter)][per ton (metric ton)] for porous backfill No.1; the contract unit price [per cubic yard (cubic meter)][per ton (metric ton)] for porous backfill No. 2, and at the contract unit price per square yard (square meter) for filter fabric. [per linear foot (meter) COMPLETE (including porous backfill and filter fabric.]  These prices shall be full compensation for furnishing all materials and for all preparation, excavation, and installation of these materials, and for all labor, equipment, tools, and incidentals necessary to complete the item.

Payment will be made under:

Item D-705-5.1		[    ] inch pipe (mm pipe) [    ] per linear foot (meter)

Item D-705-5.2		Porous Backfill No. 1—[per cubic yard (cubic meter)][per ton (metric ton)]

Item D-705-5.3		Porous Backfill No. 2—[per cubic yard (cubic meter)][per ton (metric ton)]

Item D-705-5.4		Filter Fabric—per square yard (square meter)

[Item D-705-5.5		[    ] inch pipe (mm pipe) [    ] per linear foot (meter) COMPLETE (including porous backfill and filter fabric]

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall specify the size and type of pipe, filter fabric, and backfill material for each pipe size and type specified in the plans.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

MATERIAL REQUIREMENTS

|  | ASTM A 760 | Corrugated Steel Pipe, Metallic-Coated for Sewers and Drains |
| --- | --- | --- |
|  | ASTM A 762 | Corrugated Steel Pipe, Polymer Precoated for Sewers and Drains |
|  | ASTM C 136 | Sieve Analysis of Fine and Coarse Aggregates |
|  | ASTM C 144 | Aggregate for Masonry Mortar |
|  | ASTM C 150 | Portland Cement |
|  | ASTM C 444 | Perforated Concrete Pipe |
|  | ASTM C 654 | Porous Concrete Pipe |
|  | ASTM D 2321 | Underground Installation of Thermoplastic Pipe for Sewers and Other Gravity-Flow Applications |
|  | ASTM D 3034 | Type PSM Poly(Vinyl Chloride) (PVC) Sewer Pipe and Fittings |
|  | ASTM F 477 | Elastomeric Seals (Gaskets) for Joining Plastic Pipe |
|  | ASTM F 758 | Smooth-Wall Poly(Vinyl Chloride) (PVC) Plastic Underdrain Systems for Highway, Airport, and Similar Drainage |
|  | ASTM F 794 | Poly (Vinyl Chloride) Ribbed Drain Pipe & Fittings Based on Controlled Inside Diameter |
|  | ASTM F 949 | Poly (Vinyl Chloride)(PVC) Corrugated Sewer Pipe with a Smooth Interior and Fittings |
|  | AASHTO M 190 | Bituminous Coated Corrugated Metal Culvert Pipe and Pipe Arches |
|  | AASHTO M 196 | Corrugated Aluminum Alloy Culverts and Underdrains |
|  | AASHTO M 252 | Corrugated Polyethylene Drainage Tubing |
|  | AASHTO M 288-99 | Geotextile Specification for Highway Applications |
|  | AASHTO M 294M | Corrugated Polyethylene Pipe, 300 to 1200 mm Diameter |
|  | AASHTO M 304 | Poly (Vinyl Chloride) (PVC) Profile Wall Drain Pipe and Fittings Based on Controlled Inside Diameter |
|  | AASHTO | Standard Specifications for Highway Bridges |

END OF ITEM D-705

Intentionally Left Blank

### ITEM D-751   MANHOLES, CATCH BASINS, INLETS AND INSPECTION HOLES

DESCRIPTION

751-1.1  This item shall consist of construction of manholes, catch basins, inlets, and inspection holes, in accordance with these specifications, at the specified locations and conforming to the lines, grades, and dimensions shown on the plans or required by the Engineer.

MATERIALS

751-2.1  BRICK.  The brick shall conform to the requirements of ASTM C 32, Grade SM.

751-2.2  MORTAR.  Mortar shall consist of one part portland cement and two parts sand.  The portland cement shall conform to the requirements of ASTM C 150, Type I.  The sand shall conform to the requirements of ASTM C 144.

751-2.3  CONCRETE.  Plain and reinforced concrete used in structures, connections of pipes with structures, and the support of structures or frames shall conform to the requirements of Item P-610.

751-2.4  PRECAST CONCRETE PIPE MANHOLE RINGS.  Precast concrete pipe manhole rings shall conform to the requirements of ASTM C 478.  Unless otherwise specified, the risers and offset cone sections shall have an inside diameter of not less than 36 inches (90 cm) nor more than 48 inches (120 cm).

751-2.5  CORRUGATED METAL.  Corrugated metal shall conform to the requirements of AASHTO M 36.

751-2.6  FRAMES, COVERS, AND GRATES.  The castings shall conform to one of the following requirements:

a. Gray iron castings shall meet the requirements of ASTM A 48, Class 30B and 35B.

b. Malleable iron castings shall meet the requirements of ASTM A 47.

c. Steel castings shall meet the requirements of ASTM A 27.

d. Structural steel for grates and frames shall conform to the requirements of ASTM A 283, Grade D.

e. Ductile iron castings shall conform to the requirements of ASTM A 536.

f. Austempered ductile iron castings shall conform to the requirements of ASTM A 897.

All castings or structural steel units shall conform to the dimensions shown on the plans and shall be designed to support the loadings, aircraft gear configuration and/or direct loading, specified.

Each frame and cover or grate unit shall be provided with fastening members to prevent it from being dislodged by traffic but which will allow easy removal for access to the structure.

All castings shall be thoroughly cleaned.  After fabrication, structural steel units shall be galvanized to meet the requirements of ASTM A 123.

751-2.7  STEPS.  The steps or ladder bars shall be gray or malleable cast iron or galvanized steel.  The steps shall be the size, length, and shape shown on the plans and those steps that are not galvanized shall be given a coat of bituminous paint, when directed.

CONSTRUCTION METHODS

751-3.1  UNCLASSIFIED EXCAVATION.

a.  The Contractor shall do all excavation for structures and structure footings to the lines and grades or elevations, shown on the plans, or as staked by the Engineer.  The excavation shall be of sufficient size to permit the placing of the full width and length of the structure or structure footings shown.  The elevations of the bottoms of footings, as shown on the plans, shall be considered as approximately only; and the Engineer may order, in writing, changes in dimensions or elevations of footings necessary to secure a satisfactory foundation.

b.  Boulders, logs, or any other objectionable material encountered in excavation shall be removed.  All rock or other hard foundation material shall be cleaned of all loose material and cut to a firm surface either level, stepped, or serrated, as directed by the Engineer.  All seams or crevices shall be cleaned out and grouted.  All loose and disintegrated rock and thin strata shall be removed.  When concrete is to rest on a surface other than rock, special care shall be taken not to disturb the bottom of the excavation, and excavation to final grade shall not be made until just before the concrete or reinforcing is to be placed.

c.  The Contractor shall do all bracing, sheathing, or shoring necessary to implement and protect the excavation and the structure as required for safety or conformance to governing laws.  The cost of bracing, sheathing, or shoring shall be included in the unit price bid for the structure.

d.  Unless otherwise provided, bracing, sheathing, or shoring involved in the construction of this item shall be removed by the Contractor after the completion of the structure.  Removal shall be effected in a manner that will not disturb or mar finished masonry.  The cost of removal shall be included in the unit price bid for the structure.

e.  After each excavation is completed, the Contractor shall notify the Engineer to that effect; and concrete or reinforcing steel shall be placed after the Engineer has approved the depth of the excavation and the character of the foundation material.

751-3.2  BRICK STRUCTURES.

a.  Foundations.  A prepared foundation shall be placed for all brick structures after the foundation excavation is completed and accepted.  Unless otherwise specified, the base shall consist of reinforced concrete mixed, prepared, and placed in accordance with the requirements of Item P-610.

b.  Laying Brick.  All brick shall be clean and thoroughly wet before laying so that they will not absorb any appreciable amount of additional water at the time they are laid.  All brick shall be laid in freshly made mortar.  Mortar that is not used within 45 minutes after water has been added shall be discarded.  Retempering of mortar shall not be permitted.  An ample layer of mortar shall be spread on the beds and a shallow furrow shall be made in it that can be readily closed by the laying of the brick.  All bed and head joints shall be filled solid with mortar.  End joints of stretchers and side or cross joints of headers shall be fully buttered with mortar and a shoved joint made to squeeze out mortar at the top of the joint.  Any bricks that may be loosened after the mortar has taken its set, shall be removed, cleaned, and relaid with fresh mortar.  No broken or chipped brick shall be used in the face, and no spalls or bats shall be used except where necessary to shape around irregular openings or edges; in which case, full bricks shall be placed at ends or corners where possible, and the bats shall be used in the interior of the course.  In making closures, no piece of brick shorter than the width of a whole brick shall be used; and wherever practicable, whole brick shall be used and laid as headers.

c.  Joints.  All joints shall be slushed with mortar at every course, but slushing alone will not be considered adequate for making an acceptable joint.  Exterior faces shall be laid up in advance of backing.  Exterior faces shall be back plastered or pargeted with a coat of mortar not less than 3/8-inch (9 mm) thick before the backing is laid up.  Prior to pargeting, all joints on the back of face courses shall be cut flush.  Unless otherwise noted, joints shall be not less than 1/4-inch (6 mm) nor more than 1/2-inch (12 mm) wide and whatever width is adopted shall be maintained uniform throughout the work.

d.  Pointing.  Face joints shall be neatly struck, using the weather joint.  All joints shall be finished properly as the laying of the brick progresses.  When nails or line pins are used the holes shall be immediately plugged with mortar and pointed when the nail or pin is removed.

e.  Cleaning.  Upon completion of the work all exterior surfaces shall be thoroughly cleaned by scrubbing and washing down with water and, if necessary to produce satisfactory results, cleaning shall be done with a 5% solution of muriatic acid which shall then be rinsed off with liberal quantities of clean fresh water.

f.  Curing and Cold Weather Protection.  In hot or dry weather, or when directed by the Engineer, the brick masonry shall be protected and kept moist for at least 48 hours after laying the brick.  Brick masonry work or pointing shall not be done when there is frost in the brick or when the air temperature is below 50 F (10 C) unless the Contractor has on the project ready to use, suitable covering and artificial heating devices necessary to keep the atmosphere surrounding the masonry at a temperature of not less than 60 F (15 C) for the duration of the curing period.

751-3.3  CONCRETE STRUCTURES.  Concrete structures shall be built on prepared foundations, conforming to the dimensions and form indicated on the plans.  The construction shall conform to the requirements specified in Item P-610.  Any reinforcement required shall be placed as indicated on the plans and shall be approved by the Engineer before the concrete is poured.

All invert channels shall be constructed and shaped accurately so as to be smooth, uniform, and cause minimum resistance to flowing water.  The interior bottom shall be sloped downward toward the outlet.

751-3.4  PRECAST CONCRETE PIPE STRUCTURES.  Precast concrete pipe structures shall be constructed on prepared or previously placed slab foundations and shall conform to the dimensions and locations shown on the plans.  All precast concrete pipe sections necessary to build a completed structure shall be furnished.  The different sections shall fit together readily, and all jointing and connections shall be cemented with mortar.  The top of the upper precast concrete pipe member shall be suitably formed and dimensioned to receive the metal frame and cover or grate, or other cap, as required.  Provision shall be made for any connections for lateral pipe, including drops and leads that may be installed in the structure.  The flow lines shall be smooth, uniform, and cause minimum resistance to flow.  The metal steps that are embedded or built into the side walls shall be aligned and placed at vertical intervals of 12 inches (300 mm).  When a metal ladder replaces the steps, it shall be securely fastened into position.

751-3.5  CORRUGATED METAL STRUCTURES.  Corrugated metal structures shall be constructed on prepared foundations, conforming to the dimensions and locations as shown on the plans.  The structures shall be prefabricated.  standard or special fittings shall be furnished to provide pipe connections or branches of correct dimensions.  The connections or branches shall be of sufficient length to accommodate connecting bands.  The fittings shall be welded in place to the metal structures.  When indicated, the structures shall be placed on a reinforced concrete base.  The top of the metal structure shall be designed so that either a concrete slab or metal collar may be attached to which can be fastened a standard metal frame and grate or cover.  Steps or ladders shall be furnished as shown on the plans.

751-3.6  INLET AND OUTLET PIPES.  Inlet and outlet pipes shall extend through the walls of the structures for a sufficient distance beyond the outside surface to allow for connections but shall be cut off flush with the wall on the inside surface, unless otherwise directed.  For concrete or brick structures, the mortar shall be placed around these pipes so as to form a tight, neat connection.

751-3.7  PLACEMENT AND TREATMENT OF CASTINGS, FRAMES, AND FITTINGS.  All castings, frames, and fittings shall be placed in the positions indicated on the plans or as directed by the Engineer, and shall be set true to line and to correct elevation.  If frames or fittings are to be set in concrete or cement mortar, all anchors or bolts shall be in place and position before the concrete or mortar is placed.  The unit shall not be disturbed until the mortar or concrete has set.

When frames or fittings are to be placed upon previously constructed masonry, the bearing surface or masonry shall be brought true to line and grade and shall present an even bearing surface in order that the entire face or back of the unit will come in contact with the masonry.  The unit shall be set in mortar beds and anchored to the masonry as indicated on the plans or as directed and approved by the Engineer.  All units shall set firm and secure.

After the frames or fittings have been set in final position and the concrete or mortar has been allowed to harden for 7 days, then the grates or covers shall be placed and fastened down.

751-3.8  INSTALLATION OF STEPS.  The steps shall be installed as indicated on the plans or as directed by the Engineer.  When the steps are to be set in concrete, they shall be placed and secured in position before the concrete is poured.  When the steps are installed in brick masonry, they shall be placed as the masonry is being built.  The steps shall not be disturbed or used until the concrete or mortar has hardened for at least 7 days.  After this period has elapsed, the steps shall be cleaned and painted, unless they have been galvanized.

When steps are required with precast concrete pipe structures, they shall be cast into the sides of the pipe at the time the pipe sections are manufactured or set in place after the structure is erected by drilling holes in the concrete and cementing the steps in place.

When steps are required with corrugated metal structures, they shall be welded into aligned position at a vertical spacing of 12 inches (300 mm).

In lieu of steps, prefabricated ladders may be installed.  In the case of brick or concrete structures, the ladder shall be held in place by grouting the supports in drilled holes.  In the case of metal structures, the ladder shall be secured by welding the top support and grouting the bottom support into drilled holes in the foundation or as directed.

751-3.9  BACKFILLING.

a.  After a structure has been completed, the area around it shall be filled with approved material, in horizontal layers not to exceed 8 inches (200 mm) in loose depth, and compacted to the density required in Item P-152.  Each layer shall be deposited all around the structure to approximately the same elevation.  The top of the fill shall meet the elevation shown on the plans or as directed by the Engineer.

b.  Backfilling shall not be placed against any structure until permission is given by the Engineer.  In the case of concrete, such permission shall not be given until the concrete has been in place 7 days, or until tests made by the laboratory under supervision of the Engineer establish that the concrete has attained sufficient strength to provide a factor of safety against damage or strain in withstanding any pressure created by the backfill or the methods used in placing it.

c.  Backfill shall not be measured for direct payment.  Performance of this work shall be considered on obligation of the Contractor covered under the contract unit price for the structure involved.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

When structures are located within the runway safety area, POFA, RPZ, etc., the elevation of the structures shall be set to meet the grading requirements of these areas.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

751-3.10  CLEANING AND RESTORATION OF SITE.  After the backfill is completed, the Contractor shall dispose of all surplus material, dirt, and rubbish from the site.  Surplus dirt may be deposited in embankments, shoulders, or as ordered by the Engineer.  The Contractor shall restore all disturbed areas to their original condition.

After all work is completed, the Contractor shall remove all tools and equipment, leaving the entire site free, clear, and in good condition.

METHOD OF MEASUREMENT

751-4.1  Manholes, catch basins, inlets, and inspection holes shall be measured by the unit.

BASIS OF PAYMENT

751-5.1  The accepted quantities of manholes, catch basins, inlets, and inspection holes will be paid for at the contract unit price per each in place when completed.  This price shall be full compensation for furnishing all materials and for all preparation, excavation, backfilling and placing of the materials; furnishing and installation of such specials and connections to pipes and other structures as may be required to complete the item as shown on the plans; and for all labor equipment, tools and incidentals necessary to complete the structure.

Payment will be made under:

Item D-751-5.1	Manholes—per each

Item D-751-5.2	Catch Basins—per each

Item D-751-5.3	Inlets—per each

Item D-751-5.4	Inspection Holes—per each

MATERIAL REQUIREMENT

ASTM A 27		Steel Castings, Carbon, for General Application

ASTM A 47		Ferritic Malleable Iron Castings

ASTM A 48		Gray Iron Castings

ASTM A 123	Zinc Coating (Hot-Dip) on Iron and Steel Hardware

ASTM A 283	Low and Intermediate Tensile Strength Carbon Steel Plates, Shapes, and Bars

ASTM A 536	Ductile Iron Castings

ASTM A 897	Austempered Ductile Iron Castings

ASTM C 32		Sewer and Manhole Brick (Made from Clay or Shale)

ASTM C 144	Aggregate for Masonry Mortar

ASTM C 150	Portland Cement

ASTM C 478	Precast Reinforced Concrete Manhole Sections

AASHTO M 36	Zinc Coated (Galvanized) Corrugated Iron or Steel Culverts and Underdrains

END OF ITEM D-751

Intentionally Left Blank

ITEM D-752  CONCRETE CULVERTS, HEADWALLS, AND MISCELLANEOUS DRAINAGE STRUCTURES

DESCRIPTION

752-1.1  This item shall consist of [plain][reinforced] concrete culverts, headwalls, and miscellaneous drainage structures constructed in accordance with these specifications, at the specified locations and conforming to the lines, grades, and dimensions shown on the plans or required by the Engineer.

MATERIALS

752-2.1  CONCRETE.  [Plain][reinforced] concrete shall meet the requirements of Item P-610.

CONSTRUCTION METHODS

752-3.1  UNCLASSIFIED EXCAVATION.

a.  Trenches and foundation pits for structures or structure footings shall be excavated to the lines and grades or elevations shown on the plans.  The excavation shall be of sufficient size to permit the placing of the full width and length of the structure or structure footings shown.  The elevations of the bottoms of footings, as shown on the plans, shall be considered as approximate only; and the Engineer may order, in writing, changes in dimensions or elevations of footings necessary to secure a satisfactory foundation.

b.  Boulders, logs, or any other objectionable material encountered in excavation shall be removed.  All rock or other hard foundation material shall be cleaned of all loose material and cut to a firm surface either level, stepped, or serrated, as directed by the Engineer.  All seams or crevices shall be cleaned out and grouted.  All loose and disintegrated rock and thin strata shall be removed.  When concrete is to rest on a surface other than rock, special care shall be taken not to disturb the bottom of the excavation, and excavation to final grade shall not be made until just before the concrete or reinforcing steel is to be placed.

c.  The Contractor shall do all bracing, sheathing, or shoring necessary to perform and protect the excavation and the structure as required for safety or conformance to governing laws.  The cost of bracing, sheathing, or shoring shall be included in the unit price bid for excavation.

d.  Unless otherwise provided, bracing, sheathing, or shoring involved therewith shall be removed by the Contractor after the completion of the structure.  Removal shall be effected in a manner that will not disturb or mar finished concrete.  The cost of removal shall be included in the unit price bid for excavation.

e.  After each excavation is completed, the Contractor shall notify the Engineer to that effect, and concrete or reinforcing steel shall be placed after the Engineer has approved the depth of the excavation and the character of the foundation material.

752-3.2  BACKFILLING.

a.  After a structure has been completed, backfilling with approved material shall be accomplished by applying the fill in horizontal layers not to exceed 8 inches (200 mm) in loose depth, and compacted. The field density of the compacted material shall be at least 90 percent of the maximum density for cohesive soils and 95 percent of the maximum density for noncohesive soils.  The maximum density shall be determined in accordance with ASTM D 698.  The field density shall be determined in accordance with ASTM D 1556.

b.  No backfilling shall be placed against any structure until permission is given by the Engineer.  In the case of concrete, such permission shall not be given until the concrete has been in place 7 days, or until tests made by the laboratory under the supervision of the Engineer establish that the concrete has attained sufficient strength to provide a factor of safety against damage or strain in withstanding any pressure created by the backfill or the methods used in placing it.

c.  Fill placed around concrete culverts shall be deposited on both sides at the same time and to approximately the same elevation.  Care shall be taken to prevent any wedging action against the structure, and all slopes bounding or within the areas to be backfilled shall be stepped or serrated to prevent wedge action.

d.  Backfill will not be measured for direct payment.  Performance of this work under the contract is not payable directly but shall be considered as a subsidiary obligation of the Contractor, covered under the contract unit price for ``unclassified excavation for structures.''

752-3.3  WEEP HOLES.  Weep holes shall be constructed as shown on the plans.

752-3.4  CLEANING AND RESTORATION OF SITE.  After the backfill is completed, the Contractor shall dispose of all surplus material, dirt, and rubbish from the site.  Surplus dirt may be deposited in embankment, shoulders, or as ordered by the Engineer.  The Contractor shall restore all disturbed areas to their original condition.

After all work is completed, the Contractor shall remove all tools and equipment, leaving the entire site free, clear, and in good condition.

METHOD OF MEASUREMENT

752-4.1   The quantity of unclassified excavation for structures to be paid for shall be the number of cubic yards (cubic meters), measured in original position, of material excavated in accordance with the plans, or as directed by the Engineer; but in no case shall any yardage be included in the measurement for payment which is outside of a volume bounded by vertical planes 18 inches (45 cm) outside of and parallel to the neat lines of the footings.

752-4.2  Concrete shall be measured by the number of cubic yards (cubic meters) of concrete, complete in place and accepted.  In computing the yardage of concrete for payment, the dimensions used shall be those shown on the plans or ordered by the Engineer.  No measurements or other allowances shall be made for forms, false work, cofferdams, pumping, bracing, expansion joints, or finishing of the concrete.  No deductions in yardage shall be made for the volumes of reinforcing steel or embedded items.

752-4.3  The quantity of reinforcing steel to be paid for shall be the calculated theoretical number of pounds (kilograms)placed as shown on the plans, complete in place and accepted.  The unit weight used for deformed bars shall be the weight of plain square or round bars, as the case may be, of equal nominal size.

BASIS OF PAYMENT

752-5.1  Payment will be made at the contract unit price per cubic yard (cubic meter) for unclassified excavation for structures; at the contract unit price per cubic yard (cubic meter) for concrete for the structures; and at the contract unit price per pound (kilogram) for reinforcing steel.  These prices shall be full compensation for furnishing all materials and for all preparation, excavation, and placing the materials, and for all labor, equipment, tools, and incidentals necessary to complete the structure.

Payment will be made under:

Item D-752-5.1	Unclassified Excavation for Structures—per cubic yard (cubic meter)

Item D-752-5.2	Structural Concrete—per cubic yard (cubic meter)

Item D-752-5.3	Reinforcing Steel—per pound (kilogram)

TESTING REQUIREMENTS

ASTM D 698	Moisture-Density Relations of Soils and Soil-Aggregate Mixtures Using 5.5 lb (2.49 kg) Rammer and 12-in (305 mm) Drop

ASTM D 1556	Density of Soil in Place by the Sand-Cone Method

END OF ITEM D-752

Intentionally Left Blank

### ITEM D-754  CONCRETE GUTTERS, DITCHES, AND FLUMES

DESCRIPTION

754-1.1  This item shall consist of portland cement concrete gutters, ditches, and flumes constructed in accordance with these specifications at the specified locations in accordance with the dimensions, lines, and grades as shown on the plans.

MATERIALS

754-2.1  Concrete, plain and reinforced concrete shall meet the requirements of Item P-610.

754-2.2  JOINTS.  Joint filler materials and premolded joint material shall conform to Item P-610.

CONSTRUCTION METHODS

754-3.1  PREPARING SUBGRADE.  Excavation shall be made to the required width and depth, and the subgrade upon which the item is to be built shall be compacted to a firm uniform grade.  All soft and unsuitable material shall be removed and replaced with suitable approved material.  When required, a layer of approved granular material, compacted to the thickness indicated on the plans, shall be placed to form a subbase.  The underlying course shall be checked and accepted by the Engineer before placing and spreading operations are started.

754-3.2  PLACING.  The forms for and the mixing, placing, finishing, and curing of concrete shall conform to the requirements of Item P-610 and shall be in accordance with the following requirements.

The concrete shall be tamped and spaded until it is consolidated and mortar entirely covers and forms the top surface.  The surface of the concrete shall be floated smooth and the edges rounded to the radii shown on the plans.  Before the concrete is given the final finishing, the surface shall be tested with a 10-foot (3 m) straightedge, and any irregularities of more than 1/4 inch (6 mm) in 10 feet (3 m) shall be eliminated.

The concrete shall be placed with dummy-grooved joints not to exceed 25 feet (7.5 m) apart, except where shorter lengths are necessary for closures, but no section shall be less than 4 feet (120 cm) long.

Expansion joints of the type called for in the plans shall be constructed to replace a dummy groove at spacings of approximately 100 feet (30 m).  When the gutter is placed next to concrete pavement, expansion joints in the gutter shall be located opposite expansion joints in the pavement.  When a gutter abuts a pavement or other structure, an expansion joint shall be placed between the gutter and the other structure.

Forms shall not be removed within 24 hours after the concrete has been placed.  Minor defects shall be repaired with mortar containing 1 part cement and 2 parts fine aggregate.

The operations of depositing, compacting, and finishing the item shall be conducted so as to build a satisfactory structure.  If any section of concrete is found to be porous, other than minor defects that may be plastered, or is otherwise defective, it shall be removed and replaced by the Contractor without additional compensation.

754-3  BACKFILLING.  After the concrete has set sufficiently, the spaces adjacent to the structure shall be refilled to the required elevation with material specified on the plans and compacted by mechanical equipment to at least 90% of the maximum density as determined by ASTM D 698.  The in-place density shall be determined in accordance with ASTM D 1556.

754-3.4  CLEANING AND RESTORATION OF SITE.  After the backfill is completed, the Contractor shall dispose of all surplus material, dirt, and rubbish from the site.  Surplus dirt may be deposited in embankments, shoulders, or as ordered by the Engineer.  The Contractor shall restore all disturbed areas to their original condition.

After all work is completed, the Contractor shall remove all tools and equipment, leaving the entire site free, clear and in good condition.

Performance of the work described in this section is not payable directly but shall be considered as a subsidiary obligation of the Contractor, covered under the contract unit price for the structure.

METHOD OF MEASUREMENT

754-4.1  Concrete shall be measured by the cubic yard (cubic meter) in accordance with the dimensions shown on the plans or ordered by the Engineer.  No deductions shall be made for the volume occupied by reinforcing steel, anchors, conduits, weep holes, or piling.

754-4.2  Reinforcing steel shall be measured by the pound (kg), based on the theoretical number of pounds (kg) complete in place as shown on the plans or placed as ordered by the Engineer.

BASIS OF PAYMENT

754-5.1  The accepted quantities of structural concrete will be paid for at the contract unit price per cubic yard (cubic meter) complete in place.

754-5.2  The accepted quantities of reinforcing steel will be paid for at the contract price per pound (kg) complete in place.  No allowance shall be made for clips, wire, or other material used for fastening reinforcement in place.

Payment will be made under:

Item D-754-5.1	Structural Concrete—per cubic yard (cubic meter)

Item D-754-5.2	Reinforcing Steel—per pound (kg)

TESTING REQUIREMENTS

ASTM D 698	Moisture-Density Relations of Soils and Soil-Aggregate Mixtures Using 5.5 lb (2.49 kg) Rammer and 12-inch (300 mm) Drop

ASTM D 1556	Density of Soil in Place by the Sand-Cone Method

END OF ITEM D-754