Public Health Guidance for Community-Level Preparedness and Response to Severe Acute Respiratory Syndrome (SARS) Version 2

Supplement F: Laboratory Guidance

Appendix F2

# SARS-CoV Specimen Testing Guidelines: RT-PCR Testing

RT-PCR Confirmatory Testing

SARS-CoV Specimen Testing Guidelines: Serologic Testing

Serologic Confirmatory Testing

For more information, visit www.cdc.gov/ncidod/sars or call the CDC public response hotline
at (888) 246-2675 (English), (888) 246-2857 (Español), or (866) 874-2646 (TTY)

# Text boxes

If Pos result, repeat test using new aliquot.

If control guidelines are not met, repeat test using new aliquot.

If Neg result, specimen is Neg for SARS-CoV.2

Testing for other pathogens may be indicated.

Perform SARS RT-PCR

If Neg result, additional testing may be advised.2

If Pos result x2, this is presumptive identification of SARS-CoV.

Send aliquot to CDC for confirmatory testing.  Include copy of data.

infection. See Appendix F7 for more information.

Stool

Respiratory specimens

Blood, plasma, or serum

Prepare four aliquots1

- To test for SARS-CoV

- For repeat testing

- For confirmatory testing

- To test for other agents

Store remaining sample.

Testing for other pathogens may be indicated.

If Neg result, further evaluation may be necessary.

If control guidelines not met, repeat test using new aliquot.

If Pos result, this is confirmed identification of SARS-CoV.1

Lab sends aliquot to CDC for confirmatory testing and includes copy of data.

CDC performs SARS RT-PCR.

PHL, LRN or commercial lab obtains Pos result.

Send aliquot to CDC for confirmatory testing. Include copy of data.

If Pos result x2, this is presumptive identification of SARS-CoV.

If Neg result, additional testing may be advised.1

Perform SARS EIA

Testing for other pathogens may be indicated.

If Neg result, specimen is Neg for SARS-CoV.1

If control guidelines are not met, repeat test.

If Pos result, repeat test.

Serum

Prepare two aliquots:

- To test for SARS-CoV

- For repeat testing

Store remaining sample.

PHL, LRN or commercial lab obtains Pos result.

CDC performs SARS EIA.

Lab sends aliquot to CDC for confirmatory testing and includes copy of data.

Testing for other pathogens may be indicated.

If Neg result, further evaluation may be necessary.

If control guidelines are not met, repeat test.

If Pos result, this is confirmed identification of SARS -CoV.

1 Preparation of aliquots must be done where there is no risk of contamination.

2 A negative result does not rule out SARS-CoV infection. See Appendix F7 for more information.

1 A negative result does not rule out SARS-CoV infection.  See Appendix F7 for more information.

1 Confirmed identification of SARS-CoV in a single clinical specimen is not equivalent to laboratory confirmation of SARS-CoV infection in a patient. To be confident that a PCR-positive specimen indicates infection in the patient, a second specimen should be confirmed positive. For more information on the criteria for diagnosing SARS-CoV infection, see Appendix F8.