HIV Rapid Testing MPEP June 2006

Panel and Vial Designations, CDC Donor Bulk Numbers,

CDC HIV Rapid Test Results and Donor HIV Status

Panel		Vial           CDC Donor          CDC Test          	  Donor HIV             Laboratory Interpretation2

Letter	Label       Bulk Number            Result1,3                    Status                                and/or Results

Test Result      	Interpretation

A	A1 	5		Negative		Uninfected	__________ 	____________

A2  	10		Positive (W)      	Infected	__________		____________

A3	14		Positive (S)    	Infected	__________		____________

A4	16		Positive (W)      	Infected	__________		____________

A5  	19*	Positive (W)          Infected	__________		____________

A6	18*	Positive (S)     	Infected	__________		____________

B	B1     	19* 	Positive (W)	Infected	__________		____________

B2 	18*	Positive (S)	Infected	__________		____________

B3	16	Positive (W)	Infected	__________		____________

B4  	14	Positive (S)	Infected	__________		____________

B5		10 	Positive (W)	Infected	__________ 	 	____________

B6		5 	Negative	Uninfected	__________	____________

C	C1     	14	Positive (S)	Infected	__________		____________

C2 	18*	Positive (S)	Infected	__________		____________

C3	16 	Positive (W)	Infected	__________		____________

C4    	5	Negative	Uninfected	__________		____________

C5		10	Positive (W)	Infected	__________ 	____________

C6 	19*	Positive (W)	Infected	__________		____________

D	D1     	16	Positive (W) 	Infected	__________		____________

D2 	14	Positive (S)	Infected	__________		____________

D3	19* 	Positive (W)	Infected	__________		____________

D4    	18*	Positive (S) 	Infected	__________		____________

D5		10	Positive (W)	Infected	__________ 	____________

D6		5	Negative	Uninfected	__________       ____________

* 	Experimental stability sample.

1	The CDC result was obtained after pre-shipment testing for the presence of HIV-1 Antibody with all commercially available HIV Rapid Testing kits licensed by the Food and Drug Administration (FDA) and with selected FDA-licensed Enzyme Immunoassay (EIA) kits.  The CDC result is consistent with the manufacturers’ criteria for interpretation of results.

- Laboratory Interpretation space (to be completed by participant laboratory) provided to facilitate comparison of participant laboratory result with CDC result.

- Strong (S) and Weak (W) designations are based on qualitative observations of the colorimetric test results for reactive samples.