HIV Rapid Testing MPEP December 2006

Panel and Vial Designations, CDC Donor Bulk Numbers,

CDC HIV Rapid Test Results and Donor HIV Status

Panel		Vial           CDC Donor             CDC Test          	  Donor HIV             Laboratory Interpretation2

Letter	Label       Bulk Number            Result1,3                    Status                                and/or Results

Test Result      	Interpretation

A	A1 	6     	Negative (N)         Uninfected	__________ 	____________

A2  	21		Positive (W)      	Infected	__________		____________

A3	12		Positive (S)    	Infected	__________		____________

A4	20		Positive (W)      	Infected	__________		____________

A5  	6 *    	Negative (N)         Uninfected	__________		____________

A6	20*    	Positive (W)      	Infected           __________		____________

B	B1     	6	Negative (N)         Uninfected	__________		____________

B2 	6 *    	Negative (N)         Uninfected	__________		____________

B3	20	Positive (W)      	Infected	__________		____________

B4  	21	Positive (W)      	Infected	__________		____________

B5		20*    	Positive (W)      	Infected	__________ 	 	____________

B6		12	Positive (S)    	Infected	__________	____________

C	C1     	21	Positive (W)      	Infected	__________		____________

C2 	6	Negative (N)         Uninfected	__________		____________

C3	12	Positive (S)    	Infected	__________		____________

C4    	20	Positive (W)      	Infected	__________		____________

C5		20*    	Positive (W)      	Infected	__________ 	____________

C6 	6 *    	Negative (N)         Uninfected	__________		____________

D	D1     	6	Negative (N)         Uninfected	__________		____________

D2 	20	Positive (W)      	Infected	__________		____________

D3	6 *    	Negative (N)         Uninfected	__________		____________

D4    	21	Positive (W)      	Infected	__________		____________

D5		12	Positive (S)    	Infected	__________ 	____________

D6		20*    	Positive (W)      	Infected	__________       ____________

*  Duplicate donors

1	The CDC result was obtained after pre-shipment testing for the presence of HIV-1 Antibody with all commercially available HIV Rapid Testing kits licensed by the Food and Drug Administration (FDA) and with selected FDA-licensed Enzyme Immunoassay (EIA) kits.  The CDC result is consistent with the manufacturers’ criteria for interpretation of results.

- Laboratory Interpretation space (to be completed by participant laboratory) provided to facilitate comparison of participant laboratory result with CDC result.

- Strong (S) and Weak (W) designations are based on qualitative observations of the colorimetric test results for reactive samples.