HIV Rapid Testing MPEP December 2007

Panel and Vial Designations, CDC Donor Bulk Numbers,

CDC HIV Rapid Test Results and Donor HIV Status

Panel		Vial           CDC Donor             CDC Test          	  Donor HIV             Laboratory Interpretation2

Letter	Label       Bulk Number            Result1,3                    Status                                and/or Results

Test Result      	Interpretation

A	A1 	27  	Negative (N)         Uninfected	__________ 	____________

A2  	13		Positive (S)      	Infected	__________		____________

A3	23		Positive (W)    	Infected	__________		____________

A4	13*	Positive (S)      	Infected	__________		____________

A5  	23*   	Positive (W)      	Infected	__________		____________

A6	24    	Positive (W)          Infected           __________		____________

B	B1     	13	Positive (S)      	Infected	__________		____________

B2 	27  	Negative (N)        Uninfected	__________		____________

B3	23	Positive (W)      	Infected	__________		____________

B4  	23*  	Positive (W)          Infected	__________		____________

B5		24    	Positive (W)          Infected	__________ 	 	____________

B6		13*   	Positive (S)      	Infected	__________	____________

C	C1     	23	Positive (W)      	Infected	__________		____________

C2 	24	Positive (W)      	Infected	__________		____________

C3	27  	Negative (N)         Uninfected	__________		____________

C4    	13    	Positive (S)           Infected	__________		____________

C5		13*  	Positive (S)           Infected	__________ 	____________

C6 	23*	Positive (W)      	Infected	__________		____________

D	D1     	23	Positive (W)      	Infected	__________		____________

D2 	13	Positive (S)      	Infected	__________		____________

D3	13*     	Positive (S)           Infected	__________		____________

D4    	27  	Negative (N)         Uninfected	__________		____________

D5		23*	Positive (W)      	Infected	__________ 	____________

D6		24  	Positive (W)          Infected	__________       ____________

*  Duplicate donors

1	The CDC result was obtained after pre-shipment testing for the presence of HIV-1 Antibody with all commercially available HIV Rapid Testing kits licensed by the Food and Drug Administration (FDA) and with selected FDA-licensed Enzyme Immunoassay (EIA) kits.  The CDC result is consistent with the manufacturers’ criteria for interpretation of results.

- Laboratory Interpretation space (to be completed by participant laboratory) provided to facilitate comparison of participant laboratory

result with CDC result.

- Strong (S) and Weak (W) designations are based on qualitative observations of the colorimetric test results for reactive samples.