## neutron
Table S4-10a. Neutron doses measured in 2004 (stations 601-650 are at TA-54 Area G)
TLD Station Number | Location | Neutron Dose (mrem) | 1 std.dev. uncertainty (mrem)
19 | TA-53 West | 0 | 1
22 | TA-54 West P2 booster | 5 | 1
25 | TA-49 entrance | 0 | 1
64 | TA-53 NE Area A stack | 3 | 1
65 | TA-53 NW Area A stack | 2 | 1
66 | TA-73 East Gate | 0 | 1
101 | Santa Fe | 0 | 1
114 | TA-53 E | 0 | 1
115 | TA-53 NE | 4 | 1
123 | TA-53 Alverez Road | 3 | 1
124 | TA-53 South rim | 4 | 1
125 | TA-53 Met. Tower | 1 | 1
181 | TA-36 NEWNET station | 14 | 1
182 | TA-36 entrance gate | 17 | 1
183 | TA-18 parking lot | 46 | 4
185 | TA-51 entrance | 1 | 1
187 | TA-18 at Pajarito Road | 21 | 2
601 | fence NW pit 38 | 68 | 5
602 | fence NE pit 38 | 640 | 51
603 | fence N of bldg 2 | 116 | 9
604 | fence NW of bldg 20 | 148 | 12
606 | fence N of bldg 375 | 1878 | 150
607 | fence NE of bldg 375 | 200 | 16
608 | fence NE of pad 4 | 98 | 8
610 | gate S of pad 4 | 178 | 14
611 | fence E of bldg 231 | 324 | 26
613 | fence S of bldg 229 | 178 | 14
614 | fence W of bldg 230 | 174 | 14
615 | fence S of old pads 17-22 | 72 | 6
617 | fence SW of old pads 17-22 | 54 | 4
618 | fence SE of pit 39 | 87 | 7
620 | fence SW of pit 39 | 70 | 6
622 | fence S of bldg 153 | 287 | 23
623 | E of bldg 49 | 931 | 74
624 | fence S of bldg 49 | 351 | 28
625 | fence NW of bldg 49 | 210 | 17
626 | fence SW of pits 37-38 | 93 | 7
635 | outside fence SE of pad 4 | 140 | 11
636 | fence S of expansion area | 8 | 1
637 | fence SE of expansion area | 78 | 6
638 | fence N of expansion area | 4 | 1
639 | fence N of pad 4 | 137 | 11
640 | S of bldg 229 | 201 | 16
642 | TA54 boundary N of bldg 375 | 16 | 1
643 | TA54 boundary N of bldg 375 | 14 | 1
644 | San I boundary N of bldg 48 | 3 | 1
645 | San I boundary NE of bldg 48 | 4 | 1
646 | fence NW of bldg 375 | 589 | 47
647 | fence NE of bldg 375 | 711 | 57
648 | SW of bldg 375 | 658 | 53
649 | SE of bldg 375 | 665 | 53
650 | fence N of bldg 48 | 264 | 21

## gamma
S4-10b. Gamma dose measurements for 2004 (locations 601-650 are at TA-54 Area G)
TLD Station Number | Location | Gamma Dose (mrem) | 1 std.dev. uncertainty (mrem)
001 | NNMCC, Espanola | 102.243 | 8.1794
005 | Barranca School, Los Alamos | 100.0577 | 8.0046
008 | 48th St, Los Alamos | 136.6984 | 10.9359
009 | Los Alamos Airport | 108.2816 | 8.6625
012 | Royal Crest Trailer Court | 118.945 | 9.5156
013 | White Rock Fire Station | 115.2195 | 9.2176
015 | Bandelier National Monument | 126.9456 | 10.1556
019 | TA-53 West | 132.1814 | 10.5745
020 | TA-72 PM-1 well | 141.0958 | 11.2877
022 | TA-54 West P2 booster | 105.162 | 8.413
023 | TA-3 east gate of SM-43 | 113.0605 | 9.0448
025 | TA-49 entrance | 109.4309 | 8.7545
038 | TA-55 South | 141.1864 | 11.2949
041 | McDonald's, Los Alamos | 126.774 | 10.1419
047 | Urban Park, Los Alamos | 121.726 | 9.7381
048 | TA-61 landfill | 122.7931 | 9.8234
049 | Pinon School White Rock | 115.6999 | 9.256
050 | White Rock Church | 118.698 | 9.4958
053 | San Ildefonso Pueblo | 104.6546 | 8.3724
055 | Monte Rey South, White Rock | 110.8389 | 8.8671
058 | TA-36 Pajarito Rd S of TA-54 | 133.2792 | 10.6623
059 | TA-43 Los Alamos Canyon | 132.5722 | 10.6058
060 | Piedra Drive, White Rock | 117.9971 | 9.4398
064 | TA-53 NE Area A stack | 117.9432 | 9.4355
065 | TA-53 NW Area A stack | 122.0137 | 9.7611
066 | TA-73 East Gate | 113.2154 | 9.0572
067 | LA Medical Center | 118.663 | 9.493
068 | Crossroads Bible Church | 88.2309 | 7.0585
072 | TA-50 East fence | 139.3653 | 11.1492
075 | TA-50-37 West | 130.912 | 10.473
076 | TA-16-450 WETF | 122.655 | 9.8124
091 | TA-36 IJ Site | 128.9896 | 10.3192
095 | El Rancho | 115.5379 | 9.243
101 | Santa Fe | 102.0117 | 8.1609
103 | Santa Clara Pueblo | 112.5433 | 9.0035
107 | TA-5 AIRNET | 123.2311 | 9.8585
109 | TA-48 S | 113.2758 | 9.0621
114 | TA-53 E | 127.8618 | 10.2289
115 | TA-53 NE | 137.6842 | 11.0147
121 | Los Alamos Inn | 145.0532 | 11.6043
122 | TA-3 Research Park | 122.4492 | 9.7959
123 | TA-53 Alverez Road | 123.5422 | 9.8834
124 | TA-53 South rim | 138.0355 | 11.0428
125 | TA-53 Met. Tower | 122.6503 | 9.812
126 | Airport Road AIRNET | 133.3213 | 10.6657
131 | TA50 MDA-C | 62.1921 | 4.9754
132 | Santa Fe School for the Deaf | 106.9148 | 8.5532
133 | San I. Sacred 1 (near TA-53) | 136.8262 | 10.9461
134 | San I. Sacred 2 (near TA-54) | 157.46 | 12.5968
135 | Santa Clara Day School | 92.2268 | 7.3781
181 | TA-36 NEWNET station | 110.6778 | 8.8542
182 | TA-36 entrance gate | 139.9467 | 11.1957
183 | TA-18 parking lot | 136.5759 | 10.9261
185 | TA-51 entrance | 113.454 | 9.0763
187 | TA-18 at Pajarito Road | 122.2185 | 9.7775
361 | TA-21 Area V | 125.7912 | 10.0633
601 | fence NW pit 38 | 145.3477 | 11.6278
602 | fence NE pit 38 | 388.07 | 31.0456
603 | fence N of bldg 2 | 140.0319 | 11.2025
604 | fence NW of bldg 20 | 143.3091 | 11.4647
606 | fence N of bldg 375 | 1286.3567 | 102.9085
607 | fence NE of bldg 375 | 183.0635 | 14.6451
608 | fence NE of pad 4 | 150.5094 | 12.0408
610 | gate S of pad 4 | 147.4766 | 11.7981
611 | fence E of bldg 231 | 427.7159 | 34.2173
613 | fence S of bldg 229 | 258.8843 | 20.7107
614 | fence W of bldg 230 | 189.9327 | 15.1946
615 | fence S of old pads 17-22 | 157.1046 | 12.5684
617 | fence SW of old pads 17-22 | 149.0272 | 11.9222
618 | fence SE of pit 39 | 152.5103 | 12.2008
620 | fence SW of pit 39 | 143.0429 | 11.4434
622 | fence S of bldg 153 | 215.639 | 17.2511
623 | E of bldg 49 | 1654.9056 | 132.3924
624 | fence S of bldg 49 | 500.9934 | 40.0795
625 | fence NW of bldg 49 | 206.4057 | 16.5125
626 | fence SW of pits 37-38 | 137.8733 | 11.0299
635 | outside fence SE of pad 4 | 175.1985 | 14.0159
636 | fence S of expansion area | 135.3579 | 10.8286
637 | fence SE of expansion area | 137.8519 | 11.0282
638 | fence N of expansion area | 98.9602 | 7.9168
639 | fence N of pad 4 | 177.3589 | 14.1887
640 | S of bldg 229 | 197.8306 | 15.8264
642 | TA54 boundary N of bldg 375 | 160.6813 | 12.8545
643 | TA54 boundary N of bldg 375 | 177.7816 | 14.2225
644 | San I boundary N of bldg 48 | 143.3053 | 11.4644
645 | San I boundary NE of bldg 48 | 160.3136 | 12.8251
646 | fence NW of bldg 375 | 372.3236 | 29.7859
647 | fence NE of bldg 375 | 310.3092 | 24.8247
648 | SW of bldg 375 | 343.2517 | 27.4601
649 | SE of bldg 375 | 239.205 | 19.1364
650 | fence N of bldg 48 | 237.2635 | 18.9811