| ATTACHMENT 1: M&TE Report |  |
| --- | --- |
| 5006-1 M&TE Report | Records Use only |
| Section I (M&TE Coordinator completes) |  |
| 1. M&TE identifier: 2. Description: 3. Location: 4. Capacity/range: 5. Tolerance required: 6. Calibration frequency: 7. Special handling, storage, maintenance, instructions: 8. Assigned coordinator: (print name) 9. A nationally recognized reference standard does not exist; the basis for calibration is as follows: 10. The accuracy of the reference standard equals the required calibration tolerance, and the basis for the calibration is as follows: |  |
| Note: M&TE Coordinator signature only required when entering M&TE into the EP M&TE database or for subsequent changes to the information in Section I. 11. M&TE Coordinator: Print name and Title/Signature Date |  |
| Section II (Calibrator completes, or information is provided on separate, but comparable, attached documentation) |  |
| 12. Calibration procedure/revision no.: 13. Reference standard identifier: 14. Reference standard description: 15. Reference standard accuracy: 16. Accuracy before calibration: 17. Accuracy after calibration: 18. M&TE within tolerance before calibration M&TE calibrated within the specified tolerance M&TE not within tolerance before calibration M&TE could not be calibrated within the specified tolerance 19. Calibrator: _________ Print name and Title/Signature Date |  |
| Section III (M&TE Coordinator completes) |  |
| 20. Calibration status: M&TE calibration checked and within tolerance M&TE removed from the EP M&TE database this date: M&TE not used since last calibration M&TE not within tolerance before calibration—not used since last valid calibration M&TE next calibration due date: M&TE not within tolerance required before calibration—M&TE evaluation RPT attached |  |
| 21. M&TE Coordinator: Print name and Title/Signature Date |  |