| ATTACHMENT 2: RECEIPT INSPECTION REPORT |  |  |  |
| --- | --- | --- | --- |
| 8001-2 Receipt Inspection Report | Records Use only |  |  |
| Receipt inspection criteria: (Inspectors: Check the criteria applicable to the item received and indicated whether the item does or does not meet the criteria by checking the yes/accept or no/reject boxes as applicable.) |  |  |  |
| Criteria |  | Y | N |
| - Quantity, dimensions, identification, and markings of receive item(s) match PR description. |  |  |  |
| - Visual inspection confirms no shipping damage. |  |  |  |
| - Supplier documentation is complete, legible, and meets PR requirements. |  |  |  |
| - Certifications required by the PR are correct, complete, and authenticated. |  |  |  |
| - Inspection and test records conform to manufacture’s published data. |  |  |  |
| - Certificates of Calibration have traceability to NIST. |  |  |  |
| - Item marking and/or serialization is traceable to test data. |  |  |  |
| - Expiration date is marked on item(s) with limited shelf life. |  |  |  |
| - Manufacturing nonconformances have been reported to the purchaser. |  |  |  |
| - Required Certified Material Test Reports are included. |  |  |  |
| - Inspect for evidence of suspect or counterfeit parts or material. |  |  |  |
| - Manufacturer’s certificate of conformance presents, at a minimum: |  |  |  |
| - Traceability to PR requirements. |  |  |  |
| - Codes, standards, and specifications that meet those of the PR. |  |  |  |
| - Any deviations from PR requirements. |  |  |  |
| - The name and signature of an official of the supplier organization. |  |  |  |
| - Deliverables meet the requirements of the applicable Statement of Work. |  |  |  |
| - All analytical samples requested are present. |  |  |  |
| - Data for all analytical suites requested are present. |  |  |  |
| - Required QA/QC forms and documentation are present. |  |  |  |
| Remarks: |  |  |  |
| Hold tag issued: Yes No N/A |  |  |  |
| Placed in storage: Yes No N/A Location: |  |  |  |
| Verification of inspection: I verify that this receipt inspection was conducted properly and the item(s) inspected meet the requirements specified in the PR specified above. Inspected by: Printed name Signature Date Accepted by: Printed name Signature Date |  |  |  |