National Electrical Manufacturers Association

1300 North 17th Street, Suite 1847,  Rosslyn, VA 22209

www.nema.org    tel: 703-841-3200    fax: 703-841-5900

May 23, 2003

Submitted by e-mail to:

mailto:fdadockets@oc.fda.gov

Dockets Management Branch

HFA-305

Food and Drug Administration

5630 Fishers Lane, Room 1061

Rockville, Maryland 20852

Re:  Docket Number 03N-0158

Specification for Annotated Electrocardiographic Waveform Data in Electronic Format; Request for Comments.

To Whom It May Concern:

On behalf of the Diagnostic Imaging and Therapy Systems Division of NEMA, I am pleased to submit comments in response to the subject request.  NEMA, the National Electrical Manufacturers Association, is the nation’s largest trade association representing the electro-industry.  NEMA’s Diagnostic Imaging and Therapy Systems Division represents the majority of the nation’s manufacturers of X-ray imaging, computed tomography, diagnostic ultrasound, radiation therapy, magnetic resonance imaging, and nuclear imaging equipment.  In addition, the division represents manufacturers of picture archiving and communications systems some of which manufacture cardiology IT systems that handle ECG data and images.

1.	This is the right action

NEMA unequivocally supports the FDA effort to provide for the submission of the subject data in electronic format to provide the benefits of computer-supported analysis and review.

2.	Pilot project to prove process before companies make investments

NEMA is very keen on ensuring rapid transition from today’s paper-based system to an electronic submission process in order to reduce the overhead of a dual process.

For this electronic submission of ECG waveform data process to become operational on full scale, however, FDA will have to have in place a suitable infrastructure, both hardware and software, to receive and process the data.  Further, the standards used in the process for communication and formatting of data must also be tested in actual clinical use.  Such testing has not been done to date.

For the foregoing reasons NEMA strongly urges FDA to conduct a pilot electronic submission program to confirm suitability of standards and infrastructure.  This pilot project should coincide with the issuance of the draft guidance so that the comments on the draft guidance can include the experiences learned in the pilot program.  This will significantly strengthen the knowledge base for the preparation of the Final Guidance.

3.	The process is for clinical trial data submission only - clarification

NEMA believes that FDA’s intent with this guidance is to utilize this process for ECG waveform data of clinical trials.  NEMA agrees with this intent.  While the current notice specifies this limited use in the amplified “Background” section, the “Summary” section of the notice is ambiguous in this regard.  It is so, we believe because of the inherent required brevity of a “Summary”.

However, NEMA is concerned that the broad clinical use of ECG exchange (beyond clinical trials) has critical requirements that are simply not addressed in this proposal.  NEMA therefore requests the FDA to specify, in every form of communication on the subject, that the intent is limited to regulated entity submission of clinical trials ECG, even if at the expense of brevity.

4.	Immediate source of data cannot be specified for ECG devices - clarification

The current notice speaks of annotated ECG waveform data “from the full spectrum of ECG devices, including 12-lead standard ECG, holter monitors, and implanted devices.”  In current and expected future technologies there are IT systems connected to ECG devices that have a function in the handling of data and are better suited to export the annotated ECGs.  While we believe it was not FDA’s intent to exclude these other systems employed, we believe the relevant language in the forthcoming guidance should not imply that devices are the immediate source of the ECGs formatted per this rule.  This guidance should leave the specific technical solutions open to the decision of users and vendors and leave open development of new data handling technologies.

5.	Comments on FDA’s Specific Questions

5.1	Does the proposed message capture the appropriate level of detail about ECGs for assessment?

The best answer to this question will be generated in the course of the above recommended pilot program for the electronic submission of ECG waveform clinical trials data.

5.2	Are there additions needed to the proposed controlled terminology?

NEMA’s members have contributed to the proposed terminology and feel confident of its quality.

5.3	What are the issues concerning the creation of the HL7 message?

5.3.1	Do not use HL7 Version 3 Messaging

###### NEMA is concerned with the use of an HL7 informative standard/chapter as technical reference for the communication function in this process.  It relies on HL7 v3 messaging, which is complex and not yet in a final approved stage with no proven implementations at this time.

###### The use of HL7 v3 methodology for the data modeling is an excellent choice for developing the content of the ECG submission data. In fact, NEMA’s many years of standards development teaches that the most important part of standardization is of the semantic content and nomenclature; the specific encoding utilized for the data is of secondary importance.

###### In order to maximize the probability of success in a predictable timeframe NEMA advises FDA to consider a simpler XML based technology as an encoding format.  NEMA is willing to help in selecting a more practical approach to the FDA's needs.

5.3.2	Specify method of encapsulation

The electronically formatted ECG data will most likely be stored in a file in order to be submitted on commonly available media such as CDs.  In order to achieve completeness, the forthcoming FDA Guidance should specify the method for encapsulation of the format in a file.  This is needed because the HL7 documents do not define this.  (Specifically: specify how to put the XML string in the file; where to start and where to end.)

NEMA is pleased to submit these comments and looks forward to working with the agency.

Sincerely yours,

Robert G. Britain

Vice President - Medical Products

Stephen A. Vastagh

Industry Manager – Medical Products

Cc: Norman Stockbridge, CDER

mailto:stockbridgen@cder.fda.gov