Orally Inhaled and Nasal Drug Products (OINDP)

Subcommittee Report

Background Information

# Advisory Committee for Pharmaceutical Science Meeting

November 15, 2000

## Rockville, MD

# This background information document includes the following information:

# Titles of three draft guidances for orally inhaled and nasal drug products.

- Meetings held since issuance of the three draft guidances.

- April 26, 2000, OINDP Subcommittee meeting participants

- Agenda for the April 26, 2000, OINDP Subcommittee meeting.

- Questions asked of the OINDP Subcommittee.

The main focus of the April 26 meeting was to obtain responses from the Subcommittee on a series of questions that would be useful in refining the draft guidances, with particular emphasis on bioavailability and bioequivalence guidances for locally acting nasal and orally inhaled drugs.

# Orally Inhaled And Nasal Drug Products (OINDP)

### Draft Guidances

Metered Dose Inhaler (MDI) and Dry Powder Inhaler (DPI) Drug Products: Chemistry, Manufacturing, and Controls Documentation

(October 1998)

Nasal Spray and Inhalation Solution, Suspension, and Spray Drug Products: Chemistry, Manufacturing, and Controls Documentation

(May 1999)

Bioavailability and Bioequivalence Studies for Nasal Aerosols and Nasal Sprays for Local Action

(June 1999)

Meetings

AAPS Workshop on Regulatory Issues Related to Drug Products for Oral Inhalation and Nasal Delivery (Co-Sponsored with FDA and USP), 3-4 June 1999

OINDP Expert Panel Planning Meeting, 8 November 1999

Meeting of the OINDP Subcommittee of ACPS, 26 April 2000

OINDP Subcommittee Meeting of April 26, 2000

PARTICIPANTS

Vincent H.L. Lee, Ph. D., Chairperson

Nancy Chamberlin, Executive Secretary

MEMBERS

Richard Ahrens, M.D.

James Li, M.D., Ph.D.

Stanley j. Szefler, M.D.

CONSUMER REPRESENTATIVE

Gloria L. Anderson, Ph.D.

INVITED GUESTS

Michael Baaske, Ph. D.

Charan Behl, Ph.D.

Richard N. Dalby, Ph. D.

Hartmut Derendorf, Ph. D.

William Gore, Ph. D.

Lester I. Harrison, Ph. D.

Walter W. Hauck, Ph. D.

Sylvie Laganiere, Ph. D.

Thomas R. MacGregor, Ph. D.

Nikhil J. Parekh, Ph. D.

Sam C. K. Shum, Ph. D.

FDA

Wallace P. Adams, Ph.D.

Guirag Poochikian, Ph. D.

Eric Sheinin, Ph. D.

ORALLY INHALED AND NASAL DRUG PRODUCTS SUBCOMMITTEE OF

THE ADVISORY COMMITTEE FOR PHARMACEUTICAL SCIENCE

April 26, 2000

CDER Advisory Committee Conference Room 1066

## 5630 Fishers Lane

###### Rockville, MD

# AGENDA

8:30		Call to Order/Chairman’s Remarks		                               Vincent H. L. Lee, Ph.D.

8:40		Introduction and Objectives                     	Eric Sheinin, Ph.D.

Chemistry, Manufacturing and Controls:

Content Uniformity

8:55		Current FDA Practices for NDAs		                              Guirag Poochikian, Ph.D.

9:10		Alternative Statistical Approaches			                    Walter W. Hauck, Ph.D.

9:30		Subcommittee Discussion

10:00		Break

Bioavailability (BA) and Bioequivalence (BE)

10:15 		Current FDA BA/BE Background and Issues	                  Wallace P. Adams, Ph. D.

In Vitro BA and BE Testing

10:30		Profile Analysis of Cascade Impactor Data:		                                 Yi Tsong, Ph.D.

Proposed FDA Approach

11:00		Profile Analysis of Cascade Impactor Data:	                                 Andrew R. Clark, Ph.D.

An Alternative View

11:30		DPIs: In Vitro Tests for Performance and                                       David Ganderton, Ph.D.

Comparability

12:00		Subcommittee Discussion

12:30		Lunch

1:30		Open Public Hearing

Data Related to BE Testing of Nasal Sprays, 		             Abdul Zahir, Ph.D.

and Comments on the BE Studies of Nasal Sprays 	                          Clay-Park Labs, Inc.

for Systemic Action

Uniqueness of Lingual Spray Delivery		                          Harry Dugger, Ph.D.

Flemington Pharmaceutical

AAPS inhalation Technology Focus Group (ITFG) / International Pharmaceutical Aerosol Consortium (IPAC) Collaboration Technical Teams:

Overview of the ITFG/IPAC Collaboration			   R. Harris Cummings, Ph.D.

Magellan Laboratories

Presentation on the Work of the BA/BE Team		           Stephen J. Farr, Ph. D.

Aradigm Corporation

Presentation on the Work of the Specifications		                   Bo Olsson, Ph. D.

Team (Dose Content Uniformity/Particle Size 		                          Astra Zeneca

Distribution)

Presentation on the Work of the Tests and Methods		              Carole Evans, Ph. D.

Team				                                                           Magellan Laboratories

Presentation on the Work of the Leachables	          Dave Kaushik, R.Ph., M.R.P.S., Ph.D.

and Extractables Team				   Schering-Plough Research Institute

Concluding Presentation on ITFG/IPAC		                         Cynthia Flynn, Ph.D.

Collaboration		                                                                                               Aventis

CMC Issues		                                                                     Kenneth B. Neugebauer

Solvay Fluorides, Inc.

Growth Effects of Nasal Steroids in Children 		           Eric J. Schenkel, M.D.

And Differences Among the Steroid Preparations	        Valley Clinical Research Center

In Vivo BA and BE

2:30		Clinical Studies for Local Delivery of 	                          Izabela Roman, M.D., Ph.D.

Nasal Aerosols and Sprays

2:50		Clinical Studies for Local Delivery of 		                   Richard C. Ahrens, M.D.

Orally Inhaled Corticosteroids

3:10		Break

3:25		Subcommittee Discussion

3:50            	PK and PD Studies for Systemic Exposure of Locally Acting Drugs

3:50 		Current FDA PK Practices 		                                     Venkata R. S. Uppoor, Ph.D.

4:00		Industry View				                                            Lester I. Harrison, Ph.D.

4:20		Academic View				                              Hartmut Derendorf, Ph.D.

4:40		Subcommittee Discussion

Adjourn

OINDP SUBCOMMITTEE OF

THE ADVISORY COMMITTEE FOR PHARMACEUTICAL SCIENCE

April 26, 2000

CDER Advisory Committee Conference Room 1066

5630 Fishers Lane

Rockville, MD

# QUESTIONS

#### CMC - CONTENT UNIFORMITY

A.	Should there be a single content uniformity standard for all orally inhaled and nasal drug products (OINDPs)?

B.	Should the FDA continue development of the proposed statistical approach to evaluating content uniformity?

#### IN VITRO BA AND BE TESTING

A.	Profile Analysis

- Should all stages, including the inlet (throat) of the cascade impactor (CI) be considered in a comparison of test and reference products?

2.	Should a statistical approach rather than a qualitative comparison be used for profile comparisons?  If yes, does the chi-square comparative profile approach seem appropriate?

B.	In Vitro Tests for DPIs: Comparability

1.	Prior to doing in vivo studies to establish equivalence of a test DPI product, a firm would need to design its product to have the best likelihood of being found equivalent in these in vivo studies.

a.	What design features of the device and formulation and what parameters should be considered in determining pharmaceutical equivalence?

b.	What comparative in vitro tests should be conducted to help support bioequivalence?

IN VIVO BA AND BE TESTING

A.	Clinical Studies for Local Delivery of Nasal Aerosols and Sprays

1.	Three study designs have been proposed in the draft guidance for drugs intended to have local action: traditional treatment study; day(s) in the park study, and environmental exposure unit study.  These study designs are based on seasonal allergic rhinitis (SAR).

Is it feasible to demonstrate a dose-response for locally acting nasal drugs?  If not, what other approaches can be relied upon to establish equivalent local delivery?

2.	Can bioequivalence established based on SAR assure bioequivalence for other indications such as recurrence of nasal polyps, or other non-SAR conditions?

B.	Clinical Studies for Local Delivery of Orally Inhaled Corticosteroids (ICS)

1.	A number of approaches have been proposed to assess bioequivalence of ICS (e.g., clinical trials, bronchoprovocation tests, steroid reduction model, trials with surrogate measures such as exhaled nitric oxide (eNO), etc).

Are any of these study designs proven to offer better discrimination in terms of dose-response sensitivity?

- What other in vivo approaches (e.g., surrogate markers) might be sufficiently sensitive and validated to establish in vivo BA and BE for inhaled corticosteroids?

##### C.	PK or PD Studies for Systemic Exposure of Locally Acting Drugs

Are there situations where in vitro data plus systemic PK and systemic PD data can be relied on to assure local drug delivery for either nasal or inhaled drugs?