Top of Form

## Complete Summary

#### GUIDELINE TITLE

Guideline for isolation precautions: preventing transmission of infectious agents in healthcare settings 2007. Protective environment.

#### BIBLIOGRAPHIC SOURCE(S)

Siegel JD, Rhinehart E, Jackson M, Chiarello L, Healthcare Infection Control Practices Advisory Committee. 2007 guideline for isolation precautions: preventing transmission of infectious agents in healthcare settings. Protective environment. Atlanta (GA): Centers for Disease Control and Prevention (CDC); 2007 Jun. 2 p.

#### GUIDELINE STATUS

This is the current release of the guideline.

This guideline updates a previous version: Centers for Disease Control and Prevention (CDC), Hospital Infection Control Practices Advisory Committee. Guidelines for isolation precautions in hospital infection control advisory committee. Atlanta (GA): Centers for Disease Control and Prevention (CDC); 1996 Jan 1. 38 p. (CDC prevention guidelines; no. 1/96). [97 references]

### COMPLETE SUMMARY CONTENT

SCOPE 
 METHODOLOGY - including Rating Scheme and Cost Analysis 
 RECOMMENDATIONS 
 EVIDENCE SUPPORTING THE RECOMMENDATIONS 
 BENEFITS/HARMS OF IMPLEMENTING THE GUIDELINE RECOMMENDATIONS 
 QUALIFYING STATEMENTS 
 IMPLEMENTATION OF THE GUIDELINE 
 INSTITUTE OF MEDICINE (IOM) NATIONAL HEALTHCARE QUALITY REPORT CATEGORIES 
 IDENTIFYING INFORMATION AND AVAILABILITY 
 DISCLAIMER

### SCOPE

#### DISEASE/CONDITION(S)

Healthcare-associated infections

#### GUIDELINE CATEGORY

Prevention

#### CLINICAL SPECIALTY

Infectious Diseases
Nursing
Preventive Medicine

#### INTENDED USERS

Advanced Practice Nurses
Allied Health Personnel
Health Care Providers
Hospitals
Nurses
Physician Assistants
Physicians

#### GUIDELINE OBJECTIVE(S)

- To provide infection control recommendations for all components of the healthcare delivery system, including hospitals, long-term care facilities, ambulatory care, home care and hospice

- To reaffirm Standard Precautions as the foundation for preventing transmission during patient care in all healthcare settings

- To reaffirm the importance of implementing Transmission-Based Precautions based on the clinical presentation or syndrome and likely pathogens until the infectious etiology has been determined

- To provide epidemiologically sound and, whenever possible, evidence-based recommendations

#### TARGET POPULATION

Patients and healthcare personnel in all settings where healthcare is delivered

#### INTERVENTIONS AND PRACTICES CONSIDERED

Use of a protective environment for infection control, including the use of standard and transmission-based precautions in a protective environment

#### MAJOR OUTCOMES CONSIDERED

- Risk of environmental fungi infection

- Rate of aspergillus outbreaks

### METHODOLOGY

#### METHODS USED TO COLLECT/SELECT EVIDENCE

Searches of Electronic Databases

#### DESCRIPTION OF METHODS USED TO COLLECT/SELECT THE EVIDENCE

Med-line and Pub Med were used to search for relevant studies published in English, focusing on those published since 1996.

The quality of studies, consistency of results and correlation with results from randomized, controlled trials when available were considered during the literature review and assignment of evidence-based categories to the recommendations in this guideline.

#### NUMBER OF SOURCE DOCUMENTS

Not stated

#### METHODS USED TO ASSESS THE QUALITY AND STRENGTH OF THE EVIDENCE

Expert Consensus

#### RATING SCHEME FOR THE STRENGTH OF THE EVIDENCE

Not applicable

#### METHODS USED TO ANALYZE THE EVIDENCE

Systematic Review

#### DESCRIPTION OF THE METHODS USED TO ANALYZE THE EVIDENCE

Not stated

#### METHODS USED TO FORMULATE THE RECOMMENDATIONS

Not stated

#### RATING SCHEME FOR THE STRENGTH OF THE RECOMMENDATIONS

The recommendations are categorized on the basis of existing scientific data, theoretical rational, applicability, and when possible, economic impact, as follows:

Category IA. Strongly recommended for implementation and strongly supported by well-designed experimental, clinical, or epidemiologic studies.

Category IB. Strongly recommended for implementation and supported by some experimental, clinical, or epidemiologic studies and a strong theoretical rationale.

Category IC. Required for implementation, as mandated by federal and/or state regulation or standard.

Category II. Suggested for implementation and supported by suggestive clinical or epidemiologic studies or a theoretical rationale.

No recommendation; unresolved issue. Practices for which insufficient evidence or consensus regarding efficacy exists.

#### COST ANALYSIS

A formal cost analysis was not performed and published cost analyses were not reviewed.

#### METHOD OF GUIDELINE VALIDATION

Peer Review

#### DESCRIPTION OF METHOD OF GUIDELINE VALIDATION

Not stated

### RECOMMENDATIONS

#### MAJOR RECOMMENDATIONS

Definitions for the strength of recommendation grading (IA-IC, II, and no recommendation) are provided at the end of the "Major Recommendations" field.

Protective Environment (see Table 4 in the original guideline document)

VI.A. Place allogeneic hematopoietic stem cell transplant (HSCT) patients in a Protective Environment as described in the "Guideline to Prevent Opportunistic Infections in HSCT Patients" ("Guidelines for preventing," 2000), the "Guideline for Environmental Infection Control in Health-Care Facilities" (Sehulster & Chinn, 2003), and the "Guidelines for Preventing Health-Care-Associated Pneumonia, 2003" (Tablan et al., 2004) to reduce exposure to environmental fungi (e.g., Aspergillus sp) (Humphreys, 2004; Thio et al., 2000). Category IB

VI.B. No recommendation for placing patients with other medical conditions that are associated with increased risk for environmental fungal infections (e.g., aspergillosis) in a Protective Environment (Sehulster & Chinn, 2003). Unresolved issue

VI.C. For patients who require a Protective Environment, implement the following (see Table 5 in the original guideline document) (Sehulster & Chinn, 2003; "Guidelines for preventing," 2000)

VI.C.1. Environmental controls

VI.C.1.a. Filtered incoming air using central or point-of-use high efficiency particulate (HEPA) filters capable of removing 99.97% of particles >0.3 micrometers in diameter (American Institute of Architects [AIA], 2006). Category IB

VI.C.1.b. Directed room airflow with the air supply on one side of the room that moves air across the patient bed and out through an exhaust on the opposite side of the room (AIA, 2006). Category IB

VI.C.1.c. Positive air pressure in room relative to the corridor (pressure differential of >12.5 Pa [0.01-in water gauge]) (AIA, 2006). Category IB

VI.C.1.c.i. Monitor air pressure daily with visual indicators (e.g., smoke tubes, flutter strips) (Sehulster & Chinn, 2003; Rice, Streifel, & Vesley, 2001). Category IA

VI.C.1.d. Well-sealed rooms that prevent infiltration of outside air (AIA, 2006). Category IB

VI.C.1.e. At least 12 air changes per hour (AIA, 2006). Category IB

VI.C.2. Lower dust levels by using smooth, nonporous surfaces and finishes that can be scrubbed, rather than textured material (e.g., upholstery). Wet dust horizontal surfaces whenever dust is detected and routinely clean crevices and sprinkler heads where dust may accumulate (Noskin et al., 2000; Gerson et al., 1994). Category II

VI.C.3. Avoid carpeting in hallways and patient rooms in areas (Gerson et al., 1994). Category IB

VI.C.4. Prohibit dried and fresh flowers and potted plants (Taplin & Mertz, 1973; Walsh & Dixon, 1989; Lass-Florl et al., 2000). Category II

VI.D. Minimize the length of time that patients who require a Protective Environment are outside their rooms for diagnostic procedures and other activities (Sehulster & Chinn, 2003; Thio et al., 2000; Raad et al., 2002). Category IB

VI.E. During periods of construction, to prevent inhalation of respirable particles that could contain infectious spores, provide respiratory protection (e.g., N95 respirator) to patients who are medically fit to tolerate a respirator when they are required to leave the Protective Environment (Raad et al., 2002; Thio et al., 2000). Category II

VI.E.1. No recommendation for fit-testing of patients who are using respirators. Unresolved issue

VI.E.2. No recommendation for use of particulate respirators when leaving the Protective Environment in the absence of construction. Unresolved issue

VI.F. Use of Standard and Transmission-Based Precautions in a Protective Environment.

VI.F.1. Use Standard Precautions as recommended for all patient interactions. Category IA

VI.F.2. Implement Droplet and Contact Precautions as recommended for diseases listed in Appendix A in the original guideline document. Transmission-Based precautions for viral infections may need to be prolonged because of the patient's immunocompromised state and prolonged shedding of viruses (Weinstock, Gubareva, & Zuccotti, 2003; Elizaga et al., 2001; Hall, et al., 1986; Wood et al., 1988; Oishi et al., 1991). Category IB

VI.F.3. Barrier precautions, (e.g., masks, gowns, gloves) are not required for healthcare personnel in the absence of suspected or confirmed infection in the patient or if they are not indicated according to Standard Precautions ("Guidelines for preventing," 2000). Category II

VI.F.4. Implement Airborne Precautions for patients who require a Protective Environment room and who also have an airborne infectious disease (e.g., pulmonary or laryngeal tuberculosis, acute varicella-zoster). Category IA

VI.F.4.a. Ensure that the Protective Environment is designed to maintain positive pressure (AIA, 2006). Category IB

VI.F.4.b. Use an anteroom to further support the appropriate air-balance relative to the corridor and the Protective Environment; provide independent exhaust of contaminated air to the outside or place a HEPA filter in the exhaust duct if the return air must be recirculated (AIA, 2006; Murray et al., 1988). Category IB

VI.F.4.c. If an anteroom is not available, place the patient in an airborne infection isolation room (AIIR) and use portable, industrial-grade HEPA filters in the room to enhance filtration of spores (Rutala et al., 1995). Category II

Definitions:

Strength of the Recommendations

The recommendations are categorized on the basis of existing scientific data, theoretical rational, applicability, and when possible, economic impact, as follows:

Category IA. Strongly recommended for implementation and strongly supported by well-designed experimental, clinical, or epidemiologic studies.

Category IB. Strongly recommended for implementation and supported by some experimental, clinical, or epidemiologic studies and a strong theoretical rationale.

Category IC. Required for implementation, as mandated by federal and/or state regulation or standard.

Category II. Suggested for implementation and supported by suggestive clinical or epidemiologic studies or a theoretical rationale.

No recommendation; unresolved issue. Practices for which insufficient evidence or consensus regarding efficacy exists.

#### CLINICAL ALGORITHM(S)

None provided

### EVIDENCE SUPPORTING THE RECOMMENDATIONS

#### REFERENCES SUPPORTING THE RECOMMENDATIONS

References open in a new window

#### TYPE OF EVIDENCE SUPPORTING THE RECOMMENDATIONS

The type of evidence is identified and graded for each recommendation (see "Major Recommendations").

### BENEFITS/HARMS OF IMPLEMENTING THE GUIDELINE RECOMMENDATIONS

#### POTENTIAL BENEFITS

Appropriate use of protective environments to prevent the transmission of infectious agents in healthcare settings

#### POTENTIAL HARMS

Not stated

### QUALIFYING STATEMENTS

#### QUALIFYING STATEMENTS

Much of the evidence cited for preventing transmission of infectious agents in healthcare settings is derived from studies that used "quasi-experimental designs", also referred to as nonrandomized, pre- post-intervention study designs. Although these types of studies can provide valuable information regarding the effectiveness of various interventions, several factors decrease the certainty of attributing improved outcome to a specific intervention. These include difficulties in controlling for important confounding variables; the use of multiple interventions during an outbreak; and results that are explained by the statistical principle of regression to the mean, (e.g., improvement over time without any intervention). Observational studies remain relevant and have been used to evaluate infection control interventions.

### IMPLEMENTATION OF THE GUIDELINE

#### DESCRIPTION OF IMPLEMENTATION STRATEGY

An implementation strategy was not provided.

### INSTITUTE OF MEDICINE (IOM) NATIONAL HEALTHCARE QUALITY REPORT CATEGORIES

#### IOM CARE NEED

Staying Healthy

#### IOM DOMAIN

Effectiveness
Safety

### IDENTIFYING INFORMATION AND AVAILABILITY

#### BIBLIOGRAPHIC SOURCE(S)

Siegel JD, Rhinehart E, Jackson M, Chiarello L, Healthcare Infection Control Practices Advisory Committee. 2007 guideline for isolation precautions: preventing transmission of infectious agents in healthcare settings. Protective environment. Atlanta (GA): Centers for Disease Control and Prevention (CDC); 2007 Jun. 2 p.

#### ADAPTATION

Not applicable: The guideline was not adapted from another source.

#### DATE RELEASED

1996 Jan (revised 2007 Jun)

#### GUIDELINE DEVELOPER(S)

Centers for Disease Control and Prevention - Federal Government Agency [U.S.]

#### SOURCE(S) OF FUNDING

United States Government

#### GUIDELINE COMMITTEE

Healthcare Infection Control Practices Advisory Committee (HICPAC)

#### COMPOSITION OF GROUP THAT AUTHORED THE GUIDELINE

Patrick J. Brennan, MD (Chair), Professor of Medicine, Division of Infectious Diseases, University of Pennsylvania Medical School; Michael Bell, MD (Executive Secretary), Division of Healthcare Quality Promotion, National Center for Infectious Diseases, Centers for Disease Control and Prevention; Vicki L. Brinsko, RN, BA, Infection Control Coordinator, Vanderbilt University Medical Center; E. Patchen Dellinger, MD, Professor of Surgery, University of Washington School of Medicine; Jeffrey Engel, MD, Head General Communicable Disease Control Branch, North Carolina State Epidemiologist; Steven M. Gordon, MD, Chairman, Department of Infectious Diseases, Hospital Epidemiologist, Cleveland Clinic Foundation, Department of Infectious Disease; Lizzie J. Harrell, PhD, D(ABMM), Research Professor of Molecular Genetics, Microbiology and Pathology, Associate Director, Clinical Microbiology, Duke University Medical Center; Carol O'Boyle, PhD, RN, Assistant Professor, School of Nursing, University of Minnesota; David Alexander Pegues, MD, Division of Infectious Diseases, David Geffen School of Medicine at UCLA; Dennis M. Perrotta, PhD., CIC, Adjunct Associate Professor of Epidemiology, University of Texas School of Public Health, Texas A&M University School of Rural Public Health; Harriett M. Pitt, MS, CIC, RN, Director, Epidemiology, Long Beach Memorial Medical Center; Keith M. Ramsey, MD, Professor of Medicine Medical Director of Infection Control, The Brody School of Medicine at East Carolina University; Nalini Singh, MD, MPH, Professor of Pediatrics, Epidemiology and International Health, The George Washington University Children's National Medical Center; Kurt Brown Stevenson, MD, MPH, Division of Infectious Diseases, Department of Internal Medicine, The Ohio State University Medical Center; Philip W. Smith, MD, Chief, Section of Infectious Diseases, Department of Internal Medicine, University of Nebraska Medical Center

#### FINANCIAL DISCLOSURES/CONFLICTS OF INTEREST

Not stated

#### GUIDELINE STATUS

This is the current release of the guideline.

This guideline updates a previous version: Centers for Disease Control and Prevention (CDC), Hospital Infection Control Practices Advisory Committee. Guidelines for isolation precautions in hospital infection control advisory committee. Atlanta (GA): Centers for Disease Control and Prevention (CDC); 1996 Jan 1. 38 p. (CDC prevention guidelines; no. 1/96). [97 references]

#### GUIDELINE AVAILABILITY

Electronic copies: Available in Portable Document Format (PDF) from Centers for Disease Control and Prevention (CDC) Web site.

#### AVAILABILITY OF COMPANION DOCUMENTS

None available

#### PATIENT RESOURCES

None available

#### NGC STATUS

This summary was completed by ECRI on April 25, 1999. The information was verified by the guideline developer on November 15, 1999. This NGC summary was updated by ECRI Institute on September 5, 2007.

#### COPYRIGHT STATEMENT

No copyright restrictions apply.

### DISCLAIMER

#### NGC DISCLAIMER

The National Guideline Clearinghouse™ (NGC) does not develop, produce, approve, or endorse the guidelines represented on this site.

All guidelines summarized by NGC and hosted on our site are produced under the auspices of medical specialty societies, relevant professional associations, public or private organizations, other government agencies, health care organizations or plans, and similar entities.

Guidelines represented on the NGC Web site are submitted by guideline developers, and are screened solely to determine that they meet the NGC Inclusion Criteria which may be found at http://www.guideline.gov/about/inclusion.aspx .

NGC, AHRQ, and its contractor ECRI Institute make no warranties concerning the content or clinical efficacy or effectiveness of the clinical practice guidelines and related materials represented on this site. Moreover, the views and opinions of developers or authors of guidelines represented on this site do not necessarily state or reflect those of NGC, AHRQ, or its contractor ECRI Institute, and inclusion or hosting of guidelines in NGC may not be used for advertising or commercial endorsement purposes.

Readers with questions regarding guideline content are directed to contact the guideline developer.

Bottom of Form

© 1998-2008 National Guideline Clearinghouse

Date Modified: 11/3/2008