| DEPARTMENT OF HEALTH AND HUMAN SERVICES FOOD AND DRUG ADMINISTRATION | MILK PLANT EQUIPMENT TEST REPORT |
| --- | --- |
| TEST NO. | TEST | TEST FREQUENCY | TESTED (X or NA) | RESULTS OF TEST (See Reverse for Working Notes) |
| 1. | Indicating Thermometers (including air space): Temperature Accuracy | 3 months |  |  |
| 2. | Recording Thermometers: Temperature Accuracy | 3 months |  |  |
| 3. | Recording Thermometers: Time Accuracy | 3 months |  |  |
| 4. | Recording Thermometers: Checked against Indicating Thermometer | 3 months |  | Daily by operator |
| 5. | Flow Diversion Device (FDD): Proper Assembly and Function (HTST and HHST) |  |  |  |
|  | 5.1 | Leakage Past Valve Seat(s) | 3 months |  |  |
|  | 5.2 | Operation of Valve Stem(s) | 3 months |  |  |
|  | 5.3 | Device Assembly (micro-switch) Single Stem | 3 months |  |  |
|  | 5.4 | Device Assembly (micro-switches) Dual Stem | 3 months |  |  |
|  | 5.5 | Manual Diversion - Parts (A, B, and C) (HTST only) | 3 months |  |  |
|  | 5.6 | Response Time | 3 months |  |  |
|  | 5.7 | Time Delay Interlock (dual stem devices) (Inspect) | 3 months |  |  |
|  | 5.8 | Time Delay Interlock (dual stem devices) (CIP) | 3 months |  |  |
|  | 5.9 | Leak detect Flush Time Delay (HTST only as applicable) | 3 months |  |  |
| 6. | Leak-Protect Valves: Leakage (Vats only) | 3 months |  |  |
| 7. | Indicating Thermometers on Pipelines: Thermometric Response (HTST only) | 3 months |  |  |
| 8. | Recorder-Controller: Thermometric Response (HTST only) | 3 months |  |  |
| 9. | Regenerator pressure controls |  |  |  |
|  | 9.1 | Pressure switches (HTST only) | 3 months |  |  |
|  | 9.2 | Differential Pressure Controllers |  |  |  |
|  | 9.2.1 | Calibration | 3 months |  |  |
|  | 9.2.2 | Interwiring Booster Pump (HTST only) | 3 months |  |  |
|  | 9.2.3 | Interwiring FDD (HTST*, HHST and Aseptic) | 3 months |  |  |
|  | 9.3 | Additional Booster Pump Interwiring (HTST only) |  |  |  |
|  | 9.3.1 | With FDD | 3 months |  |  |
|  | 9.3.2 | With Metering Pump | 3 months |  |  |
| 10. | Milk-Flow Controls: Cut-in and Cut-out Temperatures (10.1, 10.2, or 10.3*) | 3 months |  | Daily by operator (HTST) |
| 11. | Timing system controls |  |  |  |
|  | 11.1 | Holding Time (HTST, except Magnetic Flow Meters) | 6 months |  | Adjusted product holding time if applicable |
|  | 11.2.a | Magnetic Flow Meters (HTST only) | 6 months |  |  |
|  | 11.2.b | Flow Alarm (HTST, HHST, and Aseptic) | 6 months |  |  |
|  | 11.2.c | Loss of Signal Alarm (HTST, HHST, and Aseptic) | 6 months |  |  |
|  | 11.2.d | Flow Cut-in/Cut-out (HTST only) | 6 months |  |  |
|  | 11.2.e | Time Delay (after divert) (HTST with a FDD located at the end of the holding tube) | 6 months |  |  |
|  | 11.2.f | High Flow Alarm Response Time (All Magnetic Flow Meter Systems) | 6 months |  |  |
|  | 11.3 | HHST Indirect Heating | 6 months |  |  |
|  | 11.4 | HHST Direct Injection Heating | 6 months |  |  |
|  | 11.5 | HHST Direct Infusion Heating | 6 months |  |  |
| 12. | Controller: Sequence Logic (HHST and Aseptic) (12.1* or 12.2*) | 3 months |  |  |
| 13. | Product Pressure-Control Switch Setting (HHST and Aseptic) | 3 months |  |  |
| 14. | Injector Differential Pressure Injection Heating (HTST*, HHST and Aseptic) | 3 months |  |  |
| 15. | Electro-Magnetic Interference from Hand-Held Communication Devices (HTST, HHST and Aseptic) | 3 months |  |  |
|  | *For HTST systems with the FDD located downstream of the regenerator and/or cooler section. |
| REMARKS (If additional space is required please place information on the back of this form or on a separate page.) |
| PLANT | IDENTITY OF EQUIPMENT | LOCATION | DATE | SANITARIAN |
| NOTE: This Form is a supplement to the Milk Plant Inspection Report, FORM FDA 2359, and these tests are in addition to the equipment requirements for which compliance is determined by inspection. (Refer to Appendix I of the Grade "A" Pasteurized Milk Ordinance.) |

Notes