## Ion & Nonion Rad Equip
Manufacturer | Model | Instrument | Serial # | Cost | ECN | Approx Year of purchase
EBERLINE INST | ASP-1 | SURVEY METER | 727 |  | A037598 | 2002
REM-RAD | NP-2 | SURVEY METER | NP985202 |  | A037595 | 2002
THERMO SMARTION | 2140R | DIGITAL SURVEY METER | M0004663 |  | A037597 | 2003
BICRON ELECTRONICS CO | 2000 | SURVEY METER | A553M | 1000 | A035001 | 2002
BICRON ELECTRONICS CO | 2000 | SURVEY METER | A570M | 1000 | A035002 | 2002
BICRON ELECTRONICS CO | 2000 | SURVEY METER | B143D | 1000 | A035003 | 2002
BICRON ELECTRONICS CO | 2000 | SURVEY METER | A551M | 1000 | A035004 | 2002
BICRON ELECTRONICS CO | 2000 | SURVEY METER | A043S | 1000 | A035005 | 2002
LUDLUM MEASUREMENTS, INC. | 3 | SURVEY METER | 106912 | 360 | A014483
LUDLUM MEASUREMENTS, INC. | 44-7 | G M DETECTOR | 107200 | 360 | A007322
MACINTYRE ELECTRONIC DESIGN ASSO | PLM 100 | GAUSSMETER | 2616 | 395 | A008678
EBERLINE INST | ASP-1/AC3 | SURVEY METER | 789 | 1900 | A034997 | 2002
EBERLINE INST | ASP-1 | SURVEY METER | 2318 | 1900 | A034998 | 2002
EBERLINE INST | ASP-1 | SURVEY METER | 2322 | 1000 | A034999 | 2002
EBERLINE INST | HAND E COUNT | RADIATION DETECTOR | 248 | 3795 | A055667
NARDA | 8623D | ISOTROPIC PROBE | 34073 | 650 | A001180
NARDA | 8616 | SURVEY METER | 30035 | 2556 | 1257644
EBERLINE INST | E-500B | SURVEY METER | 519 | 590 | 430979
EBERLINE INST | RO-3 | SURVEY METER | 512 | 820 | 464447
EBERLINE INST | SRM-100 | RADIATION DETECTOR | 147 | 650 | 142176
LUDLUM | 44-3 | RADIATION PROBE | PR-176525 | 175 | A030175
NARDA | 8712 | SURVEY METER | 2030 | 950 | A033713
BLAK-RAY | J221 |  | 9411
BLAK-RAY | J225 |  | 9518
RFL | 902 |  | 365
SYNRAD POWER WIZARD | 2 |  | 496 |  |  | 2003
SYNRAD POWER WIZARD | 250 |  | 5054 |  |  | 2003
EXPLORANIUM | GR-135 |  | 2808 |  |  | 2003

## IH Equip
Manufacturer | Model | Instrument | Serial # | Cost | ECN | Approx year of purchase
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 102 |  | A037581 | 1997
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 104 |  | A037582 | 1997
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 401 |  | A037583 | 2002
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 403 |  | A037584 | 2002
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 404 |  | A037585 | 2002
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 405 |  | A037586 | 2002
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 408 |  | A037587 | 2002
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 101 |  | A037588 | 1997
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 103 |  | A037589 | 1997
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 402 |  | A037590 | 2002
MINE SAFETY APPLIANCES CO. | ESCORT ELF | PERSONAL AIR SAMPLER | 406 |  | A037591 | 2002
RAE SYSTEMS | ENTRYRAE | GAS ANALYZER / PID | 180-002349 |  | A037593 | 2006
RAE SYSTEMS | ENTRYRAE | GAS ANALYZER / PID | 180-002352 |  | A037594 | 2006
BIOS INTERNATIONAL CORP | DCL-MH | PUMP CALIBRATOR | 7375 |  | A037592 | 2003
QUEST TECHNOLOGIES | QUESTEMP 36 | HEAT STRESS MONITOR | TKB030016 |  | A037599 | 2002
CASELLA | CL-350 | NOISE DOSIMETER | 961226 |  | A037614 | 2007
CASELLA | CL-350 | NOISE DOSIMETER | 961232 |  | A037615 | 2007
CASELLA | CL-350 | NOISE DOSIMETER | 961231 |  | A037616 | 2007
CASELLA | CL-350 | NOISE DOSIMETER | 961219 |  | A037617 | 2007
CASELLA | CL-350 | NOISE DOSIMETER | 961230 |  | A037618 | 2007
CASELLA | CEL-110/2 | DOSIMETER CALIBRATOR | 96936 |  | A037619 | 2007
TSI INCORPORATED | 8760 | IAQ METER WITH CO2 | 55040571 |  | A037620 | 2004
TSI INCORPORATED | 8385A | Velocicalc | 3030346 |  | A037613 | 2002
ALNOR INSTRUMENT CO. | 600P | VELOCIMETER | 6077AA | 650 | A003015 | 1984
ARIZONA INSTRUMENTS | JEROME X431-0001 | GOLD FILM MERCURY ANALYZER | 1173 | 5225 | A058139 | 2001
EXTECH | 401025 | LIGHT METER | L129530 | 350 | A029026 | 2002
MINE SAFTY APPLIANCES CO. | PASSPORT 4 GAS | GAS ANALYZER | G8-18541-EO2 | 3929 | A055764 | 2004
METROSONICS | DB3100 | SOUND ANALYZER | 1830 | 1739 | 1084255 | 2001
METROSONICS | DB3100 | SOUND ANALYZER | 1847 | 1739 | 1084251 | 2001
METROSONICS | DB3100 | SOUND ANALYZER | 3291 | 1450 | 1160408 | 2001
METROSONICS | DB3100 | SOUND ANALYZER | 3288 | 1450 | 1160409 | 2001
METROSONICS | DB3100 | SOUND ANALYZER | 1846 | 1739 | 1084254 | 2001
METROSONICS | DB3100 | SOUND ANALYZER | 1842 | 1739 | 1084253 | 2001
METROSONICS | DB3100 | SOUND ANALYZER | 3287 | 1450 | 1160406 | 2001
METROSONICS | DB3100 | SOUND ANALYZER | 3284 | 1450 | 1160405 | 2001
METROSONICS | DB3100 | SOUND ANALYZER | 3233 | 1450 | 1160407 | 2001
METROSONICS | DB3100 | SOUND ANALYZER | 1840 | 1739 | 1084252 | 2001
METROSONICS | CL304 | ACOUSTIC CALIBRATOR | 4949CL304 | 475 | A006170 | 2001
METROSONICS | CL304 | ACOUSTIC CALIBRATOR | 3856CL304 | 450 | M095044 | 2001
TSI INCORPORATED | 8020 | PortaCount Plus | 40535 | 7000 | A055666 | 2002
TSI INCORPORATED | 8551 | Q-Trak | 47221 | 3576 | A055665 | 2001
TSI INCORPORATED | 8340 | VELOMETER | 94040195 | 525 | A007866 | 2000
TSI INCORPORATED |  | PARTICLE COUNTER |  | 4500 |  | 2008
Veripro |  | Earplug fit test instrument |  | 2500 |  | 2008
3M |  | Portable HEPA vacuum for asbestos sampling |  |  |  | 1998
EMS |  | High Volume Sampling Pump | 2337 |  |  | 2001
EMS |  | High Volume Sampling Pump | 2340 |  |  | 2001
EMS |  | High Volume Sampling Pump | 2341 |  |  | 2001
EMS |  | High Volume Sampling Pump | 2361 |  |  | 2001
EMS |  | High Volume Sampling Pump | 2362 |  |  | 2001
Gast |  | High Volume Sampling Pump (w/stand) |  |  |  | 1991
Gast |  | High Volume Sampling Pump (w/stand) |  |  |  | 1991
Gast |  | High Volume Sampling Pump (w/stand) |  |  |  | 1991
Gast |  | High Volume Sampling Pump (w/stand) |  |  |  | 1991
Gast |  | High Volume Sampling Pump (w/stand) |  |  |  | 1991
MIRAN | Infared Analyzer, MIRAN 1 |  |  |  |  | 1998
MSA |  | KWIK Draw Pump |  |  |  | 1993
Leaf Blower |  | for Asbestos Clearance Sampling |  |  |  | 1993
Impingers
MSA Cyclones
Saccarin/Bitrex Fit Test Protocol Equipment
Anderson 6 Stage microbial sampler and pump

## MAQAL
MAQAL LABORATORY EQUIPMENT | MANUFACTURER |  | ACQUISITION | ACQUISITION
|  |  | DATE | COST
System/Item Name
Alloy Analyzer | INOV-X-SYSTEM | 8000L3X | 5/2008 | 45000
Spectrometer Analyzer | EDAX Corp. | Eagle II | 10/2000 | 111000
Survey Meter | Geiger-Counter | E-5008 | Unknown | 600
Electronic Balance | LECO | 751-300 | Unknown | 1500
Digital Conductivity Meter | Hocking | 3000DL | Unknown | 600
Conductivity Meter | Verimet | M4900C | Unknown | 400
Tensile System
Tester | Tinius Olsen | 217020 | 2/2008 | $90,000.00 for whole system
CPU | Dell | 2204737 | 2/2008
Monitior | Dell | 1708FPT | 2/2008
Printer, ADP | HP | d2460 | 2/2008
Micro Hardness System
Computer, Micro | Dell | DCM | Unknown | Unknown
Tester, Hardness Micro | Shimadzu | HMV2000 | Unknown | 14700
Tester, Hardness | NewAge | NI-300C | 6/2007 | 15000
Portable Hardness Tester | Krautkramer Branson | HT-2000 | Unknown | 12000
Rockwell Hardness Tester | LECO | RT-370 | Unknown | 8000
Image Analysis System
Camera, Digital Color |  | 860253 | 6/2007 | $6.000.00 for whole system
Computer | INTEL | Core2 | 6/2007
Display Unit | ViewSonic | G90fB | 6/2007
Printer, ADP | Elite | 12/1200 | 6/2007
Metallograph | Buehler | 645-EOMN-0130 | 6/2007
Microscope | Nikon | MA100 | 6/2007
Polishing Equipment
Sander, Belt Dormet 2 | Buehler 2204971 |  | 6/2007 | 8000
Polishing/Grinding Machine | Buehler | ECOMET 4000 | 6/2007 | 12000
Specimen Mount Press | Extec | Labpress 40 | 6/2007 | 10000
Abrasion Cutter | Leco |  | Unknown | 10000
Electronics Inspection Unit
Oscilloscope 500 MHz Digital | Tektronix | TDS744A | Unknown | 16241
Meter, RCL | Fluke | Pm6306 | Unknown | 5195
Generator, Function Waveform | Fluke | Pm5l50 | Unknown | 4670
Oscilloscope, Portable | Protek | p2520 | Unknown | 16000
Controller, Microprocessor | PTI |  | Unknown | Unknown
Shaker | PTI | M230 | Unknown | Unknown
Curve Tracer | Tektronix | 370A | Unknown | Unknown
Power Supply | HP | 3630A | Unknown | 400
Power Supply | Beckman | 1635 | Unknown | 400
Power Supply | HP | E3630A | Unknown | 400
Miscellaneous — Not Part of Single System
Surface Plate, Granite | Ottauing | Ottauing | Unknown | Unknown
Digital Calipers | Mituitoyo | CD-12"C | 2007 | 70
Digital Calipers | Mituitoyo | CD-6”C | 2007 | 70
Digital Calipers | Mituitoyo | CD-6”C | 2007 | 70
Digital Calipers | Mituitoyo | CD-6”C | 2007 | 70
Digital Calipers | Mituitoyo | CD-6”C | 2007 | 70

## IQA
Item# | Manufacture/Description | P/N - S/N | ECN - GOV | Qty | Date of Pur. | Value
1 | Dutch Hill Fiberglass Tripod | GPT2000A |  | 1 | 2003-11-03 | 200
2 | SECO 8.5' Dual-Graduated Prism Pole | 5700-10 |  | 1 | 2003-11-03 | 300
3 | SECO Single Tilting Prism w/ Target | 6422-02-YLB |  | 1 | 2003-11-03 | 300
4 | Nikon Total Field Station |  | 30059 | 1 | 1998-12-15 | 8000
5 | Leveling Micrometer |  |  | 1 | 1998-12-15 | 500
6 | Level Precision w/Tripod | 25275 | 1624 | 1 |  | 600
7 | Level Rod |  | 1624a | 1 |  | 50
8 | Rod w/Cover, |  | 1625a | 1 |  | 400
9 | Centering Platform, Topcon | 6306 | 1625b | 1 |  | 1200
10 | Tripod (Extra) |  | 1629a | 1 |  | 300
11 | Tribrach, Nikon | 670003 | 1629b | 1 |  | 300
12 | Triple prism Mount w/Refl. | 676PSM100 | 1629c | 1 |  | 500
13 | Soft Case (1 OF 2) | 6PSM0155 | 1629e | 1 |  | 30
14 | Soft Case (2 of 2) | 6PSM015 | 1629f | 1 |  | 20
15 | Line Tracer, Pipe & Cable | 015839 / ECN 08 | 1640 | 1 |  | 1898
16 | Level Auto, Leitz | 09222 / ECN 054 | 1648 | 1 |  | 1435
17 | Inductive Clamp, Metro-Tech |  | 1652 | 1 |  | 235
18 | Single Prism Mount w/Refl. | 6PSM100 | 1654b | 1 |  | 400
19 | Mini-Prism Set, Nikon | 6920205 | 1654c | 1 |  | 300
20 | Soft Case (1 of 2) |  | 1654f &e | 2 |  | 40
21 | Spatial data workstaion ODIN | 645376 |  | 1 |  | 2250
22 | Spatial data workstaion ODIN | 631782 |  | 1 |  | 2250
23 | Spatial data workstaion ODIN | 645358 |  | 1 |  | 2250
24 | Spatial data workstaion ODIN | 645360 |  | 1 |  | 2250
25 | Trimble TSC2 Data Collectors |  | 1639111 & 2205266 | 2 |  | 12400
26 | Trimble R8 recievers(Rover Units) |  | 1641008 & 1641914 | 2 |  | 23400
27 | Trimble S6 Optical Total Station |  | 1639114 | 1 |  | 29000
28 | Trimble Graduated Prism pole &2mm Prism |  |  |  |  | 400
29 | Garrett Metal Detector | SN 35103217 |  |  |  | 450
30 | Metrotech 4490 Metro clamp transmitter |  |  |  |  | 300
[5 empty] | Total | 91958