EDDY CURRENT EQUIPMENT SPECIFICATIONS

Line Item                   Qty.                Description

1                                    3                   Portable eddy current instrument with built-in

conductivity capabilities and mini rotor probe

drive connections - Phasec 3D, Elotest  M2 or M3,

or equivalent.

2                                    3                   Manual indexing mini rotor probe drive to connect

with eddy current  instrument from Line 1, -

33A100, Elotest MR3-MF, or equivalent.

3                                    3                   Probe kits for mini rotor probe drives from Line 2

with expandable probes for thru-hole inspection

covering a minimum range of ¼” to 9/16” hole

diameters.

4                                    3                   Conductivity probes for eddy current instruments

from Line 1.

5                                    6                   Manual threaded probes to fit 5/16 – 24 hole and

connect to eddy current instrument from Line 1.