Attachment A

Item #		 System Configuration

I500PE 	Pulse-Echo Acoustocam Model I500 PE

- Handheld pulse-echo ultra sound camera

  - DAV ASIC Version 5.0

  - Adjustable Incident Angle Beam

  - Controller Cables

  - 3.5 MHz Source Transducer

  - Integrated LCD in Camera

  - 8 Ft. Video & Pulser-Out Cable with

RG-58 60 Ohm Coax and DB-26 Pin Connector

- Handheld Controller Box

- Integrated C-Scan Display

- Integrated A-Scan Display

- Controller Box with Embedded MS-Windows®

  - 8.5” Diagonal VGA-LCD Video Screen

  - ECM-3719 Board

  - Pentium M class 1.6Gb Processor

  - 512Mb RAM

  - 2Gb Hard Drive

  - 2 USB ports

  - 1 Ethernet Port

- Power Adapter with cable

- Acoustocom Software

- 2 spare neoprene covers

- 12 oz/ 355 ml Plastic Bottle of Ultrasonic Couplant

- Fluid Transfer Tubes and Bottle for Camera

- Pelican Travel Case

I500TT		Through Transmission Acoustocam Model I500TT

I500-TTCAM	Through-Transmission Camera-Head only