6.13

01-05

c;ao;ba

Manufacturer	Catalog Number

c - Bolts, machine

5/8"  	  3/4"

Chance	C88XX(1)	C89XX(2)

Joslyn	J88XX(6)	J89XX(7)

ao - Bolts, straight, thimble-eye

5/8"  	  3/4"

Chance	C55XX(3)	C56XX(4)

Joslyn	J80XX(8)	J80XX(9)

ba - Bolts, angle, thimble-eye

5/8"  	  3/4"

Chance	C50XX(3)	C51XX(5)

Joslyn	J81XX(8)	J81XX(9)

See page 7.13.1 for notes.

6.13.1

01-05

c;ao;ba

Notes:

(1)Order bolts by changing X's in catalog number to length of bolt in inches; accepted for lengths 5", 6", 7", 8", 9", 10", 12", 14", 16", 18", 20", 22", and 24".

(2)Order bolts by changing X's in catalog number to length of bolt in inches; accepted for lengths 8", 10", 12", 14", 16", 18", 20", 22", 24", and 26".

(3)Order bolts by changing X's in catalog number to length of bolt in inches; accepted for lengths 10", 12", 14", and 16".

(4)Order bolts by changing X's in catalog number to length of bolt in inches; accepted for lengths 12" and 14".

(5)Order bolts by changing X's in catalog number to length of bolt in inches; accepted for lengths 10", 12", and 14".

(6)Order bolts by changing X's in catalog number to length of bolt in inches; accepted for lengths 5", 6", 7", 8", 9", 10", 11", 12", 13", 14", 15", 16", 18", 20", 22", and 24".

(7)Order bolts by changing X's in catalog number to length of bolt in inches; accepted for lengths 5", 6", 7", 8", 9", 10", 12", 14", 16", 18", 20", 22", 24", and 26".

(8)Order bolts by changing X's in catalog number to length of bolt in inches; accepted for lengths 6", 8", 10", and 12".

(9)Order bolts by changing X's in catalog number to length of bolt in inches; accepted for lengths 8", 10", and 12".