Veterans Health Administration Warning System

Published by VA Central Office

March 6, 2003

- Item:  	Olympus EXERATM Gastrointestinal Endoscopes

- Models: CF-Q160L, CF-Q160I, CF-160S, CF-Q160AL, CF-Q160AI and GIF-2T160

Specific Incident:	The manufacturer issued an “Important Safety Notice” on February 10, 2003, (attached) to remind users that the auxiliary water channel must be reprocessed each time the endoscope is used.

Recommendations:	1. Follow manufacturer instructions.

2. All channels of all endoscopes must be reprocessed during each reprocessing cycle even if the channels were not utilized during the preceding patient procedure.

Additional Information:	Please contact your local Olympus sales representative about the proper steps to reprocess Olympus endoscopes or call 800-848-9024 to obtain copies of Reprocessing Manuals for Olympus endoscopic equipment.

Source:	VISN 1 and manufacturer

Contact:	For additional information, please contact Bryanne Patail, at the National Center for Patient Safety, (734)-930 5890.