## Sheet1
Electric Power Annual 2007 Released: January 21, 2009 Next Update: October 22, 2009
Table 2.7.C. Total Capacity of Dispersed and Distributed Generators by Technology Type, 2004 through 2007
(Count, Megawatts)
Period | Internal Combustion | Combustion Turbine | Steam Turbine | Hydroelectric | Wind and Other | Total
| (MW) | (MW) | (MW) | (MW) | (MW) | Number of | (MW)
2004 | 5538 | 1238 | 1638 | 1029 | 139 | 16986 | 9579
2005[1] | 8316 | 2251 | 1957 | 1000 | 1007 | 28744 | 14532
2006 | 10094 | 1638 | 2736 | 808 | 1086 | 14580 | 16678
2007 | 12407 | 2233 | 3696 | 1084 | 1462 | 18160 | 20999
[1] Distributed generator data in 2005 include a significant number of generators reported by one respondent which may be for residential applications.
Note: Dispersed and distributed generators are commercial and industrial generators. Dispersed generators are not connected to the grid. Distributed generators are connected to the grid. Both types of generators may be installed at or near a customer`s site, or at other locations, and both types of generators may be owned by either the customers of the distribution utility or by the utility. Other Technology includes generators for which technology is not specified.
Source: Energy Information Administration, Form EIA-861, "Annual Electric Power Industry Report."