## In Vitro Data
Substance Name | Substance (Sort) | CASRN | CASRN (Sort) | Lab Number | In Vitro Concentration Tested | In Vitro Physical Form Tested | Purity (%) | Solubility1 | pH | Q-Score2 | Average Q-Score | SD | CV | Q-Score Classification | # Testing Labs | % Concordance | Overall Q-Score Classification | GHS Classification | EPA Classification | EU Classification | Reference | Notes
Acetone | acetone | 67-64-1 | 67641 | 1 | 100% | Liquid | >99 | water soluble |  | 18.36 | 10.75 | 7.4125 | 68.9537 | Severe | 4 | 75 | Severe | 2A | II | R36 | Balls et al. (1995) | results are average values from upto 4 different labs
Acetone | acetone | 67-64-1 | 67641 | 2 | 100% | Liquid | >99 | water soluble |  | 13.53 |  |  |  | Severe |  |  |  | 2A | II | R36 | Balls et al. (1995)
Acetone | acetone | 67-64-1 | 67641 | 3 | 100% | Liquid | >99 | water soluble |  | 0.8 |  |  |  | Nonirritant |  |  |  | 2A | II | R36 | Balls et al. (1995)
Acetone | acetone | 67-64-1 | 67641 | 4 | 100% | Liquid | >99 | water soluble |  | 10.31 |  |  |  | Severe |  |  |  | 2A | II | R36 | Balls et al. (1995)
Ammonium nitrate | ammoniumnitrate | 6484-52-2 | 6484522 | 1 | 100% | Solid | >99.9 | water soluble |  | 1.8 | 1.55 | 0.35355 | 22.8099 | Moderate | 2 | 100 | Moderate | 2B | III | R36 | Balls et al. (1995)
Ammonium nitrate | ammoniumnitrate | 6484-52-2 | 6484522 | 3 | 100% | Solid | >99.9 | water soluble |  | 1.3 |  |  |  | Nonirritant |  |  |  | 2B | III | R36 | Balls et al. (1995)
L-Aspartic acid | asparticacid l | 70-47-3 | 70473 | 1 | 100% | Solid | 95 | water soluble |  | 0 | 0 |  |  | Nonirritant | 1 | 100 | Nonirritant | SCNM | SCNM | SCNM | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 1 | 1% | Solution | 98 | surfactant |  | 3.41 | 4.175 | 0.68012 | 16.2904 | Severe | 4 | 100 | Severe | Category 1/Category 2A | I | R36/R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 2 | 1% | Solution | 98 | surfactant |  | 5 |  |  |  | Severe |  |  |  | Category 1/Category 2A | I | R36/R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 3 | 1% | Solution | 98 | surfactant |  | 3.9 |  |  |  | Severe |  |  |  | Category 1/Category 2A | I | R36/R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 4 | 1% | Solution | 98 | surfactant |  | 4.39 |  |  |  | Severe |  |  |  | Category 1/Category 2A | I | R36/R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 1 | 5% | Solution | 98 | surfactant |  | 6.93 | 4.7625 | 2.6131 | 54.8674 | Severe | 4 | 75 | Severe | Category 1 | I | R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 2 | 5% | Solution | 98 | surfactant |  | 4.43 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 3 | 5% | Solution | 98 | surfactant |  | 1.2 |  |  |  | Nonirritant |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 4 | 5% | Solution | 98 | surfactant |  | 6.49 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 1 | 10% | Solution | 98 | surfactant |  | 6.09 | 5.59 | 1.7152 | 30.6842 | Severe | 4 | 100 | Severe | Category 1 | I | R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 2 | 10% | Solution | 98 | surfactant |  | 7.03 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 3 | 10% | Solution | 98 | surfactant |  | 3.1 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Benzalkonium chloride | benzalkoniumchloride | 8001-54-5 | 8001545 | 4 | 10% | Solution | 98 | surfactant |  | 6.14 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Butyl acetate | Butyl acetate | 123-86-4 | 123864 | 1 | 100% | Liquid | 99 | water insoluble |  | 1.55 | 1.6275 | 0.30837 | 18.9474 | Moderate | 4 | 75 | Moderate | NI | III | NI | Balls et al. (1995)
Butyl acetate | Butyl acetate | 123-86-4 | 123864 | 2 | 100% | Liquid | 99 | water insoluble |  | 1.23 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Butyl acetate | Butyl acetate | 123-86-4 | 123864 | 3 | 100% | Liquid | 99 | water insoluble |  | 1.8 |  |  |  | Moderate |  |  |  | NI | III | NI | Balls et al. (1995)
Butyl acetate | Butyl acetate | 123-86-4 | 123864 | 4 | 100% | Liquid | 99 | water insoluble |  | 1.93 |  |  |  | Moderate |  |  |  | NI | III | NI | Balls et al. (1995)
Gamma-butyrolactone | butyrolactone gamma | 96-48-0 | 96480 | 1 | 100% | Liquid | >99 | water soluble |  | 22.04 | 8.6675 | 9.1176 | 105.1926 | Severe | 4 | 75 | Severe | Category 2A | II | R36 | Balls et al. (1995)
Gamma-butyrolactone | butyrolactone gamma | 96-48-0 | 96480 | 2 | 100% | Liquid | >99 | water soluble |  | 6.64 |  |  |  | Severe |  |  |  | Category 2A | II | R36 | Balls et al. (1995)
Gamma-butyrolactone | butyrolactone gamma | 96-48-0 | 96480 | 3 | 100% | Liquid | >99 | water soluble |  | 1.97 |  |  |  | Moderate |  |  |  | Category 2A | II | R36 | Balls et al. (1995)
Gamma-butyrolactone | butyrolactone gamma | 96-48-0 | 96480 | 4 | 100% | Liquid | >99 | water soluble |  | 4.02 |  |  |  | Severe |  |  |  | Category 2A | II | R36 | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 1 | 0.1% | Solution | 98 | surfactant |  | 2.43 | 0.8575 | 1.1494 | 134.0461 | Severe | 4 | 75 | Nonirritant | NI | III | NI | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 2 | 0.1% | Solution | 98 | surfactant |  | 0 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 3 | 0.1% | Solution | 98 | surfactant |  | 1 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 4 | 0.1% | Solution | 98 | surfactant |  | 0 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 1 | 6% | Solution | 98 | surfactant |  | 2.34 | 2.2925 | 0.74652 | 32.5636 | Severe | 4 | 75 | Severe | Category 1 | SCNM | R41 | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 2 | 6% | Solution | 98 | surfactant |  | 2.42 |  |  |  | Severe |  |  |  | Category 1 | SCNM | R41 | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 3 | 6% | Solution | 98 | surfactant |  | 1.3 |  |  |  | Nonirritant |  |  |  | Category 1 | SCNM | R41 | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 4 | 6% | Solution | 98 | surfactant |  | 3.11 |  |  |  | Severe |  |  |  | Category 1 | SCNM | R41 | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 1 | 10% | Solution | 98 | surfactant |  | 2.71 | 2.9775 | 1.2088 | 40.5991 | Severe | 4 | 75 | Severe | Category 1 | I | R41 | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 2 | 10% | Solution | 98 | surfactant |  | 2.73 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 3 | 10% | Solution | 98 | surfactant |  | 1.8 |  |  |  | Moderate |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Cetylpyridinium bromide | cetylpyridiniumbromide | 140-72-7 | 140727 | 4 | 10% | Solution | 98 | surfactant |  | 4.67 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Cyclohexanol | cyclohexanol | 108-93-0 | 108930 | 1 | 100% | Liquid | 97 | water soluble |  | 3.28 | 4.9125 | 1.4253 | 29.0133 | Severe | 4 | 100 | Severe | Category 1 | I | R41 | Balls et al. (1995)
Cyclohexanol | cyclohexanol | 108-93-0 | 108930 | 2 | 100% | Liquid | 97 | water soluble |  | 4.48 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Cyclohexanol | cyclohexanol | 108-93-0 | 108930 | 3 | 100% | Liquid | 97 | water soluble |  | 5.2 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Cyclohexanol | cyclohexanol | 108-93-0 | 108930 | 4 | 100% | Liquid | 97 | water soluble |  | 6.69 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
2,6-Dichlorobenzoyl chloride | dichlorobenzoylchloride 2 6 | 4659-45-4 | 4659454 | 1 | 100% | Liquid | 99 | water insoluble |  | 10.14 | 5.845 | 4.2344 | 72.4449 | Severe | 4 | 75 | Severe | 2A | II | SCNM | Balls et al. (1995)
2,6-Dichlorobenzoyl chloride | dichlorobenzoylchloride 2 6 | 4659-45-4 | 4659454 | 2 | 100% | Liquid | 99 | water insoluble |  | 8.81 |  |  |  | Severe |  |  |  | 2A | II | SCNM | Balls et al. (1995)
2,6-Dichlorobenzoyl chloride | dichlorobenzoylchloride 2 6 | 4659-45-4 | 4659454 | 3 | 100% | Liquid | 99 | water insoluble |  | 1.9 |  |  |  | Moderate |  |  |  | 2A | II | SCNM | Balls et al. (1995)
2,6-Dichlorobenzoyl chloride | dichlorobenzoylchloride 2 6 | 4659-45-4 | 4659454 | 4 | 100% | Liquid | 99 | water insoluble |  | 2.53 |  |  |  | Severe |  |  |  | 2A | II | SCNM | Balls et al. (1995)
2,2-Dimethylbutanoic acid | dimethylbutanoicacid 2 2 | 595-37-9 | 595379 | 1 | 100% | Liquid | >99 | water insoluble |  | 14.05 | 12.78 | 1.9289 | 15.0927 | Severe | 4 | 100 | Severe | SCNM | I | SCNM | Balls et al. (1995)
2,2-Dimethylbutanoic acid | dimethylbutanoicacid 2 2 | 595-37-9 | 595379 | 2 | 100% | Liquid | >99 | water insoluble |  | 10.64 |  |  |  | Severe |  |  |  | SCNM | I | SCNM | Balls et al. (1995)
2,2-Dimethylbutanoic acid | dimethylbutanoicacid 2 2 | 595-37-9 | 595379 | 3 | 100% | Liquid | >99 | water insoluble |  | 11.7 |  |  |  | Severe |  |  |  | SCNM | I | SCNM | Balls et al. (1995)
2,2-Dimethylbutanoic acid | dimethylbutanoicacid 2 2 | 595-37-9 | 595379 | 4 | 100% | Liquid | >99 | water insoluble |  | 14.73 |  |  |  | Severe |  |  |  | SCNM | I | SCNM | Balls et al. (1995)
2,5-Dimethylhexanediol | dimethylhexanediol 2 5 | 110-03-2 | 110032 | 1 | 100% | Solid | 99.5 | water insoluble |  | 2.07 | 1.435 | 0.89803 | 62.5802 | Severe | 2 | 50 | Severe | Category 1 | I | R41 | Balls et al. (1995)
2,5-Dimethylhexanediol | dimethylhexanediol 2 5 | 110-03-2 | 110032 | 3 | 100% | Solid | 99.5 | water insoluble |  | 0.8 |  |  |  | Nonirritant |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Ethanol | ethanol | 64-17-5 | 64175 | 1 | 100% | Liquid |  | water soluble |  | 6.45 | 6.125 | 3.7461 | 61.1612 | Severe | 4 | 75 | Severe | 2A | III | NI | Balls et al. (1995)
Ethanol | ethanol | 64-17-5 | 64175 | 2 | 100% | Liquid |  | water soluble |  | 10.63 |  |  |  | Severe |  |  |  | 2A | III | NI | Balls et al. (1995)
Ethanol | ethanol | 64-17-5 | 64175 | 3 | 100% | Liquid |  | water soluble |  | 1.47 |  |  |  | Nonirritant |  |  |  | 2A | III | NI | Balls et al. (1995)
Ethanol | ethanol | 64-17-5 | 64175 | 4 | 100% | Liquid |  | water soluble |  | 5.95 |  |  |  | Severe |  |  |  | 2A | III | NI | Balls et al. (1995)
Ethyl acetate | ethylacetate | 141-78-6 | 141786 | 1 | 100% | Liquid | 99 | water soluble |  | 3.94 | 2.52 | 1.3887 | 55.1087 | Severe | 4 | 50 | Severe | NI | III | NI | Balls et al. (1995)
Ethyl acetate | ethylacetate | 141-78-6 | 141786 | 2 | 100% | Liquid | 99 | water soluble |  | 1.87 |  |  |  | Moderate |  |  |  | NI | III | NI | Balls et al. (1995)
Ethyl acetate | ethylacetate | 141-78-6 | 141786 | 3 | 100% | Liquid | 99 | water soluble |  | 0.9 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Ethyl acetate | ethylacetate | 141-78-6 | 141786 | 4 | 100% | Liquid | 99 | water soluble |  | 3.37 |  |  |  | Severe |  |  |  | NI | III | NI | Balls et al. (1995)
2-Ethyl-1-hexanol | ethylhexanol 2 1 | 104-76-7 | 104767 | 1 | 100% | Liquid | 99 | water soluble |  | 1.24 | 1.4925 | 1.1156 | 74.7489 | Nonirritant | 4 | 75 | Nonirritant | 2A | II | R36 | Balls et al. (1995)
2-Ethyl-1-hexanol | ethylhexanol 2 1 | 104-76-7 | 104767 | 2 | 100% | Liquid | 99 | water soluble |  | 0.61 |  |  |  | Nonirritant |  |  |  | 2A | II | R36 | Balls et al. (1995)
2-Ethyl-1-hexanol | ethylhexanol 2 1 | 104-76-7 | 104767 | 3 | 100% | Liquid | 99 | water soluble |  | 1 |  |  |  | Nonirritant |  |  |  | 2A | II | R36 | Balls et al. (1995)
2-Ethyl-1-hexanol | ethylhexanol 2 1 | 104-76-7 | 104767 | 4 | 100% | Liquid | 99 | water soluble |  | 3.12 |  |  |  | Severe |  |  |  | 2A | II | R36 | Balls et al. (1995)
Ethyl-2-methylacetoacetate | ethylmethylacetoacetate 2 | 609-14-3 | 609143 | 1 | 100% | Liquid | ca. 97 | water soluble |  | 2.4 | 2.09 | 0.66338 | 31.7404 | Severe | 4 | 75 | Severe | 2B | III | NI | Balls et al. (1995)
Ethyl-2-methylacetoacetate | ethylmethylacetoacetate 2 | 609-14-3 | 609143 | 2 | 100% | Liquid | ca. 97 | water soluble |  | 2.51 |  |  |  | Severe |  |  |  | 2B | III | NI | Balls et al. (1995)
Ethyl-2-methylacetoacetate | ethylmethylacetoacetate 2 | 609-14-3 | 609143 | 3 | 100% | Liquid | ca. 97 | water soluble |  | 1.1 |  |  |  | Nonirritant |  |  |  | 2B | III | NI | Balls et al. (1995)
Ethyl-2-methylacetoacetate | ethylmethylacetoacetate 2 | 609-14-3 | 609143 | 4 | 100% | Liquid | ca. 97 | water soluble |  | 2.35 |  |  |  | Severe |  |  |  | 2B | III | NI | Balls et al. (1995)
Ethyl trimethyl acetate | ethyltrimethylacetate | 3938-95-2 | 3938952 | 1 | 100% | Liquid | 99 | water insoluble |  | 0.1 | 0.4 | 0.41481 | 103.7023 | Nonirritant | 4 | 100 | Nonirritant | NI | III | NI | Balls et al. (1995)
Ethyl trimethyl acetate | ethyltrimethylacetate | 3938-95-2 | 3938952 | 2 | 100% | Liquid | 99 | water insoluble |  | 0.19 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Ethyl trimethyl acetate | ethyltrimethylacetate | 3938-95-2 | 3938952 | 3 | 100% | Liquid | 99 | water insoluble |  | 0.3 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Ethyl trimethyl acetate | ethyltrimethylacetate | 3938-95-2 | 3938952 | 4 | 100% | Liquid | 99 | water insoluble |  | 1.01 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Glycerol | glycerol | 56-81-5 | 56815 | 1 | 100% | Liquid | >99.5 | water soluble |  | 0.08 | 0.785 | 0.55603 | 70.8315 | Nonirritant | 4 | 100 | Nonirritant | NI | IV | NI | Balls et al. (1995)
Glycerol | glycerol | 56-81-5 | 56815 | 2 | 100% | Liquid | >99.5 | water soluble |  | 1.24 |  |  |  | Nonirritant |  |  |  | NI | IV | NI | Balls et al. (1995)
Glycerol | glycerol | 56-81-5 | 56815 | 3 | 100% | Liquid | >99.5 | water soluble |  | 0.6 |  |  |  | Nonirritant |  |  |  | NI | IV | NI | Balls et al. (1995)
Glycerol | glycerol | 56-81-5 | 56815 | 4 | 100% | Liquid | >99.5 | water soluble |  | 1.22 |  |  |  | Nonirritant |  |  |  | NI | IV | NI | Balls et al. (1995)
Hexanol | hexanol | 111-27-3 | 111273 | 1 | 100% | Liquid | 98 | water insoluble |  | 5.01 | 3.875 | 1.4494 | 37.4033 | Severe | 4 | 75 | Severe | 2A | II | R36 | Balls et al. (1995)
Hexanol | hexanol | 111-27-3 | 111273 | 2 | 100% | Liquid | 98 | water insoluble |  | 3.98 |  |  |  | Severe |  |  |  | 2A | II | R36 | Balls et al. (1995)
Hexanol | hexanol | 111-27-3 | 111273 | 3 | 100% | Liquid | 98 | water insoluble |  | 1.8 |  |  |  | Moderate |  |  |  | 2A | II | R36 | Balls et al. (1995)
Hexanol | hexanol | 111-27-3 | 111273 | 4 | 100% | Liquid | 98 | water insoluble |  | 4.71 |  |  |  | Severe |  |  |  | 2A | II | R36 | Balls et al. (1995)
Imidazole | imidazole | 288-32-4 | 288324 | 1 | 100% | Solid | 99 | water soluble |  | 11.19 | 7.345 | 5.4377 | 74.032 | Severe | 2 | 100 | Severe | Category 1 | I | R41 | Balls et al. (1995)
Imidazole | imidazole | 288-32-4 | 288324 | 3 | 100% | Solid | 99 | water soluble |  | 3.5 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Isobutanol | isobutanol | 78-83-1 | 78831 | 1 | 100% | Liquid | 99.9 | water insoluble |  | 4.59 | 3.815 | 1.9832 | 51.9853 | Severe | 4 | 75 | Severe | 2A | II | R36 | Balls et al. (1995)
Isobutanol | isobutanol | 78-83-1 | 78831 | 2 | 100% | Liquid | 99.9 | water insoluble |  | 3.58 |  |  |  | Severe |  |  |  | 2A | II | R36 | Balls et al. (1995)
Isobutanol | isobutanol | 78-83-1 | 78831 | 3 | 100% | Liquid | 99.9 | water insoluble |  | 1.2 |  |  |  | Nonirritant |  |  |  | 2A | II | R36 | Balls et al. (1995)
Isobutanol | isobutanol | 78-83-1 | 78831 | 4 | 100% | Liquid | 99.9 | water insoluble |  | 5.89 |  |  |  | Severe |  |  |  | 2A | II | R36 | Balls et al. (1995)
Isopropanol | isopropanol | 67-63-0 | 67630 | 1 | 100% | Liquid | 99.9 | water soluble |  | 11.9 | 5.9625 | 4.2887 | 71.9274 | Severe | 4 | 75 | Severe | 2A | III | SCNM | Balls et al. (1995)
Isopropanol | isopropanol | 67-63-0 | 67630 | 2 | 100% | Liquid | 99.9 | water soluble |  | 5.79 |  |  |  | Severe |  |  |  | 2A | III | SCNM | Balls et al. (1995)
Isopropanol | isopropanol | 67-63-0 | 67630 | 3 | 100% | Liquid | 99.9 | water soluble |  | 1.8 |  |  |  | Moderate |  |  |  | 2A | III | SCNM | Balls et al. (1995)
Isopropanol | isopropanol | 67-63-0 | 67630 | 4 | 100% | Liquid | 99.9 | water soluble |  | 4.36 |  |  |  | Severe |  |  |  | 2A | III | SCNM | Balls et al. (1995)
Maneb | maneb | 12427-38-2 | 12427382 | 1 | 100% | Solid | 90 | water soluble |  | 0 | 0 | #DIV/0! |  | Nonirritant | 1 | 100 | Nonirritant | SCNM | III | SCNM | Balls et al. (1995)
Methyl acetate | methylacetate | 79-20-9 | 79209 | 1 | 100% | Liquid | 98 | water soluble |  | 1.88 | 3.03 | 1.7005 | 56.1231 | Moderate | 4 | 50 | Severe | 2A | II | R36 | Balls et al. (1995)
Methyl acetate | methylacetate | 79-20-9 | 79209 | 2 | 100% | Liquid | 98 | water soluble |  | 5.39 |  |  |  | Severe |  |  |  | 2A | II | R36 | Balls et al. (1995)
Methyl acetate | methylacetate | 79-20-9 | 79209 | 3 | 100% | Liquid | 98 | water soluble |  | 1.7 |  |  |  | Moderate |  |  |  | 2A | II | R36 | Balls et al. (1995)
Methyl acetate | methylacetate | 79-20-9 | 79209 | 4 | 100% | Liquid | 98 | water soluble |  | 3.15 |  |  |  | Severe |  |  |  | 2A | II | R36 | Balls et al. (1995)
Methyl cyanoacetate | methylcyanoacetate | 105-34-0 | 105340 | 1 | 100% | Liquid | 99 | water soluble |  | 1.51 | 1.375 | 0.34161 | 24.8446 | Moderate | 4 | 100 | Moderate | 2A | II | R36 | Balls et al. (1995)
Methyl cyanoacetate | methylcyanoacetate | 105-34-0 | 105340 | 2 | 100% | Liquid | 99 | water soluble |  | 1.21 |  |  |  | Nonirritant |  |  |  | 2A | II | R36 | Balls et al. (1995)
Methyl cyanoacetate | methylcyanoacetate | 105-34-0 | 105340 | 3 | 100% | Liquid | 99 | water soluble |  | 1 |  |  |  | Nonirritant |  |  |  | 2A | II | R36 | Balls et al. (1995)
Methyl cyanoacetate | methylcyanoacetate | 105-34-0 | 105340 | 4 | 100% | Liquid | 99 | water soluble |  | 1.78 |  |  |  | Moderate |  |  |  | 2A | II | R36 | Balls et al. (1995)
Methylcyclopentane | methylcyclopentane | 96-37-7 | 96377 | 1 | 100% | Liquid | >99 | water insoluble |  | 0.18 | 2.4225 | 3.8094 | 157.2513 | Nonirritant | 4 | 75 | Nonirritant | NI | III | NI | Balls et al. (1995)
Methylcyclopentane | methylcyclopentane | 96-37-7 | 96377 | 2 | 100% | Liquid | >99 | water insoluble |  | 1.22 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Methylcyclopentane | methylcyclopentane | 96-37-7 | 96377 | 3 | 100% | Liquid | >99 | water insoluble |  | 0.2 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Methylcyclopentane | methylcyclopentane | 96-37-7 | 96377 | 4 | 100% | Liquid | >99 | water insoluble |  | 8.09 |  |  |  | Severe |  |  |  | NI | III | NI | Balls et al. (1995)
Methyl ethyl ketone | methylethylketone | 78-93-3 | 78933 | 1 | 100% | Liquid | 99 | water soluble |  | 5.83 | 4.5975 | 1.7216 | 37.4468 | Severe | 4 | 100 | Severe | 2A | III | R36 | Balls et al. (1995)
Methyl ethyl ketone | methylethylketone | 78-93-3 | 78933 | 2 | 100% | Liquid | 99 | water soluble |  | 3.89 |  |  |  | Severe |  |  |  | 2A | III | R36 | Balls et al. (1995)
Methyl ethyl ketone | methylethylketone | 78-93-3 | 78933 | 3 | 100% | Liquid | 99 | water soluble |  | 2.5 |  |  |  | Severe |  |  |  | 2A | III | R36 | Balls et al. (1995)
Methyl ethyl ketone | methylethylketone | 78-93-3 | 78933 | 4 | 100% | Liquid | 99 | water soluble |  | 6.17 |  |  |  | Severe |  |  |  | 2A | III | R36 | Balls et al. (1995)
Methyl isobutyl ketone | methylisobutylketone | 108-10-1 | 108101 | 1 | 100% | Liquid | 98 | water insoluble |  | 2.29 | 1.6725 | 0.53112 | 31.7562 | Severe | 4 | 75 | Moderate | NI | III | NI | Balls et al. (1995)
Methyl isobutyl ketone | methylisobutylketone | 108-10-1 | 108101 | 2 | 100% | Liquid | 98 | water insoluble |  | 1.04 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Methyl isobutyl ketone | methylisobutylketone | 108-10-1 | 108101 | 3 | 100% | Liquid | 98 | water insoluble |  | 1.5 |  |  |  | Moderate |  |  |  | NI | III | NI | Balls et al. (1995)
Methyl isobutyl ketone | methylisobutylketone | 108-10-1 | 108101 | 4 | 100% | Liquid | 98 | water insoluble |  | 1.86 |  |  |  | Moderate |  |  |  | NI | III | NI | Balls et al. (1995)
1-Naphthalene acetic acid, Na salt | naphthaleneaceticacid 1 | 61-31-4 | 61314 | 1 | 100% | Solid | 95 | water soluble |  | 3.84 | 4.37 | 0.74953 | 17.1518 | Severe | 2 | 100 | Severe | Category 1 | I | R41 | Balls et al. (1995)
1-Naphthalene acetic acid, Na salt | naphthaleneaceticacid 1 | 61-31-4 | 61314 | 3 | 100% | Solid | 95 | water soluble |  | 4.9 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Octanol | octanol | 111-87-5 | 111875 | 1 | 100% | Liquid | >99 | water insoluble |  | 2.1 | 1.67 | 0.47004 | 28.1458 | Severe | 4 | 75 | Moderate | 2A | II | R36 | Balls et al. (1995)
Octanol | octanol | 111-87-5 | 111875 | 2 | 100% | Liquid | >99 | water insoluble |  | 1 |  |  |  | Nonirritant |  |  |  | 2A | II | R36 | Balls et al. (1995)
Octanol | octanol | 111-87-5 | 111875 | 3 | 100% | Liquid | >99 | water insoluble |  | 1.8 |  |  |  | Moderate |  |  |  | 2A | II | R36 | Balls et al. (1995)
Octanol | octanol | 111-87-5 | 111875 | 4 | 100% | Liquid | >99 | water insoluble |  | 1.78 |  |  |  | Moderate |  |  |  | 2A | II | R36 | Balls et al. (1995)
Parafluoraniline | parafluoraniline | 371-40-4 | 371404 | 1 | 100% | Liquid | 99 | water insoluble |  | 5.25 | 3.545 | 1.5707 | 44.3063 | Severe | 4 | 75 | Severe | SCNM | SCNM | SCNM | Balls et al. (1995)
Parafluoraniline | parafluoraniline | 371-40-4 | 371404 | 2 | 100% | Liquid | 99 | water insoluble |  | 4.46 |  |  |  | Severe |  |  |  | SCNM | SCNM | SCNM | Balls et al. (1995)
Parafluoraniline | parafluoraniline | 371-40-4 | 371404 | 3 | 100% | Liquid | 99 | water insoluble |  | 1.9 |  |  |  | Moderate |  |  |  | SCNM | SCNM | SCNM | Balls et al. (1995)
Parafluoraniline | parafluoraniline | 371-40-4 | 371404 | 4 | 100% | Liquid | 99 | water insoluble |  | 2.57 |  |  |  | Severe |  |  |  | SCNM | SCNM | SCNM | Balls et al. (1995)
Polyethylene glycol 400 | polyethyleneglycol 400 | 25322-68-3 | 25322683 | 1 | 100% | Liquid |  | surfactant |  | 1.59 | 1.0325 | 0.4585 | 44.4071 | Moderate | 4 | 75 | Nonirritant | NI | IV | NI | Balls et al. (1995)
Polyethylene glycol 400 | polyethyleneglycol 400 | 25322-68-3 | 25322683 | 2 | 100% | Liquid |  | surfactant |  | 0.72 |  |  |  | Nonirritant |  |  |  | NI | IV | NI | Balls et al. (1995)
Polyethylene glycol 400 | polyethyleneglycol 400 | 25322-68-3 | 25322683 | 3 | 100% | Liquid |  | surfactant |  | 0.6 |  |  |  | Nonirritant |  |  |  | NI | IV | NI | Balls et al. (1995)
Polyethylene glycol 400 | polyethyleneglycol 400 | 25322-68-3 | 25322683 | 4 | 100% | Liquid |  | surfactant |  | 1.22 |  |  |  | Nonirritant |  |  |  | NI | IV | NI | Balls et al. (1995)
Potassium cyanate | potassiumcyanate | 590-28-3 | 590283 | 1 | 100% | Solid | 97 | water soluble |  | 2.17 | 3.58 | 2.1627 | 60.4108 | Severe | 3 | 100 | Severe | SCNM | SCNM | SCNM | Balls et al. (1995)
Potassium cyanate | potassiumcyanate | 590-28-3 | 590283 | 3 | 100% | Solid | 97 | water soluble |  | 2.5 |  |  |  | Severe |  |  |  | SCNM | SCNM | SCNM | Balls et al. (1995)
Potassium cyanate | potassiumcyanate | 590-28-3 | 590283 | 4 | 100% | Solid | 97 | water soluble |  | 6.07 |  |  |  | Severe |  |  |  | SCNM | SCNM | SCNM | Balls et al. (1995)
Promethazine HCl | promethazine HCl | 58-33-3 | 58333 | 1 | 100% | Solid | 100 | water soluble |  | 3.2 | 3.1 | 0.14142 | 4.562 | Severe | 2 | 100 | Severe | Category 1 | I | R41 | Balls et al. (1995)
Promethazine HCl | promethazine HCl | 58-33-3 | 58333 | 3 | 100% | Solid | 100 | water soluble |  | 3 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Pyridine | pyridine | 110-86-1 | 110861 | 1 | 100% | Liquid | >99.9 | water soluble |  | 3.84 | 8.735 | 3.8801 | 44.4203 | Severe | 4 | 100 | Severe | Category 1 | I | R41 | Balls et al. (1995)
Pyridine | pyridine | 110-86-1 | 110861 | 2 | 100% | Liquid | >99.9 | water soluble |  | 7.76 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Pyridine | pyridine | 110-86-1 | 110861 | 3 | 100% | Liquid | >99.9 | water soluble |  | 12.9 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Pyridine | pyridine | 110-86-1 | 110861 | 4 | 100% | Liquid | >99.9 | water soluble |  | 10.44 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Sodium hydroxide | sodiumhydroxide | 1310-73-2 | 1310732 | 1 | 1% | Solution |  | water soluble |  | 6.34 | 5.4175 | 0.98605 | 18.2012 | Severe | 4 | 100 | Severe | 2B | III | R36 | Balls et al. (1995)
Sodium hydroxide | sodiumhydroxide | 1310-73-2 | 1310732 | 2 | 1% | Solution |  | water soluble |  | 6.17 |  |  |  | Severe |  |  |  | 2B | III | R36 | Balls et al. (1995)
Sodium hydroxide | sodiumhydroxide | 1310-73-2 | 1310732 | 3 | 1% | Solution |  | water soluble |  | 4.8 |  |  |  | Severe |  |  |  | 2B | III | R36 | Balls et al. (1995)
Sodium hydroxide | sodiumhydroxide | 1310-73-2 | 1310732 | 4 | 1% | Solution |  | water soluble |  | 4.36 |  |  |  | Severe |  |  |  | 2B | III | R36 | Balls et al. (1995)
Sodium hydroxide | sodiumhydroxide | 1310-73-2 | 1310732 | 1 | 10% | Solution |  | water soluble |  | 13.13 | 13.4425 | 6.7374 | 50.1203 | Severe | 4 | 100 | Severe | Category 1 | I | R41 | Balls et al. (1995)
Sodium hydroxide | sodiumhydroxide | 1310-73-2 | 1310732 | 2 | 10% | Solution |  | water soluble |  | 7.82 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Sodium hydroxide | sodiumhydroxide | 1310-73-2 | 1310732 | 3 | 10% | Solution |  | water soluble |  | 23 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Sodium hydroxide | sodiumhydroxide | 1310-73-2 | 1310732 | 4 | 10% | Solution |  | water soluble |  | 9.82 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Sodium lauryl sulfate | sodiumlaurylsulfate | 151-21-3 | 151213 | 1 | 3% | Solution | 98 | surfactant |  | 2.68 | 2.115 | 0.53401 | 25.2487 | Severe | 4 | 50 | Severe | NI | III | NI | Balls et al. (1995)
Sodium lauryl sulfate | sodiumlaurylsulfate | 151-21-3 | 151213 | 2 | 3% | Solution | 98 | surfactant |  | 1.62 |  |  |  | Moderate |  |  |  | NI | III | NI | Balls et al. (1995)
Sodium lauryl sulfate | sodiumlaurylsulfate | 151-21-3 | 151213 | 3 | 3% | Solution | 98 | surfactant |  | 1.7 |  |  |  | Moderate |  |  |  | NI | III | NI | Balls et al. (1995)
Sodium lauryl sulfate | sodiumlaurylsulfate | 151-21-3 | 151213 | 4 | 3% | Solution | 98 | surfactant |  | 2.46 |  |  |  | Severe |  |  |  | NI | III | NI | Balls et al. (1995)
Sodium lauryl sulfate | sodiumlaurylsulfate | 151-21-3 | 151213 | 1 | 15% | Solution | 98 | surfactant |  | 2.86 | 2.8425 | 1.1065 | 38.9262 | Severe | 4 | 75 | Severe | Category 1 | I | SCNM | Balls et al. (1995)
Sodium lauryl sulfate | sodiumlaurylsulfate | 151-21-3 | 151213 | 2 | 15% | Solution | 98 | surfactant |  | 2.34 |  |  |  | Severe |  |  |  | Category 1 | I | SCNM | Balls et al. (1995)
Sodium lauryl sulfate | sodiumlaurylsulfate | 151-21-3 | 151213 | 3 | 15% | Solution | 98 | surfactant |  | 1.8 |  |  |  | Moderate |  |  |  | Category 1 | I | SCNM | Balls et al. (1995)
Sodium lauryl sulfate | sodiumlaurylsulfate | 151-21-3 | 151213 | 4 | 15% | Solution | 98 | surfactant |  | 4.37 |  |  |  | Severe |  |  |  | Category 1 | I | SCNM | Balls et al. (1995)
Thiourea | thiourea | 62-56-6 | 62566 | 1 | 100% | Solid | >99 | water soluble |  | 1.31 | 0.905 | 0.57276 | 63.288 | Nonirritant | 2 | 100 | Nonirritant | SCNM | SCNM | SCNM | Balls et al. (1995)
Thiourea | thiourea | 62-56-6 | 62566 | 3 | 100% | Solid | >99 | water soluble |  | 0.5 |  |  |  | Nonirritant |  |  |  | SCNM | SCNM | SCNM | Balls et al. (1995)
Toluene | toluene | 108-88-3 | 108883 | 1 | 100% | Liquid | 99 | water insoluble |  | 3.18 | 3.725 | 1.4149 | 37.9841 | Severe | 4 | 100 | Severe | NI | III | NI | Balls et al. (1995)
Toluene | toluene | 108-88-3 | 108883 | 2 | 100% | Liquid | 99 | water insoluble |  | 5.84 |  |  |  | Severe |  |  |  | NI | III | NI | Balls et al. (1995)
Toluene | toluene | 108-88-3 | 108883 | 3 | 100% | Liquid | 99 | water insoluble |  | 2.9 |  |  |  | Severe |  |  |  | NI | III | NI | Balls et al. (1995)
Toluene | toluene | 108-88-3 | 108883 | 4 | 100% | Liquid | 99 | water insoluble |  | 2.98 |  |  |  | Severe |  |  |  | NI | III | NI | Balls et al. (1995)
Trichloroacetic acid | trichloroaceticacid | 76-03-9 | 76039 | 1 | 3% | Solution |  | water soluble |  | 18.76 | 10.785 | 5.6808 | 52.6731 | Severe | 4 | 100 | Severe | NI | III | NI | Balls et al. (1995)
Trichloroacetic acid | trichloroaceticacid | 76-03-9 | 76039 | 2 | 3% | Solution |  | water soluble |  | 9.15 |  |  |  | Severe |  |  |  | NI | III | NI | Balls et al. (1995)
Trichloroacetic acid | trichloroaceticacid | 76-03-9 | 76039 | 3 | 3% | Solution |  | water soluble |  | 9.9 |  |  |  | Severe |  |  |  | NI | III | NI | Balls et al. (1995)
Trichloroacetic acid | trichloroaceticacid | 76-03-9 | 76039 | 4 | 3% | Solution |  | water soluble |  | 5.33 |  |  |  | Severe |  |  |  | NI | III | NI | Balls et al. (1995)
Trichloroacetic acid | trichloroaceticacid | 76-03-9 | 76039 | 1 | 30% | Solution |  | water soluble |  | 14.39 | 12.315 | 1.8906 | 15.3519 | Severe | 4 | 100 | Severe | Category 1 | I | R41 | Balls et al. (1995) | Average CV=
Trichloroacetic acid | trichloroaceticacid | 76-03-9 | 76039 | 2 | 30% | Solution |  | water soluble |  | 9.96 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995) | 48.8956
Trichloroacetic acid | trichloroaceticacid | 76-03-9 | 76039 | 3 | 30% | Solution |  | water soluble |  | 13.1 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995)
Trichloroacetic acid | trichloroaceticacid | 76-03-9 | 76039 | 4 | 30% | Solution |  | water soluble |  | 11.81 |  |  |  | Severe |  |  |  | Category 1 | I | R41 | Balls et al. (1995) | Median CV +
Triton X-100 | tritonx 100 | 9002-93-1 | 9002931 | 1 | 5% | Solution | 98 | surfactant |  | 2.66 | 2.245 | 0.60934 | 27.1423 | Severe | 4 | 75 | Severe | 2B | III | NI/R36 | Balls et al. (1995) | 44.3063
Triton X-100 | tritonx 100 | 9002-93-1 | 9002931 | 2 | 5% | Solution | 98 | surfactant |  | 2.72 |  |  |  | Severe |  |  |  | 2B | III | NI/R36 | Balls et al. (1995)
Triton X-100 | tritonx 100 | 9002-93-1 | 9002931 | 3 | 5% | Solution | 98 | surfactant |  | 1.4 |  |  |  | Nonirritant |  |  |  | 2B | III | NI/R36 | Balls et al. (1995)
Triton X-100 | tritonx 100 | 9002-93-1 | 9002931 | 4 | 5% | Solution | 98 | surfactant |  | 2.2 |  |  |  | Severe |  |  |  | 2B | III | NI/R36 | Balls et al. (1995)
Triton X-100 | tritonx 100 | 9002-93-1 | 9002931 | 1 | 10% | Solution | 98 | surfactant |  | 3.45 | 2.315 | 0.82456 | 35.6182 | Severe | 4 | 50 | Severe | Category 1 | II | SCNM | Balls et al. (1995)
Triton X-100 | tritonx 100 | 9002-93-1 | 9002931 | 2 | 10% | Solution | 98 | surfactant |  | 1.71 |  |  |  | Moderate |  |  |  | Category 1 | II | SCNM | Balls et al. (1995)
Triton X-100 | tritonx 100 | 9002-93-1 | 9002931 | 3 | 10% | Solution | 98 | surfactant |  | 1.7 |  |  |  | Moderate |  |  |  | Category 1 | II | SCNM | Balls et al. (1995)
Triton X-100 | tritonx 100 | 9002-93-1 | 9002931 | 4 | 10% | Solution | 98 | surfactant |  | 2.4 |  |  |  | Severe |  |  |  | Category 1 | II | SCNM | Balls et al. (1995)
Tween 20 | tween 20 | 9005-64-5 | 9005645 | 1 | 100% | Liquid | 98 | surfactant |  | 0.39 | 0.58 | 0.26671 | 45.9842 | Nonirritant | 4 | 100 | Nonirritant | NI | III | NI | Balls et al. (1995)
Tween 20 | tween 20 | 9005-64-5 | 9005645 | 2 | 100% | Liquid | 98 | surfactant |  | 0.38 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Tween 20 | tween 20 | 9005-64-5 | 9005645 | 3 | 100% | Liquid | 98 | surfactant |  | 0.6 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Tween 20 | tween 20 | 9005-64-5 | 9005645 | 4 | 100% | Liquid | 98 | surfactant |  | 0.95 |  |  |  | Nonirritant |  |  |  | NI | III | NI | Balls et al. (1995)
Abbreviation: CASRN = Chemical Abstract Service Registry Number, HCl = Hydrochloric acid.
1 Solubility obtained from literature references, where availble, expressed as g/mL
2 Q-Score represents irritation scores that were calcualted using the method described in Balls et al. (1995)

## CV analysis (hidden)
All substances tested in 4 labs |  |  | Category 1 substances tested in 4 labs
2,2-Dimethylbutanoic acid | 15.09 |  | 2,2-Dimethylbutanoic acid | 15.0927 |  | Trichloroacetic acid | 15.3519
Trichloroacetic acid | 15.35 |  | Trichloroacetic acid | 15.3519 |  | Benzalkonium chloride | 16.2904
Benzalkonium chloride | 16.29 |  | Benzalkonium chloride | 16.2904 |  | Cyclohexanol | 29.0133
Sodium hydroxide | 18.2 |  | Cyclohexanol | 29.0133 |  | Benzalkonium chloride | 30.6842 | 34.4816
Butyl acetate | 18.95 |  | Benzalkonium chloride | 30.6842 | 33.4481 | Sodium lauryl sulfate | 38.9262 | 34.8052
Methyl cyanoacetate | 24.84 |  | Cetylpyridinium bromide | 32.5636 | 32.5636 | Cetylpyridinium bromide | 40.5991
Sodium lauryl sulfate | 25.25 |  | Sodium lauryl sulfate | 38.9262 |  | Sodium hydroxide | 50.1203
Triton X-100 | 27.14 |  | Cetylpyridinium bromide | 40.5991 |  | Benzalkonium chloride | 54.8674
Octanol | 28.15 |  | Pyridine | 44.4203
Cyclohexanol | 29.01 |  | Sodium hydroxide | 50.1203
Benzalkonium chloride | 30.68 |  | Benzalkonium chloride | 54.8674
Ethyl-2-methylacetoacetate | 31.74
Methyl isobutyl ketone | 31.76
Cetylpyridinium bromide | 32.56
Triton X-100 | 35.62
Hexanol | 37.4
Methyl ethyl ketone | 37.45
Toluene | 37.98
Sodium lauryl sulfate | 38.93
Cetylpyridinium bromide | 40.6 | 49.831
Parafluoraniline | 44.31 | 42.455
Polyethylene glycol 400 | 44.41
Pyridine | 44.42
Tween 20 | 45.98
Sodium hydroxide | 50.12
Isobutanol | 51.99
Trichloroacetic acid | 52.67
Benzalkonium chloride | 54.87
Ethyl acetate | 55.11
Methyl acetate | 56.12
Ethanol | 61.16
Acetone | 68.95
Glycerol | 70.83
Isopropanol | 71.93
2,6-Dichlorobenzoyl chloride | 72.44
2-Ethyl-1-hexanol | 74.75
Ethyl trimethyl acetate | 103.7
gamma-butyrolactone | 105.19
Cetylpyridinium bromide | 134.05
Methylcyclopentane | 157.25