| ATTACHMENT 3: M&TE Required Calibration Labels |  |  |
| --- | --- | --- |
| 5006-3 M&TE Required Calibration Labels |  | Records Use only |
|  | Certified (blue border). The item has been calibrated by the Standards and Calibration Laboratory and meets all applicable specifications (after adjustments, if any). |  |
|  | Verification Limited (red border). The item has been calibrated by the user or by a calibrator other than the Standards and Calibration Laboratory but does not meet all applicable specifications (after adjustments, if any); or, the item has been calibrated by the user or by a calibrator other than the Standards and Calibration Laboratory over a limited subset of its available functions, ranges, or attributes. |  |
|  | Verified (tan border). The item has been calibrated by the user or by a calibrator other than the Standards and Calibration Laboratory and meets all applicable specifications (after adjustments, if any). |  |
|  | Certification Limited (red border). The item has been calibrated by the Standards and Calibration Laboratory but does not meet all applicable specifications (after adjustments, if any); or, the item has been calibrated by the Standards and Calibration Laboratory over a limited subset of its available functions, ranges, or attributes. |  |