98-PRA-039

Adiabatic Cooling System

General Services Administration

Pacific Rim Region

The U.S. Courthouse in Phoenix, AZ, in GSA’s Pacific Rim Region includes a large atrium that uses adiabatic cooling and natural convection air currents to condition the space without conventional ventilation systems.  The adiabatic cooling system entails the combination of heat being exhausted by the natural flow of warm air, its replacement by outside air and the introduction of water mist in the area to absorb the heat.  This cooling system avoids the expense associated with installing and maintaining normal HVAC systems.

For additional information, contact Mr. Keith Lew at 415-522-3147 or via e-mail at keith.lew@gsa.gov.