### HISTORIC BUILDING PROJECT CHECKLIST

center for historic buildings

office of the chief architect

october 2001

#### PROJECT START

- What is a historic building?

- Most buildings age 50 and over.

- Certain exceptional buildings under 50 years.

- May include architecturally undistinguished buildings that are historically important, represent a type of building, e.g. warehouse, or contribute to a historic district.

- What is a historic building project?

It is a historic building project if it involves:

- Major modernization of historic buildings.

- Below prospectus R & A in historic buildings.

- Additions to historic buildings.

- New construction on sites containing/adjoining historic buildings.

- Initial space alterations for lease or lease-construction.

- What preservation laws might affect my project?

- National Historic Preservation Act (NHPA):  Use historic buildings whenever possible; provide State Historic Preservation Officer (SHPO), Advisory Council on Historic Preservation (ACHP), and public an opportunity to comment on changes (NHPA Section 106).

- Executive Order 13006:  Give locational preference to historic buildings and historic districts in central business areas.

- National Environmental Policy Act (NEPA):  Consider effects on community, transportation, infrastructure, natural/cultural environment.

- Archeological Resources Protection Act:  Assess potential effects; mitigation may include artifact recovery.

- What do I most need to know about NEPA and Section 106?

- Section 106 and NEPA require considering effects BEFORE making decisions about historic buildings and taking action.

- Expectation:  honest effort to prevent/minimize adverse effects on historic buildings.

- Alternatives must be considered.

- The public must be involved.

- Must use the process to INFORM not justify decisions!

- Who do I contact before initiating 106/NEPA consultation?

- GSA Regional Historic Preservation Officer (RHPO): Section 106, E.O.13006 compliance

- GSA Regional Environmental Quality Advisor (REQA):  NEPA compliance

#### SITE SELECTION

- Use Section 106/NEPA to inform the public process.

- Start early for meaningful participation.

- Follow locational preferences: historic buildings, districts, Central Business Areas.

- Explore reuse of historic buildings: apply requirements flexibly.

- Put GSA in a good light: seek to satisfy community interests, consider alternatives.

A/E SCOPE DEVELOPMENT

- Use model scope for preservation services: outlines consultant requirements, role in design development and construction oversight, required documentation.

- Identify preservation design issues.

- Identify relevant guidance documents: Building Preservation Plan (BPP), technical preservation guidelines.

A/E SELECTION

- Require preservation architect with comparable experience:

-  preservation architect must have professional credibility for successful 106,

-  meet or exceed Secretary of Interior Professional Qualification Standards, and

-  must have direct experience as principal preservation problem solver.

#### DESIGN DEVELOPMENT - MAKING HISTORIC BUILDINGS WORK

- Use required guidelines: Secretary of Interior's Standards for Rehabilitation, BPP.

- Apply requirements flexibly: contain costs, minimize reconfiguring/rebuilding.

- Place lower security activities in historic buildings.

- Recapture ceremonial entries.

- Use BPP zoning to guide preservation tradeoffs (e.g. infrastructure location, tenant build-out).

- Include contractor competency standards in construction specs.

#### PROCURING CONSTRUCTION SERVICES

- Require & review competency of specialist submittals for work on historic materials.

- Verify submitted projects are comparable, successful.

- Verify proposed technicians participated directly in comparable, successful projects.

- Always check references!

- Confirm only approved technicians do specialized work during construction.

##### OVERSEEING CONSTRUCTION

- Ask the preservation architect to verify that preservation design solutions meet contract requirements and comply with Section 106 agreement stipulations.

- Obtain material/fabrication samples for repairs and new materials in significant spaces.

- Require and review work execution samples: verify that the contractor meets skill requirements and verify that specified methods work.

- Resolve unanticipated repair/design difficulties.

- Resume Section 106 consultation for substantive changes to approved design.

- Justify and document changes to approved preservation design solutions.

###### PROJECT CHECKLIST

| Yes/No | Critical Action | Date(s), Contacts |
| --- | --- | --- |
|  | PROJECT START |  |
|  | Project does (yes), does not (no) involve historic buildings |  |
|  | Contacted RHPO: assessed potential effects |  |
|  | Project does/does not potentially affect historic buildings |  |
|  | Contacted REQA: verified NEPA categorical exclusion |  |
|  | Location/site selection: assessed in order of preference |  |
|  | A/E SCOPE: includes preservation requirements |  |
|  | A/E SELECTION: includes qualified preservation architect |  |
|  | DESIGN DEVELOPMENT |  |
|  | Initiated Section 106 consultation: SHPO, ACHP |  |
|  | Initiated NEPA compliance EA, EIS |  |
|  | Public participation: notice, meeting, report |  |
|  | Preservation design issues: identified, negotiated, resolved |  |
|  | Section 106, NEPA completed (before construction award) |  |
|  | Construction specs: includes specialist qualification requirements |  |
|  | CONSTRUCTION |  |
|  | Before award: qualification submittals: received, reviewed, approved |  |
|  | Only approved technicians work on historic materials |  |
|  | Technician substitutions: reviewed, approved |  |
|  | Construction submittals review (preservation architect): shop drawings, material/fabrication samples, execution of skilled work |  |
|  | Review and documentation of construction phase design changes |  |

Acronym Key

ACHP: Advisory Council on Historic Preservation

A/E: Architect/Engineer

# BPP: Building Preservation Plan

EA: Environmental Assessment

EIS: Environmental Impact Study

NEPA: National Environmental Policy Act

NHPA: National Historic Preservation Act

REQA: Regional Environmental Quality Advisor

RHPO: Regional Historic Preservation Officer

SHPO: State Historic Preservation Officer