Department of

## Memorandum

# Veterans Affairs

Date:	March 23, 2007

From:	Chief Officer, Office of Research Oversight (ORO) (10R)

Subj:	Biosafety Level (BSL) 3 Research Laboratory Physical Security Inspections

To:	Directors of Facilities with BSL-3 Research Laboratories

1.	The Office of Research Oversight (ORO) (10R) is charged with ensuring physical security inspections of BSL-3 Research Laboratories.  In past years, ORO’s Regional Office staff have conducted on-site inspections of all BSL-3 Research Laboratories annually.  Staff have used a checklist of major security requirements to assist in their inspections.

2.	This memorandum is to inform you that in Calendar Year (CY) 2007, ORO will institute a new inspection plan.  Approximately half of all BSL-3 Research Laboratories will be visited by ORO staff; the other BSL-3 Research Laboratories will be inspected instead by the facilities housing the laboratories.  Facility staff will have available a checklist that ORO reviewers will use as the basis of the physical security inspection and to report to ORO Regional Offices.  ORO staff will visit the facilities performing self-inspection in alternate years or if issues arise that warrant an on-site visit.  Facilities visited by ORO in CY 2007 will be eligible for self-inspection in CY 2008 at the discretion of the Regional Office Directors.  Selection of facilities eligible to conduct self inspections will depend on the evaluation by the ORO Regional Office Directors based on past performance and other criteria relating to the condition and use of the BSL-3 Research Laboratories.

3.	ORO Regional Office Directors will advise you soon if your BSL-3 Research Laboratory will have on ORO on-site visit or if a facility self inspection with a report to ORO is required.  ORO will need to discuss with you or your designee the current and planned use of the BSL-3 Research Laboratory and which select agents or toxins, if any, are in the laboratory before making a final determination about which kind of inspection is appropriate.

4.	The physical security self-inspection checklist to be used for your inspection is found at Attachment A.  Your facility’s report to ORO will require an assessment of compliance with each item on the checklist and plans and timelines to correct any deficiencies found.  The following persons will need to be involved in the conduct of the self inspection:  Facility Security Officer, Research Safety Officer, Associate Chief of Staff for Research and Development, Laboratory Director, and Principal Investigators.  ORO Regional Office staff are prepared to provide guidance about the self assessment. Your facility’s report must be reviewed by the Subcommittee on Research Safety Chair and the Research and Development Committee Chair before review by the Medical Center Director for approval and transmittal in a secure manner to the ORO Regional Office Director (Attachment B).  ORO will follow up by coordinating with your facility concerning any corrective actions you identify.

5.	Thank you for your cooperation in fulfilling this important research oversight function.

J. Thomas Puglisi, PhD, CIP

Attachment

cc:	Executive In Charge (10)

Acting Principal Deputy Under Secretary for Health (10A)

Deputy Under Secretary for Health for Operations and Management (10N)

Associate Chiefs of Staff for Research and Development of Facilities with BSL-3 	Research Laboratories

BSL-3 Research Laboratory Directors

Prior to conducting the review, it would be helpful to assemble the following documents:

- Last copy of the Security Inspection (Internal and external conducted by OIG, CDC, VISN, etc.)

- A copy of security related training records

- Record of inventory (select agents and toxins, or hazardous agents)

- Agent specific training records

- Records of access to the BSL-3 research laboratory

- A copy of Certificate of Registration, if applicable (All Certificates of Registration must be maintained and renewed when applicable as required by CDC or APHIS.)

A list of acronyms is found in Appendix A.  A list of general references is found in Appendix B.

|  | ISSUES | 1-5* | COMMENTS |
| --- | --- | --- | --- |
| 1. | Facility is located away from public access points and common use areas |  |  |
| 2. | All views of exterior entry are unobstructed |  |  |
| 3. | Area is clearly marked as restricted |  |  |
| 4. | No windows present or windows meet specifications in VA requirements |  |  |
| 5. | Video surveillance systems are in place |  |  |
| 6. | Doors are self-closing |  |  |
| 7. | Doors are secured at all times |  |  |
| 8. | Access into areas from overhead is prevented |  |  |
| 9. | Access is only by keycard or a system that is equal to, or exceeds, the security of a keycard system |  |  |
| 10. | Audible security alarms are present and regularly tested |  | Note: With appropriate justification, silent alarms or strobe lights may be used. |
| 11. | Security devices are fully integrated with medical center security system |  |  |
| 12. | Security codes are changed quarterly |  | Unless changed electronically and automatically at frequent intervals and at least quarterly |
| 13. | Control of access on a 24 hour, 7 days a week schedule, including weekends and holidays |  |  |
| 14. | Entry and exit control rosters are maintained and reviewed weekly; findings documented |  |  |
| 15. | The number of people authorized access to the BSL-3 is kept to the minimum consistent with operational and security requirements, including routine cleaning, maintenance, and repairs |  |  |
| 16. | Strangers/personnel without badges are challenged |  |  |
| 17. | Security for all containers, refrigerators, freezers, cabinets, or other areas where hazardous agents are stored must be provided to ensure control at all times |  |  |
| 18. | Telephone is located inside the laboratory |  |  |
| 19. | Hazardous Agents Control Program is in place: - Monitor and evaluate program - Appointed Responsible Official (RO) ensures that the research security programs are in compliance with current regulatory requirements |  |  |
| 20. | Security plan is based on a site-specific risk assessment for agents that are present |  |  |
| 21. | Security plan includes all required elements of the VHA Handbook and has been signed by staff as designated by the Facility |  |  |
| 22. | VA police participated in the development of security policies |  |  |
| 23. | Facility security standards are reviewed annually |  |  |
| 24. | Emergency Preparedness and Incident Response Plan exists and - Has been distributed to personnel - Is reviewed annually - Drill conducted annually - Reassessment done after each incident |  |  |
| 25. | Vulnerability assessment is in place and conducted by multidisciplinary team annually |  |  |
| 26. | Human Resources has conducted a background check on all personnel authorized access to BSL-3 facilities, and personnel status is reviewed semiannually by R&D Committee |  |  |
| 27. | Access is not permitted for those individuals deemed in the USA Patriot Act to be restricted from shipping, receiving, transporting, or possessing biological select agents |  | If BSL-3 laboratory has non-exempt quantities of select agents or toxins. |
| 28. | Individuals who have access to select agents or toxins have undergone a security risk assessment by the Attorney General |  | Applies to laboratories with non-exempt quantities of select agents or toxins. |
| 29. | All security related training requirements are met in compliance with VHA Handbook 1200.06 |  |  |

APPENDIX A

ACRONYMS

APHIS		Animal and Plant Health Inspection Service

BMBL  	Biological in Microbiological and Biomedical Laboratories

BSL		Biological Safety Level

CDC		Centers for Disease Control and Prevention

ESP		Equivalent Security Provided

IIP		Installation In Progress

OIG		Office of Inspection General

OSHA		Occupational Safety and Health Administration

PCA		Plans for Corrective Action

RO		Responsible Official

SAT		Select Agents or Toxins

USDA		United States Department of Agriculture

VISN		Veterans Integrated Service Network

APPENDIX B

References

- Title 42 CFR Part 73.11

- VA Directive  0730 – Security and Law Enforcement

- VA Directive and Handbook 0710, Personnel Suitability and Security Program

- VHA Handbook 1200.06, “Control of Hazardous Agents in VA Research Laboratories,”  October 21, 2005

- Biosafety in Microbiological and Biomedical Laboratories (BMBL), Section VI, 5th Edition, February 2007.

Information for Transmittal to the Office of Research Oversight Regional Office

Physical Security Self Inspection of BSL-3 Research Laboratory

- Indicate the protocols for which BSL-3 Research Laboratory use was required at the time of the facility self inspection and the exempt and non-exempt quantities of select agents and toxins in the BSL-3 Research Laboratory associated with each protocol.  Indicate the names of the Principal Investigators for each protocol.

- Indicate which protocols are no longer open since the time the facility was inspected previously by ORO or reported to ORO on an annual self-inspection report.

- Attach the ORO Security Checklist indicating for each item full compliance or an explanation of deficiencies identified and plans and timelines for prompt correction.

- Provide the date of the inspection and the names and titles of those participating in the inspection.

- Indicate any other issues identified at the time of the self-inspection.

- Attach any security-related reports of inspections/investigations/reviews conducted by the Network, the Office of Inspector General, Centers for Disease control and Prevention, the Occupational Safety and Health Administration, or other oversight group during the last 12 months.

- Attach a signature list with the names and titles of those who reviewed and approved the report and the dates on which they did so.  Provide the name, title, and contact information for any follow up ORO might need to make about the report.

I have reviewed and approved the BSL-3 Research Laboratory

Physical Security Inspection Report

| Name of Facility: |  |  |
| --- | --- | --- |
| Date of Inspection: |  |  |

| Laboratory Director: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Email Address: |  |  |  | Phone: |  |
| Signature: |  |  |  | Date: |  |

| Research Safety Officer: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Email Address: |  |  | Phone: |  |
| Signature: |  |  | Date: |  |

| Facility Police Security Officer: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Email Address: |  |  |  | Phone: |  |
| Signature: |  |  |  | Date: |  |

| Chair or Designee on Research Safety Subcommittee(srs): |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Email Address: |  |  |  | Phone: |  |
| Signature: |  |  |  | Date: |  |

| Chair, R&D Committee: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Email Address: |  |  | Phone: |  |
| Signature: |  |  | Date: |  |

| Facility Director: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Email Address: |  |  |  | Phone: |  |
| Signature: |  |  |  | Date: |  |