ICE/DRO DETENTION STANDARD

ENVIRONMENTAL HEALTH AND SAFETY

# PURPOSE AND SCOPE.  This Detention Standard protects detainees, staff, volunteers, and contractors from injury and illness by maintaining high facility standards of cleanliness and sanitation, safe work practices, and control of hazardous substances and equipment.

It applies to the following types of facilities housing DRO detainees:

- Service Processing Centers (SPCs);

- Contract Detention Facilities (CDFs); and

- State or local government facilities used by DRO through Intergovernmental Service Agreements (IGSAs) to hold detainees for more than 72 hours.

Procedures in italics are specifically required for SPCs and CDFs.  IGSAs must conform to these procedures or adopt, adapt or establish alternatives, provided they meet or exceed the intent represented by these procedures.

Some terms used in this document are defined in the separate Definitions Standard.

# EXPECTED OUTCOMES.  The expected outcomes of this Detention Standard are:

- Facility cleanliness and sanitation will be maintained at the highest level.

- Compliance with all applicable safety and sanitation laws will be ensured by documented internal and external inspections and corrective action when indicated.

- Compliance with all applicable fire safety codes and fire safety performance requirements for the facility furnishings will be ensured.

- Flammable, poisonous, toxic, and caustic materials will be controlled and used in a safe manner.

- Compliance with fire prevention regulations, inspection requirements, and practices, including periodic fire drills, will ensure the safety of detainees, staff, and visitors.

- Staff will be knowledgeable about procedures and responsibilities during emergency situations, including those that require evacuation, in accordance with a written plan and at least annual training.

- The facility will have a plan for immediate release of detainees from locked areas and provisions for a back-up system

- A sufficient number of properly positioned emergency exits that are clear from obstruction will be distinctly and permanently marked.

- Preventive maintenance and regular inspections will be performed to ensure timely emergency repairs or replacement to prevent dangerous and life-threatening situations.

- Potential disease transfer will be minimized by the proper sanitization of barbering equipment and supplies.

- Pests and vermin will be controlled and eliminated.

- Safe potable water will be available throughout the facility.

- Emergency lighting and life-sustaining equipment will be maintained and periodically tested.

- Disposal of garbage and hazardous waste will be in compliance with applicable government regulations.

- The applicable content and information in this standard will be communicated in a language or manner which the detainee can understand.

# DIRECTIVES AFFECTED.  This Detention Standard replaces Environmental Health and Safety dated 9/20/2000.

# REFERENCES

- American Correctional Association 4th Edition, Standards for Adult Detention Facilities: 4-ALDF-1A-01, 1A-02, 1A-03, 1A-07, 1A-14, 1A-15, 1A-16, 1A-17, 1A-18, 1A-19, 1A-20,1C-01, 1C-02, 1C-03, 1C-04, 1C-05, IC-07, 1C-08, 1C-09, 1C-10, 1C-11, 1C-12, 1C-13, 1C-14, 1C-15, 4B-07, 4C-18.

- Occupational Safety and Health Administration (OSHA) Regulations

- NFPA Standards

- US Public Health Service Report on Carcinogens

# EXPECTED PRACTICES – GENERAL ENVIRONMENTAL HEALTH AND SAFETY

## General Environmental Health

Environmental health conditions shall be maintained at a level that meets recognized standards of hygiene, including those from the:

- American Correctional Association,

- Occupational Safety and Health Administration,

- Environmental Protection Agency,

- Food and Drug Administration,

- National Fire Protection Association's Life Safety Code, and

- National Center for Disease Control and Prevention.

The Health Services Department or IGSA equivalent shall assist in the identification and correction of conditions that could adversely impact the health of detainees, employees, and visitors.  The sanitarian consultant is responsible for developing and implementing policies, procedures, and guidelines for the environmental health program that are intended to evaluate and eliminate or control as necessary, sources of injuries and modes of transmission of agents or vectors of communicable diseases.

The consultant shall:

- Conduct special investigations and comprehensive surveys of environmental health conditions, and

- Provide advisory, consultative, inspection, and training services regarding environmental health conditions.

The medical facility’s Health Services Administrator is responsible for:

- Implementing a program that assists in maintaining a high level of environmental sanitation, and

- Providing recommendations to the facility administrator concerning environmental health conditions, in consultation with the sanitarian consultant.

## Staff and Detainee Safety

The facility administrator shall ensure that adequate provisions are made for staff and detainee safety in accordance with these Detention Standards and applicable law.  The Detention Standard on Staff Training further addresses employee training related issues. The Detention Standard on Volunteer Work Program addresses detainee training issues for workers. Detainees will receive safety instruction where necessary for living area-related assignments such as working with cleaning products to clean general use areas.

Detainee living area safety will be emphasized to staff and detainees to include providing, as noted in the standards, a housekeeping plan. Bed rails are not common in detention settings except for medical housing units because of the potential safety risk they pose. When there are safety concerns with a detainee sleeping in a top bunk that is not along a wall and has no bed rail, accommodations will be made to ensure safety. In locations where ladders are not available, accommodations for detainees, such as the use of bottom bunks or the addition of a ladder or step, will be made on a case by case basis.  Detainees who have medical or physical problems that sleeping on a top bunk will aggravate will be referred to the medical unit for consideration of a lower bunk permit.

## General Housekeeping

The facility administrator shall ensure that staff and detainees maintain a high standard of facility sanitation and general cleanliness.  When possible, the use of non-toxic cleaning supplies is recommended.

- All horizontal surfaces shall be damp-dusted daily with an approved germicidal solution used according to the manufacturer’s directions.

- Windows, window frames, and windowsills shall be cleaned on a regular schedule, but do not require daily cleaning.

- Furniture and fixtures shall be cleaned daily.

- Floors shall be mopped daily and when soiled using the double-bucket mopping technique, and with a hospital disinfectant-detergent solution mixed according to the manufacturers directions.

- A clean mop head shall be used each time the floors are mopped.

- Waste containers shall be non-porous and lined with plastic bags and the liner shall be changed daily.

- The container itself shall be washed at least weekly, or as needed when it becomes soiled.

- Cubicle curtains shall be laundered monthly or during terminal cleaning following treatment of an infectious patient.

## Pests and Vermin

The facility administrator shall contract with licensed pest-control professionals to perform monthly inspections to identify and eradicate rodents, insects, and vermin.  The contract shall include a preventive spraying program for indigenous insects and a provision for callback services as necessary.

## Certification of Facility Water Supply

At least annually, a state laboratory shall test samples of drinking and wastewater to ensure compliance with applicable standards. A copy of the testing and safety certification shall be maintained on-site.

## Emergency Electrical Power Generator

At least every two weeks, emergency power generators shall be tested for one hour, and the oil, water, hoses and belts of these generators shall be inspected for mechanical readiness to perform in an emergency situation .

Power generators are inspected weekly and load tested quarterly at a minimum, or in accordance with manufacturer’s recommendations and instruction manual. Among other things, the technicians shall check starting battery voltage, generator voltage and amperage output.

Other emergency equipment and systems shall be tested quarterly, and needed follow-up repairs or replacement shall be accomplished as soon as feasible.

## Garbage and Refuse

- Garbage and refuse includes all trash, rubbish, and other putrescible and non-putrescible solid waste, except the solid and liquid waste discharged into the sanitary sewer system of the facility.

- Garbage and refuse shall be collected and removed as often as necessary to maintain sanitary conditions and to avoid creating health hazards.

- Facilities shall comply with all federal, state and local environmental regulations and requirements governing methods for handling and disposing of refuse.

# – HAZARDOUS MATERIALS

Every facility shall establish a system for storing, issuing, using, and maintaining inventories of and accountability for hazardous materials.  The facility program will be supervised by a person who has been trained in accordance with OSHA standards.  The effectiveness of any such system depends not only on written policies, procedures, and precautions but also on adequate supervision and responsible behavior of staff and detainees, including following instructions precisely, taking prescribed precautions and using safety equipment properly.

A list of common flammable, toxic, and caustic substances is included at the end of this Detention Standard as Table A.

## Personal Responsibility

Every individual who uses a hazardous substance must:

- be trained in accordance with OSHA standards;

- be knowledgeable about and follow all prescribed precautions;

- wear personal protective equipment when indicated; and

- promptly report hazards or spills to the designated authority.

## Protective Equipment

- Protective eye and face equipment is required where there is a reasonable probability of injury that can be prevented by such equipment.  Areas of the facility where such injuries can occur shall be conspicuously marked with eye hazard warning signs.

- Eyewash stations that meet the standards of the OSHA shall be installed in designated areas throughout the facility, and all employees and detainees in those areas shall be instructed in their use.

## Inventories

Every area shall maintain a current inventory of the hazardous substances (flammable, toxic, or caustic) used and stored there.  Inventory records shall be maintained separately for each substance.  Entries for each shall be logged on a separate card (or equivalent) filed alphabetically by substance.  The entries shall contain relevant data, including purchase dates and quantities, use dates and quantities, and quantities on hand.

## Material Safety Data Sheets Files

Every department or other area of the facility using hazardous substances shall maintain a file of Material Safety Data Sheets (MSDSs) that includes a list of the locations where hazardous substances are stored, along with a diagram and legend of

these locations.  Designated staff from each department or area shall provide a copy of each file to the Maintenance Supervisor.

- MSDSs are produced by manufacturers and provide vital information on individual hazardous substances, including instructions on safe handling, storage, disposal, prohibited interactions, etc.

- Staff and detainees shall have ready and continuous access to the MSDSs for the substances with which they are working. Staff and detainees that do not read English will not be authorized to work with these materials.

- Because changes in MSDSs occur often and without notice, staff must:

  - review the latest issuance from the manufacturers of the relevant substances;

  - update the MSDS files as necessary; and

  - forward any changes to the Maintenance Supervisor, so that the copy is kept current.

## Master Index

The Maintenance Supervisor shall compile:

- a master index of all hazardous substances in the facility and their locations;

- a master file of MSDSs; and

- a comprehensive, up-to-date list of emergency phone numbers (fire department, poison control center, etc.).

The Maintenance Supervisor maintains this information in the safety office (or equivalent) and ensures a copy is sent to the local fire department.

## General Guidelines Regarding Hazardous Substances

Issuance.  Flammable, caustic, and toxic substances (hazardous substances) shall be issued (that is, drawn from supply points to canisters or dispensed) only under the supervision of the designated officer.

Amounts.  Hazardous substances shall be issued in single-day increments (the amount needed for one day’s work.)

Supervision.  Qualified staff shall closely monitor detainees working with hazardous substances.

Accountability.  Inventory records for a hazardous substance must be kept current before, during, and after each use.

## Flammable and Combustible Liquids

- Any liquid or aerosol labeled “Flammable” or “Combustible” must be stored and used as prescribed on the label required by the Federal Hazardous Substances Labeling Act.

- Lighting fixtures and electrical equipment installed in flammable liquid storage rooms must meet National Electrical Code requirements in hazardous locations.

- Every hazardous material storage room shall:

- Be of fire-resistant construction and properly secured;

- Have self-closing fire doors at each opening;

- Be constructed with either a four-inch sill or a four-inch depressed floor; and

- Have a ventilation system (mechanical or gravity flow) within 12 inches of the floor, which provides at least six air changes per hour.

- Every storage cabinet shall:

- Be constructed according to code and securely locked at all times;

- Be clear of open passageways, stairways, and other emergency exit areas;

- Be conspicuously labeled: “Flammable -- Keep Fire Away”; and

- Contain not more than 60 gallons of Class I or Class II liquids, or more than 120 gallons of Class III liquids.

- Storage rooms and cabinets may be entered only under secure conditions and under the supervision of authorized staff.

- Any portable container that is not the original shipping container must be designated as an approved safety can, which is listed or labeled by a nationally recognized testing laboratory.  Each container shall bear a legible label that identifies its contents.

- Excess liquids shall remain in original containers, tightly closed, in the storage room or cabinet.

- The MSDS shall govern use of a particular flammable or combustible liquid.

- Only authorized staff may dispense flammable and combustible liquids, using acceptable methods for drawing or transferring these liquids.

- Drawing from or transferring any of these liquids into containers indoors is prohibited except:

- Through a closed piping system;

- From a safety can;

- By a device drawing through the top; or

- By gravity, through an approved self-closing system.

- An approved grounding and bonding system must be used when liquids are dispensed from drums.

- Without exception, cleaning liquids must have a flash point at or above 100 F (for example, Stoddard solvents, kerosene).  Cleaning operations must be in an approved parts-cleaner or dip tank fitted with a fusible link lid with a 160 F melting-temperature link.

- Staff shall follow MSDS directions:

- When disposing of excess flammable or combustible liquids; or

- After a chemical spill.

## Toxic and Caustic Substances

- All toxic and caustic materials must be stored in secure areas, in their original containers, with the manufacturer’s label intact on each container.

- Authorized staff only shall draw/dispense these substances, in accordance with the applicable Material Safety Data Sheet(s).

- Staff shall either return unused amounts to the original container(s) or, under certain circumstances, to another suitable, clearly labeled container n the storage area.

- MSDS directions shall determine the disposal and spill procedures for toxic and caustic materials used in the facility.

## Poisonous Substances

Poisonous substances or chemicals, such as methyl alcohol, sulfuric acid, muriatic acid, caustic soda or tannic acid, among others, pose a very high (Class I) caustic hazard due to their toxicity.

Methyl alcohol, variously referred to as wood alcohol and methanol, is commonly found in industrial applications (for example, shellac thinner, paint solvent, duplicating fluid, solvents for leather cements and dyes, flushing fluid for hydraulic brake systems):

- If ingested, methyl alcohol can cause permanent blindness or death.

- Staff must directly supervise the use of any product containing methyl alcohol.  Products containing methyl alcohol in a very diluted state, such as shoe dye, may be issued to detainees, but only in the smallest workable quantities.

- Immediate medical attention is vital any time methyl alcohol poisoning is suspected.

## Other Toxic Substances

- Permanent antifreeze containing ethylene glycol shall be stored in a locked area and dispensed only by authorized staff.

- Typewriter cleaner containing carbon tetrachloride or tricholorochane shall be dispensed in small quantities and used under direct staff supervision.

- Cleaning fluids containing carbon tetrachloride or tetrachloride or tricholoroethylene shall be strictly controlled.

- Glues of every type may contain hazardous chemicals.  When use of a nontoxic product is not possible, staff must closely supervise all stages of handling. The toxic glues must be stored in a locked location.

- The use of dyes and cements for leather requires close supervision.  Nonflammable types shall be used whenever possible.

- Ethyl alcohol, isopropyl alcohol, and other antiseptic products shall be stored and used only in the medical department and only under close supervision.  To the extent practical, such chemicals shall be diluted and issued in small quantities to prevent any injuries or lethal accumulation.

- Pesticides not currently approved by the Environmental Protection Agency, such as DDT and 1080 (sodium fluoracetate), are prohibited.  The Maintenance Supervisor is responsible for purchasing, storing (in a locked area), and dispensing all pesticides used in the facility.

- The Maintenance Supervisor or other staff members responsible for herbicides must hold a current state license as a Certified Private Applicator.  Persons applying herbicides must wear proper clothing and protective gear.

- Lyes may be used only in dye solutions and only under the direct supervision of staff.

## Labeling of Chemicals, Solvents, and Other Hazardous Materials

The facility administrator shall individually assign the following responsibilities associated with the labeling procedure:

- Identifying the hazardous nature of materials adopted for use;

- Requiring use of properly labeled containers for hazardous materials, including any and all miscellaneous containers into which employees might transfer the material;

- Teaching staff the meaning of the classification code and the MSDS, including the safe handling procedures for each material, and impressing on staff the need to ensure containers are properly labeled; and

- Placing correct labels on all smaller containers when only the larger shipping container bears the manufacturer-affixed label.

## Controlled Hazardous Materials

Certain substances require special treatment and careful planning and precautions before use. These controlled materials are classified according to the type of hazard and the nature of the restrictions imposed for their safe use, as specified in OSHA regulations.

Class I: Industrial Solvents.  Industrial solvents and chemicals used as paint thinners, degreasers, and cleaning agents may have toxic properties and low flash points, making them dangerous fire hazards.

Class II: Restricted Materials.  Beryllium, its alloys and compounds, and silver solder containing cadmium pose a danger to workers, for whom special precautions must be taken.

Class III: Recognized Carcinogens.  OSHA-listed carcinogens are governed by the OSHA regulations provided in 29 CFR 1910.1000.

Although asbestos appears on the OSHA list, it is exempt from the regulation when:

- no asbestos fibers will be released into the air during handling and use; and

- the asbestos consists of firmly bound fibers contained in a product such as: a transit pipe, wallboard, or tile (except when being sawed or otherwise handled in a way that releases fibers into the air).

Class IV: Suspected Carcinogenic, Teratogenic, and Mutagenic Materials.  Chemical agents, substances, mixtures, and exposures are listed in the biennial Report on Carcinogens issued by the U.S. Public Health Service, in accordance with the Public Health Service Act.  The Maintenance Supervisor shall ensure the facility has copies of the report and that there is compliance with the provisions of the latest edition.

# EXPECTED PRACTICES – FIRE PREVENTION AND CONTROL

## Fire Safety Codes

Every facility shall comply with standards and regulations issued by:

- OSHA;

- the American Correctional Association "mandatory" Expected Practices;

- (Mandatory ACA Expected Practice 4-ALDF-1C-07 requires that the facility conform to applicable federal, state, and/or local fire safety codes, and that the authority having jurisdiction document compliance.  A fire alarm and automatic detection system are required (or there is a plan for addressing these or other deficiencies within a reasonable time period), as approved by the authority having jurisdiction.  If the authority approves any variance, exceptions, or equivalencies, they must not constitute a serious life-safety threat to the occupants of the facility.)

- local and national fire safety codes, and

- applicable standards of the American Society for Testing and Materials, American National Standards Institute, and Underwriters' Laboratories or Factory Mutual Engineering Corporation.

New construction, alterations, and renovations, shall comply with:

- the latest revision or update of the International Council Codes.

- the Uniform Building Code; or

- the Standard Building Code, in accordance with 40 USC Title 619 and local law.

If the local government does not mandate adherence to a particular code, construction must conform to the International Council Codes.

In addition, the construction shall comply with the latest edition of the National Fire Protection Association's (NFPA) 101, Life Safety Code and National Fire Codes (NFCs).  If the fire protection and life safety requirements of a local building code differ

from NFPA 101 or the NFCs, the requirements of NFPA 101 and the NFCs shall take precedence and be recognized as equivalent to the local building code.

## Inspections

A qualified departmental staff member shall conduct weekly fire and safety Inspections.

Facility maintenance (safety) staff shall conduct monthly inspections.

Written reports of the inspections shall be forwarded to the facility administrator for review and, if necessary, corrective action determinations.  The Maintenance Supervisor shall maintain inspection reports and records of corrective action in the safety office.  Fire safety deficiencies shall be promptly addressed.

## Fire Prevention, Control, and Evacuation Plan

Every facility shall develop a fire prevention, control, and evacuation plan that includes the following:

- Control of ignition sources;

- Control of combustible and flammable fuel load sources;

- Provisions for occupant protection from fire and smoke;

- Inspection, testing, and maintenance of fire protection equipment, in accordance with NFPA codes, etc.;

- Monthly fire inspections;

- Installation of fire protection equipment throughout the facility, in accordance with NFPA codes;

- Accessible, current floor plans (buildings and rooms); prominently posted evacuation maps/plans; exit signs and directional arrows for traffic flow; with a copy of each revision filed with the local fire department; and

- Exit diagrams that shall be conspicuously posted throughout the facility.

## Fire Drills

Fire drills shall be conducted and documented at least quarterly in all facility locations including administrative areas.

- Fire drills in housing units, medical clinics, and other areas occupied or staffed during non-working hours shall be timed so that employees on each shift participate in an annual drill.

- Detainees shall be evacuated during fire drills, except: in areas where security would be jeopardized; in medical areas where patient health could be jeopardized; or in individual cases when evacuation of patients is logistically not feasible.  Staff shall simulate drills in areas where detainees are not evacuated.

- Emergency-key drills shall be included in each fire drill, and timed.  Emergency keys shall be drawn and used by the appropriate staff to unlock one set of emergency exit doors not in daily use.  NFPA recommends a limit of four and one-half minutes for drawing keys and unlocking emergency doors. However, when conducting fire drills emphasis will be placed on safe and orderly evacuation rather than speed.

## Exit Diagram

In addition to a general area diagram, the following information must be provided on signs:

- Instructions in English, Spanish and the next most prevalent language at the facility;

- "You Are Here" markers on exit maps; and

- Emergency equipment locations.

"Areas of Safe Refuge" shall be identified and explained on diagrams. Diagram posting will be in accordance with applicable fire safety regulations of the jurisdiction.

# EXPECTED PRACTICES – MEDICAL OPERATIONS

## Needles and Other Sharp Objects

An established uniform procedure shall be established for the safe handling and disposal of used needles and other potentially sharp objects (sharps) to prevent both mechanical injury and the percutaneous transmission of infectious disease organisms, such as hepatitis B virus (HBV) and human immunodeficiency virus (HIV).  Sharps are defined as all disposable or discarded items derived from detainee care that could potentially transmit disease via direct subdermal inoculation.  Items included are: hypodermic needles and syringes, scalpel blades, glass vials or ampules containing materials deemed to be infectious, burrs, glass cartridges, and lancets.

Accidental injuries from sharp objects are common in health care programs; most are from needle sticks caused by staff attempting to recap hypodermic needles.  A uniform procedure for used needles and other disposable sharps is necessary to reduce the number of such injuries by preventing the secondary handling of needles and other dangerous sharp objects used in the delivery of medical care.

## Standard Precautions (includes “Universal Precautions”)

Staff shall frequently wash their hands and routinely take precautions to prevent contact with blood or other body fluids.

a.	Gloves shall be worn: prior to touching blood and body fluids, mucous membranes, or non-intact skin of all patients; prior to handling items or surfaces soiled with blood or body fluids; and prior to performing venipuncture and other vascular access procedures.

Gloves shall be changed after contact with each detainee.

b.	Masks and protective eye wear or face shields shall be worn during procedures that are likely to generate droplets of blood or other body fluids,

c.	Gowns or aprons shall be worn during procedures that are likely to generate splashes of blood or other body fluids.

- Hands and other skin surfaces shall be washed immediately and thoroughly if contaminated with blood or other body fluids.  Hands shall be washed immediately after gloves are removed.

e.	All health-care workers shall take precautions to prevent injuries caused by needles, scalpels, and other sharp instruments or devices during procedures, when cleaning used instruments, during disposal of used needles, and when handling sharp instruments after procedures.  Instruments and drugs will be maintained in a secure and sanitary condition,

f.	To prevent needle stick injuries, needles shall not be recapped, purposely bent or broken by hand, removed from disposable syringes, or otherwise manipulated by hand.  After use, disposable syringes and needles, scalpel blades, and other sharp items shall be placed in puncture-resistant containers for disposal.

g.	Large-bore reusable needles shall be placed in a puncture resistant container for transport to the reprocessing area.

h.	To minimize the need for emergency mouth-to-mouth resuscitation, mouthpieces, resuscitation bags or other ventilation devices shall be available for use in areas in which the need for resuscitation is predictable.

I.	Health-care workers who have exudative lesions or weeping dermatitis shall refrain from all direct patient care and from handling patient care equipment until the condition resolves.

j.	Pregnant health-care workers shall strictly adhere to precautions to minimize the risk to the infant of perinatal transmission of HIV.

- Implementation of standard blood and body fluid precautions for all detainees eliminates the need for the use of isolation category of "Blood and Body Fluid Precautions" previously recommended by the Centers for Disease Control for individuals known or suspected to be infected with blood-borne pathogens. Isolation precautions shall be used as necessary if associated conditions, such as infectious diarrhea or tuberculosis, are diagnosed or suspected.

Staff should encourage detainees to frequently wash their hands and routinely take precautions to prevent contact with blood or other body fluids.

## Accidental Needle Sticks

Any employee or detainee who receives a needle stick or who is cut while handling potentially contaminated sharps shall be counseled regarding baseline testing for HBV and HIV and referred to their usual source of health care.  If the injury also involves a person who is a known source of possible infection, that person shall also be tested for HBV and HIV. The incident shall be reported as an occupational injury and documented in accordance with applicable regulations for commissioned officers and civil service employees, respectively.

The leading health service provider’s exposure-control plan shall be followed in the event of a needle stick.

## Inventory

Items that pose a security risk, such as sharp instruments, syringes, needles, and scissors, shall be inventoried and checked weekly by an individual designated by the medical facility’s Health Service Administrator (HSA) or equivalent.

## Handling

Without removing the needles or replacing the needle covers, staff shall place used (disposable) syringes in a plastic disposal box or container.

### Disposal Containers

Use only commercially available, biohazardous-waste sharps containers approved by the National Institute of Safety and Health (for example, a "Winfield Sharps Container.").

Do not use milk cartons or plastic milk jugs or other plastic containers of similar thickness.

Use containers with a two-gallon capacity (approximate)

Under no circumstances shall an item be removed from the sharps container.

### Location

Sharps Containers shall be located on top of counters or, if on the wall, at least five feet above ground. Containers shall never sit on the floor.

### Disposal

When the disposal box is one-half to two-thirds full, the lid shall be closed and locked, and tape shall be placed over the top of the lid to indicate that it is ready for disposal.  The container shall be labeled with the words "infectious waste" or with the universal biohazard symbol, and placed in the proper area for removal and disposal.

Sharps are considered infectious waste, and final disposal of the container and contents shall be through a commercial contractor that handles disposal of infectious waste in accordance with all local and federal regulations.

The HSA shall make arrangements for disposal with an approved contractor and is responsible for validating that the contractor's disposal methods are in accordance with all infectious and hazardous waste disposal laws and regulations.  Arrangements shall be made with local hospitals, if possible, for disposal with the hospitals' own infectious waste.

## Environmental Health in Medical Operations

While many of the following considerations, precautions, and specific procedures apply to situations that typically arise in medical operations, in many cases they have general application to all facility operations.

### General Housekeeping

Environmental cleanliness will prevent, reduce and control nosocomial infections due to contaminated environmental surfaces. The HSA or designee is responsible for ensuring the cleanliness of the medical facility.

Using an acceptable health agency standard as a model, the HSA shall establish:

- The cleaning equipment; cleansers; disinfectants and detergents to be used,

- The Methods of cleaning, and

- The frequency of cleaning and inspections.

The HSA or designee shall make a daily visual inspection of the medical facility noting the condition of floors, walls, windows, horizontal surfaces, and equipment.

All surfaces touched by detainees or staff shall be cleaned using fresh solutions of appropriate disinfectant products, applied with clean cloths, mops, or wipes.  Cleaned surfaces need not be monitored microbiologically since the results of such tests have been shown not to correlate with infection risk.  Floors, walls, beds, tables, and other surfaces that usually come in contact with intact skin require low-level disinfection.

Horizontal surfaces in detainee care areas are cleaned on a regular basis, when soiling or spills occur.  Additionally, short-stay units are cleaned when a detainee is discharged.  Cleaning of walls, blinds, or curtains is required only when visibly soiled.

The Chief Nurse (or equivalent) is responsible for training all staff and detainees in using proper housekeeping procedures and proper handling of hazardous materials and chemicals.

#### General Cleaning

- All horizontal surfaces shall be damp-dusted daily with an approved germicidal solution.

- Windows, window frames, and windowsills shall be cleaned on a regular schedule, but do not require daily cleaning.

- Furniture and fixtures shall be cleaned daily.

- Floors shall be mopped daily and when soiled using the double-bucket mopping technique.  The cleaning solution shall be a hospital disinfectant-detergent solution mixed according to the manufacturer’s directions.  A clean mop head shall be used each time the floors are mopped.

- Waste containers shall be lined with plastic bags and the liner shall be changed daily.  The container itself shall be washed at least weekly, or as needed when it becomes soiled.

- Cubicle curtains shall be laundered monthly or during terminal cleaning following treatment of an infectious patient.

#### Isolation Cleaning

- An approved germicidal detergent solution shall be freshly prepared in accordance with the manufacturer's specifications for each cleaning.

- After cleaning the isolation room, mops and cleaning cloths shall be laundered before being reused.

- Dirty water and used disinfecting solutions shall be discarded and the buckets and basins disinfected before being refilled.  Items used in cleaning a contaminated isolation room shall never be taken into another area.

- Linens shall be carefully removed from the bed and double bagged for transport.

- All waste materials shall be double bagged and disposed of as contaminated waste.

#### Terminal Cleaning

- Every item in the room must be cleaned with an approved hospital germicidal solution.

- When applicable, linen shall be stripped from the bed, with care taken not to shake the linen.  Linen shall be folded away from the person and folded inward into a bundle, then removed with minimal agitation.

- When applicable, all reusable receptacles such as drainage bottles, urinals, bedpans, water pitchers shall be emptied and rinsed with germicidal solutions.

- All equipment that is not to be discarded, such as IV poles, respirators and suction machines, shall be washed with an approved germicidal solution following manufacturer's guidelines for cleaning the specific piece of equipment.

- When applicable, mattresses and pillows covered with durable plastic covers shall be thoroughly washed with the approved germicidal solution.

- When applicable, beds shall be washed thoroughly using a small brush soaked in the germicidal solution to gain access to small holes and crevices, to areas between the springs, and to the casters.

- All furniture shall be washed with a germicidal detergent solution.  Use a small brush if necessary.  Outside and underside as well as legs and casters must also be washed.

- Wastebaskets shall be thoroughly washed with a germicidal solution after trash has been removed.

- Telephones shall be thoroughly cleaned with a clean cloth soaked in the germicidal solution.  The earpiece and mouthpiece shall be unscrewed, scrubbed, dried and replaced.

- Walls and ceilings need not be washed entirely, but areas that are obviously soiled shall be washed with germicidal solution.

#### Choice of Disinfecting Materials

Hospital-grade disinfectant-detergent formulations registered by the Environmental Protection Agency may be used for environmental surface cleaning, but the physical removal of microorganisms by scrubbing is also as important as any antimicrobial effect of the cleaning agent used.

Cost, safety, and acceptance by staff should be the criteria for selecting any such registered agent.  The manufacturer's instructions for use shall be followed exactly.

### Blood and Body Fluid Clean-up

Spills of blood and body fluids shall be cleaned up and the surface decontaminated in such a manner as to minimize the possibility of workers becoming exposed to infectious organisms, including HIV and HBV.  A suitable cleanup kit shall be maintained for use in cases of spills of blood and body fluids.  Cleanup kits may be obtained from commercial sources, or kits may be put together by ICE/DRO HSD staff or the designated health care provider.

#### Making a Clean-up Kit

To prepare a clean-up kit for blood and body fluid spills, package the following materials in a 12" x 15" clear" Ziploc" bag:

Gloves, rubber or vinyl, household type, (2 pair)

Clean absorbent rags (4)

Absorbent paper towels (15)

Disposable bag marked "Contaminated" size 23"x10"x39", minimum thickness 1.5 mils.

Clear plastic bag 13"x10"x39", minimum thickness 1.5 mils.

Bottle of "hospital disinfectant" (containing quaternary ammonium chlorides in at least 0.8% dilution), or a bottle of household bleach such as "Clorox" or "Purex" (5.25 % sodium hypochlorite).

#### Selection of Disinfectants

Dilute solutions of sodium hypochlorite are reported extremely effective against both HIV and the Hepatitis B virus and therefore have been recommended for use in environmental decontamination procedures. Quaternary ammonium compounds are less effective against Hepatitis B.  Chlorine in solution inactivates virus quickly and efficiently but must reach the virus particles to do so.

Proteinaceous materials may interfere with the ability of the appropriate disinfectant solution to reach the virus particles.  Since quaternary disinfecting compounds may act as a detergent as well as a disinfectant, their use may help in the cleaning and removal of proteinaceous materials from surfaces.

A facility may use one of these compounds to help clean the surface, and then follow with the use of chlorine solution for final disinfection.  Using one disinfectant compound rather than two would keep the procedure as simple as possible.  By following routine medical cleaning procedures, most blood or fluids would be removed from the surface before application of the disinfectant, so the use of sodium hypochlorite solution shall be sufficient.

#### Selection of Gloves

Household or industrial rubber gloves have been recommended for use rather than surgical rubber gloves.  Surgical gloves are somewhat porous and are less resistant to mechanical damage and punctures during clean-up procedures.

#### Assignment of Cleaning Duties to Detainees in Medical Facilities

Detainee workers may be assigned duties cleaning the medical facility.  Detainees are permitted to clean floors, walls, and to remove trash, but are not permitted to clean medical equipment.

#### Instructions for Use of Clean-Up Kit

- Open the bag and remove the supplies.

- Depending on the type of disinfectant in the kit, take out bottle of "hospital disinfectant", or prepare a dilute solution of sodium hypochlorite.  To prepare a 1:10 dilution of 5.25% sodium hypochlorite, mix 1 part of 5.25 % sodium hypochlorite (common household bleach) with 10 parts water.

- Open the large clear plastic bag and the large bag marked "Contaminated".  Place them next to each other.

- Put on one pair of gloves.

- Use paper towels to absorb as much of the fluid as possible; then place paper towels in the large clear plastic bag.

- Pour the solution carefully onto the spill area.  Dispose of the empty bottle in the large, clear plastic bag.  Leave disinfectant in place for 15 minutes.

- Use the rags to clean the area, and place rags in the large clear plastic bag.

- Tie off the clear plastic bag and place it inside the large plastic bag marked "Contaminated."

- Remove gloves carefully and place them in the plastic bag marked "Contaminated.”

- Put on the second pair of gloves and tie the "Contaminated" trash bag closed.

- Dispose of the "Contaminated" trash bag properly in a contaminated-waste receptacle.

- Dispose of the second pair of gloves in the contaminated-waste receptacle.

- Wash your hands.

- Prepare a new clean-up kit.

NOTE:  Do not place linen or non-disposable articles in the "Contaminated" trash bag.

### Hazardous and Infectious Waste Disposal

Infectious and hazardous waste generated at a medical facility shall be stored and disposed of safely and in accordance with all applicable federal and state regulations.

For identified wastes that represent sufficient risk of causing infection or injury during handling and disposal, the following precautions shall be applied.

#### Definitions

Hazardous or infectious waste is defined as: microbiology laboratory waste; human blood and blood products; sharps (as defined in Section VIII, A above); laboratory and other chemicals; or certain drugs such as antineoplastic.

Miscellaneous biomedical waste is defined as waste materials that are not specifically defined as infectious waste.  Such waste includes bandages, dressings, casts, catheters, and disposable pads.

Waste from detainees in isolation is not considered to be infectious waste unless it falls within the specific definition of infectious waste as stated above.

#### Collection and Storage

Infectious waste must be separated from the general waste stream and clearly labeled as infectious:

- Infectious waste shall be double-bagged and tied and labeled "Infectious Waste."

- The bags used must be impermeable, commercially supplied red bags intended specifically for biohazardous waste storage.

- Miscellaneous biomedical waste shall be double-bagged and tied but need not be labeled as infectious.

#### Treatment and Disposal

#### Blood products and designated body fluids shall be poured slowly and carefully down a toilet to prevent splash.  Compacting of untreated infectious waste is prohibited.  The waste disposal contractor must meet all state or and local requirements for transportation and disposal.

# – BARBER OPERATIONS

Sanitation in barber operations is of the utmost concern because of the possible transfer of diseases through direct contact or by towels, combs and clippers.  Towels shall not be reused by other detainees until sanitized. Instruments such as combs and clippers shall not be used successively on detainees without proper cleaning and disinfecting.

- For sanitation reasons, it is preferable that barbering operations be located in a room that is not used for any other purpose.  The floors, walls, and ceilings should be smooth, nonabsorbent and easily cleaned. There should be sufficient light, and the room shall be supplied with hot and cold running water.

- Each barbershop should have all equipment and facilities necessary for maintaining sanitary procedures for hair care, including covered metal containers for waste, disinfectants, dispensable headrest covers, laundered towels, and haircloths.

- After each detainee visit, all hair care tools that came in contact with the detainee shall be cleaned and effectively disinfected.  Ultraviolet lights are not appropriate for sterilization but may be used for maintaining tools that have already been properly sterilized.

- Detailed hair care sanitation regulations shall be conspicuously posted in each barbershop for the use of all hair care personnel and detainees.  Cotton pads, absorbent cotton and other single or dispensable toilet articles may not be reused, and shall be placed in a proper waste receptacle immediately after use.  The common use of brushes, neck duster, shaving mugs and shaving brushes is prohibited.

- Barbers or beauticians shall not provide service to  any detainee when the skin of the detainee’s face, neck, or scalp is inflamed, or when there is scaling, pus, or other skin eruptions, unless service of such detainee is performed in accordance with the specific authorization of the Chief Medical Officer.  No person who is infested with head lice shall be served.

Standard Approved:

James T. Hayes, Jr. /s/								12/5/2008

______________________________				_______________

James T. Hayes, Jr.									Date

Director

Office of Detention and Removal Operations

TABLE A

Common Flammable, Toxic, and Caustic Substances

Class I Liquids					Toxic Substances

Gasoline					Ammonia

Benzene (Petroleum ether)					Chlorine

Acetine					Antifreeze

Hexane					Duplicating fluid

Lacquer					Methyl alcohol

Lacquer thinner					Defoliants

Denatured alcohol					Herbicides

Ethyl alcohol					Pesticides

Xylene (Xylol)

Contact cement (flammable)

Toudi (Toluene)

Methyl ethyl ether

Methyl ethyl ketone

Naphtha Y, M, and P

Class II Liquids					Caustic Substances

Diesel fuel					Lye

Motor fuel					Muriatic acid

Kerosene					Caustic soda

Cleaning solvents					Sulfuric acid

Mineral spirits					Tannic acid

Agitene

Class III Liquids

Paint (oil base)

Linseed oil

Mineral oil

Neat’s-foot oil

Sunray conditioner

Guardian fluid